ANNEXES TO THE INITIAL VERSION OF THE CONTRACT

Content

ANNEX No. 01: DEFINITIONS	3

ANNEX No. 02: CONCESSION AREAS	27

ANNEX No. 03: FINANCIAL CLOSING	35

ANNEX No. 03 - APPENDIX 1 - TEMPLATE OF THE AFFIDAVIT TO OBTAIN PERMITTED CREDITOR QUALIFICATION	35

ANNEX No. 03 - APPENDIX 2 - DOCUMENTATION FOR THE ACCREDITATION OF THE FINANCIAL CLOSING	38

ANNEX No. 03 - APPENDIX 3 - MINIMUM CONTENT OF THE CONCESSIONAIRE'S AFFIDAVIT	40

ANNEX No. 04: FINANCIAL INSTITUTIONS AUTHORIZED TO ISSUE GUARANTEES OF FAITHFUL FULFILLMENT OF THE CONTRACT	42

ANNEX No. 05: TEMPLATE OF THE GUARANTEE FOR THE PRE-OPERATIONAL PERIOD AND OPERATIONAL PERIOD	43

ANNEX No. 05 - APPENDIX 1 – GUARANTEE FOR THE PRE-OPERATIONAL PERIOD	43

ANNEX No. 05 - APPENDIX 2 – GUARANTEE FOR THE OPERATIONAL PERIOD	45

ANNEX No. 06: TEMPLATE OF THE GUARANTEE OF FAITHFUL FULFILLMENT OF THE PAYMENT FOR WORKS (PPO) 	47

ANNEX No. 07: BASIC TECHNICAL SPECIFICATIONS	49

ANNEX No. 08 MINIMUM SPECIFICATIONS FOR THE DRAFTING OF FINAL ENGINEERING STUDY	149

ANNEX No. 08 - APPENDIX 1 – SPECIFICATIONS FOR THE DEVELOPMENT OF THE FINAL ENGINEERING STUDY OF THE CABLE CARS AND CABLE CAR STATIONS	149

ANNEX No. 08 - APPENDIX 2 – SPECIFICATIONS FOR THE DRAFTING OF THE FINAL ENGINEERING STUDY OF CENTRAL STATIONS	176

ANNEX No. 08 - APPENDIX 3 – SPECIFICATIONS FOR THE DEVELOPMENT OF THE FINAL ENGINEERING STUDY OF TOURIST ROADS	200

ANNEX No. 08 - APPENDIX 4 – CONTENT FOR THE DRAFTING OF THE LAND SURVEY	212

ANNEX No. 08 - APPENDIX 5 – CONTENT FOR THE DRAFTING OF THE MECHANICS STUDY OF SOILS FOR THE CABLE CAR STATIONS AND FOUNDATIONS	218

ANNEX No. 08 - APPENDIX 6 - CONTENT FOR THE DRAFTING OF THE SOIL STUDY, QUARRIES AND WATER SOURCES FOR TOURIST ROADS	229

ANNEX No. 08 - APPENDIX 7 - CONTENT FOR THE DRAFTING OF THE HYDROLOGY AND DRAINAGE STUDY FOR TOURIST ROADS	235

ANNEX 08 - APPENDIX 8 – BIM REQUIREMENTS	237

ANNEX No. 09: SERVICE LEVELS	270

ANNEX No. 09 - APPENDIX 1: SERVICE LEVEL INDICATORS	290

ANNEX No. 09 - APPENDIX 2: MINIMUM CONTENT OF THE ANNUAL CONSERVATION PLAN	314

ANNEX No. 09 - APPENDIX 3: CRITERIA FOR THE CLEANING OF ELECTROMECHANICAL INSTALLATIONS AND EQUIPMENT	320

ANNEX No. 09 – APPENDIX 4: COMMUNICATION FORMATS	322

ANNEX No. 09 – APPENDIX 5: SERVICE PROVISIONS IN CASE OF SUSPENSION OF THE CONCESSION	325

ANNEX No. 10: EQUIPMENT AND FURNITURE REQUIREMENTS	334

ANNEX No. 11: ECONOMIC AND FINANCIAL REGIME	336

ANNEX No. 11 – APPENDIX 1 – ADJUSTMENT, SETTLEMENT AND PAYMENT MECHANISM FOR THE PPD AND THE PPO	336

ANNEX No. 11 – APPENDIX 2 – GUIDELINES APPLICABLE TO THE ADMINISTRATION TRUST CONTRACT	358

ANNEX No. 11 – APPENDIX 3 – DEDUCTIONS CALCULATION PROCEDURE	364

ANNEX No. 11 – APPENDIX 4 – SETTLEMENT REPORT TEMPLATE	366

ANNEX No. 12: PENALTIES TABLE	372

ANNEX No. 13: TECHNICAL PROPOSAL	379

ANNEX No. 14: FINANCIAL OFFER	380

ANNEX No. 15: DOCUMENT RELATING TO THE COMPATIBILITY OF THE PROJECT WITH THE CHOQUEQUIRAO REGIONAL CONSERVATION AREA	382

# ANNEX No. 01: DEFINITIONS

In the Concession Contract, including the Annexes, the following terms shall have the meanings indicated below:

### Permitted Creditors:

The concept of Permitted Creditor(s) is only applicable for the cases of the Permitted Guaranteed Indebtedness. The Permitted Creditors must have the authorization of PROINVERSIÓN to prove such condition, complying with previously submitting Appendix 1 of Annex No. 7 of this Concession Contract according to the provisions set for in Clause 8.16 and following. For such purposes, Permitted Creditor may be:

  - In the event that the Permitted Guaranteed Indebtedness is structured through credits, mutual or money loans of any kind, syndicated or not:

    - Any multilateral credit institution of which the State of the Republic of Peru is a member or any fund or equity administered by a multilateral credit institution of which the State of the Republic of Peru is a member;

    - Any Export Credit Agency or any governmental institution or agency of any country with which the State of the Republic of Peru maintains diplomatic relations and any fund or equity administered by an Export Credit Agency or any governmental institution or agency of any country with which the State of the Republic of Peru maintains diplomatic relations;

    - Any international financial institution designated as a First-rate Foreign Bank in the official letter issued by the Central Reserve Bank of Peru, in effect at the date of qualification of the Permitted Creditor. Any change, modification or substitution of such official letter does not affect the qualification previously granted;

    - Any other international financial entity, that has a classification no lower than the classification of Peruvian sovereign debt corresponding to foreign currency and long-term, assigned by an international risk classification entity that classify the Republic of Peru;

    - Any domestic financial institution with a local risk rating of no less than “A”, assigned by a domestic risk rating company, duly authorized by the Superintendence of Securities Market (SMV);

In these cases, the Permitted Creditors may be represented by an Administrative Agent or Collateral Agent, which shall be any of the subjects indicated in Numerals (i) to (v) of Subparagraph a) above. For such purposes, the following are considered:

“Administrative Agent”, whose function will be to manage and monitor compliance with the obligations and commitments established in the Permitted Guaranteed Indebtedness contract, as well as to represent the Permitted Creditors.

“Collateral Agent”, in favor of whom the collateral is granted for the benefit of the Permitted Creditors and whose function will be to administer the collateral contracts that the CONCESSIONAIRE has granted in support of the Permitted Guaranteed Indebtedness, to execute the collateral on behalf of and for the account of the Permitted Creditors and to recover the amounts of the execution to be distributed among the Permitted Creditors.

It should be noted that the qualification of the Administrative Agent or Collateral Agent is of an administrative nature to exercise the rights on behalf of the Permitted Creditors.

In the event that after the authorization of a Permitted Guaranteed Indebtedness of syndicated or bilateral credits, a Permitted Creditor wishes to assign its credit to a third party, either totally or partially in such Permitted Guaranteed Indebtedness, in order for such third party to be considered a Permitted Creditor, it must be previously qualified as a Permitted Creditor by the GRANTOR, and for such purpose it must submit the declaration contained in Appendix 1 of Annex No. 07 of this Concession Contract.

  - In the event that the Permitted Guaranteed Indebtedness is structured through issuances in the securities or capital markets, both domestic and international, the Permitted Creditor shall be:

- All institutional investors so considered by the legal regulations in force (such as Pension Fund Administrators - AFP, insurance companies, national or international), who directly or indirectly acquire any type of transferable security issued by the CONCESSIONAIRE, the trustee, securitization company, special purpose company, incorporated in Peru or abroad that acquire rights or assets derived from the Concession Contract;

- Any trust patrimony, investment fund or securitization company or special purpose company incorporated in Peru or abroad that directly or indirectly represents or acquires rights or assets derived from the Concession Contract.

  - Ineligibility Regime:

The Permitted Creditor(s) shall in no case be: (i) any Related Company or entity, fund or individual with economic ties to the CONCESSIONAIRE, in accordance with the provisions of Resolution SMV No. 0192015-SMV/01, or standard that replaces it; (ii) any entity, fund or, individual, declared ineligible by the Inter-American Development Bank or on the list of parties sanctioned by the World Bank or other multilateral organization with which the State has entered into credit contracts as of the date of submission of Annex No. 7 or thereafter; (iii) any individual convicted by the competent authority by means of a final and unappealable judgment, or entity that has been sanctioned with criminal or administrative liability by means of a final and unappealable judgment, for the commission of corruption crimes (related to bids, public works, Public-Private Partnerships and Projects in Assets), money laundering or terrorism to the detriment of the Peruvian State, committed in Peru or abroad; and, (iv) any entity or fund that through its attorneys-in-fact, legal representatives, directors or managers (or equivalent positions), officers or employees, acting in the exercise of their functions, had recognized before a competent authority the commission of corruption crimes (related to biddings, public works, Public-Private Partnerships and Projects in Assets), money laundering or terrorism against the Peruvian State, committed in Peru or abroad, provided that such recognition had been officially informed by a competent authority to the Peruvian State or to the GRANTOR.

In the case of the financing operations indicated in subparagraphs a) and b) above, PROINVERSIÓN must verify that the Permitted Creditor is not included in the first paragraph of subparagraph c) when evaluating the qualification of such Permitted Creditor as part of the Permitted Guaranteed Indebtedness.

In the case of the financing operations indicated in subparagraph a) above, if one or more Permitted Creditors, due to information that is notorious or public knowledge, is included in any of the assumptions of the first paragraph of this subparagraph, and this will affect the availability of financial resources associated to such Permitted Creditor in such a way that the CONCESSIONAIRE cannot comply with the execution of the project, the CONCESSIONAIRE shall, within one hundred and twenty (120) Calendar Days after having been notified by the GRANTOR of such situation: (i) deliver evidence to the GRANTOR of the substitution of the Permitted Creditor for another that complies with the requirements established in accordance with the provisions of the Concession Contract; (ii) evidence to the GRANTOR that it has the necessary resources for the completion of the execution of the project, in which case, the CONCESSIONAIRE may submit a resolution of its General Shareholders' Meeting committing to make the corresponding capital increases to substitute

the current schedule of disbursements of the creditor that has lost the status of Permitted Creditor; submit to the GRANTOR a new loan agreement entered into with a new Permitted Creditor, a third party or an entity related to the CONCESSIONAIRE; (iv) submit to the GRANTOR documents evidencing the extension of any of the financing contracts in force that allow the completion of the execution of the project, as the case may be; or in any case, (v) accredit to the GRANTOR that it has the necessary resources through the combination of two (2) or more of the accreditations or methods indicated above; otherwise, after the one hundred and twenty (120) Calendar Days indicated above, the penalty foreseen in Annex No. 12 of the Concession Contract shall be applicable.

### Certificate of Completion of the Pre-Operational Period

It is the document signed by the Parties that marks the end of the Pre-Operational Period, in which it is certified that the established requirements have been fulfilled to start the Operation. For its subscription, this Certificate must contain the Start-up Certificate and the Works and Electromechanical Equipment Acceptance Certificates of both components.

### Delivery Certificate of the Concession Areas

It is the document signed by the Parties to the Concession Contract, through which it is stated for the record that the Concession Areas delivered by the GRANTOR to the CONCESSIONAIRE have the respective Legal-physical Sanitation, in accordance with the provisions of this Concession Contract.

### Authorization Certificate for Start-up:

It is the document signed by the Parties to the Concession Contract, through which it is stated for the record that the CONCESSIONAIRE has completed the Works and implementation of the Electromechanical Equipment foreseen in the respective EDI, leaving a record of the CONCESSIONAIRE's compliance on the same. In the event that non-substantial observations remain, this Certificate may be issued to initiate the Start-up, period in which the CONCESSIONAIRE undertakes to remedy the persistent non-substantial observations.

### Certificate of Start of Construction of Works and Electromechanical Equipment

It is the document signed by the Parties, which records the start of construction of the Works and Electromechanical Equipment of the respective Final Engineering Study, after the corresponding requirements have been accredited, in accordance with the term and conditions provided for in Clause 6.27 and following.

### Start-up Initiation Act

It is the document signed by the Parties by means of which the commencement of the Start-up by the respective Component is recorded, after the conditions set forth in Clause 6.41 and following are fulfilled.

### Operation Initiation Act

It is the document signed by the Parties, by means of which the commencement of the Operation of the respective Component is recorded, being a prerequisite to have obtained the Start-up Certificate and the Works and Electromechanical Equipment Acceptance Certificate, as established in Chapter VII.

### Minutes of Correction of Substantial Observations:

This is the document signed by the Parties to the Concession Contract, whereby it is recorded that the CONCESSIONAIRE has accredited the correction of the substantial observations identified by the Supervisor and/or the GRANTOR with respect to the Works and Electromechanical Equipment, establishing at the same time that there are still non-substantial observations that must be removed by the CONCESSIONAIRE during the Start-Up. Once it has been signed, it shall be attached to the Authorization Certificate for Start-up:, in order to state for the record that the Works and Electromechanical Equipment are ready for the start of Start-Up as established in Clause 6.43.

### Works and Electromechanical Equipment Acceptance Certificate:

This is the document signed by the Parties to the Concession Contract, whereby it is stated for the record that the CONCESSIONAIRE has completed the execution of the Works and implementation of the Electromechanical Equipment, in accordance with the corresponding Final Engineering Study.

### Reversion Certificate of Assets:

It is the document signed by the Parties to the Concession Contract, by means of which it is recorded that the CONCESSIONAIRE delivers to the GRANTOR the Concession Assets and/or Affected Assets of the Concession, in accordance with the provisions of the Concession Contract.

### Successful Bidder:

It is the qualified bidder, to whom the award of the Successful Bid of the Tender has been granted.

### Senior citizen

Senior citizens are considered to be all those who are 60 years of age or older, in accordance with Law No. 28803 (LAW FOR OLDER PERSONS).

### Private Investment Promotion Agency – PROINVERSIÓN:

It is the specialized technical agency attached to the Ministry of Economy and Finance, with legal personality, technical, functional, administrative, economic and financial autonomy, in charge of designing, conducting and concluding the process of promoting private investment in projects developed through the Public-Private Partnership and Projects in Assets modalities, under the scope of its competence, unifying the decision making within the process, in accordance with the provisions of the Applicable Laws and Provisions.

### Calendar Year:

It is the twelve (12) month period from January 1 to December 31 of each year, both dates inclusive.

### Concession Year:

It is each twelve (12) month period computed from the Closing Date, inclusive, until the end of the term of the Concession.

### Area of Influence of the Concession:

These are the areas where the direct and indirect environmental impacts resulting from the activities developed within the framework of the Project will have an impact. Its boundaries will be defined in the environmental management instruments (IGA).

### Concession Area:

These are the areas located in the regions of Cusco and Apurimac, which will be delivered by the GRANTOR to the CONCESSIONAIRE for the purposes of the Concession, as detailed in Annex No. 02. These areas include the property owned by the Grantor and the easements whose burden will be imposed by the Concessionaire, in accordance with the terms of the Contract.

The Concession Areas, for the purposes of this project, will form an integral part of the North and South Components of this Project.

### Relevant Governmental Authority:

It is the national, regional, departmental, provincial or district agency or institution, or any of its dependencies or agencies, regulatory or administrative, or any entity or organism of Peru that according to law exercises executive, legislative or judicial branches, or that belongs to any of the aforementioned governments, authorities or institutions, with competence over the persons or matters in question.

### Relevant Environmental Authority:

It is the national, regional, departmental, provincial or district agency or institution, or any of its dependencies or agencies, regulatory or administrative, or any entity or organism of Peru that according to law exercises executive, legislative or judicial branches, or that belongs to any of the aforementioned governments, authorities or institutions, with competence over environmental matters.

It is the Ministry of Foreign Trade and Tourism, through the General Directorate of Tourist Development Policies (DGPDT), or the entity that, within the framework of the National Environmental Impact Assessment System (SEIA) and the National Environmental Assessment and Control System (SINEFA), substitutes it in the performance of its functions.

### Bidding Terms:

It is the document, including its forms, annexes, appendices and official letters issued by PROINVERSIÓN, which established the terms under which the Tender was carried out.

### Concession Assets:

They are the following:

- The Concession Areas, referred to in Annex No. 02, as of the Closing Date.

- The Works and Electromechanical Equipment built or implemented by the CONCESSIONAIRE during the term of the Concession and once the corresponding Works and Electromechanical Equipment Acceptance Certificate has been subscribed.

- Buses corresponding to the Bus Ground Transportation Service (between the central stations and departure stations)

- The assets that have been integrated to the Concession as a result of any additional investment as provided in the Contract.

- Other inseparable assets linked to the execution of the Investment and to the Mandatory Services, which when removed could affect the Works or the Electromechanical Equipment.

These assets shall be reverted to the GRANTOR in accordance with the provisions of the Concession Contract, duly cleaned up and free of charges, liens or encumbrances.

The Concession Assets shall include movable assets consisting of those rights that under any title empower or authorize the use or operation of other assets or technologies. All rights over the operating systems, software, know-how, as well as the respective licenses and permits used by the CONCESSIONAIRE in the operation of the Concession Assets are considered to be included within the Concession Assets.

### Assets Affected by the Concession:

These are those movable assets owned or in possession of the CONCESSIONAIRE such as administrative equipment and furniture, vehicles and others included in the Minimum Requirements for Design and Construction established in Annex No. 10, which are incorporated to the Concession and are affected to the Tourist Services. In the event of Termination, the GRANTOR is entitled to the purchase option on the same in accordance with the provisions of Chapter XVI of the Concession Contract.

### Assets of the CONCESSIONAIRE:

All assets owned by the CONCESSIONAIRE that are not listed in Annex No. 10 of this Contract and that are not necessary to achieve the Service Levels.

These assets are used by the CONCESSIONAIRE in the Project facilities at its own account, cost and risk, for the development of its activities. These assets do not revert to the GRANTOR, nor are they recognized by the latter upon Termination of the Contract for any reason.

### Start-up Certificate:

It is the document issued by the GRANTOR that certifies that the CONCESSIONAIRE has

satisfactorily carried out the Start-up of the respective Component, in accordance with the respective Final Engineering Studies.

With the issuance of this certificate, the Start-up of the Component is deemed to be complete, and together with the signing of the Works and Electromechanical Equipment Acceptance Certificate, the Pre-Operational Period and the start of Operation will be deemed to be completed. The GRANTOR must deliver this certificate to the CONCESSIONAIRE on the same day of its issuance, with a copy to the Supervisor.

### Financial Closing:

It is the reliable and documented accreditation made by the CONCESSIONAIRE, which must demonstrate that it has the necessary financial resources for the execution of the Project.

### Co-financing:

These are the resources granted by the GRANTOR to pay the obligations of the CONCESSIONAIRE, which will be disbursed through the mechanism of Availability Payments (PPD) and Payment for Works (PPO). The GRANTOR shall budget the obligations to be cancelled (PPO, PPD1 and PPD2) plus VAT considering the collection of Tariffs plus VAT, according to the terms of this Contract.

## GRANTOR:

It is the State of the Republic of Peru represented by the Ministry of Foreign Trade and Tourism of Peru (MINCETUR).

### Concession:

It is the legal relationship of Public Law that is established between the GRANTOR and the CONCESSIONAIRE as of the Closing Date, by virtue of which the GRANTOR grants the CONCESSIONAIRE the right to design, finance, construct, equip, operate and maintain the Works and the Electromechanical Equipment, as well as the right to the economic operation of the Concession Assets, during the term established in the Concession Contract, in accordance with the terms contained therein, and with the Applicable Laws and Provisions.

## CONCESSIONAIRE:

It is the specific purpose company, incorporated as a legal entity in Peru, which will enter into this Concession Contract, in accordance with the requirements set forth in the Bidding Terms and this Concession Contract.

### Tender:

This is the mechanism of the selection process regulated by the Bidding Terms for the concession of the Project to the private sector, through a comprehensive project tender.

### Builder:

The CONCESSIONAIRE or the construction companies contracted by the CONCESSIONAIRE, at its account, cost and risk, which accredited the technical requirements in construction, in accordance with the provisions of the Bidding Terms that will execute the Works and Electromechanical Equipment that are part of the Concession.

### Contract or Concession Contract:

This document, including its Annexes and Appendices, entered into between the GRANTOR and the CONCESSIONAIRE, governs the relationship between them during its term of validity.

### Control:

It is the situation in which a natural or legal person holds or is subject to the control of another legal person, or is subject to common control with the latter, in any of the following cases:

  - It has more than fifty percent (50%) of the voting power in the general shareholders' or partners' meeting, through direct ownership of the securities representing the capital stock or indirectly through usufruct, pledge, trust, syndication and similar contracts or any other legal act.

  - Directly or indirectly, it has the power to appoint or remove the majority of the members of the board of directors or equivalent body, which allows it to control or exercise the majority of votes in the meetings of the board of directors or equivalent body, or to govern the operating or financial policies under a regulation or contract of any kind.

  - By any other mechanism or circumstance (contractual or not), it effectively controls the decision-making power in the other company.

### Schedule for the Execution of Works and Electromechanical Equipment:

This is the document that contains the schedule for the construction and implementation of the Electromechanical Equipment of the Project, in accordance with the term set out in Clause 6.10, and will form an integral part of each of the Final Engineering Studies. This schedule must be presented in accordance with the Concession Contract and must identify the Critical Path and main milestones.

### Component:

For the purposes of this Project, it refers, independently, to the South and North Components, consisting of the Works and Electromechanical Equipment and buses to be executed according to the following Final Engineering Studies:

- North Component: Works and Electromechanical Equipment and buses executed in:

- EDI San Juan Cable Car Station – Maizal Station and Maizal Cable Car Station – Abra Choquequirao Station

- EDI Yanama Central Station

- EDI Tourist Route Central Station Yanama – San Juan Station

- South Component: Works and Electromechanical Equipment and buses executed in:

- EDI Cable Car Kiuñalla Station – Unión Station, within ten (10) months counted from the Calendar Day following the Closing Date.

- EDI Central Station Huanipaca, within six (06) months counted from the Calendar Day following the Closing Date.

- EDI Tourist Route Kiuñalla – Kiuñalla Station, within four (04) months counted from the Calendar Day following the Closing Date.

Components are mentioned when referring to the South Component and North Component together.

### Conservation:

Set of operations intended to maintain the specified state of buildings, works, installations and Electromechanical Equipment, as well as that of their structures, substructures, elements or subcomponents.

### Custody:

It comprises the actions of a correct diligence of protection, custody, conservation and maintenance that the CONCESSIONAIRE must develop to guarantee the integrity of the Concession Assets and of the Assets Affected to the Concession, which are delivered to it from the signature of the Delivery Certificate of the Concession Areas until the subscription of the Reversion Certificate of the Assets.

### Days:

These are working days, i.e., those that are not Saturdays, Sundays or non-working holidays in the province of Lima or in the localities of the Project. Holidays are also considered to be days that are not working days for the public sector. The terms established in this Concession Contract shall be counted from the day following the date of receipt of the notification.

### Calendar Days:

These are working days, non-working days, and holidays. The terms established in this Concession Contract shall be counted from the day following the date of receipt of the notification.

### “Dollar or Dollars or U.S. Dollar or US$”

It is the currency of legal tender in the United States of America.

### Affiliated Company:

A company shall be considered an affiliate of another company when the Control of such companies is exercised by the same Parent Company.

### Parent Company:

It is a company that owns the Control of one or more companies. Also considered in this definition is a company that has Control of a Parent Company, as defined above, and so on.

### Subsidiary Company:

It is a company whose control is exercised by a Parent Company. Also considered in this definition is that company whose Control is in the hands of a Subsidiary Company, as defined herein, and so on.

### Related Company:

It is any Affiliated, Parent or Subsidiary Company and the existence of a relationship is presumed in any of the following cases:

- When they are part of the same economic group.

- When the same guarantee backs the obligations of both, or when more than 50% of the obligations of one are guaranteed by the other, and the other is not a company in the financial system.

- When more than 50% of the obligations of a legal entity are receivables of another, and this other entity is not a company in the financial system.

- When a legal entity holds, directly or indirectly, a participation in the capital stock of another entity that allows it to sit on its board of directors.

- When one third or more of the members of the board of directors or managers of one of them are directors, managers or workers of the other.

### Permitted Guaranteed Indebtedness:

This consists of indebtedness for financing or credit operations, issuance of transferable securities or loans, all of them, granted by any Permitted Creditor under any modality, the funds of which will be destined to the fulfillment of the obligations of the Concession Contract, including any renewal, rescheduling or refinancing of such indebtedness that is guaranteed by one or more Permitted Creditor(s); whose main financial terms, including the amounts of the principal, interest rate(s), amortization provisions or other similar terms, have the approval of PROINVERSIÓN, in accordance with the provisions of Chapter VIII.

The concepts of financing or credit operations, issuance of transferable securities or debt instruments or money loans, whose funds are intended to finance the CONCESSIONAIRE's Assets, will not be considered Permitted Guaranteed Indebtedness.

### Financial Institutions:

They are the following:

- Banking and insurance companies defined in accordance with Law No. 26702, General Law of the Financial System and the Insurance System and Organic Law of the Superintendency of Banking and Insurance, or regulation that modifies or substitutes it;

- First category foreign banks; and,

- International financial institutions, referred to in Annex No. 04.

### Electromechanical Equipment:

Throughout the Concession Contract, Electromechanical Equipment is understood as all

electrical and mechanical components that form part of the cable transport installation (cable car) which, according to the European standard, are the following:

- Cables and cable clamps

- Engine and brake equipment

- Mechanical devices:

  - Cable tensioning devices

  - Mechanical devices at stations

  - Mechanical devices on line supports

- Vehicles:

  - Cabins, chairs and towing devices

  - Lifting elements

  - Carriages

  - Fastening to the cables

- Electrotechnical devices:

  - Command, control and safety devices

  - Communication and information facilities

  - Lightning protection devices

- Lifesaving devices:

  - Fixed lifesaving devices

  - Mobile lifesaving devices

Electromechanical Equipment is remunerated through the PPO and PPD1.

- Minimum specifications for the drafting of the Final Engineering Study:

Minimum requirements for the execution of the basic studies and drafting of the Final Engineering Studies that must be met by the CONCESSIONAIRE and that are developed in Annex No. 08 of this Contract.

### Basic Technical Specifications

It refers to the criteria, standards, technical parameters and procedures that must be followed during the design, construction and maintenance of the Project. It includes the description of the materials, dimensions, geometry, quality standards, and requirements necessary to ensure that the works and electromechanical equipment meet the Project's functionality, safety, and durability expectations.

### Final Engineering Study or EDI:

It is the detailed document that contains the necessary and sufficient information to allow the execution and supervision of the Works, as well as the implementation of the Electromechanical Equipment, in each Concession Area, in accordance with the minimum Technical Specifications for the drafting of the Final Engineering Study. It is prepared by the CONCESSIONAIRE, with the corresponding approval of the GRANTOR, after receiving the opinion of the Supervisor, which must contain the development of the Project in the respective Concession Area at a definitive level, in accordance with Annex No. 08 and the Technical Offer of the Successful Bidder of Annex No. 14. It is binding for the execution of the Works and the implementation of the Electromechanical Equipment.

### Service Level Non-compliance

It is the CONCESSIONAIRE's non-compliance with a Performance Indicator, which begins after the end of the Rectification Period, without having solved the requirement of the Service Request.

If the Performance Indicator does not have a Rectification Period or it is zero, the Service Level Non-Compliance begins upon assignment of the report number and ends with the closing of the report generated in the SIDIG.

### Closing Date:

It is the Day on which the Concession Contract is signed between the GRANTOR and the CONCESSIONAIRE, at the time and place provided for this purpose.

### Termination Date

Date on which the Termination becomes effective, producing the effects of clause

16.13 to 16.18.

### Administration Trust:

This corresponds to the Trust Contract that will be signed by the GRANTOR, the CONCESSIONAIRE and the Trustee designated for the administration of the flows derived from the Project.

### Guarantee of Faithful Fulfillment of Contract:

These are the letters of guarantee or standby letters of credit confirmed by a Financial Entity in accordance with Annexes No. 05 and 06 that the CONCESSIONAIRE will present in favor of the GRANTOR, whose name will be in accordance with the period of the Project, in accordance with the provisions of Chapter XI.

They may be constituted by more than one letter of guarantee or, alternatively, a standby letter of credit confirmed by a Financial Entity in accordance with the provisions of Chapter X of the Contract, provided that they add up to the total amount required for the corresponding guarantee.

These guarantees must be joint, unconditional, irrevocable, with express waiver of the benefit of exclusion and division, and automatically enforceable. The amount of the Guarantee of Faithful Fulfillment of Contract does not constitute a limit on the penalties or indemnities that may be applicable for non-compliance.

Pursuant to Chapter X, this guarantee is made up of the following:

  - Guarantee of Faithful Fulfillment for the Pre-Operational Period

  - Guarantee of Faithful Fulfillment of the PPO

  - Guarantee of Faithful Fulfillment for the Operational Period

Likewise, the guarantees will be presented by the CONCESSIONAIRE in favor of the GRANTOR to guarantee during their validity:

    - Compliance with all obligations under the Concession Contract;

    - Payment of penalties; and,

    - Amounts ordered to be paid, by means of a final judgment, final sentence or enforceable arbitration award; and,

    - Other statements and stipulations provided for in the Concession Contract.

### Interest Groups

These are the groups or individuals that are or are perceived to be directly or indirectly impacted by the development of the Project and, therefore, also have the capacity to directly or indirectly affect the development of the Project.

### Economic Group:

It is the set of legal entities, regardless of their activity or corporate purpose, that are subject to the control of the same natural person or the same group of natural persons, in accordance with the definitions contained in SMV Resolution No. 00019-2015-SMV/01, or any regulation that modifies or replaces it.

## VAT:

It is the General Sales Tax, referred to in the Single Ordered Text of Law on General Sales Tax and Selective Consumption Tax Law, approved by Supreme Decree No. 055-99-EF, or regulations that modify or replace it, as well as the Municipal Promotion Tax referred to in the Single Ordered Text of the Municipal Taxation Law, approved by Supreme Decree No. 156-2004-EF, or regulations that modify or replace it.

### Service Index

It is the score that results from the weighted average of the rating, made by the Supervisor, to the Service Levels.

### Findings Report

This is the report that the Supervisor prepares within the framework of the reversion process of the Concession Assets.

### Settlement Report

It is the quarterly report that the Supervisor will prepare based on the deductions calculated by the Supervisor in accordance with Appendix 3 of Annex No. 11. This report is sent by the Supervisor to the GRANTOR, indicating the Balance to be Settled that will serve as the basis for the calculation and application of the PPD for the following quarter, in accordance with the times and content provided for in numeral 35 to 40 of Annex No. 11 and using the formats in Appendix 4 of Annex No. 11.

### Availability Payment Report

It is the report that the Supervisor will prepare based on the Settlement Report. This report

is sent by the Supervisor to the Trustee with copy to the CONCESSIONAIRE and the GRANTOR, indicating the value of the settlement according to numeral 11 of Appendix 1 of Annex No. 11, as well as the balances to be liquidated of PPD1 and PPD2 of the previous quarters, in accordance with the times and content of numeral 30 of Appendix 1 of Annex No. 11 and taking as reference the format of Appendix 4 of the same annex.

### Monthly Activity Report:

Document prepared by the CONCESSIONAIRE, which will contain the list and description of the activities carried out during the month to fulfill the provision of the Mandatory Services in accordance with the provisions of the annual plans. In addition to the monthly calculation of the Service Level Indicators in accordance with the provisions of Appendix I of Annex No. 9.

### Special Reports:

Document requested by the Supervisor and prepared by the CONCESSIONAIRE during the Operation Stage, detailing, clarifying or explaining any situation or aspect related to the provision of the Mandatory Services of the Concession Contract.

### Revenue from Tariff

These are the resources from the collection of tariffs from users, which will be deposited in the Administration Trust and will be used to pay PPD and any other obligation of the GRANTOR arising from the Concession Contract.

### Environmental Management Instrument (IGA):

This is the detailed environmental impact study, including its modifications and updates, and other complementary environmental management instruments, which will be prepared by the CONCESSIONAIRE and approved by the Relevant Environmental Authority, which foresees the generation of negative environmental impacts and their mitigation. It also establishes the environmental management strategy that considers the mechanisms and actions for the implementation of mitigation activities and commitments that the CONCESSIONAIRE is obligated to fulfill during the Concession period.

### Inspector:

It is the legal entity of private or public law, contracted by the Permitted Creditors, at their own expense, cost and risk, which will participate temporarily and extraordinarily, in accordance with the provisions of Chapter VIII.

### Investment:

It includes the resources necessary to execute the Project, as well as the financial expenses associated with its development, other expenses considered in the structuring of the financing, including, but not limited to:

- Investment in Works

- Electromechanical Equipment and Furniture

- Administrative costs of the Concessionaire

- Cost of supervision

- The costs of the process to PROINVERSIÓN

- Cost of hiring and insurance premiums

- Cost of the Guarantee of Faithful Fulfillment

- Costs of the Dispute Resolution Board

- Supervision during the drafting of the EDI and the Construction Period

- The interests of the Construction Period corresponding to the financial asset

- General expenses and profit

- Other pre-operating and intangible expenses associated with the Project, prior to the commencement of the Operational Period, which are related to the performance of the CONCESSIONAIRE's obligations under the Contract.

### Investment in Works:

It includes the resources necessary to carry out the design and the Works, including, but not limited to:

- The drafting of the Final Engineering Studies

- The expenses of the Construction Period, which include: drafting, approval and implementation of the Environmental Management Instrument(s), obtaining the CIRA and other authorizations, certifications, easements, permits, urban developments and licenses, among others, that are necessary according to Applicable Laws and Provisions for the execution of the project.

- The execution of the Works, including the costs of the Start-up until the beginning of the Operational Period

- General expenses and profit

The Investment in Works is that recorded in the Final Engineering Study.

### Initial Inventory:

It is the document prepared by the GRANTOR in which the real estate property or assets that will be delivered as Concession Assets will be detailed, and will form part of the Delivery Certificate of the Concession Area, in accordance with the provisions of the Concession Contract.

- Inventory of Works, Electromechanical Equipment and Assets Assigned to the Concession: It is the document prepared by the CONCESSIONAIRE that must be included in the Works and Electromechanical Equipment Acceptance Certificate, which must be approved by the GRANTOR, in accordance with the provisions of the Concession Contract.

### Annual Inventory:

It is the document prepared by the CONCESSIONAIRE together with the Annual Operation Plan, and must be approved by the GRANTOR, in accordance with the provisions of the Concession Contract.

### Final Inventory:

It is the document prepared by the CONCESSIONAIRE together with the Annual Operation Plan, which is a requirement for the signing of the Reversion Certificate of the Concession

Assets, and must be approved by the GRANTOR, in accordance with the provisions of the Concession Contract.

### Applicable Laws and Provisions:

It is the set of current regulatory provisions, such as the Political Constitution of Peru, rules with the rank of law, supreme decrees, regulations, regulatory standards, directives, resolutions, as well as any other that, in accordance with the legal system of the State of the Republic of Peru, is applicable, which will be mandatory for the Parties and the Supervisor, or those issued during the course of the Concession by any Relevant Government Authority.

### Maintenance:

Set of operations necessary to maintain and restore the specified condition of buildings, works, facilities and electromechanical equipment, as well as their structures, substructures, elements or subcomponents, and the verification and evaluation of their effective condition.

### Nationalization

Date on which SUNAT authorizes release for consumption, i.e., the Electromechanical Equipment has the customs declaration number and the Concessionaire obtains authorization for free circulation of the Electromechanical Equipment within Peruvian customs territory, once all legal and tax requirements established by SUNAT have been met.

### Child:

A child is considered to be every human being from conception until the age of twelve, according to Article 1 of the Code of Children and Adolescents, Law No. 27337.

### Service Levels:

Minimum quality parameters and standards for the Mandatory Services that the CONCESSIONAIRE must achieve and maintain during Operation, in accordance with the provisions of Annex No. 09.

### Works:

These are the structures, buildings, facilities and other assets related to the Project that will be built during the term of the Concession, in respect of each Concession Area.

### Economic Offer:

It is the one contained in Annex No. 14, the content of which binds the CONCESSIONAIRE.

### Operation:

It includes the provision of Mandatory Services, exclusively for the purposes set forth in the Concession Contract during the Operational Period.

### Availability Payment or PPD:

It is the quarterly payment made by the GRANTOR to the CONCESSIONAIRE for the Investment, and the management and provision of the Mandatory Services, which includes operation and maintenance. This payment includes remuneration for all obligations set forth in the Concession Contract, in accordance with numerals 04 to 40 of Appendix 1 of Annex No. 11 of the Concession Contract, with the exception of those recognized by the Payment for Works (PPO).

## PPD1

PPD1 will acknowledge the Investment (except for the investment recognized through PPO) and will be part of the PPD settlement for fifteen (15) years. The PPD1 will be paid in Dollars in installments to be settled quarterly, and will be adjusted for inflation between the date of the award of the Successful Bid and the beginning of each semi-annual work progress.

## PPD2

The PPD2 component will recognize the Operation and Maintenance and will be part of the quarterly PPD settlement during the entire Operational Period of the Project and will be subject to Deductions based on compliance with the Service Levels established in Annex No. 9. The PPD2 will be paid in Soles in installments settled quarterly and will be adjusted annually for inflation between the time of submission of the Successful Bid and the beginning of each Calendar Year corresponding to each Component.

### Payment for Work or PPO:

It is the advance payment made by the GRANTOR to the CONCESSIONAIRE as part of the payment for the manufacture of the Electromechanical Equipment of both Components. The amount of the PPO is fixed and established prior to the Tender, and will be paid in accordance with the schedule set forth in the Technical Offer of the CONCESSIONAIRE and in accordance with Appendix 1 of Annex No. 11.

### Party:

For the purposes of the Concession Contract, it is, as the case may be, the GRANTOR or the CONCESSIONAIRE.

### Parties:

For the purposes of the Concession Contract, they are, jointly, the GRANTOR and the CONCESSIONAIRE.

### Minimum Participation:

It is the minimum shareholding, which at no time may be less than twenty-five percent (25%) of the CONCESSIONAIRE's subscribed and paid-in cash capital stock, which the Strategic Partner must own and maintain during the entire Concession term, pursuant to the terms and conditions set forth in the Concession Contract.

This participation shall necessarily have the right to speak and vote at the General Shareholders' Meeting of the CONCESSIONAIRE.

### Operational Period:

It is the period from the Calendar Day on which the first Operation Initiation Act is subscribed until the date of Termination of the Concession Contract. During this period the CONCESSIONAIRE will carry out the provision of the Mandatory Services, which includes the Operation, Maintenance and Conservation of the Works and Electromechanical Equipment and other obligations established in the Concession Contract.

### Pre-Operational Period

This is the period between the Closing Date and the date of execution of the last Operation Initiation Act. During this period, the design, financing and construction of the Works and implementation of the Electromechanical Equipment of the Project will be carried out, as well as the Start-up of the North and South Components.

### Annual Conservation and Maintenance Plan:

Management document prepared by the CONCESSIONAIRE, which will contain the strategies, policies, activities, execution frequencies and resources necessary for the Provision of the Works and Equipment Conservation and Maintenance Service, as well as the compliance with the Service Levels for the period of one year.

### Annual Cleaning and Sanitation Plan:

Management document prepared by the CONCESSIONAIRE, which shall contain the strategies, policies, activities, execution frequencies and resources necessary for the Provision of the Cleaning and Sanitation Service of the Works and Equipment, as well as the fulfillment of the Service Levels for a period of one year.

### Annual Operation Plan:

Management document prepared by the CONCESSIONAIRE, which will contain the strategies, policies, activities, execution frequencies and resources necessary for the Provision of the Cable Car Transportation Service, as well as compliance with the Service Levels for the period of one year.

### Annual Security and Surveillance Plan:

Management document prepared by the CONCESSIONAIRE, which will contain the strategies, policies, activities, execution frequencies and resources necessary for the Provision of the Security and Surveillance Service, as well as compliance with the Service Levels for a period of one year.

### Work Plan:

It is the document by which the CONCESSIONAIRE shall describe how it will develop its activities for the drafting of the Final Engineering Studies, as well as the schedule of partial progress and deliverables that shall be sent to the GRANTOR, with a copy to the Supervisor, for information purposes, within the framework of the provisions of this Contract. It shall include the BIM scheme of work (BIM Execution Plan) specifying the

scope and limitations of the BIM Model throughout the development of the Project, roles, communication, conventions for the elements of each specialty.

### BIM Execution Plan (BEP)

It is a document that defines the common guidelines and working methods that will serve as a basis and working guide for the development of Final Engineering Studies prepared using the BIM methodology.

### Technical Offer:

It is contained in Annex No. 13, the content of which is binding on the CONCESSIONAIRE.

### Project:

This project is called "Improving Public Tourism Services at the Choquequirao Archaeological Park," implemented under a Public-Private Partnership (PPP) modality, in accordance with the provisions of the Concession Contract.

### Start-up:

It is the set of activities necessary to verify the operability of the Works and the Electromechanical Equipment, in a period of up to three (3) months, which ends with the respective issuance of the Start-up Certificate.

### Minimum Requirements for Design and Construction

These are the minimum technical requirements necessary to carry out the Works, implement the Electromechanical Equipment, as well as the minimum requirements for the implementation of the administrative furniture and equipment, which must be met by the CONCESSIONAIRE and which are developed in Annex No. 03 of this Contract.

### ICE (Integrated Concurrent Engineering) Meeting

It is each of the coordination sessions in which the duly accredited personnel of the CONCESSIONAIRE, Supervisor and GRANTOR meet, to be held periodically within the framework of the drafting of the Final Engineering Studies.

### Critical Path

It is the sequence of activities that, together, determine the maximum construction term and are essential for its completion. It is presented as part of the Schedule for the Execution of Works and Electromechanical Equipment that is incorporated into the Final Engineering Study.

### Legal-physical Sanitation

It includes all actions carried out on the Concession Areas or other real estate, in order to regularize and formalize the ownership rights and real rights to said properties, resulting in the registration of the lands, properties or real estate of the Concession in the corresponding registries, which are free of charges and encumbrances that could impede the execution of the Project.

### Complementary Services

These are services that, without being mandatory for the purposes of this Contract and not contemplated in the Technical Offer, the CONCESSIONAIRE may provide as a result of the operation of the Concession Assets. This may include the sale of products derived from merchandising of the "Choquequirao Cable Car" brand. For this purpose, the CONCESSIONAIRE must register the "Choquequirao Cable Car" brand and logo with the National Institute of the Defense of Competition and the Protection of Intellectual Property (Indecopi) in favor of the State; the provision of these services must be previously authorized by the GRANTOR.

### Mandatory Services

These are the services that are contemplated within the framework of the Concession Contract because they are related to its purpose, which are the responsibility of the CONCESSIONAIRE, which will be implemented and provided by it, and these are the following:

- Conservation and Maintenance Service: It includes the work and activities of Conservation and Maintenance of the Works (Central Stations, Cable Car Stations, Tourist Roads and Pedestrian Pathways), of the Electromechanical Equipment (Cables, Cabins, Clamps, etc.) and of the buses with the following methods:

  - Preventive Maintenance (routine or periodic activities)

  - Corrective Maintenance

  - Replacement of Supplies and Components

  - Replacement of Assets and Furniture

- Cleaning and Sanitation Service: It includes the following services:

  - Cleaning and Sanitation Service at the Central Stations and Cable Car Stations

  - Cleaning and Sanitation Service for the Electromechanical Equipment of the Cable Cars

  - Cleaning and Sanitation Service for Buses

  - Solid Waste Management Service generated within stations, cabins and buses

  - Pest Control Service

- Security and Surveillance Service: It includes the following services:

  - Surveillance within the Stations

  - Routine surveillance

  - Corrective surveillance or Emergency Response

  - Implementation of video surveillance cameras

- Cable Car and Bus Transportation Service: It includes the following services:

  - Cable Car and Bus Transportation Service

  - Ground Transportation Service by Bus (between central stations and departure stations)

  - User Access Control and Management

  - Management of Boarding and Alighting of Users at Stations (queue and crowd management)

  - Accessibility for People with Disabilities and Elderly Individuals.

  - User Information and Assistance Service in Spanish, Quechua, and English.

  - Orientation Service (signage) in Spanish, Quechua and English

- Mandatory Services Administration Service: It includes the following services:

  - Drafting of Monthly Activity Reports

  - Periodic Evaluation of Service Levels and Indicators

  - Recording and Documentation of Operation Activities

  - Compliance with Environmental Management Instruments

  - Document Management

These services must comply with the Service Levels established in Annex No. 09 and will be remunerated through the PPD, as well as what is established in Appendix 1 of Annex No. 09.

### Tourist Service

This refers to the provision of facilities in the Choquequirao tourist corridor that will provide visitors with a safe and efficient alternative for accessing the Choquequirao Archaeological Monument Tourist Resource; this service includes the implementation of two means of transportation: (i) cable car, which will provide direct access to the resource, and (ii) buses, a tourist transportation service that will serve as a feeder for the cable car. Both to be developed in accordance with the provisions of the Concession Contract.

### Integrated Digitalized System (SIDIG)

It is the computer system that the CONCESSIONAIRE will implement for the management of digital documents and monitoring of all documentation carried out from the signing of the Contract until the end of Operation between the CONCESSIONAIRE, Supervisor and the GRANTOR.

### Strategic Partner

It is the shareholder or capital holder of the CONCESSIONAIRE who has accredited, directly or through its Related Companies, as appropriate, compliance with the technical capacity requirements indicated in the Bidding Terms, and who holds the ownership of the Minimum Participation in the CONCESSIONAIRE.

- Sol or S/

It is the legal tender in the State of the Republic of Peru.

### Supervisor

It is the company or consortium hired by the GRANTOR, whose cost is assumed by the CONCESSIONAIRE, and which will carry out the supervision tasks related to control and verify compliance with the obligations set for in the Concession Contract and the Applicable Laws and Provisions, in charge of the CONCESSIONAIRE, such as the activities of drafting of the Final Engineering Studies, the execution of the Works, the implementation of the Electromechanical Equipment, the Start-up, the Operation of the Mandatory Services, compliance with the Service Levels, among other obligations set for in the Concession Contract, as well as those set for in the respective contract(s) for the provision of supervision services.

### Tariff

It is the single payment that users will make for the provision of Mandatory Services. Specifically for the Cable Car and Bus Transportation Service, it includes both the outbound and the return trip.

### Reference Rate:

It is the annual effective legal interest rate published in Soles or Dollars by the Superintendency of Banking, Insurance and Private Pension Fund Administrators (SBS), or the rate that replaces it, as appropriate.

### Termination of Contract or Termination:

It consists of the termination of the Concession for the reasons provided for in the Concession Contract or in the Applicable Laws and Provisions.

### Exchange Rate

This is the average of the weighted average purchase exchange rate and the weighted average sale exchange rate of Dollars of the financial system published periodically by the Superintendency of Banking, Insurance and Private Pension Fund Administrators (SBS) and published in the official gazette “El Peruano” for the conversion of Soles to Dollars and vice versa.

## UIT:

It is the Tax Unit in accordance with Regulation XV of the Preliminary Title of the Single Ordered Text of the Tax Code, approved by Supreme Decree No. 133-2013EF or the regulation that replaces it. For the purposes of this Concession Contract, the value in effect at the time the corresponding penalty or deduction is applied, as the case may be, will be considered.

### Book Value of the Asset:

Regardless of the value established for tax purposes or for any other purpose, for purposes of the Contract, the “book value of the asset” is the book value of the Investment or the financial asset reflecting the Investment, excluding the PPO, expressed

in Soles or Dollars (according to audited Financial Statements prepared in accordance with Peruvian generally accepted accounting principles and standards), net of amortization and depreciation, as applicable, in accordance with the International Financial Reporting Standards and without applying any type of restatement of such values from the time the Investment was executed for the commencement of operations until the time of making the liquidation calculation.

If the accounting is expressed in dollars, the Concessionaire must demonstrate that it meets the requirements established in the Applicable Laws and Provisions.

# ANNEX No. 02: CONCESSION AREAS

The Concession Areas comprise the land located in the regions of Cusco and Apurimac that will be delivered for the purposes of the Concession. They have been grouped by components: North and South. Which are detailed below:

SECTION 1: NORTH COMPONENT

- AREAS OF THE SAN JUAN - MAIZAL AND MAIZAL - ABRA CHOQUEQUIRAO CABLE CARS ROUTE1

TABLE 1.A AREA OF THE SAN JUAN – MAIZAL CABLE CAR ROUTE (EASEMENT)

| Table of UTM WGS 84 Coordinates |  |  |
| --- | --- | --- |
| San Juan – Maizal Cable Car |  |  |
| Vertex | East | North |
| P1 | 731164.6885 | 8525043.8877 |
| P2 | 729413.5049 | 8523174.1076 |
| P3 | 729395.2580 | 8523191.1971 |
| P4 | 731146.4416 | 8525060.9772 |
| Area (m2) | 64,044.5243 |  |
| Perimeter (ml) | 5,173.5619 |  |

TABLE 1.B AREA OF THE MAIZAL – ABRA CHOQUEQUIRAO CABLE CAR ROUTE (EASEMENT)

| Table of UTM WGS 84 Coordinates |  |  |
| --- | --- | --- |
| Maizal – Abra Choquequirao Cable Car |  |  |
| Vertex | East | North |
| P1 | 730223.8712 | 8519362.5917 |
| P2 | 730199.4257 | 8519357.3560 |
| P3 | 729396.6979 | 8523105.2782 |
| P4 | 729421.1435 | 8523110.5139 |
| Area (m2) | 95,823.0558 |  |
| Perimeter (ml) | 7,715.8445 |  |

1 Easement strip of 12.5 meters on each side of the cable car route.

2. AREAS OF THE SAN JUAN – MAIZAL – ABRA CHOQUEQUIRAO STATION.

TABLE 2.A AREA OF THE SAN JUAN STATION.

| Table of UTM WGS 84 Coordinates |  |  |
| --- | --- | --- |
| San Juan Station |  |  |
| Vertex | East | North |
| P1 | 731309.9988 | 8525054.1138 |
| P2 | 731168.4404 | 8525003.3959 |
| P3 | 731105.7425 | 8525060.7890 |
| P4 | 731145.4737 | 8525103.3387 |
| P5 | 731155.1230 | 8525102.0208 |
| P6 | 731167.3631 | 8525107.2806 |
| P7 | 731175.3972 | 8525139.2123 |
| P8 | 731205.2210 | 8525144.4406 |
| P9 | 731306.5457 | 8525121.4901 |
| Area (m2) | 18,445.4326 |  |
| Perimeter (ml) | 551.2082 |  |

TABLE 2.B AREA OF THE MAIZAL STATION.

| Table of UTM WGS 84 Coordinates |  |  |
| --- | --- | --- |
| Maizal Station |  |  |
| Vertex | East | North |
| P1 | 729461.3264 | 8523081.9535 |
| P2 | 729353.7658 | 8523058.9162 |
| P3 | 729322.3513 | 8523205.5898 |
| P4 | 729429.9119 | 8523228.6271 |
| Area (m2) | 16,500.0000 |  |
| Perimeter (ml) | 520.0000 |  |

TABLE 2.C AREA OF THE ABRA CHOQUEQUIRAO STATION.

| Table of UTM WGS 84 Coordinates |  |  |
| --- | --- | --- |
| Abra Choquequirao Station |  |  |
| Vertex | East | North |
| P1 | 730257.3249 | 8519297.1197 |
| P2 | 730195.7220 | 8519283.9256 |
| P3 | 730176.0356 | 8519375.8410 |
| P4 | 730237.6385 | 8519389.0351 |
| Area (m2) | 5,921.9995 |  |
| Perimeter (ml) | 314.0000 |  |

TABLE 3. AREA OF THE YANAMA CENTRAL STATION.

| Table of UTM WGS 84 Coordinates |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Yanama Central Station |  |  |  |  |  |
| Vertex | East | North | Vertex | East | North |
| P1 | 734528.3314 | 8526036.7616 | P18 | 734536.9211 | 8526128.8277 |
| P2 | 734412.9852 | 8526016.2286 | P19 | 734542.4909 | 8526125.8451 |
| P3 | 734406.2890 | 8526030.2322 | P20 | 734544.6405 | 8526121.3406 |
| P4 | 734403.4615 | 8526053.0026 | P21 | 734542.4811 | 8526119.5299 |
| P5 | 734399.4437 | 8526053.3692 | P22 | 734541.0237 | 8526115.1803 |
| P6 | 734395.1759 | 8526059.6612 | P23 | 734538.6057 | 8526111.3091 |
| P7 | 734398.9999 | 8526070.8789 | P24 | 734534.3560 | 8526108.9705 |
| P8 | 734381.6909 | 8526086.5263 | P25 | 734529.4021 | 8526102.4050 |
| P9 | 734388.0009 | 8526101.1601 | P26 | 734528.3609 | 8526096.9616 |
| P10 | 734374.6371 | 8526114.5935 | P27 | 734524.6188 | 8526090.6496 |
| P11 | 734375.4711 | 8526126.7746 | P28 | 734527.2160 | 8526087.2718 |
| P12 | 734380.9706 | 8526142.0972 | P29 | 734528.9706 | 8526082.3351 |
| P13 | 734436.8742 | 8526152.1391 | P30 | 734526.1157 | 8526079.8302 |
| P14 | 734447.4219 | 8526163.8026 | P31 | 734525.6261 | 8526075.7842 |
| P15 | 734460.2893 | 8526166.0934 | P32 | 734525.9612 | 8526069.1325 |
| P16 | 734494.3358 | 8526167.6984 | P33 | 734527.6860 | 8526061.3485 |
| P17 | 734522.7522 | 8526142.3820 | P34 | 734528.7260 | 8526055.9932 |
| Area (m2) | 18,229.31 |  |  |  |  |
| Perimeter (ml) | 549.0991 |  |  |  |  |

TABLE 4. LOCATION OF TOURIST ROADS

TABLE 4.A. ENDS AND LENGTH OF THE TOURIST VEHICULAR ROUTE YANAMA - SAN JUAN STATION.

| Table of UTM WGS 84 Coordinates |  |  |
| --- | --- | --- |
| Ends and length of the Tourist Vehicular Route Yanama - San Juan Station |  |  |
| Vertex | East | North |
| Start | 734442.7258 | 8526016.0308 |
| End | 731219.3678 | 8525090.4797 |
| Road Length (ml) | 9430.6476 |  |
| Typical road section to axis (ml) | 3.5750 |  |

table 4.B. STATIONING OF THE TOURIST VEHICULAR ROUTE YANAMA – SAN JUAN STATION.

| Table of Curve Elements - UTM WGS 84 Coordinates |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Stationing of the Tourist Vehicular Route Yanama – San Juan Station |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | S | Deflection Angle A.D (°) | Radius H. R(M) | Subtan GENT T(M) | Curve L(m) | External E(m) | Stationing (km) |  |  | Wide NING S.A (M) | Superelevation P(%) | COORDINATES (M) |  |
|  |  |  |  |  |  |  | SC OR PC | PI | CS OR PT |  |  | East | West |
| 1 |  |  | - | - | - | - |  | 0+000.000 |  | - |  | 734,442.726 | 8,526,016.031 |
| 2 | D | 12°33'13” | 150.00 | 16.499 | 32.865 | 0.905 | 0+050.587 | 0+067.086 | 0+083.452 | - | 2.5 | 734,378.456 | 8,525,996.799 |
| 3 | I | 29°17'30” | 60.00 | 15.680 | 30.674 | 2.015 | 0+142.238 | 0+157.918 | 0+172.912 | 0.8 | 3.6 | 734,287.725 | 8,525,990.287 |
| 4 | D | 80°21'27" | 25.00 | 21.111 | 35.063 | 7.721 | 0+184.034 | 0+205.144 | 0+219.096 | 2.0 | 5.4 | 734,247.724 | 8,525,963.914 |
| 5 | I | 52°10'26" | 30.00 | 14.688 | 27.318 | 3.403 | 0+219.133 | 0+233.821 | 0+246.451 | 1.6 | 5.0 | 734,223.266 | 8,525,990.106 |
| 6 | I | 14°17'25" | 200.00 | 25.071 | 49.882 | 1.565 | 0+378.123 | 0+403.195 | 0+428.006 | - | 2.5 | 734,052.543 | 8,525,974.529 |
| 7 | I | 56°34'21” | 40.00 | 21.525 | 39.495 | 5.424 | 0+497.178 | 0+518.704 | 0+536.673 | 1.2 | 4.4 | 733,943.417 | 8,525,935.878 |
| 8 | I | 26°11'20" | 80.00 | 18.609 | 36.567 | 2.136 | 0+560.413 | 0+579.022 | 0+596.980 | 0.6 | 3.1 | 733,928.046 | 8,525,873.881 |
| 9 | D | 138°36'18" | 20.00 | 52.935 | 48.382 | 36.588 | 0+632.715 | 0+685.650 | 0+681.097 | 2.5 | 5.8 | 733,950.836 | 8,525,769.051 |
| 10 | I | 33°11'36" | 80.00 | 23.844 | 46.347 | 3.478 | 0+762.923 | 0+786.767 | 0+809.270 | 0.6 | 3.1 | 733,823.076 | 8,525,863.037 |
| 11 | D | 44°52'47" | 50.00 | 20.649 | 39.165 | 4.096 | 0+924.862 | 0+945.511 | 0+964.027 | 1.0 | 4.0 | 733,663.232 | 8,525,871.825 |
| 12 | I | 62°14'26" | 50.00 | 30.186 | 54.315 | 8.405 | 1+010.598 | 1+040.784 | 1+064.913 | 1.0 | 4.0 | 733,598.088 | 8,525,944.241 |
| 13 | D | 31°49'59" | 60.00 | 17.110 | 33.336 | 2.392 | 1+071.013 | 1+088.123 | 1+104.348 | 0.8 | 3.6 | 733,546.327 | 8,525,931.130 |

| 14 | I | 24°38'1” | 80.00 | 17.467 | 34.395 | 1.885 | 1+158.627 | 1+176.094 | 1+193.022 | 0.6 | 3.1 | 733,461.639 | 8,525,958.026 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 15 | D | 10°38'49" | 220.00 | 20.499 | 40.881 | 0.953 | 1+306.260 | 1+326.760 | 1+347.141 | - | 2.5 | 733,311.565 | 8,525,939.561 |
| 16 | I | 43°49'25” | 70.00 | 28.157 | 53.541 | 5.451 | 1+382.450 | 1+410.606 | 1+435.991 | 0.7 | 3.3 | 733,227.769 | 8,525 944 881 |
| 17 | D | 29°24'32” | 60.00 | 15.746 | 30.797 | 2.032 | 1+515.552 | 1+531.298 | 1+546.349 | 0.8 | 3.6 | 733,133.456 | 8,525,865.205 |
| 18 | D | 38°22'8'' | 60.00 | 20.876 | 40.180 | 3.528 | 1 +602.607 | 1+623.482 | 1+642.786 | 0.8 | 3.6 | 733,042.216 | 8,525,847.830 |
| 19 | I | 13°2'34'' | 200.00 | 22.863 | 45.528 | 1.303 | 1+646.169 | 1+669.031 | 1+691.696 | - | 2.5 | 733,000.453 | 8,525,869.651 |
| 20 | I | 6°4'34'' | 290.00 | 15.382 | 30.736 | 0.408 | 1+733.032 | 1+748.415 | 1+763.768 | - | 2.5 | 732,923.422 | 8,525,889.636 |
| 21 | I | 101°44'36" | 18.00 | 22.127 | 31.964 | 10.524 | 1+798 435 | 1 +820.561 | 1+830.398 | 2.8 | 6.0 | 732,852.034 | 8,525,900.268 |
| 22 | I | 101°36'57” | 18.00 | 22.076 | 31.924 | 10.485 | 1+830 398 | 1+852.475 | 1+862.322 | 2.8 | 6.0 | 732,854.557 | 8,525,856.137 |
| 23 | D | 40°6'52'' | 70.00 | 25.557 | 49.009 | 4.520 | 1+889 428 | 1+914.985 | 1+938.437 | 0.7 | 3.3 | 732,926.787 | 8,525,875.340 |
| 24 | I | 25°33'37" | 80.00 | 18.146 | 35.689 | 2.032 | 2+016.718 | 2+034.864 | 2+052.407 | 0.6 | 3.1 | 733,037.138 | 8,525,823.349 |
| 25 | D | 27°35'22" | 60.00 | 14.732 | 28.892 | 1.782 | 2+160 891 | 2+175.623 | 2+189.783 | 0.8 | 3.6 | 733,178.498 | 8,525,824.172 |
| 26 | I | 35°13'39" | 60.00 | 19.049 | 36.890 | 2.951 | 2+190.142 | 2+209.191 | 2+227.032 | 0.8 | 3.6 | 733,208.846 | 8,525,808 537 |
| 27 | D | 33°51'6'' | 80.00 | 24.345 | 47.266 | 3.622 | 2+229.729 | 2+254.075 | 2+276.995 | 0.6 | 3.1 | 733,254.493 | 8,525,814.929 |
| 28 | I | 42°50'59" | 50.00 | 19.620 | 37.393 | 3.712 | 2+310.636 | 2+330.256 | 2+348.029 | 1.0 | 4.0 | 733,324.315 | 8,525,781.055 |
| 29 | D | 38°29'50” | 50.00 | 17.459 | 33.595 | 2.961 | 2+400.889 | 2+418.349 | 2+434.484 | 1.0 | 4.0 | 733,410.338 | 8,525,807.305 |
| 30 | D | 23°59'20" | 75.00 | 15.934 | 31.401 | 1.674 | 2+508.407 | 2+524.341 | 2+539.808 | 0.7 | 3.2 | 733,510.168 | 8,525,767.925 |
| 31 | I | 55°32'8'' | 45.00 | 23.693 | 43.618 | 5.857 | 2+592.381 | 2+616.075 | 2+635.999 | 1.1 | 4.2 | 733,574.774 | 8,525,702.144 |
| 32 | D | 52°25'6'' | 40.00 | 19.690 | 36.595 | 4.584 | 2+662.398 | 2+682.088 | 2+698.993 | 1.2 | 4.4 | 733,643.492 | 8,525,714.284 |
| 33 | I | 34°30'43" | 60.00 | 18.637 | 36.141 | 2.828 | 2+755.030 | 2+773.667 | 2+791.171 | 0.8 | 3.6 | 733,713.177 | 8,525,650.655 |
| 34 | D | 94°44'51” | 18.00 | 19.557 | 29.766 | 8.580 | 2+856.294 | 2+875.850 | 2+886.059 | 2.8 | 6.0 | 733,815.517 | 8,525,636.477 |
| 35 | D | 95°11'11" | 18.00 | 19.708 | 29.904 | 8.691 | 2+886.059 | 2+905.767 | 2+915.963 | 2.8 | 6.0 | 733,806.928 | 8,525,598.163 |
| 36 | D | 17°25'4" | 100.00 | 15.318 | 30.400 | 1.166 | 2+980.503 | 2+995.821 | 3+010.903 | 0.5 | 2.6 | 733,712.140 | 8,525,628.635 |
| 37 | I | 71°47'33” | 30.00 | 21.713 | 37.591 | 7.033 | 3+068.447 | 3+090.161 | 3+106.038 | 1.6 | 5.0 | 733,634.895 | 8,525,683.204 |
| 38 | D | 57°32'43" | 50.00 | 27.457 | 50.218 | 7.043 | 3+144.388 | 3+171.844 | 3+194.606 | 1.0 | 4.0 | 733,564.590 | 8,525,631.079 |
| 39 | I | 48°23'3” | 50.00 | 22.463 | 42.223 | 4.814 | 3+278.825 | 3+301.288 | 3+321.049 | 1.0 | 4.0 | 733,439.353 | 8,525,679.132 |
| 40 | D | 35°44'46" | 70.00 | 22.573 | 43.672 | 3.550 | 3+428.888 | 3+451.461 | 3+472.560 | 0.7 | 3.3 | 733,303.619 | 8,525,608.796 |
| 41 | D | 10°35'23" | 170.00 | 15.755 | 31.420 | 0.729 | 3+644.710 | 3+660.465 | 3+676.131 | - | 2.5 | 733,095.374 | 8,525,639.374 |
| 42 | I | 25°0'2" | 80.00 | 17.736 | 34.908 | 1.943 | 3+754.151 | 3+771.887 | 3+789.058 | 0.6 | 3.1 | 732,989.902 | 8,525,675.574 |
| 43 | D | 17°20'37" | 200.00 | 30.504 | 60541 | 2.313 | 3+802.091 | 3+832.595 | 3+862.632 | - | 2.5 | 732,928.972 | 8,525,669.109 |
| 44 | I | 31°40'43'' | 60.00 | 17.023 | 33.174 | 2.368 | 3+896.218 | 3+913.241 | 3+929.392 | 0.8 | 3.6 | 732,849.428 | 8,525,684.983 |

| 45 | I | 28°45'21'' | 70.00 | 17.944 | 35.132 | 2.263 | 4+009.792 | 4+027.737 | 4+044.924 | 0.7 | 3.3 | 732,741.291 | 8,525,644.783 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 46 | D | 33°37'6'' | 60.00 | 18.126 | 35.205 | 2.678 | 4+162.855 | 4+180.980 | 4+198.060 | 0.8 | 3.6 | 732,640.559 | 8,525,528.296 |
| 47 | D | 36°56'44" | 80.00 | 26.725 | 51.586 | 4.346 | 4+291.311 | 4+318.036 | 4+342.896 | 0.6 | 3.1 | 732,507.500 | 8,525,491.321 |
| 48 | I | 96°40'26” | 18.00 | 20.229 | 30.371 | 9.078 | 4+434.618 | 4+454.847 | 4+464.989 | 2.8 | 6.0 | 732,378.398 | 8,525,541.955 |
| 49 | I | 89°39'17" | 18.00 | 17.892 | 28.166 | 7.380 | 4+464.989 | 4+482.881 | 4+493.155 | 2.8 | 6.0 | 732,368.698 | 8,525,505.089 |
| 50 | I | 24°57'59'' | 90.00 | 19.925 | 39.217 | 2.179 | 4+602.244 | 4+622.169 | 4+641.461 | 0.6 | 2.8 | 732,510.541 | 8,525,466.852 |
| 51 | I | 35°45'19" | 80.00 | 25.805 | 49.924 | 4.059 | 4+739.350 | 4+765.155 | 4+789.274 | 0.6 | 3.1 | 732,652.030 | 8,525,491.494 |
| 52 | D | 48°34'12" | 50.00 | 22.560 | 42 | 4.854 | 4+837.090 | 4+859.650 | 4+879.475 | 1.0 | 4.0 | 732,719.282 | 8,525,560.254 |
| 53 | D | 40°56'34" | 50.00 | 18.666 | 35.729 | 3.371 | 5+083.517 | 5+102.183 | 5+119.247 | 1.0 | 4.0 | 732,964.228 | 8,525,547.695 |
| 54 | I | 22°51'58" | 80.00 | 16.179 | 31.927 | 1.620 | 5+173.333 | 5+189.512 | 5+205.260 | 0.6 | 3.1 | 733,028.331 | 8,525,486.055 |
| 55 | D | 31°39'6'' | 60.00 | 17.008 | 33.146 | 2.364 | 5+259.553 | 5+276.560 | 5+292.698 | 0.8 | 3.6 | 733,109.994 | 8.525,454.688 |
| 56 | I | 62°35'5" | 40.00 | 24.313 | 43.692 | 6.810 | 5+298.932 | 5+323.245 | 5+342.624 | 1.2 | 4.4 | 733,138.835 | 8,525,416.879 |
| 57 | D | 33°3'57'' | 100.00 | 29.684 | 57.711 | 4.313 | 5+379.465 | 5+409.149 | 5+437.176 | 0.5 | 2.6 | 733,228.314 | 8,525432.529 |
| 58 | I | 27°13'21'' | 70.00 | 16.949 | 33.259 | 2.023 | 5+542.511 | 5+559.460 | 5+575.770 | 0.7 | 3.3 | 733,368.052 | 8,525,372.798 |
| 59 | I | 14°38'35'' | 150.00 | 19.273 | 38.336 | 1.233 | 5+648.894 | 5+668.167 | 5+687.230 | - | 2.5 | 733 477.122 | 8,525,380.574 |
| 60 | D | 78°19'19'' | 50.00 | 40.722 | 68.349 | 14.485 | 5+744.306 | 5+785.028 | 5+812.655 | 1.0 | 4 | 733,587.999 | 8,525,418.150 |
| 61 | I | 13°9'4'' | 200.00 | 23.054 | 45.906 | 1.324 | 5+912.823 | 5+935.878 | 5+958.729 | - | 2.5 | 733,670.959 | 8,525,276.744 |
| 62 | D | 91°36'30" | 18.00 | 18.513 | 28.780 | 7.821 | 5+979.274 | 5+997.786 | 6+008.053 | 2.8 | 6.0 | 733,713.753 | 8,525,231.728 |
| 63 | D | 100°456” | 18.00 | 21.740 | 31.652 | 10.224 | 6+008.053 | 6+029.793 | 6+039.705 | 2.8 | 6.0 | 733,683.812 | 8,525,204 824 |
| 64 | I | 35°8'19'' | 80.00 | 25.330 | 49.063 | 3.914 | 6+148.905 | 6+174.235 | 6+197.968 | 0.6 | 3.1 | 733,602.883 | 8,525,338.505 |
| 65 | I | 52°51'3'' | 40.00 | 19.878 | 36.897 | 4.667 | 6+224.599 | 6+244.477 | 6+261.495 | 1.2 | 4.4 | 733,537.088 | 8,525,367.347 |
| 66 | D | 21°43'49'' | 90.00 | 17.274 | 34.134 | 1.643 | 6+308.602 | 6+325.876 | 6+342.735 | 0.6 | 2.8 | 733,463.522 | 8,525 326.267 |
| 67 | D | 31°54'0” | 60.00 | 17.148 | 33.406 | 2.402 | 6+456 879 | 6+474.027 | 6+490.285 | 0.8 | 3.6 | 733,316.210 | 8,525,307.005 |
| 68 | I | 49°56'32' | 50.00 | 23.285 | 43.583 | 5.156 | 6+538 215 | 6+561.500 | 6+581.798 | 1.0 | 4.0 | 733,235.770 | 8,525,343.580 |
| 69 | D | 27°13'39" | 80.00 | 19.374 | 38.017 | 2.313 | 6+600 854 | 6+620.229 | 6+638 871 | 0.6 | 3.1 | 733,180.063 | 8,525,317.019 |
| 70 | I | 20°2'55" | 100.00 | 17.676 | 34.991 | 1.550 | 6+690.489 | 6+708.166 | 6+725.481 | 0.5 | 2.6 | 733,091.435 | 8,525,319.704 |
| 71 | D | 14°48'33" | 120.00 | 15.595 | 31.016 | 1.009 | 6+894.510 | 6+910.105 | 6+925.527 | 0.4 | 2.5 | 732,899.379 | 8,525,256.140 |
| 72 | I | 25°16'2'' | 80.00 | 17.931 | 35.280 | 1.985 | 6+976.563 | 6+994.495 | 7+011.843 | 0.6 | 3.1 | 732,814.974 | 8,525,250.972 |
| 73 | D | 32°18'52'' | 60.00 | 17.383 | 33.840 | 2.467 | 7+170.801 | 7+188.184 | 7+204.641 | 0.8 | 3.6 | 732,644.684 | 8,525,157.467 |
| 74 | I | 32°41'42" | 70.00 | 20.532 | 39.944 | 2.949 | 7+249.186 | 7+269.719 | 7+289.130 | 0.7 | 3.3 | 732,562.381 | 8,525,162.564 |
| 75 | D | 25°37'47” | 80.00 | 18.197 | 35.786 | 2.044 | 7+319.440 | 7+337.637 | 7+355.226 | 0.6 | 3.1 | 732,502.087 | 8,525,128.934 |

| 76 | D | 12°44'13" | 160.00 | 17.858 | 35.568 | 0.994 | 7+380.610 | 7+398.468 | 7+416.178 | - | 2.5 | 732,440.764 | 8,525,125.160 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 77 | D | 9°39'33” | 250.00 | 21.123 | 42.146 | 0.891 | 7+711.637 | 7+732.760 | 7+753.783 | - | 2.5 | 732,110.640 | 8,525,178.718 |
| 78 | D | 10°29'57" | 200.00 | 18.376 | 36.650 | 0.842 | 7+860.556 | 7+878.932 | 7+897.206 | - | 2.5 | 731,972.233 | 8,525,226.037 |
| 79 | I | 3°2'23" | 570.00 | 15.124 | 30.241 | 0.201 | 7+961.874 | 7+976.998 | 7+992.115 | - | 2.5 | 731,886.685 | 8,525,274.189 |
| 80 | I | 46°2'10” | 50.00 | 21.242 | 40.174 | 4.325 | 8+093.992 | 8+115.234 | 8+134.166 | 1.0 | 4.0 | 731,762.788 | 8,525,335.514 |
| 81 | I | 13°36'59" | 110.00 | 13.133 | 26.142 | 0.781 | 8+169.086 | 8+182.219 | 8+195.228 | 0.5 | 2.5 | 731,697.549 | 8,525,312.152 |
| 82 | I | 30°0'35” | 50.00 | 13.402 | 26.188 | 1.765 | 8+198.872 | 8+212.274 | 8+225.061 | 1.0 | 4.0 | 731,672.331 | 8,525,295.575 |
| 83 | D | 73°58'58" | 30.00 | 22.600 | 38.737 | 7.560 | 8+252.996 | 8+275.596 | 8+291.733 | 1.6 | 5.0 | 731,643.631 | 8,525,238.442 |
| 84 | I | 38°48'14” | 40.00 | 14.088 | 27.090 | 2.408 | 8+318.450 | 8+332.537 | 8+345.540 | 1.2 | 4.4 | 731,581.321 | 8,525,250.164 |
| 85 | D | 38°41'39” | 40.00 | 14.045 | 27.014 | 2.394 | 8+345.705 | 8+359.750 | 8+372.719 | 1.2 | 4.4 | 731,556.370 | 8,525,236.814 |
| 86 | I | 22°32'44" | 60.00 | 11.960 | 23.610 | 1.180 | 8+376.517 | 8+388.477 | 8+400.127 | 0.8 | 3.6 | 731,527.071 | 8,525,242.268 |
| 87 | D | 12°22'44" | 150.00 | 16.267 | 32.408 | 0.88 | 8+427.916 | 8+444.183 | 8+460.324 | - | 2.5 | 731,472.279 | 8,525,230.621 |
| 88 | D | 39°20'28" | 50.00 | 17.874 | 34.332 | 3.099 | 8+487.524 | 8+505.397 | 8+521.855 | 1.0 | 4.0 | 731,410.939 | 8,525,231.026 |
| 89 | I | 26°21'30" | 70.00 | 16.392 | 32.203 | 1.894 | 8+525.849 | 8+542.241 | 8+558.052 | 0.7 | 3.3 | 731,381.511 | 8,525,255.475 |
| 90 | I | 49°22'43" | 40.00 | 18.389 | 34.473 | 4.025 | 8+643.045 | 8+661.434 | 8+677.518 | 1.2 | 4.4 | 731,264.980 | 8,525,283.153 |
| 91 | D | 51°19'48” | 40.00 | 19.221 | 35.835 | 4.378 | 8+685.261 | 8+704.482 | 8+721.096 | 1.2 | 4.4 | 731,228.297 | 8,525,256.484 |
| 92 | I | 72°7'16” | 25.00 | 18.204 | 31.469 | 5.925 | 8+723.163 | 8+741.366 | 8+754.631 | 2.0 | 5.4 | 731,190.208 | 8,525 266.912 |
| 93 | D | 17°27'22” | 80.00 | 12.282 | 24.373 | 0.937 | 8+759.551 | 8+771.833 | 8+783.925 | 0.6 | 3.1 | 731,170.825 | 8,525,237.283 |
| 94 | D | 23°54'4'' | 80.00 | 16.932 | 33.372 | 1.772 | 8+823.940 | 8+840.872 | 8+857.312 | 0.6 | 3.1 | 731,117.293 | 8,525,193.385 |
| 95 | I | 70°7'10" | 25.00 | 17.544 | 30.595 | 5.542 | 8+864.021 | 8+881.565 | 8+894.616 | 2.0 | 5.4 | 731,077.597 | 8,525,182.413 |
| 96 | D | 27°24'34" | 50.00 | 12.193 | 23.919 | 1.465 | 8+896.726 | 8+908.919 | 8+920.645 | 1.0 | 4.0 | 731,075.137 | 8,525,150.661 |
| 97 | I | 85°28'32" | 20.00 | 18.480 | 29.837 | 7.231 | 9+012.302 | 9+030.781 | 9+042.138 | 2.5 | 5.8 | 731,010.605 | 8,525,046.737 |
| 98 | I | 85°13'41” | 20.00 | 18.400 | 29.750 | 7.176 | 9+042.138 | 9+060.538 | 9+071.888 | 2.5 | 5.8 | 731,040.304 | 8,525,024.871 |
| 99 | D | 25°20'45” | 70.00 | 15.740 | 30.966 | 1.748 | 9+115.084 | 9+130.825 | 9+146.050 | 0.7 | 3.3 | 731,091.178 | 8,525,083.118 |
| 100 | D | 40°48'20" | 50.00 | 18.598 | 35.610 | 3.347 | 9+224.518 | 9+243.115 | 9+260.127 | 1.0 | 4.0 | 731,194.613 | 8,525,128.134 |
| 101 | D | 96°32'25" | 18.00 | 20.182 | 30.329 | 9.043 | 9+324.941 | 9+345.122 | 9+355.270 | 2.8 | 6.0 | 731,293.526 | 8,525,097.352 |
| 102 | D | 92°22'44” | 18.00 | 18.763 | 29.022 | 8.001 | 9+355.272 | 9+374.035 | 9+384.294 | 2.8 | 6.0 | 731,277.793 | 8,525,061.724 |
| 103 | I | 111°18'11” | - | - | - | - | 9+430.649 | 9+430.649 | 9+430.649 | - |  | 731,219.368 | 8,525,090.480 |

TABLE 4.C. ACCESS ROAD TO ABRA CHOQUEQUIRAO - MACH STATION.

| Table of UTM WGS 84 Coordinates |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Access Road to Abra Choquequirao – MACH Station |  |  |  |  |  |
| Vertex | East | North | Vertex | East | North |
| P1 | 730195.7220 | 8519283.9256 | P14 | 730404.8249 | 8519048.7400 |
| P2 | 730268.4214 | 8519299.4964 | P15 | 730353.8791 | 8519003.8143 |
| P3 | 730330.7228 | 8519301.7612 | P16 | 730322.3436 | 8518974.4545 |
| P4 | 730395.9899 | 8519317.8415 | P17 | 730267.6304 | 8518936.7595 |
| P5 | 730458.6262 | 8519341.8470 | P18 | 730234.9204 | 8518906.8631 |
| P6 | 730560.8662 | 8519352.6733 | P19 | 730226.8200 | 8518874.5414 |
| P7 | 730417.1302 | 8519269.7242 | P20 | 730215.1800 | 8518877.4586 |
| P8 | 730373.7202 | 8519219.7484 | P21 | 730224.1584 | 8518913.2839 |
| P9 | 730398.2083 | 8519177.3606 | P22 | 730269.8943 | 8518955.0857 |
| P10 | 730461.9345 | 8519193.3242 | P23 | 730220.3374 | 8519204.3992 |
| P11 | 730513.9613 | 8519234.6927 | P24 | 730200.8840 | 8519200.7894 |
| P12 | 730603.5611 | 8519263.2741 | P25 | 730186.0000 | 8519281.0000 |
| P13 | 730453.5217 | 8519101.9140 |  |  |  |
| Area (m2) | 73, 655.4941 |  |  |  |  |
| Perimeter (ml) | 1,905.2486 |  |  |  |  |

TABLE 5. AREAS AND LOCATION OF THE TOWERS LOCATED BETWEEN THE SAN JUAN – MAIZAL AND MAIZAL – ABRA CHOQUEQUIRAO STATIONS

TABLA 5.A ASJ-01 TOWER

| Table of UTM WGS 84 Coordinates |  |  |
| --- | --- | --- |
| ASJ-01 TOWER |  |  |
| Vertex | East | North |
| P1 | 731101.9877 | 8524980.5927 |
| P2 | 731088.3160 | 8524965.9953 |
| P3 | 731073.7186 | 8524979.6670 |
| P4 | 731087.3903 | 8524994.2644 |
| Area (m2) | 400.0000 |  |
| Perimeter (ml) | 80.0000 |  |

TABLE 5.B ASJ-02 TOWER

| Table of UTM WGS 84 Coordinates |  |  |
| --- | --- | --- |
| ASJ-02 TOWER |  |  |
| Vertex | East | North |
| P1 | 730917.7567 | 8524783.7590 |
| P2 | 730904.0850 | 8524769.1616 |
| P3 | 730889.4876 | 8524782.8334 |
| P4 | 730903.1593 | 8524797.4308 |
| Area (m2) | 400.0000 |  |
| Perimeter (ml) | 80.0000 |  |

TABLE 5.C ASJ-03 TOWER

| Table of UTM WGS 84 Coordinates |  |  |
| --- | --- | --- |
| ASJ-03 TOWER |  |  |
| Vertex | East | North |
| P1 | 730677.1679 | 8524526.8897 |
| P2 | 730663.4962 | 8524512.2923 |
| P3 | 730648.8988 | 8524525.9640 |
| P4 | 730662.5705 | 8524540.5614 |
| Area (m2) | 400.0000 |  |
| Perimeter (ml) | 80.0000 |  |

TABLE 5.D EACH-05 TOWER

| Table of UTM WGS 84 Coordinates |  |  |
| --- | --- | --- |
| EACH-05 TOWER |  |  |
| Vertex | East | North |
| P1 | 730580.6098 | 8524423.8599 |
| P2 | 730566.9381 | 8524409.2625 |
| P3 | 730552.3407 | 8524422.9342 |
| P4 | 730566.0124 | 8524437.5316 |

| Area (m2) | 400.0000 |
| --- | --- |
| Perimeter (ml) | 80.0000 |

SECTION 2: SOUTH COMPONENT

TABLE 6. AREA OF THE KIUÑALLA - UNIÓN CABLE CAR2 (EASEMENT)

| Table of UTM WGS 84 Coordinates |  |  |
| --- | --- | --- |
| Kiuñalla – Unión Cable Car |  |  |
| Vertex | East | North |
| P1 | 730232.1090 | 8517829.3231 |
| P2 | 728358.0603 | 8514086.8273 |
| P3 | 728335.7063 | 8514098.0210 |
| P4 | 730209.7550 | 8517840.5168 |
| Area (m2) | 104,637.2705 |  |
| Perimeter (ml) | 8,420.9816 |  |

TABLE 7. AREAS OF THE KIUÑALLA - UNIÓN STATIONS.

TABLE 7.A AREA OF THE KIUÑALLA STATION

| Table of UTM WGS 84 Coordinates |  |  |
| --- | --- | --- |
| Kiuñalla Station |  |  |
| Vertex | East | North |
| P1 | 728300.3004 | 8513999.4755 |
| P2 | 728238.8754 | 8513887.0756 |
| P3 | 728162.8718 | 8513925.1342 |
| P4 | 728226.3727 | 8514058.3519 |
| P5 | 728323.0195 | 8514139.6869 |
| P6 | 728399.0230 | 8514101.6283 |
| P7 | 728406.7434 | 8514005.3761 |
| Area (m2) | 28,991.4985 |  |
| Perimeter (ml) | 775.1518 |  |

2 Easement strip of 12.5 meters on each side of the cable car route.

TABLE 7.B AREA OF THE UNIÓN STATION

| Table of UTM WGS 84 Coordinates |  |  |
| --- | --- | --- |
| Unión Station |  |  |
| Vertex | East | North |
| P1 | 730221.9087 | 8517907.2223 |
| P2 | 730264.0006 | 8517886.1448 |
| P3 | 730276.9017 | 8517876.3400 |
| P4 | 730236.1523 | 8517794.9631 |
| P5 | 730179.8203 | 8517823.1713 |
| Area (m2) | 5,898.1851 |  |
| Perimeter (ml) | 311.2877 |  |

TABLE 8. AREA OF THE HUANIPACA CENTRAL STATION.

| Table of UTM WGS 84 Coordinates |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Huanipaca Central Station |  |  |  |  |  |
| Vertex | East | North | Vertex | East | North |
| P1 | 724000.8120 | 8507012.9358 | P22 | 724014.2182 | 8507246.1851 |
| P2 | 723996.5216 | 8507019.7069 | P23 | 724032.8624 | 8507262.0898 |
| P3 | 723991.9290 | 8507033.6016 | P24 | 724038.9721 | 8507254.1872 |
| P4 | 723983.7934 | 8507071.1323 | P25 | 724043.9336 | 8507246.1798 |
| P5 | 723978.9618 | 8507079.1419 | P26 | 724048.6884 | 8507237.2326 |
| P6 | 723968.6369 | 8507091.0268 | P27 | 724055.8539 | 8507219.3465 |
| P7 | 723952.6538 | 8507112.0685 | P28 | 724059.0185 | 8507210.0256 |
| P8 | 723930.8927 | 8507138.8179 | P29 | 724060.7955 | 8507200.8240 |
| P9 | 723923.7621 | 8507150.2470 | P30 | 724062.2283 | 8507191.1210 |
| P10 | 723929.6747 | 8507155.6155 | P31 | 724062.6831 | 8507181.3328 |
| P11 | 723935.9041 | 8507163.3864 | P32 | 724062.1428 | 8507162.0625 |
| P12 | 723945.4633 | 8507174.0352 | P33 | 724058.6837 | 8507143.1957 |
| P13 | 723962.5695 | 8507191.1344 | P34 | 724045.8157 | 8507095.0352 |
| P14 | 723963.4384 | 8507198.0333 | P35 | 724035.0877 | 8507056.5298 |
| P15 | 723966.1601 | 8507203.1015 | P36 | 724030.1812 | 8507037.2991 |
| P16 | 723970.4660 | 8507205.6523 | P37 | 724025.8431 | 8507022.4064 |
| P17 | 723977.6690 | 8507212.4839 | P38 | 724024.9300 | 8507016.9462 |
| P18 | 723982.5242 | 8507222.3214 | P39 | 724024.1553 | 8507006.6627 |
| P19 | 723988.6054 | 8507229.0625 | P40 | 724016.5137 | 8507004.8234 |
| P20 | 723993.9389 | 8507233.6229 | P41 | 724013.4092 | 8507005.3114 |
| P21 | 724001.0892 | 8507233.8023 |  |  |  |
| Area (m2) | 19,198.9974 |  |  |  |  |
| Perimeter (ml) | 614.2277 |  |  |  |  |

TABLE 9. LOCATION OF THE TOURIST ROUTES KIUÑALLA - KIUÑALLA STATION

TABLE 9.A ENDS AND LENGTH OF THE TOURIST VEHICULAR ROUTE KIUÑALLA – KIUÑALLA STATION.

| Table of UTM WGS 84 Coordinates |  |  |
| --- | --- | --- |
| Tourist Vehicular Route Kiuñalla – Kiuñalla Station |  |  |
| Vertex | East | North |
| Start | 728133.9975 | 8513221.9994 |
| End | 728324.7598 | 8514050.2684 |
| Road Length (ml) | 1080.6502 |  |
| Typical road section to axis (ml) | 3.5750 |  |

TABLE 9.B STATIONING OF THE TOURIST VEHICULAR ROUTE KIUÑALLA – KIUÑALLA STATION

| Table of Curve Elements - UTM WGS 84 Coordinates |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Stationing of the Tourist Vehicular Route Yanama – San Juan Station |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | S | Deflection Angle A.D (°) | Radius H. R(M) | Subtan GENT T(M) | Curve L(m) | External E(m) | Stationing (km) |  |  | Wide NING S.A (M) | Superelevation P(%) | COORDINATES (M) |  |
|  |  |  |  |  |  |  | SC OR PC | PI | CS OR PT |  |  | East | West |
| 1 |  |  | - | - | - | - |  | 0+000.000 |  | - |  | 728,133.998 | 8,513,221.999 |
| 2 | D | 46°47'54'' | 40.00 | 17.309 | 32.671 | 3.584 | 0+012.239 | 0+029.548 | 0+044.910 | 1.2 | 4.4 | 728,125.695 | 8,513,250.357 |
| 3 | I | 25°29'19'' | 70.00 | 15.832 | 31.140 | 1.768 | 0+084.741 | 0+100.573 | 0+115.882 | 0.7 | 3.3 | 728,162.710 | 8,513,313.244 |
| 4 | I | 19°58'59'' | 90.00 | 15.856 | 31.389 | 1.386 | 0+147.855 | 0+163.711 | 0+179.244 | 0.6 | 2.8 | 728,168.249 | 8,513.376.664 |
| 5 | D | 20°12'23'' | 90.00 | 16.037 | 31.740 | 1.418 | 0+224.612 | 0+240.649 | 0+256.352 | 0.6 | 2.8 | 728,148.263 | 8,513,451.295 |
| 6 | I | 14°17'25" | 200.00 | 25.071 | 49.882 | 1.565 | 0+378.123 | 0+403.195 | 0+428.006 | - | 2.5 | 734,052.543 | 8,525,974.529 |
| 7 | I | 56°34'21” | 40.00 | 21.525 | 39.495 | 5.424 | 0+497.178 | 0+518.704 | 0+536.673 | 1.2 | 4.4 | 733,943.417 | 8,525,935.878 |
| 8 | I | 26°11'20" | 80.00 | 18.609 | 36.567 | 2.136 | 0+560.413 | 0+579.022 | 0+596.980 | 0.6 | 3.1 | 733,928.046 | 8,525,873.881 |
| 9 | D | 138°36'18" | 20.00 | 52.935 | 48.382 | 36.588 | 0+632.715 | 0+685.650 | 0+681.097 | 2.5 | 5.8 | 733,950.836 | 8,525,769.051 |
| 10 | I | 33°11'36" | 80.00 | 23.844 | 46.347 | 3.478 | 0+762.923 | 0+786.767 | 0+809.270 | 0.6 | 3.1 | 733,823.076 | 8,525,863.037 |
| 11 | D | 44°52'47" | 50.00 | 20.649 | 39.165 | 4.096 | 0+924.862 | 0+945.511 | 0+964.027 | 1.0 | 4.0 | 733,663.232 | 8,525,871.825 |
| 12 | I | 62°14'26" | 50.00 | 30.186 | 54.315 | 8.405 | 1+010.598 | 1+040.784 | 1+064.913 | 1.0 | 4.0 | 733,598.088 | 8,525,944.241 |
| 13 | D | 31°49'59" | 60.00 | 17.110 | 33.336 | 2.392 | 1+071.013 | 1+088.123 | 1+104.348 | 0.8 | 3.6 | 733,546.327 | 8,525,931.130 |
| 14 | I | 24°38'1” | 80.00 | 17.467 | 34.395 | 1.885 | 1+158.627 | 1+176.094 | 1+193.022 | 0.6 | 3.1 | 733,461.639 | 8,525,958.026 |

| 15 | D | 10°38'49" | 220.00 | 20.499 | 40.881 | 0.953 | 1+306.260 | 1+326.760 | 1+347.141 | - | 2.5 | 733,311.565 | 8,525,939.561 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

TABLE 9.C ACCESS ROAD TO UNION - MACH STATION.

| Table of UTM WGS 84 Coordinates |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Access Road to​ Union – MACH Station |  |  |  |  |  |
| Vertex | East | North | Vertex | East | North |
| P1 | 730253.0148 | 8517891.6460 | P7 | 730450.0091 | 8518038.7892 |
| P2 | 730247.1578 | 8517894.5788 | P8 | 730445.3332 | 8518025.7049 |
| P3 | 730302.2377 | 8517944.3500 | P9 | 730417.0881 | 8518003.0306 |
| P4 | 730413.8819 | 8518008.2791 | P10 | 730306.1989 | 8517939.5885 |
| P5 | 730440.1694 | 8518029.3820 | P11 | 730253.0148 | 8517891.6460 |
| P6 | 730442.9985 | 8518037.2982 |  |  |  |
| Area (m2) | 1514.5266 |  |  |  |  |
| Perimeter (ml) | 508.1954 |  |  |  |  |

# ANNEX No. 03: FINANCIAL CLOSING

## ANNEX No. 03 - APPENDIX 1 - TEMPLATE OF THE AFFIDAVIT TO OBTAIN PERMITTED CREDITOR QUALIFICATION

Lima, …………. ....., 20.... Messieurs

Private Investment Promotion Agency – Proinversión

Permitted Creditor: ................................................

Reference: Project Contract “	”.

In accordance with the provisions of Clause 8.1 of the Concession Contract for the Project “Improving Public Tourist Services at the Choquequirao Archaeological Park,” we declare the following:

- That we are not subject to any impediment or restriction (by contractual, judicial, arbitration, administrative, legislative or other means) to assume and comply with the commitment to finance .................. (CONCESSIONAIRE) (acting/participating as Collateral Agent or Administrative Agent/agent, structuring agent, or whoever acts in a similar role to them in the issuance of transferable securities/debt instruments) and therefore our competent internal bodies have approved [a line of credit / our participation in the issuance of transferable securities/debt instruments] up to the amount of 	                  , in favor of                               (CONCESSIONAIRE) will [receive / issue], which is destined to comply with the obligations derived from the Concession Contract.

- That, [acting on behalf of the agents described in the preceding subparagraph] we comply with the requirements established to qualify as Permitted Creditor, in accordance with the terms assigned to this definition in the Concession Contract.

- That we declare that the financing indicated in the previous Subparagraph shall be carried out, among others, in accordance with the provisions of the contract called

to be subscribed between 	(CONCESSIONAIRE) and 	(Financial Entity/agent or structuring agent in the issuance of transferable securities/debt instruments).

- [In case of credit contracts] Finally, we declare that the credit contracts to be entered into (i) do not contravene the Contract and establish that, in the event of discrepancy between the credit contracts, or any other agreement ancillary thereto, and the

Concession Contract, the provisions of the Contract shall prevail, (ii) do not modify the allocation of risks of the Contract (iii) establish that the obligations of [CONCESSIONAIRE] in the financing contracts and the guarantees granted by [CONCESSIONAIRE] do not exceed the possible guarantees to be granted according to the Contract and the legislation in force, and that any agreement to the contrary shall not be enforceable against the GRANTOR, and (iv) do not generate risks or any additional liability to the GRANTOR not considered in the Concession Contract.

- [In case of issues in the capital market] Finally, we declare that the indenture agreement or equivalent document to be executed (i) does not contravene the Concession Contract and establishes that, in case of discrepancy between the indenture agreement or equivalent document and the Contract, the provisions of the Concession Contract, or any other agreement ancillary thereto, shall prevail, (ii) does not modify the allocation of risks of the Contract, and (iii) the obligations of [Name of the CONCESSIONAIRE] in the indenture agreement or equivalent document, as well as the guarantees granted by [CONCESSIONAIRE] do not exceed the guarantees that may be granted in accordance with the Contract and the legislation in force, and that any agreement to the contrary shall not be enforceable against the GRANTOR, and (iv) do not generate risks or any additional liability to the GRANTOR not considered in the Contract.

Sincerely,

Signature: .....................................

Name: ..................................

Representative of the Administrative Agent / Collateral Agent / agent or structuring agent in the issuance of transferable securities or equivalent.

Entity: ...................................

Permitted Creditor

*With Copy to GRANTOR

+*Power of attorney is attached

### Table: Conditions of Permitted Creditor Financing

| 1 | Amount of credit / issuance: | USD or Soles |
| --- | --- | --- |
| 2 | The applicable interest rate: | [▪]% |
| 3 | List of guarantees to be granted by [Concessionaire]3: | [▪] |

3 The guarantees granted are within the guarantees permitted by Clause 8.16 of the Contract signed between the GRANTOR and [Name of the Concessionaire], as CONCESSIONAIRE.

| 4 | Grace period and credit amortization term / payment term: | [▪] ([▪]) years/months |
| --- | --- | --- |
| 5 | Credit amortization schedule [In case of credit contracts] | Attached as an Annex |
| 6 | Conditions and terms of the financing documents for the first disbursement [In case of credit contracts] and provision term | [▪] |
| 7 | Covenants | [▪] |
| 8 | Applicable law | [▪] |

## ANNEX No. 03 - APPENDIX 2 - DOCUMENTATION FOR THE ACCREDITATION OF THE FINANCIAL CLOSING

Lima, [▪] [▪], 20[▪]

Messieurs

### Private Investment Promotion Agency - PROINVERSIÓN

Reference: Request for Compliance with the Financial Closing of the Project "Improving Public Tourist Services at the Choquequirao Archaeological Park."

In accordance with the provisions of Clause 8.9 of the project "Improving Public Tourist Services at the Choquequirao Archaeological Park," we attach as an annex the list of the documentation necessary to accredit the Financial Closing, as well as the corresponding supporting documents.

Sincerely,

Signature of the Legal Representative of the Concessionaire [Name of the Concessionaire]

### Documents for the accreditation of the Financial Closing

[As part of this annex, the Concessionaire shall submit to PROINVERSIÓN only and exclusively legalized copies of the signed versions of the following documents:

  - Credit agreements or indenture agreement, as applicable;

  - Mortgage contract on the concession right of the Project; and

  - Security interest contract on the Investor's shares.

If the documentation is submitted in a language other than Spanish, it must be accompanied by an official translation into Spanish.]

## ANNEX NO. 03 - APPENDIX 3 - MINIMUM CONTENT OF THE CONCESSIONAIRE'S AFFIDAVIT

- The CONCESSIONAIRE must submit an affidavit stating the following in relation to the credit contracts:

  - parts of the credit contracts;

  - the value of the credit;

  - the interest rate applicable to the credit;

  - list of the guarantees to be provided by the CONCESSIONAIRE within the framework of the credit contracts;

  - the credit amortization schedule;

  - conditions precedent for the first disbursement;

  - an express statement to the effect that the indenture agreement

(i) does not contravene the Concession Contract and establishes that, in case of discrepancy between said contract and the Concession Contract, the provisions of the Concession Contract shall prevail, (ii) does not modify the risk matrix of the Concession Contract, and (iii) establishes that the rights provided in favor of the CONCESSIONAIRE in the indenture and the guarantees do not exceed those granted by the Concession Contract and that any agreement to the contrary shall not be enforceable against the GRANTOR; and

  - Since the risk of managing and obtaining financing is the responsibility of the CONCESSIONAIRE, it will be understood that the minimum requirement has been met if the CONCESSIONAIRE's statement contains all the information listed here.

- In the case of issuances in the capital market, the CONCESSIONAIRE must provide only an affidavit indicating:

  - the value of the issuance;

  - the applicable interest rate;

  - list of the guarantees to be granted by the CONCESSIONAIRE;

  - the deadline for payment;

  - an express statement to the effect that the indenture agreement (i) does not contravene the Concession Contract and establishes that, in case of discrepancy between the indenture agreement and the Concession Contract, the provisions of the Concession Contract shall prevail, (ii) does not modify the risk matrix of the Concession Contract, and (iii) establishes that the rights provided in favor of the CONCESSIONAIRE in the indenture and the guarantees do not exceed those granted by the Concession Contract and that any agreement to the contrary shall not be enforceable against the GRANTOR.

Since the risk of managing and obtaining financing is the responsibility of the CONCESSIONAIRE, it will be understood that the minimum requirement has been met if the CONCESSIONAIRE's statement contains all the information listed here.

# ANNEX No. 04: FINANCIAL INSTITUTIONS AUTHORIZED TO ISSUE GUARANTEES OF FAITHFUL FULFILLMENT OF THE CONTRACT

### Banking Companies

These are companies defined in accordance with Law No. 26702, General Law of the Financial System and the Insurance System and Organic Law of the Superintendency of Banking, Insurance and Private Pension Fund Administrators (SBS), or any regulation that modifies or replaces it, and that hold the minimum local classification of CP-1, Category 1, CLA-1, or EQL-1 for short-term obligations; A for financial strength; and AA for long-term obligations in accordance with Applicable Laws and Provisions. These classifications must be valid at the time of summiting the Guarantees of Faithful Fulfillment with the Concession Contract and be granted by at least two (2) risk classifiers recognized and accredited in Peru.

### Insurance Companies

These are companies defined in accordance with Law No. 26702, General Law of the Financial System and the Insurance System and Organic Law of the Superintendency of Banking, Insurance and Private Pension Fund Administrators (SBS) and which, as of the date of submission of the Guarantee of Faithful Fulfillment of the Concession Contract, have a minimum rating of A, as to their financial strength, issued by at least two (2) risk rating agencies authorized by the Superintendency of the Securities Market.

### First Category Foreign Banks

First category foreign banks included in the list approved by the Central Reserve Bank of Peru through Official Letter No. 012-2024-BCRP published by the Central Reserve Bank of Peru on April 22, 2024, or the regulation that modifies or replaces it.

### International Financial Entities

- Any other international financial entity, that has a classification no lower than the classification of Peruvian sovereign debt corresponding to foreign currency and long-term, assigned by an international risk classification entity that classify the State of the Republic of Peru.

- Any multilateral credit institution of which the State of the Republic of Peru is a member.

It should be noted that guarantees from First Category Foreign Banks and International Financial Institutions must be confirmed by one of the Banking Companies listed in this Annex.

# ANNEX No. 05: TEMPLATE OF THE GUARANTEE FOR THE PRE-OPERATIONAL PERIOD AND OPERATIONAL PERIOD

## ANNEX No. 05 - APPENDIX 1 – GUARANTEE FOR THE PRE-OPERATIONAL PERIOD

Lima, ……….. ...., 20....

Messieurs

## MINISTRY OF FOREIGN TRADE AND TOURISM

Calle Uno Oeste 050 - San Isidro – Lima, Peru

Ref.:		Letter of Guarantee No.………….. Expiration date: ......................

Comprehensive Project Tender for the delivery of the Project Concession: “Improving Public Tourist Services at the Choquequirao Archaeological Park”.

Dear Sirs:

Hereby and at the request of our clients, Messieurs	[name of the legal

entity] (hereinafter "the CONCESSIONAIRE") we hereby constitute this joint and several, irrevocable, unconditional and automatic performance bond, without benefit of excussio or division, up to the amount of S/	…………………………………….(in letters with xx/100 Soles) in favor of the Ministry of Foreign Trade and Tourism (hereinafter, "MINCETUR") to guarantee the correct and timely compliance of each and every one of the obligations of the Concessionaire derived from the Concession Contract of the Project “Improving Public Tourist Services at the Choquequirao Archaeological Park” (hereinafter, Concession Contract), as established in numeral (i) of Clause 10. 3; including but not limited to:

- Payment of any penalties that may apply;

- Obligations arising from the Pre-Operational Stage.

- The amounts ordered to be paid in favor of the GRANTOR, by means of a final and firm sentence or enforceable arbitration award.

- Other statements and stipulations provided for in the Concession Contract.

In order to honor this bond in your favor, it will be sufficient to request a notarized request from MINCETUR, which must be signed by the person duly authorized by this agency, indicating that our

clients	(name of the Concessionaire) have not complied with the obligations guaranteed by this document.

Any delay on our part in honoring the aforementioned bond will accrue interest at the Legal Interest Rate, plus a spread of 3% per year.

The Legal Interest Rate will be the one published by the Superintendency of Banking, Insurance and Private Pension Fund Administrators on the date the payment request was received through a notary. Interest shall accrue from the date on which performance has been demanded until the effective date of payment.

This bond will also guarantee the correct and timely fulfillment of the obligations of the Concessionaire established by virtue of the provisions contained in Legislative Decree No. 1362, its Regulations approved by Supreme Decree No. 240-2018-EF and the Applicable Laws and Provisions that modify or replace them.

Our obligations under this bond will not be affected by any dispute between MINCETUR or any entity of the Republic of Peru and our clients.

This bond will be valid from .............. ......, 20...., through ............  ......., 20	, inclusive.

Sincerely,

Signature	………………………..

Name	………………………. Financial Entity	……………………….

## ANNEX No. 05 - APPENDIX 2 – GUARANTEE FOR THE OPERATIONAL PERIOD

Lima, …….. ...., 20....

Messieurs

## MINISTRY OF FOREIGN TRADE AND TOURISM

Calle Uno Oeste 050 - San Isidro – Lima, Peru

Ref.:		Letter of Guarantee No.………….. Expiration date: ......................

Comprehensive Project Tender for the delivery of the Project Concession: “Improving Public Tourist Services at the Choquequirao Archaeological Park”.

Dear Sirs:

Hereby and at the request of our clients, Messieurs	                               (name of the legal entity) (hereinafter "the Concessionaire") we hereby constitute this joint and several, irrevocable, unconditional and automatic performance bond, without benefit of excussio or division, up to the amount of S/	                                                        (in letters with xx/100 Soles) in favor of the Ministry of Foreign Trade and Tourism (hereinafter, "MINCETUR") to guarantee the correct and timely compliance of each and every one of the obligations of the Concessionaire derived from the Concession Contract of the Project “Improving Public Tourist Services at the Choquequirao Archaeological Park” (hereinafter, Concession Contract), as established in numeral (iii) of Clause 10. 3; including but not limited to:

- Payment of any penalties that may apply

- The amounts ordered to be paid in favor of the Grantor, by means of a final and firm sentence or enforceable arbitration award

- Obligations arising from the Operational Stage

- Other statements and stipulations provided for in the Concession Contract

In order to honor this bond in your favor, it will be sufficient to request a notarized request from MINCETUR, which must be signed by the person duly authorized by this agency, indicating that our clients	(name of the Concessionaire) have not complied with the obligations guaranteed by this document.

Any delay on our part in honoring the aforementioned bond will accrue interest at the Legal Interest Rate, plus a spread of 3% per year.

The Legal Interest Rate will be the one published by the Superintendency of Banking, Insurance and Private Pension Fund Administrators on the date the payment request was received through a notary. Interest shall accrue from the date on which performance has been demanded until the effective date of payment.

This bond will also guarantee the correct and timely fulfillment of the obligations of the Concessionaire established by virtue of the provisions contained in the Single Ordered Text of Legislative Decree No. 1362, its Regulations approved by Supreme Decree No. 240-2018-EF and the Applicable Laws and Provisions that modify or replace them.

Our obligations under this bond will not be affected by any dispute between MINCETUR or any entity of the Republic of Peru and our clients.

This bond will be valid from .............. ......, 20...., through ............  ......., 20	, inclusive.

Sincerely,

Signature	……………………….

Name	………………………. Financial Entity	……………………….

# ANNEX No. 06: TEMPLATE OF THE GUARANTEE OF FAITHFUL FULFILLMENT OF THE PAYMENT FOR WORKS (PPO)

Lima, …….. ...., 20....

Messieurs

## MINISTRY OF FOREIGN TRADE AND TOURISM

Calle Uno Oeste 050 - San Isidro – Lima, Peru

Ref.:		Letter of Guarantee No.………….. Expiration date: ......................

Comprehensive Project Tender for the delivery of the Project Concession: “Improving Public Tourist Services at the Choquequirao Archaeological Park”.

Dear Sirs:

Hereby and at the request of our clients, Messieurs                           [name of the legal entity] (hereinafter “the CONCESSIONAIRE”) we hereby constitute this joint and several, irrevocable, unconditional and automatic performance bond, without benefit of excussio or division, up to the amount of (S/ or USD) ………………………………………….…… (in letters with xx/100 Soles or USD) in favor of the Ministry of Foreign Trade and Tourism (hereinafter, “MINCETUR”) to guarantee the correct and timely compliance of each and every one of the obligations of the Concessionaire derived from the Concession Contract of the Project “Improving Public Tourist Services at the Choquequirao Archaeological Park” (hereinafter, Concession Contract), as established in numeral (ii) of Clause 10.3; including but not limited to:

- Payment of any penalties that may apply

- Obligations arising from the purchase and nationalization of Electromechanical Equipment

- The amounts ordered to be paid in favor of the GRANTOR, by means of a final and firm sentence or enforceable arbitration award.

- Other statements and stipulations provided for in the Concession Contract

In order to honor this bond in your favor, it will be sufficient to request a notarized request from MINCETUR, which must be signed by the person duly authorized by this agency, indicating that our clients	(name of the Concessionaire) have not complied with the obligations guaranteed by this document.

Any delay on our part in honoring the aforementioned bond will accrue interest at the Legal Interest Rate, plus a spread of 3% per year.

The Legal Interest Rate will be the one published by the Superintendency of Banking, Insurance and Private Pension Fund Administrators on the date the payment request was received through a notary. Interest shall accrue from the date on which performance has been demanded until the effective date of payment.

This bond will also guarantee the correct and timely fulfillment of the obligations of the Concessionaire established by virtue of the provisions contained in Legislative Decree No. 1362, its Regulations approved by Supreme Decree No. 240-2018-EF and the Applicable Laws and Provisions that modify or replace them.

Our obligations under this bond will not be affected by any dispute between MINCETUR or any entity of the Republic of Peru and our clients.

This bond will be valid from .............. ......, 20...., through ............  ......., 20	, inclusive.

Sincerely,

Signature	………………………..

Name	………………………. Financial Entity	……………………….

# ANNEX No. 07: BASIC TECHNICAL SPECIFICATIONS

SECTION 1: FOR THE CABLE CARS

# TECHNICAL REGULATIONS FOR CABLE TRANSPORT TO BE APPLIED

For the design, manufacture, construction of civil works, assembly, operation and maintenance of cable cars, the following European technical regulations must be followed:

    - Regulation (EU) 2016/424 of March 9, 2016, which regulates the requirements that must be met for the design, construction, commissioning, and operation of cable-stayed passenger transport facilities.

As well as harmonized European standards:

    - EN 1709 Safety requirements for cableway installations designed to carry persons. Examination prior to commissioning, maintenance and operational checks.

    - EN 1908 Safety requirements for cableway installations designed to carry persons. Earthing and short-circuiting devices.

    - EN 1909 Safety requirements for cableway installations designed to carry persons. Recovery and evacuation.

    - EN 12397 Safety requirements for cableway installations designed to carry persons. Operation.

    - EN 12929-1 Safety requirements for cableway installations designed to carry persons. General requirements. Part 1: Requirements applicable to all facilities.

    - EN 12929-2 Safety requirements for cableway installations designed to carry persons. General requirements. Part 2: Additional requirements for bicable aerial ropeways without carrier brakes

    - EN 12930 Safety requirements for cableway installations designed to carry persons. Calculations.

    - EN 13107 Safety requirements for cableway installations designed to carry persons. Civil Works.

    - EN 13223 Safety requirements for cableway installations designed to carry persons. Drives and other mechanical devices.

    - EN 13243 Safety requirements for cableway installations designed to carry persons. Electrical devices other than the drive.

    - EN 13796-1 Safety requirements for cableway installations designed to carry persons. Vehicles. Part 1: Clamps, carriages, on-board brakes, cabins, chairs, cars, maintenance vehicles, trailers.

    - EN 13796-2 Safety requirements for cableway installations designed to carry persons. Vehicles. Part 2: Test of the resistance to slippage of the clamps.

    - EN 13796-3 Safety requirements for cableway installations designed to carry persons. Vehicles. Part 3: Fatigue tests.

In addition, the U.S. technical standards may be applied:

    - ANSI B77.1 – 2011, ANSI B77.1A-2012: Passenger Ropeways – Aerial Tramways, Aerial Lifts, Surface Lifts, Tows And Conveyors – Safety Requirements.

# TECHNICAL APPROACH

The technical characteristics of the cable cars routes are shown below:

TABLE 9. TECHNICAL APPROACH TO CABLE CARS.

|  | “South” Cable Car (Kiuñalla → Choquequirao “Unión”) | “North” Cable Car, Section 1 (Abra San Juan → Maizal) | “North” Cable Car, Section 2 (Maizal → Choquequirao “cumbre”) |
| --- | --- | --- | --- |
| Horizontal length (between cable supports) | 4.188,0 m | 2.565,0 m | 3.883,0 m |
| Exit level (platform) | 2.921,5 m | 4.075,0 m | 2.901,0 m |
| Arrival level (platform) | 3.005,0 m | 2.901,0 m | 3.517,0 m |
| Grade | 83,5 m | 1.174,0 m | 616,0 m |
| Average slope | 2% | 45,8% | 15,8 % |
| Approximate cable length (at installation) | 4.336,9 m | 2.851,4 m | 4.053,4 m |
| Number of towers | - | 4 | 1 |
| Maximum light (horizontal) | 4.188,0 m | 1.687,0 m | 2.800,0 m |
|  | “South” cable car (Kiuñalla → Choquequirao “Unión”) | “North” Cable Car, Section 1 (Abra San Juan → Maizal) | “North” Cable Car, Section 2 (Maizal → Choquequirao “cumbre”) |
| Horizontal length (between cable supports) | 4.188,0 m | 2.565,0 m | 3.883,0 m |
| Exit level (platform) | 2.921,5 m | 4.075,0 m | 2.901,0 m |
| Arrival level (platform) | 3.005,0 m | 2.901,0 m | 3.517,0 m |
| Grade | 83,5 m | 1.174,0 m | 616,0 m |
| Average slope | 2% | 45,8% | 15,8 % |
| Approximate cable length (at installation) | 4.336,9 m | 2.851,4 m | 4.053,4 m |

| Number of towers | - | 4 | 1 |
| --- | --- | --- | --- |
| Maximum light (horizontal) | 4.188,0 m | 1.687,0 m | 2.800,0 m |

The UTM coordinates of the polygons where the stations would be located are:

TABLE 10. LOCATION OF THE SOUTH CABLE CAR.

| “South” Cable Car |  |  |  |
| --- | --- | --- | --- |
| Kiuñalla Station |  |  |  |
|  | X | Y | Z |
| Vertex 1 | 728300.3004 | 8513999.4755 | 2.921,5 m |
| Vertex 2 | 728238.8754 | 8513887.0756 |  |
| Vertex 3 | 728162.8718 | 8513925.1342 |  |
| Vertex 4 | 728226.3727 | 8514058.3519 |  |
| Vertex 5 | 728323.0195 | 8514139.6869 |  |
| Vertex 6 | 728399.0230 | 8514101.6283 |  |
| Vertex 7 | 728406.7434 | 8514005.3761 |  |

| “South” Cable Car |  |  |  |
| --- | --- | --- | --- |
| Unión Station |  |  |  |
|  | X | Y | Z |
| Vertex 1 | 730221.9087 | 8517907.2223 | 3.005,0 m |
| Vertex 2 | 730264.0006 | 8517886.1448 |  |
| Vertex 3 | 730276.9017 | 8517876.3400 |  |
| Vertex 4 | 730236.1523 | 8517794.9631 |  |
| Vertex 5 | 730179.8203 | 8517823.1713 |  |

TABLE 11. LOCATION OF THE NORTH CABLE CARS

| “North” Cable Car, Section 1 |  |  |  |
| --- | --- | --- | --- |
| Abra San Juan Station |  |  |  |
|  | X | Y | Z |
| Vertex 1 | 731309.9988 | 8525054.1138 | 4.075,0 m |
| Vertex 2 | 731168.4404 | 8525003.3959 |  |
| Vertex 3 | 731105.7425 | 8525060.7890 |  |
| Vertex 4 | 731145.4737 | 8525103.3387 |  |
| Vertex 5 | 731155.1230 | 8525102.0208 |  |
| Vertex 6 | 731167.3631 | 8525107.2806 |  |

| Vertex 7 | 731175.3972 | 8525139.2123 |  |
| --- | --- | --- | --- |
| Vertex 8 | 731205.2210 | 8525144.4406 |  |
| Vertex 9 | 731306.5457 | 8525121.4901 |  |

| “North” Cable Car, Section 2 |  |  |  |
| --- | --- | --- | --- |
| Maizal Station |  |  |  |
|  | X | Y | Z |
| Vertex 1 | 729461.3264 | 8523081.9535 | 2.901,0 m |
| Vertex 2 | 729353.7658 | 8523058.9162 |  |
| Vertex 3 | 729322.3513 | 8523205.5898 |  |
| Vertex 4 | 729429.9119 | 8523228.6271 |  |

| “North” Cable Car, Section 2 |  |  |  |
| --- | --- | --- | --- |
| Abra Choquequirao Station “cumbre” |  |  |  |
|  | X | Y | Z |
| Vertex 1 | 730257.32 | 8519297.12 | 3.517,0 m |
| Vertex 2 | 730195.72 | 8519283.93 |  |
| Vertex 3 | 730176.04 | 8519375.84 |  |
| Vertex 4 | 730237.64 | 8519389.04 |  |

# DESCRIPTION OF THE CABLE TRANSPORT SYSTEM

For the present Project, a Cable Transportation System of the Cable Car type is proposed, consisting mainly of the following components: cables (transport line), stations (boarding and alighting) and vehicles (passenger cabins).

The proposed system is of the “to-and-fro” type, meaning that each cabin travels between two stations, making a round trip. In other words, when the cabin arrives at the station, it stops so that passengers can disembark and board in a continuous manner, and then “changes direction”, traveling in the reverse direction. The movement of both vehicles is always synchronized since they are attached to the same towing cable. When one vehicle is stopped at the departure station, the other will be stopped at the arrival station, and when one vehicle moves in one direction, the other will do the same in the opposite direction. This system allows significant energy savings, as each vehicle acts as a counterweight to the other.

### Cables

The proposed design for the Project has independent traction cables and carrying cables, thus

separating the vehicle's pushing function from its supporting function. In the three sections of the Choquequirao cable cars, each track will have:

    - 2 carrying cables

    - 1 traction cable

The carrying cables are fixed and support the weight of the vehicle driving on top of them (by means of the carriage displacement). They are also often referred to as “rail” cables by analogy with rail transport. Two of the four carrying cables will be equipped with optical fiber, for the cable car's own needs and for other uses (telephony, computer network, among others).

The traction cable, on the other hand, is mobile and is responsible for “pulling” the vehicles. Generally, it is a “ring” cable (with union of its two ends), except in the case of coupling by means of fused terminals in which we will find two segments (called upper and lower).

Cable car with 3 cables: 2 carrying cables (in green) and 1 traction cable (purple, at center).

The traction cable is driven by the pulley of the motor station and moves in solidarity with the vehicles attached to it.

### Towers

In the case of the “north” zone cable cars, the preliminary design calls for the construction of intermediate towers. They may have a lattice structure and their purpose is to support the carrying

cables when the longitudinal profile of the terrain requires it. These must have:

    - Sliding supports for the carrying cables: allowing small longitudinal movements of the cables (commonly called “sabots” -in French- or “shoes”).

    - Supports with elastic-coated pulleys for the traction cable.

    - Deflectors to guide the cabins and avoid contact with the tower in the event of lateral oscillations (note: when passing through towers, the maximum authorized speed is 10 m/s).

    - Ladder access and working platforms for maintenance, with the corresponding work safety equipment (lifelines and constructive arrangements).

    - Devices for lifting the traction cable (and being able to perform maintenance on pulleys).

    - Lightning arrester.

Examples of lattice towers (left – Grouse Mountain, Canada) and tubular towers (right – Stowe, USA).

### Trestle

They are “cable positioners” that, in long-span cable cars, ensure their correct arrangement and relative distance. Triangular in shape, they hang from the carrying cables (to which they are attached by clamps) and have a pulley in the center over which the traction cable slides. They are placed approximately every 200 m.

“Trestle” joining two carrying cables (ends) and a traction cable (in the center, above a small pulley).

### Motor station

Cable car stations must serve the dual function of facilitating passenger flow and housing all the machinery necessary for its operation. Therefore, they have 3 clearly differentiated zones:

    - Parking docks for vehicles.

    - Passenger boarding and waiting areas (platforms).

    - Technical and machinery rooms.

Furthermore, in the case of Choquequirao, with its invaluable surroundings, the landscape integration of the stations is also an essential requirement.

Thanks to their location on sloping hillsides, the buildings can be semi-underground, leaving the upper floor (at ground level) for passengers and docks and relegating the machinery to the lower floor. Therefore, buildings on two levels are proposed for the 4 stations.

Terminal station on the Masada cable car (Israel), with the 3 functional zones marked.

This station contains, in addition to all the elements necessary for passenger boarding and disembarking, the mechanisms that maintain the tension of the cables and activate the movement of the traction cable. The following elements are distinguished:

    - Support shoes and guide of the carrying cables

    - Platforms for boarding, disembarking and waiting for passengers. The platform design allows for the differentiation of access and exit routes for the cable car. This concept is very useful for the operating phase, as it facilitates both operations by the management company and customer orientation.

    - The platforms will have safety railings and demarcation along their entire perimeter. They will also have automatic doors that will open automatically when the driver authorizes boarding and/or disembarking.

    - Parking docks for vehicles (one for each vehicle). The docks have electrified rails that transmit electricity to the cabins for charging the batteries.

    - End-of-stroke pistons that keep the vehicle stable when parked to ensure safe boarding and disembarking of passengers.

    - Technical rooms (on the lower floor) that house all electromechanical systems

    - Motor equipment and pulleys for deflecting the traction cable

Example of drive station in Hakodate, Japan.

### Supporting and guiding shoes for the carrying cables

They have:

- Winding drums of the carrying cables to the superstructure. They are also equipped with cable tension detectors.

- Supporting and guiding structures for the carrying cables: they lift and align the cables with the other station. They have guides (“shoes”) that allow slight vertical and longitudinal displacements of the same, generated by the displacement of the cabins on the line (catenary variation due to point load).

Vision of a pair of “shoes” guiding the 2 carrying cables to the exit of a station.

### Engine group

Generates and transmits vehicle movement by:

- Tractor cable guide pulleys (which divert it to the driving pulley). The guide pulleys shall have a redundancy of the main bearings to allow the evacuation of the installation in the event of a breakdown on them. Redundancy may be ensured by Teflon bushings, copolymers or the like.

- Main motors: electric, with speed regulation by variable frequency drive (in case of alternating current motor) or thyristor bridge (direct current). Each cable car will have 2 main motors, operating according to the “master/slave” technique. This technique allows normal operation in optimal conditions, and at half load if one of the 2 engines is out of service.

- Speed reducers and propeller shafts: speed reducers (one for each motor) will ensure speed reduction between the motor and the pulley. The transmission of motion between the output shaft of each motor and the fast shaft of the speed reducer will be direct by cardan shaft. An easy handling system shall be provided to disengage one of the two reducers from the driving pulley in the event of a fault.

- Driving pulleys: each reducer shall be coupled to a driving pulley, which shall be characterized by a groove covered with a maximum adhesion rubber band, responsible for transmitting the movement to the carrying-traction cable. Each driving pulley shall have a redundancy of the main bearings to allow the evacuation of the installation in the event of a breakdown on the main bearings. Redundancy may be ensured by Teflon bushings, copolymers or the like.

- Secondary emergency engine: generally thermal (to allow evacuation in case of failure of the main motor or power failure) and with direct transmission to one of the driving pulleys, by means of a pinion that is clamped to a ring gear.

Examples of secondary thermal engine (left) and main electric engine (right) in La Massana, Andorra.

### Braking devices

Three stopping and braking devices shall be installed, acting according to the nature of the defect detected:

- Electrical stop: Deceleration shall be effected by the main engines, modulated by an electronic ramp of the variable speed drive. The control of this ramp shall be carried out by the safety automation system.

In case of incorrect operation of this device, the emergency brake shall stop the installation.

- Service brake: Stopping this brake will cut off the main motor supply. This brake (electromagnetic or hydraulic) is described below:

It will operate in normal and emergency operation.

  - Two jaws will automatically act on a disc attached to the fast shaft of the reducer when the power supply to the device is cut off. Provision may also be made for direct action of this brake on the driving pulley.

  - The closing pressure of the two jaws shall be produced by a stack of spring washers, while the opening force shall be effected by an electromagnetic or hydraulic system.

  - This device will be equipped with a manual release system and an electric opening control for operation with the emergency motor.

  - Two safety detectors shall report the brake position, authorizing or preventing the cable car from starting.

  - To obtain a constant deceleration regardless of the load condition of the apparatus, and to determine any defects in deceleration, braking shall be piloted by the automaton system.

- Safety brake (over driving pulley): It will be activated automatically in the following cases:

  - Overspeed detection or untimely reversal of direction of travel.

  - Service brake detection blocked or open at the end of an electrical stop.

  - Detection of a deceleration defect during an electric motor or service brake shutdown.

The actuation of this brake can be triggered manually by means of several stop buttons and by actuating a valve of its hydraulic power unit (if hydraulic).

Actuation of this brake will induce the supply cut-off of the motor and the timed dropping of the service brake.

Example of traction unit in La Massana, Andorra.

### Safety and control cabinet

The electrical safety and piloting architecture of the cable cars will be based on a separate architecture:

- a pilot automaton will ensure “normal” functions

- a safety automaton shall be responsible for handling all safety information (line, speed monitoring, acceleration and braking monitoring, door opening, etc.)

### Electrical installation

- Transformers: in the same way as electric motors, transformers will be redundant. For this, each main engine will have a dedicated transformer.

- All electrical installations shall be designed and dimensioned according to the Regulations in force in Peru.

### Return station

This station contains, in addition to all the necessary elements for boarding and disembarking passengers, the mechanisms that allow to maintain the tension of the cables. The following elements are distinguished:

- Supporting and guiding shoes for the carrying cables

- Passenger boarding, disembarkation and waiting platforms. The design of the platforms allows to differentiate the access and exit movements of the cable car. This concept is very useful for the operation, as it facilitates both the operations of the management company and the orientation of the client.

- The platforms will have safety railings and delimitation throughout their perimeter. Likewise, automatic doors will be provided that will open automatically when the driver authorizes boarding and/or disembarking.

- Parking docks for vehicles (one for each vehicle). The docks have electrified rails that transmit electricity to the cabins for charging the batteries

- End-of-stroke pistons that keep the vehicle stable when parked to ensure safe boarding and disembarking of passengers

- Technical rooms (on the lower floor) that house all electromechanical systems

- Traction cable deflection pulleys and fixed tensioning system: the lower deflection pulleys will be mounted on a sliding chassis, which will have the purpose of maintaining tension on the traction cable as it lengthens. In normal operation, the deflection pulleys are fixed (we are talking about anchored traction cable), so that it has the same deflections as the carrying cables, and expands or contracts in the same proportions.

### Supporting and guiding shoes for the carrying cables

They have:

- Winding drums of the carrying cables to the superstructure. They are also equipped with cable tension detectors.

- Drums for the storage of the surplus cable necessary to carry out its regulatory displacements for 50 years, according to section 5.3 of EN12927-7 (displacement every 12 years of a length at least equal to the contact area plus 3 meters).

- Supporting and guiding structures for the carrying cables: they lift and align the cables with the other station. They have guides (“shoes”) that allow slight vertical and longitudinal displacements of the same, generated by the displacement of the cabins on the line (catenary variation due to point load).

### Deflection and tension of traction cable

At this station it is necessary to reroute the traction cable, to forward it from the “outward” to the “return”. The following elements are therefore included in this component:

- Traction cable guide pulleys. The guide pulleys shall have a redundancy of the main bearings to allow the evacuation of the installation in the event of a breakdown on them. Redundancy may be ensured by Teflon bushings, copolymers, or the like.

- Relay pulleys: the lower deflection pulleys shall be mounted on a displaceable chassis, which shall aim to maintain tension in the traction cable as it is lengthened. The displacement of the carriage will be manual, with the help of hydraulic pistons. In normal operation, we talk about anchored traction cable (as opposed to constant tension mechanism).

### Summary of Stations

Each cable car will have 2 extreme stations.

## TABLE 12. CHARACTERISTICS OF THE STATIONS (SOUTH).

| “South” cable car |  |  |
| --- | --- | --- |
|  | Kiuñalla Station | Unión Station |
| Type of station | Drive | Return |
| Total plant occupancy | 1.165 m² | 485 m² |
| Approximate area: |  |  |
| Docks | 130 m² | 124 m² |
| Passenger parking | 60 m² | 80 m² |
| Technical rooms | 660 m² | 361 m² |
| Services/passenger shop | 640 m² | 180 m² |
| Upper floor | Waiting area, lockers and docks | Waiting area, lockers and docks |
| Lower floor | Machinery | Machinery |

TABLE 13. CHARACTERISTICS OF THE STATIONS (NORTH).

|  | “North” cable car, section 1 |  | “North” cable car, section 2 |  |
| --- | --- | --- | --- | --- |
|  | Abra San Juan Station | Maizal Station | Maizal Station | Choquequirao Station “cumbre” |

| Type of station | Drive | Return | Drive | Return |
| --- | --- | --- | --- | --- |
| Total plant occupancy | 725 m² | 550 m² | 807 m² | 695 m² |
| Approximate area |  |  |  |  |
| docks | 115 m² | 115 m² | 140 m² | 140 m² |
| passenger parking | 90 m² | 90 m² | 130 m² | 100 m² |
| technical rooms | 535 m² | 285 m² | 570 m² | 360 m² |
| services/passenger shop | - | - | - | - |
| Upper floor | Waiting area, lockers and docks | Waiting area, lockers and docks | Waiting area, lockers and docks | Waiting area, lockers and docks |
| Lower floor | Machinery | Machinery | Machinery | Machinery |

| Simulation of the front façade and floor plan of Kiuñalla station |  |
| --- | --- |

Simulation of the front façade and floor plan of Choquequirao “Union” station

| Simulation of the front façade and floor plan of Abra San Juan station |  |
| --- | --- |

| Simulation of the front façade and floor plan of Maizal station (section 1) |  |
| --- | --- |

| Simulation of the front façade and floor plan of Maizal station (section 2) |  |
| --- | --- |

| Simulation of the front façade and floor plan of Choquequirao “cumbre” station |  |
| --- | --- |

### Vehicles

The vehicles (2 per section) will have panoramic cabins with space for 100 standing passengers (plus a driver) for each of the 3 cable cars studied.

They shall have opening doors on both sides for orderly and fluid boarding and disembarkation (see station plans).

Its indicative characteristics are as follows:

TABLE 14. CHARACTERISTICS OF THE VEHICLE

| Connection with carrying cables | carriage |
| --- | --- |
| Attachment to traction cable | Clamp, gendarme's hat (saddle), or cast metal terminal |
| Arm length | 5,40 m |
| Cabin capacity | 100 passengers (+1 driver) |
| Cabin dimensions: Length Width Height | 7,2 m 3,6 m 2,83 m |
| Calculation density (0.23 m2/passenger +0,4 m2 for driver) | 100 x 0,23 + 0,4 = 23,4 m2 |
| Useful interior surface | 24,3 m2 (> 23,4) |

Example of a cable car cabin with panoramic windows and lateral opening.

They will be able to accommodate standing passengers, although folding seats will be provided in the interior perimeter so that, at times of low occupancy, passengers can lean back.

Cabin interior of Roosevelt Island Tramway (New York, USA) with folding seats on the sides and panoramic windows.

### Cabin

Generally enclosed and rectangular in plan with the longest sides parallel to the direction of traffic. They are built with a metal frame and enclosure (floor and roof) and plexiglass glazing on the sides (allowing a global view all around).

They have the following elements:

- Driver's station: with room to accommodate a worker, controls and safety and communication elements with the stations. It is only required by regulations for cabins of 50 people or more.

- Access doors: generally sliding and on long sides, allowing boarding on one side and disembarking on the other. They are electromagnetically self-closing.

- Grab bars or handles: to allow passengers to hold on in case of oscillations.

- Seats: optional. Generally located at the ends and of the folding type (to increase transport capacity at times of high public flow). Passengers generally travel standing.

Example of a driver's station (La Massana, Andorra).

### Arm

Metal tubular structure that links the cabin to the carriage. It usually has dampers to reduce the vibrations transmitted to the cabin. At its upper end, it is hooked to the carriage by means of a ball joint that allows a horizontal position of the cabin whatever the inclination of the cable.

### Carriage

The coupling between the vehicle and the traction cable is permanent, guaranteeing a totally unified movement between both.

This union can be achieved in three ways:

- by a clamp that "bites" the cable

- by twisting the cable called “chapeau de gendarme”

- by interruption of the cable and installation of fused terminals, which are housed in the carriage.

Example of a carriage connecting the cabin to the cables in a two-cable cable car. It can be seen, at the top, the carrying cable (on which the carriage wheels run) and at the bottom the traction cable, which transmits its movement to the vehicle by means of the clamp.

Example of a cast terminal at the end of a traction cable

The carriage ensures the support and movement of the vehicle assembly by means of the following elements:

- Wheels: they run above the carrying cables.

- Bogies: An articulated structure that groups the wheels together to ensure that each wheel bears the same load.

- Fastening with the cable. Based on one of the 3 systems previously exposed.

- Brake: only mandatory according to what regulations apply. It acts on the carrying cables in case of breakage of the traction cable.

- Chassis: metal structure that joins all the elements above.

The carriage design must wrap around the carrying cables to make a hypothetical derailment impossible.

In the case of Choquequirao, since integrated salvage has been chosen, and this feature implies periodic control of the traction cable, the only technology allowed by the regulations is the clamp technology.

Always with the primary objective of being able to recover the vehicles in station in case of breakdown, the material carriage covering the wheels of the carriage must allow the vehicles to be brought in station even in case of seizure of the bearings of one of the wheels.

### Security elements

In order to monitor the system at all times, as well as to foresee possible risks, the following devices

are generally available:

- Cabin position detection sensors (in stations)

- Cabin position detection sensors (in line)

- End-of-stroke sensors (at station docks)

- Speed sensors

- Anemometers (in towers and/or stations)

- Tension control on carrying cables

- Tension control in the traction cable

- Magnetographic control of the traction cable (in station)

- Fire detectors

- Inclinometer (in vehicle)

- Accelerometer (in vehicle)

- Anemometers (in the most exposed places)

For all of them (as well as for other eventualities) thresholds are set that trigger alarms (or slow down the system) as well as limit values that lead to an automatic shutdown.

In addition, the presence of a driver in the cabins, in charge of the constant monitoring of operating conditions, adds to the system another level of safety of a very important nature.

### Passenger recovery elements

Usually, in the event of mechanical breakdown of the main (electric) and emergency (thermal) engines, passenger recovery is carried out with auxiliary emergency operation vehicles.

In the case of Choquequirao, due to the large overflight of both cable cars, measures will be taken to avoid a rescue as described in the previous point. This requires that all mechanical and electrical elements are redundant. Many of these redundant systems have already been described in the corresponding sections, but due to the importance that the drafting team attaches to this point, these design criteria are listed again below. For each section of cable car, the following technical conditions shall be taken:

- redundant master motor: architecture with 2 electric motors operating as master and slave.

- two reducers (one per motor) easily disengaged in case of failure

- two driving pulleys, easily detachable from their reducer

- each motor shall have a dedicated transformer

- relief engine with separate power source, preferably thermal (or with independent generator set)

- driving and traction rope deflection pulleys with double rotation system: bearings and bushings made of Teflon or high hardness copolymers (POM) (e.g.)

- permanent monitoring of the traction cable (by magnetography)

- line pulleys (in towers) with double rotation system or with material that allows the traction cable to slide over in case of grip

- pulleys of the “trestle” with double rotation system or with material that allows the traction cable to slide over in case of grip.

### Electrical supply

The Medium Voltage Electrical Supply for the operation of the Cable Cars and the rest of the tourist services of the stations will be through Electro Sur Este, through the design point corresponding to 22.9 Kv medium voltage, from the TA-O5 medium voltage feeder that leaves the Tamburco substation, for which the following load chart was determined:

TABLE 15. CHARACTERISTICS OF ELECTRICAL SUPPLY

| ITEM | DESCRIPTION | INSTALLED POWER (KW) | QUANTITY | SIMULTANEITY FACTOR | TOTAL (KW) |
| --- | --- | --- | --- | --- | --- |
| SOUTH ACCESS (APURIMAC) |  |  |  |  |  |
| 1 | Kiuñalla – Unión Cable Car (maximum power at start-up) | 1350 | 1 | 1 | 1350 |
| 2 | Tension station | 50 | 1 | 1 | 50 |
| 3 | Other | 100 | 1 | 1 | 100 |
| 1500 |  |  |  |  |  |
| NORTH ACCESS (CUSCO) |  |  |  |  |  |
| 4 | Abra San Juan – Maizal Cable Car (power at speed) | 750 | 1 | 1 | 750 |
| 5 | Maizal – Choquequirao Cable Car summit (maximum power at speed) | 1450 | 1 | 1 | 1450 |
| 6 | Tension stations | 50 | 2 | 1 | 100 |
| 7 | Other | 200 | 1 | 1 | 200 |
| 2500 |  |  |  |  |  |

4000

TOTAL NORTH ACCESS AND SOUTH ACCESS

The supply will be through the 22.9 kV line composed of the following sections:

- Section 1: 22.9 kV, 3x70mm2 AAAC primary line, corresponding to the distance between the design point and the first Kiuñalla cable car station (19.22 km).

- Section 2: 22.9 kV, 3x70mm2 AAAC primary line, corresponding to the distance between Kiuñalla cable car station and Maizal cable car station (9.72 km).

- Section 3: 22.9 kV, 3x70mm2 AAAC primary line, corresponding to the distance between Maizal cable car station and Abra San Juan cable car station (2.76 km).

- Section 4: 22.9 kV, 3x70mm2 AAAC primary line, corresponding to the distance between Abra San Juan cable car station and Yanama station (3.44 km).

- Section 5: 22.9 kV, 2x35mm2 AAAC primary line, corresponding to the distance between the bypass point at 13.25km of Section 1 to Huanipaca station (5.00 km).

# 1.4.	DESCRIPTION OF THE WORK AND ASSEMBLING

### Establishment and staking out

The first operation consists of the staking out of the works, to validate the profile and also to serve as a reference in the construction of the foundations. This task should be performed by a surveyor, based on the project profile.

Based on the staking out of the construction elements (stations and towers), their locations are validated or modified according to the actual terrain conditions (for example, if they coincide with a stream or an unstable area).

### Civil works

The stations are reinforced concrete structures, parallelepiped-shaped, which house the electromechanical components inside, and also serve as support for the platforms and cable support shoes.

The line towers are supported on the natural ground by reinforced concrete foundations, inside

which the anchor bolts are placed in variable numbers, depending on the stress of each foot of the towers.

Photograph of the construction site of the upper station of the Mont Blanc cable car (Copurmayer to Pointe Helbronner). Source: www.lovecourmayeur.com

Example of line tower	Tower foundation

Prior to the opening of each excavation, an expert in soil mechanics establishes the admissible working stress values of the ground.

These allowable soil stress values, together with the geometric dimensions of the cable cars components, make it possible to determine the dimensions of the concrete supports in accordance with the Reinforced Concrete Instructions in force.

Once the excavation has been carried out, a new visit by a soil mechanics expert confirms the data from the previous visit. If necessary, additional tests are carried out as deemed necessary by the expert.

The construction process is followed by the realization of a concrete cleaning layer (flooring) with a characteristic resistance of 15 N/mm2.

Next, the reinforcement is placed, consisting of high adherence rebars with an elastic limit fy of not less than 400 N/mm2.

Technical standards and rules of good practice are followed in the placement of reinforcement and formwork, as well as in the arrangement of spacers to ensure compliance with the overlay thickness.

Structural concrete has a plastic consistency and a characteristic strength of not less than 30 N/mm2.

The quality of the materials is certified by means of the corresponding tests, and a detailed quality control plan for the concrete is established.

To carry out the civil works, the following will be used:

- Maizal station: the new access road to the station will be used

- Abra San Juan Station: for the construction of the civil works, either the use of helicopters or the temporary construction of a material cable car may be envisaged

- Choquequirao cumbre station: for the construction of the civil works, either the use of helicopters or the temporary construction of a material cable car may be envisaged

- Kiuñalla station: the new access road to the station will be used

- Unión station: for the construction of civil works, the use of a helicopter or the temporary construction of a material cable car may be envisaged.

Regardless of the construction methodology used, provisional concrete production plants should be installed in the vicinity of the exit stations (San Ignacio and Maizal), as well as the necessary areas for the storage of basic materials (aggregates, cement and water).

The foundation pit openings will be carried out using an excavator that was previously airlifted Subsequently, the concreting of the structures will be carried out using an airlifted concrete bucket to pour the concrete onto the framed reinforcements, or alternatively with the help of a material cable car.

Concrete transport and pouring by helicopter

Transport of excavating machine by material cable car. Source: www.seik.it.

### Assembly of Stations

The assembly of the departure stations (Maizal and San Ignacio) will be carried out with the help of a large tonnage crane.

For the two arrival stations (Choquequirao Cumbre and Choquequirao Unión), due to their inaccessibility, a helicopter and/or a material cable car will be mounted with the help of transporting the parts to the assembly site. The maximum weight of the parts comprising the different structures shall be limited to the method of transport used.

### Metal structures, towers

The support towers and metal works of the stations are solidified with the foundations through bolted joints.

All metal construction shall be assembled in accordance with the manufacturer’s quality procedures and certificates and mounting slips shall be provided to support the quality of the assembly.

The towers will be assembled with the help of a helicopter or using a material cable car. The weight of each part shall be limited to the maximum load which may be loaded by the method of transport used.

Assembly of a blondin (with the help of a helicopter), which was later used for the assembly of the chairlift line.

### Cables

Once the stations and towers are assembled, the cables must be laid. For each cable (2 carrying cables and 1 traction cable) proceed as follows: First, a cable is laid along the small diameter line made of kevlar with the help of a helicopter. Subsequently, a cable of a larger diameter than the previous one is attached to its lower end and pulled until it is positioned along the line. This operation is repeated successively with increasingly larger diameter cables until the required diameter cable can be laid. Once the traction cable is on its supports, the splicing of it is performed.

The splicing is done manually with the help of specific tools. This involves opening the cable (which has been made with precision machines), extracting a certain length of strand from each strand to be spliced and inserting the same length of strands from the other strand of cable, to reconstitute a cable of the same diameter and strength as the original.

Assembly of a temporary suspended “bridge” for the splicing maneuver of a cable car traction cable. Source: www.fatzer.com

Once the traction cable is spliced and the carrying cables are installed, it is possible to hang the vehicles.

### Electrical wiring

Specialized electricians are in charge of the wiring of the electric motor, as well as of all the safety devices inherent to the installation.

### Adjustments and load tests

Before opening the installation to the public, all the elements guiding the cables (in stations and in line) are adjusted. Finally, the installation is subjected to a series of performance tests, as well as load tests that allow validating the proper functioning and behavior of the mechanical elements and the safety features.

SECTION 2: FOR THE ROADS

# APPLICABLE TECHNICAL REGULATIONS

The following national standards, issued by the Ministry of Transport and Communications (MTC), and international road design standards were used for the design:

    - Highway Manual: Geometric Design DG-2018, approved by R.D. No. 03-2018- MTC/14.

    - Highway Manual: Soils and Pavements Section, approved by R.D. No. 10-2014- MTC/14.

    - Highway Manual: Hydrology, Hydraulics and Drainage, approved by R.D. No. 20-2011- MTC/14.

    - Highway Manual: Manual of Automotive Traffic Control Devices for Streets and Highways, approved by R.D. No. 16-2016-MTC/14.

    - Highway Manual: Road Safety Manual, approved by R.D. No. 05-2017-MTC/14.

    - Highway Manual: Road Maintenance or Conservation, approved by R.D. No. 08- 2014-MTC/14.

    - Highway Manual: General Technical Specifications for Construction EG-2013, approved by R.D. No. 22-2013-MTC/14.

    - A policy on geometric design of highways and streets 2011 (Green book), American Association of State Highway and Transportation Officials - AASHTO.

# TECHNICAL APPROACH

As a result of the Reformulated Conceptual Engineering stage for the improvement of tourist services at MACH, with respect to the tourist vehicular access roads, different alignments were analyzed and the alternative solution with the greatest social and economic benefit and the least environmental impact in the study area was selected.

### Tourist Road Yanama C.S. - San Juan D.S.

The approach for the conceptual design of the tourist road through the North area (Cusco) includes the town of Yanama as the starting point and the Maizal area as the arrival point, reference points defined by the final location of the stations of the cable transport system to the tourist resource. The road alignment is shown in the following figure.

Figure 2: Alignment of the Tourist Road in the North area Source: Developed in-house - Choquequirao Consortium

The road would begin at the Yanama Central Station (C.S.) (km 0+000), located 1.3 km west of the town of Yanama, continuing uphill continuously with a developing alignment until km 8+400, which is the highest point of the road; to begin its descent and conclude at km 9+645 at the San Juan Departure Station (D.S.). The length of the road section is 9.6 km.

### Tourist Road Kiuñalla - Kiuñalla D.S.

The approach for the conceptual design of the Tourist Road through the South area (Apurimac) includes the district of Huanipaca as the starting point of the route, continuing along the existing approach roads and arriving at the left of the Apurimac River, reference points defined by the final location of the stations of the cable transport system to the tourist resource. The road alignment is shown in the following figure.

Figure 3: Alignment of the Tourist Road in the South area Source: Developed in-house - Choquequirao Consortium

The road would start at the Huanipaca - Kiuñalla approach road (km 0+000), located 250 m south of the town of Kiuñalla, continuing downhill and concluding at km 1+280 at the Kiuñalla Departure Station (D.S.). The length of the road section is 1.3 km.

### Purpose

The purpose of the tourist access roads to the MACH is to provide a road connection from the existing approach roads to the proposed stations for cable transport to the Choquequirao tourist center, thus creating a multimodal transport system to enhance tourist activity. The drawings generated in this chapter are presented in the Appendix of this Study.

### Reference Points

The reference points used for the technical approach of the tourist roads are established by the location of the stations of the adopted cable transport system, specifically the central stations where the tourist bus route begins and the exit stations where the same route ends. Despite this, the tourist roads proposed in the Project would start in an existing approach route generating a new detour and will reach the departure station according to the studied area.

The identification of these points was carried out through UTM coordinates, 18 South area, Datum WGS84, see Table 3.

## TABLE 16. LOCATION OF REFERENCE POINTS

| Location | East (m) | North (m) | Description |
| --- | --- | --- | --- |
| Tourist Road of vehicular access Yanama C.S. - San Juan D.S. |  |  |  |
| Start | 734 442.726 | 8 526 016.031 | Connection with the approach road Br. Collpachaca - Totora - Yanama |
| End | 731 219.368 | 8 525 090.480 | Entrance to San Juan Departure Station |
| Tourist Road of vehicular access Kiuñalla - Kiuñalla D.S. |  |  |  |
| Start | 728 133.997 | 8 513 221.999 | Connection with the approach road Huanipaca - Kiuñalla |
| End | 728 324.760 | 8 514 050.268 | Entrance to the Kiuñalla Departure Station |

Source: Developed in-house - Choquequirao Consortium.

### Topography

The existing land area was obtained using non-conventional methods due to the difficult access and vegetation cover. Two instruments of different specifications were applied for each area studied, North and South, due to the extension to be covered and the access facilities for data collection.

### North area

In order to obtain the surface of the existing land where the Yanama C.S. - San Juan D.S. vehicular access road will be located, information from the 2012 HSA database was used, complemented with a partial drone survey of the areas altered or affected by the passage of time due to rugged and dangerous conditions of the area, which makes it impossible to use conventional methods; also, in order to ensure optimal ground control, geodetic control points of order “C” and control points were marked.

As a result of the digital photogrammetric processing at a scale of 1:2,000, the RGB color orthophoto of Victoria Mountain, the DTM (Digital Terrain Model), and contour lines for an area of 3,495 hectares were generated. See Figure 4.

Figure 4: North Area Orthophoto: Victoria Mountain Source: Developed in-house - Choquequirao Consortium.

### South Area

In order to obtain the surface of the existing terrain where the Kiuñalla - Kiuñalla D.S. vehicular access road will be located, digital photogrammetry was used with the use of drones due to the rugged conditions of the area, which makes the use of conventional methods impossible; likewise, in order to ensure optimal terrestrial control, geodetic control points of order “C” and control points were marked.

As a result of the 1:2,000 scale digital photogrammetric processing, the Kiuñalla summit orthophoto, the DTM (Digital Terrain Model), and the contour curves were generated. See Figure 5.

Figure 5: South Area Orthophoto: Kiuñalla Summit

Source: Developed in-house - Choquequirao Consortium.

### Vehicle Traffic Estimation

The estimated tourist demand is shown below:

## TABLE 17. ANNUAL FLOW OF TOURISTS SERVED BY CABLE TRANSPORT

| Year | Entrance through Kiuñalla | Entrance through Abra San Juan | Exit through Kiuñalla | Exit through Abra San Juan |
| --- | --- | --- | --- | --- |
|  | Visit./year | Visit./year | Visit./year | Visit./year |
| 2029 | 329 398 | 621 270 | 596 252 | 354 416 |
| 2030 | 330 093 | 622 138 | 594 515 | 357 715 |
| 2031 | 330 809 | 623 033 | 592 725 | 361 117 |
| 2032 | 331 547 | 623 955 | 590 880 | 364 622 |
| 2033 | 332 306 | 624 904 | 588 982 | 368 228 |
| 2034 | 333 087 | 625 881 | 587 030 | 371 937 |
| 2035 | 333 889 | 626 884 | 585 024 | 375 749 |
| 2036 | 334 713 | 627 913 | 582 964 | 379 663 |
| 2037 | 335 559 | 628 970 | 580 850 | 383 679 |
| 2038 | 336 426 | 630 054 | 578 683 | 387 797 |
| 2039 | 337 314 | 631 165 | 576 461 | 392 018 |
| 2040 | 338 224 | 632 303 | 574 186 | 396 341 |
| 2041 | 339 156 | 633 467 | 571 857 | 400 766 |
| 2042 | 340 109 | 634 659 | 569 474 | 405 294 |
| 2043 | 341 084 | 635 877 | 567 037 | 409 924 |
| 2044 | 342 080 | 637 122 | 564 546 | 414 657 |
| 2045 | 343 098 | 638 395 | 562 001 | 419 492 |
| 2046 | 344 138 | 639 694 | 559 403 | 424 429 |
| 2047 | 345 199 | 641 020 | 556 751 | 429 468 |
| 2048 | 346 076 | 642 118 | 554 556 | 433 638 |

Source: Developed in-house - Choquequirao Consortium.

a) Calculation of vehicle traffic volume

This was done considering the annual flow of tourists in each study area, as shown in Table 4, and taking into account the following criteria:

Based on the annual flow of tourists, the daily volume of tourists was calculated considering the 365 days corresponding to a year, as shown in Table 5.

## TABLE 18. AVERAGE DAILY VOLUME OF TOURISTS

| Year | Entrance through Kiuñalla | Entrance through Abra San Juan | Exit through Kiuñalla | Exit through Abra San Juan |
| --- | --- | --- | --- | --- |
|  | Visit./day | Visit./day | Visit./day | Visit./day |
| 2029 | 903 | 1 703 | 1 634 | 972 |
| 2030 | 905 | 1 705 | 1 629 | 981 |
| 2031 | 907 | 1 707 | 1 624 | 990 |
| 2032 | 909 | 1 710 | 1 619 | 999 |
| 2033 | 911 | 1 713 | 1 614 | 1 009 |
| 2034 | 913 | 1 715 | 1 609 | 1 020 |
| 2035 | 915 | 1 718 | 1 603 | 1 030 |
| 2036 | 918 | 1 721 | 1 598 | 1 041 |
| 2037 | 920 | 1 724 | 1 592 | 1 052 |
| 2038 | 922 | 1 727 | 1 586 | 1 063 |
| 2039 | 925 | 1 730 | 1 580 | 1 075 |
| 2040 | 927 | 1 733 | 1 574 | 1 086 |
| 2041 | 930 | 1 736 | 1 567 | 1 098 |
| 2042 | 932 | 1 739 | 1 561 | 1 111 |
| 2043 | 935 | 1 743 | 1 554 | 1 124 |
| 2044 | 938 | 1 746 | 1 547 | 1 137 |
| 2045 | 940 | 1 750 | 1 540 | 1 150 |
| 2046 | 943 | 1 753 | 1 533 | 1 163 |
| 2047 | 946 | 1 757 | 1 526 | 1 177 |
| 2048 | 949 | 1 760 | 1 520 | 1 189 |

Source: Developed in-house - Choquequirao Consortium.

- The volume of vehicular traffic, represented by the IMDA, of each tourist road was calculated based on the following criteria:

  - The flow of tourists entering or leaving each zone per day will determine the vehicular flow.

  - The capacity of the vehicles that will transit the access roads. Passenger buses are planned with 31 seats in addition to the driver's seat. For the calculation it is considered that the buses will transport an average of 30 tourists.

  - Each vehicle will have a round-trip route according to the schedules and operating conditions of the cable transport. According to these assumptions, the IMDA is shown in Table 6.

## TABLE 19. VEHICLE TRAFFIC VOLUME

| Tourist Road |  |  |  | Yanama C.S. - San Juan D.S. | Kiuñalla - Kiuñalla D.S. |
| --- | --- | --- | --- | --- | --- |
| Year / IMDA |  |  |  | veh/day | veh/day |
| OPERATION AND | Year | 1 | 2029 | 178 | 168 |

| MAINTENANCE | Year | 2 | 2030 | 180 | 168 |
| --- | --- | --- | --- | --- | --- |
|  | Year | 3 | 2031 | 180 | 168 |
|  | Year | 4 | 2032 | 180 | 168 |
|  | Year | 5 | 2033 | 182 | 168 |
|  | Year | 6 | 2034 | 182 | 168 |
|  | Year | 7 | 2035 | 182 | 168 |
|  | Year | 8 | 2036 | 184 | 168 |
|  | Year | 9 | 2037 | 184 | 168 |
|  | Year | 10 | 2038 | 186 | 168 |
|  | Year | 11 | 2039 | 188 | 168 |
|  | Year | 12 | 2040 | 188 | 166 |
|  | Year | 13 | 2041 | 190 | 166 |
|  | Year | 14 | 2042 | 190 | 166 |
|  | Year | 15 | 2043 | 190 | 166 |
|  | Year | 16 | 2044 | 192 | 166 |
|  | Year | 17 | 2045 | 192 | 164 |
|  | Year | 18 | 2046 | 194 | 164 |
|  | Year | 19 | 2047 | 196 | 166 |
|  | Year | 20 | 2048 | 198 | 166 |

Source: Developed in-house - Choquequirao Consortium.

Both tourist access roads have an IMDA of less than 200 veh/day, which means that they are low traffic volume roads, according to the terminology of the Ministry of Transport and Communications.

### Calculation of the number of accumulated Equivalent Axes

This parameter, obtained from the characteristics of the vehicle volume, allows the calculation of the thickness of the wearing course, according to the AASHTO-93 methodology. Following the steps below:

According to the type of tourist bus and the weight of its axles, the Heavy Vehicle Factor was calculated, which represents the number of equivalent axles of 8.2 tons. See Figure 6.

Figure 6: Tourist Bus Heavy Vehicle Factor Source: Developed in-house - Choquequirao Consortium

According to the characteristics of the projected road, traffic directions, heavy vehicle factor and days of the year, the weighted factor was calculated. See Figure 7.

Figure 7: Weighted factor

Source: Developed in-house - Choquequirao Consortium.

The weighted factor applied to the IMDA of each tourist road results in the annual Number of Equivalent Axes. The accumulation per year is obtained for the pavement design period. See Table 7.

## TABLE 20. NUMBER OF CUMULATIVE EQUIVALENT AXLES OF TOURIST ROADS

| Tourist Road |  |  | Yanama C.S. - San Juan D.S. |  |  |  | Kiuñalla - Kiuñalla D.S. |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Years |  |  | Nrep EE annual |  | Nrep EE accumulate. |  | Nrep EE annual | Nrep EE accumulate. |
| OPERATION AND MAINTENANCE | Year | 1 | 2029 | 2.78E+03 |  | 2.78E+03 | 2.62E+03 | 2.62E+03 |
|  | Year | 2 | 2030 | 2.81E+03 |  | 5.59E+03 | 2.62E+03 | 5.24E+03 |
|  | Year | 3 | 2031 | 2.81E+03 |  | 8.39E+03 | 2.62E+03 | 7.86E+03 |
|  | Year | 4 | 2032 | 2.81E+03 |  | 1.12E+04 | 2.62E+03 | 1.05E+04 |
|  | Year | 5 | 2033 | 2.84E+03 |  | 1.40E+04 | 2.62E+03 | 1.31E+04 |
|  | Year | 6 | 2034 | 2.84E+03 |  | 1.69E+04 | 2.62E+03 | 1.57E+04 |

|  | Year | 7 | 2035 | 2.84E+03 | 1.97E+04 | 2.62E+03 | 1.83E+04 |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  | Year | 8 | 2036 | 2.87E+03 | 2.26E+04 | 2.62E+03 | 2.10E+04 |
|  | Year | 9 | 2037 | 2.87E+03 | 2.55E+04 | 2.62E+03 | 2.36E+04 |
|  | Year | 10 | 2038 | 2.90E+03 | 2.84E+04 | 2.62E+03 | 2.62E+04 |
|  | Year | 11 | 2039 | 2.93E+03 | 3.13E+04 | 2.62E+03 | 2.88E+04 |
|  | Year | 12 | 2040 | 2.93E+03 | 3.42E+04 | 2.59E+03 | 3.14E+04 |
|  | Year | 13 | 2041 | 2.96E+03 | 3.72E+04 | 2.59E+03 | 3.40E+04 |
|  | Year | 14 | 2042 | 2.96E+03 | 4.02E+04 | 2.59E+03 | 3.66E+04 |
|  | Year | 15 | 2043 | 2.96E+03 | 4.31E+04 | 2.59E+03 | 3.92E+04 |
|  | Year | 16 | 2044 | 3.00E+03 | 4.61E+04 | 2.59E+03 | 4.18E+04 |
|  | Year | 17 | 2045 | 3.00E+03 | 4.91E+04 | 2.56E+03 | 4.43E+04 |
|  | Year | 18 | 2046 | 3.03E+03 | 5.21E+04 | 2.56E+03 | 4.69E+04 |
|  | Year | 19 | 2047 | 3.06E+03 | 5.52E+04 | 2.59E+03 | 4.95E+04 |
|  | Year | 20 | 2048 | 3.09E+03 | 5.83E+04 | 2.59E+03 | 5.21E+04 |

Source: Developed in-house - Choquequirao Consortium.

For the Tourist Road of vehicular access Yanama C.S. - San Juan D.S., considering the basic pavement solution with a 10-year design period, the result is 2.84 E+04 Cumulative Equivalent Axes.

For the Tourist Road vehicular access Kiuñalla - Kiuñalla D.S., considering the basic pavement solution with a 10-year design period, the result is 2.62 E+04 Cumulative Equivalent Axes.

### Geotechnics-Geology

To determine the geological and geotechnical characteristics of the soils where the projected tourist roads will be located. Previous studies, soil prospecting and visual inspection were used because the terrain is difficult to access and has vegetation cover; these are studied in greater detail in Specific Study No. 7 - Geology and Geotechnics.

- Tourist Road Yanama C.S. - San Juan D.S.

The axis of this Tourist Road is 9.4 km long, whose trajectory has been contrasted with the Regional Geological Plan of the studied area; it also crosses three defined stratigraphic units, shown in Table 8, which are delimited by the stationing of the axis: Geomorphological Unit, Stratigraphic Unit, Geotechnical Description and estimated cut slopes in each case.

## TABLE 21. GEOLOGICAL - GEOTECHNICAL EVALUATION OF THE NORTHERN TOURIST ROAD

| Stationing | Geomorphological | Stratigraphic | Geotechnical | Estimated cut |
| --- | --- | --- | --- | --- |

| (Km) | Unit | Unit | Unit | slope (H:V) |
| --- | --- | --- | --- | --- |
| 0+000 - 2+900 | This sector is made up of moderately steep slopes with small terraces, formed by alluvial deposits of the Yanama Creek and its tributaries. | QpI-mo | Blocks and gravels of mostly sub rounded to sub angular shapes with clayey Sandy matrix. These soils have medium to low compactness. | 1:2 to 1:4 |
| 2+900 - 6+000 | This sector is made up of moderately sloping hillsides. | Pe-i/gn,a,mi | Very old metamorphic rocks of the Iscabamba complex consisting of gneiss, amphibolites and schists. | 1:4 to 1:7 |
| 6+000 - 9+431 | This sector is made up of moderately sloping hillsides. | Pe-i/cu,ma,a | Very old metamorphic rocks of the Iscabamba complex consisting of quartzites, marbles and amphibolites. | 1:4 to 1:7 |

Source: Developed in-house - Choquequirao Consortium.

In order to preliminarily determine the characterization of the soil strata for road infrastructure construction purposes, the existing information from the study has been used: “Creation of the Yanama - Blanco River - Apurimac River Vehicular Transitability Service”, developed by the district municipality of Santa Teresa in 2017. In this study, soil investigation test pits were excavated.

In the aforementioned study, which is developed along the left side of the Yanama river basin, there are sectors that coincide or cross some stratigraphic units of the Regional Geological Plan on which the alignment of the Yanama C.S. - San Juan D.S. Tourist Access Road is proposed.

## TABLE 22. RELATIONSHIP OF TEST PITS AND CORRELATION WITH THE AXIS OF THE NORTHERN TOURIST ROAD

| Test pit Ref. | Moisture Content | Liquid Limit | Plastic Limit | SUCS | AASHTO | CBR | Section |
| --- | --- | --- | --- | --- | --- | --- | --- |
| C-01** | 18.89 | 29.83 | 22.11 | GM | A-2-4 (0) | 20.00% | 0+000 - 2+000 |
| C-02 | 14.48 | 28.76 | 20.16 | GC | A-2-4 (0) | 18.00% | 0+000 - 2+000 |
| C-03** | 27.95 | 36.88 | 27.6 | ML | A-4 (0) | 6.00% | 0+000 - 2+000 |
| C-04** | 12.65 | 29.83 | 22.11 | GC | A-2-4 (0) | 21.00% | 0+000 - 2+000 |
| C-05 | 7.18 | 29.21 | 7.36 | GC | A-2-4 (0) | 18.00% | 3+000 - 6+000 |
| C-10 | Rock |  |  |  |  |  | 7+000 - 9+400 |

Source: Developed in-house - Choquequirao Consortium.

Due to the configuration of the Yanama C.S. - San Juan D.S. Tourist Road of 9.4 km, a road under development with curved curves, and the estimated results due to the impediment to carry out field work, we can see a test pit at the limit of the subgrade categories between insufficient and regular, according to the Soil and Pavement Manual of the MTC, for this reason the lowest CBR design value of 6.00 % is adopted. See Table 9.

- Tourist Road Kiuñalla - Kiuñalla D.S.

The axis of this Tourist Road is 1.3 km long, whose trajectory has been contrasted with the Regional Geological Plan of the studied area; it also crosses a defined stratigraphic unit, shown in Table 10, which is delimited by the stationing of the axis: Geomorphological Unit, Stratigraphic Unit, Geotechnical Description and estimated cutting slopes in each case.

## TABLE 23. GEOLOGICAL - GEOTECHNICAL EVALUATION OF THE SOUTHERN TOURIST ROAD

| Stationing (Km) | Geomorphological Unit | Stratigraphic Unit | Geotechnical Description | Estimated cut slope (H:V) |
| --- | --- | --- | --- | --- |
| 0+000 - 1+281 | Moderate to steep slopes located in the upper part of the left side of the Huanipaca river valley. | CaOi- O/e,cu,ma,e | Metamorphic rocks formed by volcanic Meta, quartzite, marble and sericite-micas schists. | 1:2 to 1:4 |

Source: Developed in-house - Choquequirao Consortium.

In order to determine in a preliminary way, the characterization of the soil strata, test pits have been

made in the area of the Kiuñalla Departure Station, manual excavation, during the month of November 2019, and they present a depth of 3.00 m. In each test pit, representative samples were obtained for CBR tests (ASTM-D-1883), obtaining the results shown in Table 11.

## TABLE 24. CBR TEST RESULTS IN THE SOUTH AREA

| Test pit Ref. | Maximum Dry Density (gr/cm3) | Optimum Moisture Content (%) | CBR at 95% M.D.S | Section |
| --- | --- | --- | --- | --- |
| C-09 | 1.965 | 9.92 | 38.60 % | 0+000 - 1+281 |
| C-10 | 1.953 | 8.66 | 28.82 % | 0+000 - 1+281 |
| C-11 | 1.706 | 14.76 | 8.66 % | 0+000 - 1+281 |

Source: Developed in-house - Choquequirao Consortium.

Due to the 1.3 km extension of the Kiuñalla - Kiuñalla D.S. Tourist Road, it is not necessary to sectorize the road for pavement design; and from the results obtained we can appreciate a high variability, therefore, for design safety reasons, the lowest design CBR value of 8.66 %

is adopted.

    - Hydrology and Drainage

For the determination of the hydrological characteristics of the sub-basins that cross the alignment, which are studied in greater detail in Specific Study No. 8 - Hydrology and Drainage, for which the following has been done:

      - Physiographic characterization of the tributary basin in the study area.

      - Determination of design storms in the basins.

      - Determination of design flow rates at confluence points and alignment crossings.

For the hydrological analysis, precipitation data from the stations of the National Meteorological and Hydrological Service of Peru (SENAMHI) have been consulted.

      - Curahuasi

      - Granja San Antonio

      - Huyro

      - Machu Picchu

      - Maramura

      - Mollepata

- Tourist Road Yanama C.S. - San Juan D.S.

Eighty-one sub-basins that cross the tourist road have been delimited, as shown in Figure 8; the highest flow was obtained in sub-basin No. 4 with 18.67 m3/s. In addition, a maximum flow of 0.11 m3/s was determined for the estimation of flow in ditches.

Figure 8: Sub-basins of the North Area

Source: Developed in-house - Choquequirao Consortium

- Tourist Road Kiuñalla - Kiuñalla D.S.

Seven sub-basins that cross the tourist road have been delimited, as shown in Figure 9; the highest flow was obtained in sub-basin No. 5 with 0.42 m3/s. In addition, a maximum flow of 0.11 m3/s was determined for the estimation of flow in ditches.

Figure 9: Sub-basins of the South Area

Source: Developed in-house - Choquequirao Consortium.

  - Design Parameters

For Tourist Roads it is of vital importance to define the cross section, since it is a variable that depends both on the category of the road and the design speed, whose dimensions respond to a range recommended by the Highway Manual: Geometric Design DG-2018 of the Ministry of Transport and Communications.

    - Classification by Demand

According to the estimation of vehicular traffic, the following is obtained:

      - Unimproved Dirt Roads

These are passable roads that do not have the geometric characteristics of a highway and generally have an IMDA of less than 200 veh/day. Its roadways must have a minimum width of 4.00 m, in which case widenings called crossing platforms must be constructed at least every 500

m. The running surface can be either bonded or unbonded.

According to this definition, the projected tourist roads fall into the category of “Unimproved Dirt Roads” because they do not reach the traffic levels required for other categories.

    - Classification by Orography

According to Section 102 of the Highway Manual: Geometric Design DG-2018, the classification of roads are made according to the predominant orography of the terrain through which its route runs. Depending on the topography, it is obtained:

      - Rough terrain (type 3)

It has cross slopes to the axis of the road between 51% and 100% and its predominant longitudinal

slopes are between 6% and 8%, which requires significant earthworks, which is why it presents difficulties in the route.

      - Steep terrain (type 4)

It has transversal slopes to the axis of the road that are greater than 100% and its exceptional longitudinal slopes are greater than 8%, requiring the maximum amount of earth movement, which is why it presents great difficulties in its route.

According to these definitions, the planned tourist roads have two types of terrain, 3 and 4, i.e., rough and steep terrain, respectively.

    - Design Speed

The design speed applicable to a given road is a function of its demand classification and type of terrain, as detailed in Table 204.01 of the Highway Manual: Geometric Design, DG-2018 of the Ministry of Transport and Communications. See Figure 10.

Figure 10: Design speed range.

Source: Manual DG-2018, MTC.

According to this table, for third class roads with orography classification for type 3 and 4 it must be used as design speed 30 km/h. However, for tourist roads with a classification according to the demand for unimproved dirt roads, the design speed of 20 km/h was adopted and in special configurations a maneuvering speed is considered in order to guarantee maximum comfort and safety for tourists.

    - Typical Section

The typical section has the following dimensions: 5.50 m wide roadway in two traffic directions and widenings in horizontal curves, 0.60 m compaction widening for the installation of signaling and road safety elements, 0.80 m ditches according to the hydraulic calculation, pavement thicknesses according to the adopted design, sub-drains and ducts. See figure 11.

Figure 11: Proposed Typical Section

Source: Developed in-house - Choquequirao Consortium.

  - Geometric Road Design

The main criteria to be considered in geometric road design are the following:

    - Horizontal Design

- Tangent sections

The minimum allowable and maximum desirable lengths of tangent sections interspersed between circular curves are given in Section 302.03 and Table 302.01 of the DG-2018 Manual. See Figure 12.

Figure 12: Tangent sections. Source: Manual DG-2018, MTC.

For the design speed of 20 km/h, the maximum lengths applicable according to the formulas of the DG-2018 Manual are:

      - Lmín S	:	28 m

      - Lmin 0	:	56 m

      - Lmax 	:	335 m

- Minimum Radius

The minimum radius to be used in the designs is given in Section 302.04.02 and Table 302.02 of the DG-2018 Manual, for different types of roads locations, superelevations and friction coefficients. See Figure 13.

Figure 13: Minimum radii and maximum superelevation.

Source: Manual DG-2018, MTC.

According to this provision, the minimum radius to be used for a speed of 30 km/h located in a steep rural area, with a maximum superelevation of 12% and fmax of 0.17 is 25 m.

For this case, it is recommended to use the standard established in “A Policy on Geometric Design of Highways and Streets” - 2011 Edition of the American Association of State Highway and Transportation Officials (AASHTO), which is a publication of international use and of greater consultation in the countries that formulate their own road design standards. AASHTO in section 3-46 (Table 3-10a) of the publication indicates that for a speed of 20 km/h, establishing a minimum radius of 20 m with a maximum superelevation of 5.8 %. See Figure 14.

Figure 14: Minimum radii for superelevation design.

Source: AASHTO 2011.

Consequently, we recommend for the road designs in the Project's Tourist Roads:

      - Maximum superelevation	:	5.8%, which is variable according to a given radius of the curves that make up the line.

      - Minimum radius		:	20 m, for the maximum established superelevation.

- Switchbacks

In rugged and steep orography that have difficult conditions for alignment, switchbacks are frequent and have specific regulations in the DG-2018 Manual in Section 302.07 and Table 302.12. See Figure 15.

Figure 15: Outer and inner radius in switchbacks.

Source: Manual DG-2018, MTC.

According to this arrangement for a T2S2 vehicle, an inner radius of 8.0 m and an outer radius of 15.25 m will be used as minimum values for the switchbacks. These parameters allow the operation in two directions of traffic, which provides greater safety in the switchback sectors, and can also serve as crossing platforms.

- Widening

Widening is the additional width of the roadway surface on curved sections to compensate for the increased space required by vehicles.

Section 302.09 and Figure 302.18 of the MTC Manual DG-2018 present curves designed according to curve radius and design speed. See Figure 16.

Figure 16: Widening values in horizontal curves.

Source: Manual DG-2018, MTC.

According to this standard, for a speed of 20 km/h and a minimum radius of 20 m, there is a maximum widening of 1.80 m.

- Superelevation Transition

The superelevation transition to be used for designs is given in Section 302.08 and Table No.

302.13 of the Manual indicated for different speeds and superelevations. See Figure 17.

For Third Class roads, the values shown in Table 302.13 shall be used to define the design speed and superelevation value.

Figure 17: Transition length of superelevation.

Source: Manual DG-2018, MTC.

According to the table and with the recommendations for defining the maximum superelevation and minimum radius, the minimum transition length of the superelevation will be 27m.

    - Vertical Design

- Maximum Slope

Section 303.03 and Table 303.01 of the Manual give the maximum slope values for roadway design, based on roadway classification and design speed. See Figure 18.

Figure 18: Maximum slopes. Source: Manual DG-2018, MTC.

According to this provision, the maximum slope for Third Class roads to be used will be 10%. The value of the maximum slope may be increased by up to 1% in all cases, and the need for such increase must be technically and economically justified.

- Vertical Curve Length

The MTC Design Manual indicates in Section 303.04.03 and Table 303.02 the determination of the lengths of convex and concave curves. See Figures 19 and 20.

Figure 19: Convex vertical curve length.

Source: Manual DG-2018, MTC.

Figure 20: Concave vertical curve length.

Source: Manual DG-2018, MTC.

According to these tables, the values to be used for the design of vertical curves for a speed of 20 km/h are as follows:

- Convex vertical curve length	:	20 m (Stop visibility control)

- Concave vertical curve length	:	20 m (Stop visibility control)

The curvature parameter K is a function of the vertical curve length and the algebraic difference of the slopes:

K=L/A

    - Cross section

- Roadway or running surface

In Section 304.03 and Table 304.01 of the MTC Manual DG-2018, the minimum width of the tangent roadway is determined, with the understanding that the standard dimensions are at finished grade level. See Figure 21.

Figure 21: Roadway widths in tangent.

Source: Manual DG-2018, MTC.

The minimum roadway width for tourist roads classified as unimproved dirt road is 5.50 m, considering better traffic conditions for tourist vehicles.

- Berms

In Section 304.04.01 and Table 304.02 of MTC Manual DG-2018, the width of berms is established for each case, with the understanding that the standard dimensions are at finished grade level. See Figure 22.

Figure 22: Berm widths. Source: Manual DG-2018, MTC.

Section 304.02 Elements of the cross section of the MTC Manual DG-2018 requires that the roads have a minimum compaction widening of 0.50 m attached to the outer road edge, a space that is used for the installation of vertical signage and safety elements such as metal guardrails.

As indicated, the roadway, berm and compaction widening to be used shall have the dimensions indicated in Table 12.

Category	Roadway (m)	Berm (m)	S.A.C (m)

TABLE 25. VALUES ADOPTED FOR THE CROSS SECTION

Unimproved Dirt Roads	5.50	---	0.60 (*) (*) Only on the outer edge of the road

Source: Developed in-house – Choquequirao Consortium.

    - Right of way

The minimum right-of-way width is established in Table 304.09 of the MTC DG-2018 Manual based on the classification of the road by orographic demand. See Figure 23.

Figure 23: Right of way.

Source: Manual DG-2018, MTC.

According to this standard, the right of way for Third Class roads and consequently for unimproved dirt road will be 16 m in total.

In general, the widths of the Right of Way strip fixed by the competent authority shall be increased by 5.00 m in the following cases:

      - From the upper edge of the farthest cut slopes.

      - From the foot of the highest embankments.

      - From the farthest edge of the drainage works.

      - From the outer edge of service roads.

    - Summary

Table 13 below shows the design parameters to be used in tourist roads that meet the category of Unimproved Dirt Roads.

## TABLE 26. GEOMETRICAL DESIGN SUMMARY

| Concept | Typical Section | / | Parameter / Regulation | Comments |  |
| --- | --- | --- | --- | --- | --- |
| Classification by Demand | 101 (1) |  | Unimproved | Obtained from | the |
|  |  |  | Dirt Roads | vehicle |  |
|  |  |  |  | estimate. |  |
| Classification by Orography | 102 (1) |  | Rugged | ---- |  |
|  |  |  | and Steep |  |  |
|  |  |  | Terrain (Type 3 |  |  |
|  |  |  | and 4) |  |  |
| Design Speed | 204 (1) |  | 20 km/h (Unimproved | ---- |  |
|  |  |  | dirt road) |  |  |
| Minimum Length of Tangent | 302.03 (1) |  | Ls=28 m, Lo=56 m | ---- |  |
| Sections |  |  |  |  |  |
| Minimum Radius | Table 3-10ª (2) |  | 20 m | Recommended |  |
|  |  |  |  | based on AASHTO |  |
| Maximum superelevation | Table 3-10ª (2) |  | 5.8% | Recommended based |  |
|  |  |  |  | on AASHTO |  |

| Concept | Typical Section |  | / | Parameter /Regulation | Comments |  |
| --- | --- | --- | --- | --- | --- | --- |
| Superelevation transition | 302.08 (1) |  |  | 27 m | ---- |  |
| Maximum slope |  | 303.03 (1) | 10% |  | Maximum increase 1% |  |
| Vertical Curve Length (convex) |  | 303.04.03 (1) | 20 m |  | ---- |  |
| Vertical Curve Length (concave) |  | 303.04.03 (1) | 20 m |  | ---- |  |
| Minimum roadway width |  | 304.01 (1) | 5.5 m (Unimproved dirt road) |  |  | ---- |
| Minimum berm width | 304.04.01 (1) |  | 0.0 m (Unimproved dirt road) |  |  | ---- |
| Compaction widening 304.02 (1) 0.60 m Only on outer edge |  |  |  |  |  |  |

(Unimproved dirt

road)

Highway Manual: Geometric Design DG-2018 – Directorate of Roads and Railways of the Ministry of Transport and Communications of Peru.

A Policy on Geometric Design of Highways and Streets – Edition 2011-American Association of State Highway and Transportation Officials (AASHTO).

Source: Developed in-house – Choquequirao Consortium.

  - Drainage System Design and Engineering Structures

    - Drainage

The proposed transverse drainage is constituted by corrugated metal pipe sewers with a minimum diameter of 36” for the purpose of facilitating their maintenance. The amount of drainage works was estimated based on the hydraulic calculation, resulting in culverts for stream crossings in transverse and relief watercourses, and dips, which are studied in greater detail in Specific Study No. 8 - Hydrology and Drainage.

It is necessary to provide the drainage system with lined side ditches that lead into the relief culverts or culverts for stream crossings.

5) Tourist Road Yanama C.S. – San Juan D.S.

By verifying the capacity of the projected drainage structures against the maximum discharge resulting from the hydrological analysis, 57 culverts of various diameters and 1 concrete dip have been designed. See Table 14.

## TABLE 27. LIST OF DRAINAGE WORKS FOR THE NORTH AREA

| No. | Stationing |  | Function |  | Projected Drainage Work |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  | Ø |  | PIPES |  |  | Type |
| 1 |  | 0+207 | Crossing |  |  |  | 60 ‘’ |  | 1 | TMC |  |
| 2 |  | 0+450 | Relief |  |  |  | 36 ‘’ |  | 1 | TMC |  |
| 3 |  | 0+657 | Crossing |  |  |  | Dip L=30 m |  |  |  |  |
| 4 |  | 0+812 |  |  | Relief |  | 36 ‘’ |  | 1 | TMC |  |
| 5 |  | 0+948 |  |  | Crossing |  | 48 ‘’ |  | 2 | TMC |  |
| 6 |  | 1+145 | Relief |  |  |  | 36 ‘’ |  | 1 | TMC |  |
| 7 |  | 1+305 | Relief |  |  |  | 36 ‘’ |  | 1 | TMC |  |
| 8 |  | 1+454 | Crossing |  |  |  | 60 ‘’ |  | 3 | TMC |  |
| 9 |  | 1+492 | Crossing |  |  |  | 48 ‘’ |  | 1 | TMC |  |
| 10 |  | 1+621 | Relief |  |  |  | 36 ‘’ |  | 1 | TMC |  |
| 11 |  | 1+734 | Crossing |  |  |  | 48 ‘’ |  | 1 | TMC |  |
| 12 |  | 1+922 | Crossing |  |  |  | 48 ‘’ |  | 1 | TMC |  |
| 13 |  | 2+065 | Relief |  |  |  | 36 ‘’ |  | 1 | TMC |  |
| 14 |  | 2+200 | Crossing |  |  |  | 48 ‘’ |  | 1 | TMC |  |
| 15 |  | 2+219 | Crossing |  |  |  | 60 ‘’ |  | 3 | TMC |  |
| 16 |  | 2+325 | Relief |  |  |  | 36 ‘’ |  | 1 | TMC |  |
| 17 |  | 2+424 | Relief |  |  |  | 36 ‘’ |  | 1 | TMC |  |
| 18 |  | 2+600 | Crossing |  |  |  | 48 ‘’ |  | 1 | TMC |  |
| 19 |  | 2+745 | Relief |  |  |  | 36 ‘’ |  | 1 | TMC |  |
| 20 |  | 3+045 | Relief |  |  |  | 36 ‘’ |  | 1 | TMC |  |
| 21 |  | 3+219 | Crossing |  |  |  | 48 ‘’ |  | 1 | TMC |  |
| 22 |  | 3+446 | Crossing |  |  |  | 60 ‘’ |  | 2 | TMC |  |
| 23 |  | 3+508 | Crossing |  |  |  | 60 ‘’ |  | 2 | TMC |  |
| 24 |  | 3+652 | Crossing |  |  |  | 48 ‘’ |  | 1 | TMC |  |
| 25 |  | 3+863 | Crossing |  |  |  | 48 ‘’ |  | 1 | TMC |  |
| 26 |  | 3+965 | Relief |  |  |  | 36 ‘’ |  | 1 | TMC |  |
| 27 |  | 4+125 | Crossing |  |  |  | 48 ‘’ |  | 2 | TMC |  |
| 28 |  | 4+352 | Crossing |  |  |  | 48 ‘’ |  | 2 | TMC |  |
| 29 |  | 4+400 | Crossing |  |  |  | 48 ‘’ |  | 2 | TMC |  |
| 30 |  | 4+520 | Crossing |  |  |  | 48 ‘’ |  | 1 | TMC |  |
| 31 |  | 4+576 | Crossing |  |  |  | 36 ‘’ |  | 1 | TMC |  |
| 32 |  | 4+725 | Relief |  |  |  | 36 ‘’ |  | 1 | TMC |  |
| 33 |  | 4+838 | Crossing |  |  |  | 48 ‘’ |  | 1 | TMC |  |
| 34 |  | 5+064 | Crossing |  |  |  | 36 ‘’ |  | 1 | TMC |  |
| 35 |  | 5+178 | Crossing |  |  |  | 36 ‘’ |  | 1 | TMC |  |
| 36 |  | 5+325 | Crossing |  |  |  | 48 ‘’ |  | 2 | TMC |  |

| No. | Stationing |  | Function |  | Projected Drainage Work |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  | Ø | PIPES |  |  | Type |
| 37 |  | 5+523 | Crossing |  | 60 ‘’ |  |  | 2 | TMC |  |
| 38 |  | 5+665 | Relief |  | 36 ‘’ |  |  | 1 | TMC |  |
| 39 |  | 5+774 | Crossing |  | 36 ‘’ |  |  | 1 | TMC |  |
| 40 |  | 5+951 | Crossing |  | 36 ‘’ |  |  | 1 | TMC |  |
| 41 |  | 6+059 | Crossing |  | 36 ‘’ |  |  | 1 | TMC |  |
| 42 |  | 6+239 | Crossing |  | 36 ‘’ |  |  | 1 | TMC |  |
| 43 |  | 6+355 | Relief |  | 36 ‘’ |  |  | 1 | TMC |  |
| 44 |  | 6+479 | Crossing |  | 60 ‘’ |  |  | 2 | TMC |  |
| 45 |  | 6+673 | Crossing |  | 48 ‘’ |  |  | 2 | TMC |  |
| 46 |  | 6+883 | Crossing |  | 36 ‘’ |  |  | 1 | TMC |  |
| 47 |  | 7+097 | Crossing |  | 36 ‘’ |  |  | 1 | TMC |  |
| 48 |  | 7+312 | Crossing |  | 60 ‘’ |  |  | 2 | TMC |  |
| 49 |  | 7+492 | Crossing |  | 36 ‘’ |  |  | 1 | TMC |  |
| 50 |  | 7+700 | Crossing |  | 48 ‘’ |  |  | 1 | TMC |  |
| 51 |  | 7+838 | Crossing |  | 48 ‘’ |  |  | 1 | TMC |  |
| 52 |  | 8+034 | Crossing |  | 48 ‘’ |  |  | 1 | TMC |  |
| 53 |  | 8+225 | Relief |  | 36 ‘’ |  |  | 1 | TMC |  |
| 54 |  | 8+425 | Crossing |  | 48 ‘’ |  |  | 1 | TMC |  |
| 55 |  | 8+600 | Relief |  | 36 ‘’ |  |  | 1 | TMC |  |
| 56 |  | 8+790 | Relief |  | 36 ‘’ |  |  | 1 | TMC |  |
| 57 |  | 8+930 | Relief |  | 36 ‘’ |  |  | 1 | TMC |  |
| 58 |  | 9+165 | Relief |  | 36 ‘’ |  |  | 1 | TMC |  |

Source: Developed in-house – Choquequirao Consortium.

Tourist Road Kiuñalla - Kiuñalla D.S.

By verifying the capacity of the projected drainage structures against the maximum discharge coming from the hydrological analysis, 6 culverts of 36” diameter have been projected. See Table 15.

## TABLE 28. LIST OF DRAINAGE WORKS FOR THE SOUTH AREA

| No. | Stationing | Function | Projected Drainage Work |  |  |
| --- | --- | --- | --- | --- | --- |
|  |  |  | Ø | PIPES | Type |

| 1 | 0+200 | Relief | 36 ‘’ | 1 | TMC |
| --- | --- | --- | --- | --- | --- |
| 2 | 0+420 | Relief | 36 ‘’ | 1 | TMC |

| 3 | 0+677 | Crossing | 36 ‘’ | 1 | TMC |
| --- | --- | --- | --- | --- | --- |
| 4 | 0+782 | Crossing | 36 ‘’ | 1 | TMC |
| 5 | 1+000 | Relief | 36 ‘’ | 1 | TMC |
| 6 | 1+200 | Relief | 36 ‘’ | 1 | TMC |

Source: Developed in-house – Choquequirao Consortium.

    - Structures

The structures to be used are made up of retaining walls located in sectors where it is not possible to complete the proposed typical section. Major engineering structures, such as bridges and pontoons, are not required in the development of tourist roads.

  - Basic Pavement Design

For the design of the pavement of the two tourist access roads to MACH, the solution of soil stabilization with slow breaking asphalt emulsions has been taken into account, according to the specifications of the MTC's Highway Construction Manual (EG-2013).

The method used to calculate pavement thickness is the AASHTO Guide 93, which is based on models developed based on pavement performance, vehicular loads and subgrade strength for the calculation of the structural number.

Based on the design parameters, the required structural Numbers have been determined for both tourist roads, adopting a thickness that satisfies the equation and provides the greatest comfort to users. A 0.20 m thick layer of granular material stabilized with slow-breaking asphalt emulsion is proposed as the wearing surface, laid on a 0.15 m thick anti-pollution layer to level the subgrade and prevent capillarity effects. See Figure 24 and Table 16.

Figure 24: AASHTO-93 Method Report

Source: Developed in-house – Choquequirao Consortium.

## TABLE 29. STRUCTURE RESULTING FROM PAVING LAYERS

| Layer | Thickness | Specification |
| --- | --- | --- |
| Granular material stabilized with asphalt emulsion | 0.20 m | Granular material CBR 40% minimum |
| Anti-pollutant layer | 0.15 m | Granular material CBR 40% minimum |
| Subgrade | --- | Design CBR |

Source: Developed in-house – Choquequirao Consortium.

### Signage Design And Road Safety

The Signage and Road Safety design has been carried out with the purpose of contributing to the improvement in the control and organization of vehicular traffic on the tourist roads of vehicular access to MACH, and as established in the Manual of Motor Traffic Control

Devices for Streets and Highways 2016, of the MTC.

    - Vertical Signage

- Regulatory signals

The inclusion of regulatory signs will generate an ordering in vehicular traffic, as well as informing the road user about the existence of the limitations and prohibitions that regulate their use. In this study, the use of regulatory signs has been considered within the classification of right-of-way, prohibitive or restrictive and directional signs.

The sign panels will be made of 4 mm thick fiberglass sheets with polyester resin and a glass-like textured face. The back of the panel shall be painted with a double coat of black enamel paint.

The sign posts shall be made of prefabricated reinforced concrete, and shall be painted with black and white enamel, in horizontal stripes of 0.50 m. Dimensions, specifications and construction details are indicated on the attached drawings.

List of Regulatory Signs to be used in the Project. See Figure 25.

      - Restrictive or prohibitive signs; of rectangular shape of 0.60x0.60 m, white background with black symbol and frame, red circle, as well as the oblique stripe drawn from the upper left quadrant to the lower right quadrant, representing prohibition.

      - Right-of-way signs; “Stop” sign (R-1), octagonal shape, 0.60 m between parallel sides, red background, letters and frame in white xerographic ink.

      - (R-16) No Overtaking sign, in the shape and colors corresponding to the prohibitive signs. It shall be used to indicate to the driver the prohibition of overtaking another vehicle, usually motivated by limited visibility. It shall be placed at the beginning of the limitation areas.

      - (R-30) Maximum Speed Limit Sign, used to indicate the maximum speed allowed, according to the project's guideline speed, at which vehicles may circulate. These signs will be placed to remind the user of the regulatory speed and when for reasons of the geometric characteristics of the road or approaching certain areas (urban, schools, etc.), the speed must be restricted.

R-1	R-16	R-30

Figure 25: Regulatory Signals.

Source: Developed in-house – Choquequirao Consortium.

- Preventive Signs

They shall be located and designed according to the alignment of the road, in areas that represent an actual or potential danger, which can be avoided by slowing down the vehicle or taking the necessary precautions.

Preventive signs have a dimension of 0.60 x 0.60 m with a background of yellow retro-reflective material; the symbols, letters and border of the frame will be painted with black xerographic ink.

The sign panels will be made of 4 mm thick fiberglass with polyester resin and a glass-like textured face. The back of the panels shall be painted with two coats of black enamel paint.

The sign posts shall be made of prefabricated reinforced concrete, and shall be painted with black and white enamel, in horizontal stripes of 0.50 m. Dimensions, specifications and construction details are shown in the drawings.

List of Preventive Signs to be used in the Project. See Figure 26.

      - (P-1ª) Signal for sharp curve to the right, (P-1B) Signal for sharp curve to the left, shall be used to prevent the presence of curves of radius less than 40 m and for those of 40 to 80 m radius, whose angle of deflection is greater than 45°.

      - (P-2ª) Signal Curve to the Right, (P-2B) to the Left, will be used to prevent the presence of curves of radius from 40 m to 300 m with an angle of deflection less than 45º and for those of radius between 80 and 300 m whose angle of deflection is greater than 45º.

      - (P-3B) Signal Curve and sharp counter-curve from left to right, (P-4B) Signal Curve and counter-curve from left to right, shall be used to warn of approaching sharp or moderate curves and counter-curves.

      - (P-5-1) Right winding road sign, (P-5-1a) Left winding road sign, shall be used to warn the driver of the proximity of a winding road.

      - (P-5-2ª) Signal U-curve to the right, (P-5-2B) U-curve to the left, will be used to prevent the presence of curves whose geometric characteristics make them extremely pronounced.

      - (P-34) Dip proximity, shall be used to warn the driver of the proximity of a dip.

P-1ª

P-1B

P-2ª

P-2B

P-3B

P-4B

P-5-1

P-5-1ª

P-5-2ª

P-5-2B

P-34

P-35

P-35C

P-61

Figure 26: Preventive Signs.

Source: Developed in-house – Choquequirao Consortium.

      - (P-35) Steep descent, (P-35C) Steep Uphill, shall be used to warn the driver of the proximity of a steep downhill or uphill section.

      - (P-61) Horizontal curve delineator “Chevron”, to be used to warn the driver of the proximity of a turning curve.

5) Informative Signs

Their purpose is to guide the driver of a vehicle along a certain route, directing him to his destination. They are also intended to identify points of note or interest, such as cities, rivers, historical sites, etc. And provide accurate and timely information to assist the road user.

The information signs to be used in the project will be directional, location, route and general information signs, to show the most important places or towns along the route to the destination. Likewise, distance signs will be used to inform the driver of the vehicle of the distances to important towns. Mileage posts will also be used.

Informative signs shall be rectangular in shape with their largest dimension horizontal and of variable dimensions, depending on the message to be transmitted. Such signs shall be located on the right side of the road so that drivers can distinguish them in a clear and timely manner.

The support structures for these signs will be metallic, consisting mainly of standard 3” diameter black pipes, which will be coated with anticorrosive paint and gray enamel. The sign panels will be made of 4 mm thick fiberglass with polyester resin and a glass-like textured face. The back of the panels shall be painted with two coats of black enamel paint.

The message to be communicated, as well as the borders, shall be made with white retro-reflective sheeting, while green retro-reflective sheeting shall be used for the background of the sign.

List of informative signs to be used in the Project. See Figure 27.

- (I-8) Mileage posts, to be used to indicate the distance to the origin of the road. These posts will be placed at 1-kilometer intervals, considering their installation on the right side for even numbers and on the left side for odd numbers.

- (I-18) Location Signal, to be used to indicate the proximity of towns or places of interest, such as stations, rivers, etc.

I-8	I-18 (North area)	I-18 (South area)

Figure 27: Informative Signs.

Source: Developed in-house – Choquequirao Consortium.

    - Horizontal Signage Delineator Posts

These are optical guidance elements that are fixed on the roadway by means of concrete posts, which will be used to demarcate the roadway due to design conditions (geometric) or atmospheric conditions (foggy areas or poor visibility at night), which require them to be highlighted.

They will be placed on the outer edge of the road, with white posts and white retro-reflective sheets in the direction of traffic and red in the opposite direction.

    - Road Safety Metal guardrails

For the design of these barriers, the MTC's Road Safety Manual (2016) should be taken into account, which will be used in those sectors that constitute a danger to vehicular traffic.

In addition, the use of light reflectors is planned, which will be placed on each fender beam, so that drivers can be conveniently oriented, especially during night driving or hours of poor visibility due to the presence of fog.

# OPERATION OF CONSTRUCTION MATERIALS

The definition of quarries for the supply of materials and DME (surplus material deposits) has been developed in a preliminary manner based on the cartographic information available during the development of the project and a similar preliminary evaluation, without making quality determinations of the quarries and water sources. Therefore, this aspect will have to be studied in greater depth during the final study.

# SURPLUS MATERIAL DEPOSITS (DME)

These are the places where all materials left over from the construction process will be placed, such as vegetal material, waste from cleaning, excavation, which must be transported considering the centroid of the DME surface. See Figure 28.

Under no circumstances should waste materials be incorporated into embankments, nor in places where they could cause environmental damage. Due to the availability of land, land use and natural protected areas, the arrangement of DME’s next to the planned road is proposed.

Figure 28: Configuration of DME’s.

Source: Manual DG-2018, MTC.

SECTION 3: FOR CENTRAL STATIONS

# APPLICABLE REGULATORY FRAMEWORK

    - A.010 General Design Conditions, which sets the criteria and minimum requirements that buildings in general must meet to ensure safety, functionality, habitability, environmental suitability, and environmental protection.

    - A.070 Commerce, which defines and regulates the characteristics and requirements that buildings intended for activities whose purpose is the commercialization of goods and services must meet, in order to ensure their safety, meet their service needs, and facilitate their development.

    - A.080 Offices, which defines and regulates the characteristics and requirements that buildings intended for the provision of administrative, technical, financial, management, advisory, and related services, whether public or private, must meet.

    - A.120 Accessibility for people with disabilities, which defines and regulates the characteristics and requirements that buildings in general must have to allow people with disabilities to use their services.

    - A.130 Safety Requirements, which defines, according to their use and number of occupants, the safety and accident prevention requirements that aim to safeguard human lives and preserve the heritage and continuity of the building.

# TECHNICAL APPROACH

## DESCRIPTION

The central stations are buildings that will receive visitors and are located in the towns near the tourist attraction. From here, visitors can board the buses that will take them to the cable car departure stations. These infrastructures will contain all the requirements for the optimal operation and maintenance of buses, as well as different complementary services for visitors such as cafeterias, waiting areas, information modules and tourist orientation, among others.

The architectural proposal proposes the use of light roofs that land on the ground in a punctual way. In this way, the predominance and continuity of the natural landscape is emphasized over the architectural interventions. Likewise, this idea is reinforced by the choice of light materials that will complement the reading of the architectural language of the proposal.

Given the nature of the territory where the seasons rest, a site and program scheme is being worked out that can be adapted to its topography. The required interior spaces are housed under a cover, which is arranged perpendicular to the slope to make its organization more efficient and reduce the volume of excavation. The program volume is roofed with a gable roof. Terraces are used to condition space for the program. The interior spaces are arranged on different levels according to the topography. The roofed program is placed where the least amount of excavation/

fill is required. Two stations are conditioned: one for entry at the upper level, and one for boarding at the lower level. And the roof is adapted to the specific conditions of this slope. This roof folds to create an internal hierarchy and respond to the scales of the upper and lower stations, consolidating the volume and dynamics of the facility.

It is important to note that the architectural approach has been presented on several occasions to the technical team of the DDC Cusco and that their opinions and recommendations have been considered in this proposal, given that the infrastructure is located within the area of an Archaeological Park under the administration of that entity and it is essential to have their technical opinion. As a result of these meetings, the “Minutes of the Working Meeting -DGET - DPDT” dated March 05, 2019, where it is concluded:

“Without conceptual differences between the Consortium's (architectural proposal) and the DDC-Cusco's proposal, it was agreed that the Consortium's architectural team would evaluate the roofing proposals”.

This evaluation was carried out, which is why the technical approach includes the proposal of gable roofs.

## DIMENSIONING

The Central Station houses as many of the multimodal transportation system functions as possible due to its location in the vicinity of a population center.

Upon arrival, the user will be able to purchase a ticket that includes the cable transportation service and the entrance fee to the Choquequirao Archeological Monument. During the waiting time to board the shuttle bus, the station will offer commercial spaces, information services, interpretive display areas and waiting areas.

The waiting areas and circulations are calculated to support this flow; however, the station has complementary areas such as an interpretive exhibition gallery, cafeteria and commercial zone. Likewise, the boarding and alighting areas have been calculated based on the number of buses required for the optimal operation of the system for each route (southern route and northern route).

The number of buses to be accommodated at each station has been calculated based on the distance between the central station and the nearest departure station, the capacity of the buses (25 passengers), the operating speed of the buses (30 km/h and 25 km/h)4 and the transport

4 For buses departing from Yanama Central Station, a slightly lower operating speed has been considered due to the orography and slopes of the area.

Capacity of the cable cars. In this sense, a total of 21 buses have been estimated for the Yanama Central Station and 27 for the Huanipaca Central Station. A total of 48 buses between the two stations.

Figure No. 32: Dimensions of the design tourist bus.

Source: Quote from Bus County, Hyundai.

In addition, the exterior areas of the station are designed to cushion the eventual surge of users on peak dates and at peak times. Therefore, a station is being incorporated into the design to serve as an arrival space and to accommodate the excess of users in different situations. This station is sized to allow for different activities that will appear according to the requirements of the project and its urban environment, such as trade fairs, cultural festivals or entertainment events. In addition, the necessary areas for the administration and operation of the tourist transportation service have been incorporated, as well as the necessary space for the circulation and parking of the buses.

The preliminary sizing of the Central Stations has been carried out considering the minimum gauging calculated in the Project sizing.

The final dimensioning, in addition to the minimum capacity, includes service areas for visitors (commercial zones, restaurants, interpretation areas, among others) and administrative and

maintenance areas for the operation of the system. The dimensions of these spaces have been estimated based on the maximum capacity and the territorial conditions where the proposal is implemented. In addition, an exterior treatment has been proposed that includes exterior accesses and stations for security, in case of evacuation of the building, or in case of any inconvenience in the operation of the operation model.

## TABLE 30. CAPACITY CALCULATION OF YANAMA CENTRAL STATION

| EC01 – YANAMA CENTRAL STATION |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| PROGRAM | LEVEL | ROOM NAME | CAPACITY | INDEX |  | CONSTRUCTED AREA |
| Indoor areas |  |  | 604 |  |  | 3242.49 m2 |
| Administration and maintenance | 0.00 | Ticket Office | 6 | 3.00 | m2 per person 1 | 16.80 m2 |
|  | 0.00 | Offices | 2 | 13.65 | m2 per person 1 | 27.29 m2 |
|  | 0.00 | Storage | - |  | * | 2.94 m2 |
|  | 0.00 | Administration Restrooms | - | 1.00 | Fixture blocks 1 | 2.80 m2 |
|  | -4.00 | Administrative offices | 8 | 3.11 | m2 per person 1 | 24.84 m2 |
|  | -4.00 | Administrative Cafeteria | 15 | 2.06 | m2 per person 1 | 30.87 m2 |
|  | -4.00 | Administration Restrooms | - | 1.00 | Fixture blocks 1 | 6.49 m2 |
|  | -8.00 | Mechanical Storage | - |  | * | 7.13 m2 |
|  | -8.00 | Pump Room | - |  | * | 7.43 m2 |
|  | -8.00 | Cistern | - |  | * | 13.11 m2 |
|  | -8.00 | Storage | - |  | * | 3.66 m2 |
|  | -8.00 | Machine Room Restrooms | - | 1.00 | Fixture blocks 1 | 3.38 m2 |
| Services | 0.00 | ATMs | 3 | 3.00 | m2 per person 7 | 8.74 m2 |
|  | 0.00 | Lockers | 3 | 3.00 | m2 per person 7 | 7.67 m2 |
|  | 0.00 | Dispensary | 3 | 5.07 | m2 per person 1 | 15.21 m2 |
|  | 0.00 | Men’s Restrooms | - | 3.00 | Fixture blocks 2 | 17.25 m2 |
|  | 0.00 | Women’s Restrooms | - | 4.00 | Fixture blocks 2 | 18.61 m2 |
|  | 0.00 | Storage | - |  | * | 2.73 m2 |
|  | 0.00 | Accessible Restrooms | - | 1.00 | Fixture blocks 1 | 4.06 m2 |
|  | -4.00 | Women’s Restrooms | - | 3.00 | Fixture blocks 2 | 20.79 m2 |
|  | -4.00 | Men’s Restrooms | - | 4.00 | Fixture blocks 2 | 20.79 m2 |
|  | -4.00 | Storage | - |  | * | 4.27 m2 |
|  | -4.00 | Accessible Restrooms | - | 1.00 | Fixture blocks 1 | 5.13 m2 |
| Cafeteria | -4.00 | Kitchen | 1 | 9.30 | m2 per person 4 | 11.16 m2 |
|  | -4.00 | Kitchen Restrooms | - | 1.00 | Fixture blocks 1 | 3.37 m2 |
|  | -4.00 | Kitchen Storage | - |  | * | 2.70 m2 |
|  | -400 | Service Counter | 2 | 5.00 | m2 per person 5 | 11.64 m2 |

|  | -4.00 | Seating Area | 46 | 1.50 | m2 per person 6 | 68.29 m2 |
| --- | --- | --- | --- | --- | --- | --- |
| Waiting and boarding areas | 0.00 | Interpretation Space | 124 | 3.00 | m2 per person 7 | 370.74 m2 |
|  | 0.00 | Viewpoint terrace | 28 | 3.00 | m2 per person 7 | 82.88 m2 |
|  | -4.00 | Interpretation room | 54 | 3.00 | m2 per person 7 | 161.61 m2 |
|  | -4.00 | Dining terrace | 37 | 3.00 | m2 per person 7 | 110.22 m2 |
|  | -4.00 | Boarding Control | 28 | 0.80 | m2 per person 8 | 22.63 m2 |
|  | -4.00 | Alighting Control | 28 | 0.80 | m2 per person 8 | 22.63 m2 |
|  | -4.00 | Interpretation Area | 34 | 3.00 | m2 per person 7 | 101.06 m2 |
|  | -8.00 | Boarding Control | 10 | 3.00 | m2 per person 7 | 30.23 m2 |
|  | -8.00 | Boarding Area | - |  | ** | 104.86 m2 |
| Commercial Zone | +0.70 | Commercial Shops | 69 | 2.80 | m2 per person 9 | 192.00 m2 |
| Parking lot | -12.50 | Roofed parking lot | - | 11.00 | spaces for buses | 543.03 m2 |
| Circulation and structures | 0.00 | Entrance Level | - |  | ** | 249.22 m2 |
|  | -4.00 | Waiting Level | - |  | ** | 498.45 m2 |
|  | -8.00 | Boarding Level | - |  | ** | 383.78 m2 |
| Outdoor areas |  |  | 515 |  |  | 4532.13 m2 |
| Visitors | +0.70 | Entrance Station* | 303 | 2.50 | m2 per person 10 | 756.98 m2 |
|  | +4.45 | Parking bay for tourists | - | 7.00 | spaces for buses | 147.00 m2 |
|  | +4.50 | Outdoor circulation | - |  | ** | 492.93 m2 |
|  | +4.50 | Vehicle circulation | - |  | ** | 934.07 m2 |
| Buses: No. of buses 21 | -8.15 | Boarding parking lot | - | 3.00 | spaces for buses | 598.71 m2 |
|  | -12.50 | Bus parking area | - | 18.00 | spaces for buses | 442.36 m2 |
|  | -12.50 | Bus circulation | - |  | ** | 1160.08 m2 |
| 1. The capacity calculation for these spaces has been determined based on the spatiality and distribution of the proposed program in the architectural dossier. These spaces have been sized according to the functional requirements of the entire building |  |  |  |  |  |  |
| 2. According to Article 7 of Standard A.110 Transport and Communications - RNE, four (4) complete systems of equipment corresponding to the estimated maximum capacity will be required. However, due to the presence of two levels with high foot traffic, blocks of restrooms with three (3) units on each level will be used. |  |  |  |  |  |  |
| 3. According to Article 15 of Standard A.120 Accessibility for Persons with Disabilities and Older Adults – RNE, one (1) additional sanitary fixture system will be required in each restroom block. |  |  |  |  |  |  |
| 4. The Restaurant – Kitchen index from the Commerce category of CENEPRED capacity calculation is used. |  |  |  |  |  |  |
| 5. The Fast Food – Kitchen index from the Commerce category of CENEPRED capacity calculation is used. |  |  |  |  |  |  |
| 6. The Restaurant – Dining Area index from the Commerce category of CENEPRED capacity calculation is used. |  |  |  |  |  |  |
| 7. The index for Exhibition Halls from the Community Services category of CENEPRED capacity calculation is used. |  |  |  |  |  |  |
| 8. The waiting room index from the Health category of CENEPRED capacity calculation is used. |  |  |  |  |  |  |
| 9. The index for Independent Store on the Ground Floor from the Commerce category of the CENEPRED capacity calculation is used. |  |  |  |  |  |  |
| 10. An estimate of 2.5 m² per person has been used for the capacity calculation of the outdoor stations adjacent to the building. |  |  |  |  |  |  |
| * Complementary or service areas that are not dimensioned in relation to the capacity |  |  |  |  |  |  |
| ** Transition and circulation areas that are dimensioned based on the architectural proposal |  |  |  |  |  |  |

Figure No. 33: Architectural proposal for the Yanama Central Station

## TABLE 31. CAPACITY CALCULATION OF HUANIPACA CENTRAL STATION

| EC02 – HUANIPACA CENTRAL STATION |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| PROGRAMME | LEVEL | ROOM NAME | CAPACITY | INDEX | BUILT AREA |
| Indoor Areas |  |  | 544 |  | 1937.69 m2 |
| Administration and maintenance | 0.00 | Ticket Office | 5 | 3.00 m2 per person 1 | 15.45 m2 |
|  | 0.00 | Front Desk | 1 | 7.00 m2 per person 1 | 7.02 m2 |
|  | 0.00 | Boardroom | 1 | 8.50 m2 per person 1 | 8.55 m2 |
|  | 0.00 | Administrative Offices | 13 | 3.50 m2 per person 1 | 46.32 m2 |
|  | 0.00 | Administration Restrooms | - | 1.00 Fixture Blocks1 | 4.70 m2 |
|  | 0.00 | Administration Restrooms | - | 1.00 Fixture Blocks1 | 4.70 m2 |
|  | 0.00 | Administrative Cafeteria | 24 | 2.00 m2 per person 1 | 47.89 m2 |
|  | -4.00 | Warehouse | - | * | 6.29 m2 |
|  | -4.00 | Machine Room | - | * | 7.47 m2 |
|  | -4.00 | Pump Room | - | * | 9.73 m2 |
|  | -4.00 | Cistern | - | * | 5.67 m2 |
|  | -4.00 | Waste Storage | - | * | 9.58 m2 |
|  | -4.00 | Machine Room Restrooms | - | 1.00 Fixture Blocks1 | 3.82 m2 |
| Services | 0.00 | ATMs | 3 | 3.00 m2 per person 7 | 9.47 m2 |
|  | 0.00 | Lockers | 3 | 3.00 m2 per person 7 | 8.99 m2 |
|  | 0.00 | Dispensary | 3 | 3.00 m2 per person 1 | 8.98 m2 |
|  | 0.00 | Men's Restrooms | - | 3.00 Fixture Blocks2 | 17.79 m2 |
|  | 0.00 | Women's Restrooms | - | 4.00 Fixture Blocks2 | 18.89 m2 |
|  | 0.00 | Accessible Restrooms | - | 1.00 Fixture Blocks3 | 4.43 m2 |
|  | 0.00 | Cleaning | - | ** | 4.08 m2 |
|  | -4.00 | Men's Restrooms | - | 3.00 Fixture Blocks2 | 18.88 m2 |

|  | -4.00 | Women's Restrooms | - | 3.00 Fixture Blocks2 | 16.09 m2 |
| --- | --- | --- | --- | --- | --- |
|  | -4.00 | Accessible Restrooms | - | 1.00 Fixture Blocks3 | 6.63 m2 |
|  | -4.00 | Cleaning | - | * | 2.94 m2 |
| Cafeteria | 0.00 | Kitchen | 2 | 9.30 m2 per person 4 | 18.18 m2 |
|  | 0.00 | Service Counter | 2 | 5.00 m2 per person 5 | 10.93 m2 |
|  | 0.00 | Kitchen Storage | - | * | 7.29 m2 |
|  | 0.00 | Kitchen Restrooms | - | 1.00 Fixture Blocks1 | 2.29 m2 |
|  | 0.00 | Seating Area | 66 | 1.50 m2 per person 6 | 99.25 m2 |
| Waiting Areas | 0.00 | Interpretation Space | 82 | 3.00 m2 per person 7 | 246.82 m2 |
|  | -4.00 | Boarding Zone | 47 | 0.80 m2 per person 8 | 37.88 m2 |
|  | -4.00 | Alighting Zone | 38 | 0.80 m2 per person 8 | 30.13 m2 |
|  | -4.00 | Waiting Area | 280 | 0.80 m2 per person 8 | 268.04 m2 |
|  | -4.00 | Boarding Area | - | ** | 362.19 m2 |
| Commercial Zone | 0.00 | Commercial Shops | 1 5 | 2.80 m2 per person 9 | 43.06 m2 |
|  | -4.00 | Commercial Shops | 7 | 2.80 m2 per person 9 | 18.48 m2 |
| Circulation and structures | 0.00 | Entrance Level | - | ** | 311.68 m2 |
|  | -4.00 | Waiting and Boarding Level | - | ** | 187.11 m2 |
| Outdoor Areas |  |  | 4 97 |  | 4905.45 m2 |
| Visitors | 0.00 | Entrance station | 4 97 | 2.50 m2 per person 10 | 1241.36 m2 |
|  | 0.00 | Outdoor circulation | - | ** | 1494.67 m2 |
|  | +4.50 | Vehicle circulation | - | ** | 526.04 m2 |
| Buses No. of buses 27 | 0.00 | Tourist / bus parking lot | - | 9.00 spaces for buses | 220.50 m2 |
|  | -4.00 | Boarding station | - | 3.00 spaces for buses | 120.99 m2 |
|  | -4.00 | Bus parking area | - | 15.00 spaces for buses | 505.86 m2 |
|  | -4.00 | Bus circulation | - | ** | 796.03 m2 |
| - The capacity calculation for these spaces has been determined based on the spatiality and distribution of the proposed program in the architectural dossier. These environments have been dimensioned according to the functional requirements of the entire building - According to Article 7 of Standard A.110 Transport and Communications - RNE, four (4) complete systems of equipment corresponding to the estimated maximum capacity will be required. However, due to the presence of two levels with high foot traffic, blocks of restrooms with three (3) units on each level will be used. - According to Article 15 of Standard A.120 Accessibility for People with Disabilities and Older Adults – RNE, an additional (1) sanitary fixture system will be required in each restroom block. - The Restaurant – Kitchen index from the Commerce category of the CENEPRED capacity calculation is used. - The Fast Food – Kitchen index from the Commerce category of the CENEPRED capacity calculation is used. - The Restaurant – Dining Area index from the Commerce category of the CENEPRED capacity calculation is used. - The index for Exhibition Halls from the Community Services category of the CENEPRED capacity calculation is used. - The waiting room index from the Health category of the CENEPRED capacity calculation is used. - The index for Independent Store on the Ground Floor from the Commerce category of the CENEPRED capacity calculation is used. - An estimate of 2.5 m² per person has been used for the capacity calculation of the outdoor stations of the building. * Complementary or service areas that are not dimensioned in relation to the capacity |  |  |  |  |  |

** Transition and circulation areas that are dimensioned based on the architectural proposal

Figure No. 34: Architectural proposal for the Huanipaca Central Station

Preparation: Choquequirao Consortium.

## TECHNOLOGY

The central stations have been designed using a mixed construction system, as detailed in the following table:

## TABLE 32. CONSTRUCTIVE TECHNOLOGY OF THE CENTRAL STATIONS

| Central Stations – Technology |  |
| --- | --- |
| Components | Type |
| Cover | Techno roof with thermal insulation |
| Beams | Laminated Wood |
| Columns | Reinforced Concrete |
| Walls | Reinforced Concrete |
| Floor | Reinforced Concrete |
| Foundations | Reinforced Concrete |
| Outdoor treatment | Slope stabilization with geo-cells |

Preparation: Choquequirao Consortium.

Figure No. 35: 3D view of the waiting area at Yanama Central Station.

SECTION 4: FOR CABLE TRANSPORT STATIONS

The Cable Transport Stations are the facilities where passengers will board and alight to use the cable cars The size of the departure and arrival stations is defined by the transportation technology (cable cars)5 and the capacity of the cabins (100 passengers)6. Therefore, sufficient space is required for proper boarding and alighting at the stations.

# APPLICABLE REGULATORY FRAMEWORK

    - A.010 OF THE RNE General Design Conditions, which sets the criteria and minimum requirements that buildings in general must meet to ensure safety, functionality, habitability, environmental suitability, and environmental protection

    - A.070 OF THE RNE Commerce, which defines and regulates the characteristics and requirements that buildings intended for activities whose purpose is the commercialization of goods and services must meet, in order to ensure their safety, meet their service needs, and facilitate their development.

    - A.080 OF THE RNE Offices, which defines and regulates the characteristics and requirements that buildings intended for the provision of administrative, technical, financial, management, advisory, and related services, whether public or private, must meet.

  - A.120 Accessibility for people with disabilities, which defines and regulates the characteristics and requirements that buildings in general must have to allow people with disabilities to use their services.

    - A.130 Safety Requirements, which defines, according to their use and number of occupants, the safety and accident prevention requirements that aim to safeguard human lives and preserve the heritage and continuity of the building.

    - Others, as appropriate.

# TECHNICAL APPROACH

## DEPARTURE STATIONS DESCRIPTION

The Departure Station defines the start of the cable car route and welcomes visitors arriving from the Central Station via the shuttle buses. Unlike the Central stations, the departure station will not have complementary services as it will only be used for boarding the cabins. This will contain all the mechanical components for the optimal functioning of the cable transport system. The location will be decided according to the mechanical engineering studies that will support the effectiveness of the system layout. The departure stations will be located at the following points according to the proposed alternative, Abra San Juan (Northern route) and Kiuñalla (Southern route).

5 See Technical Analysis c) Technology.

6 The capacity of the cabins is determined by the transportation capacity required (supply-demand gap) and the length of the route. Specific Study No. 09: Engineering Design.

The spaces for visitors are protected with covers, aligned with each of the cable lines. Due to the distance between the boarding and alighting platforms, the coverings are separated to break up the surfaces and reduce the scale of the intervention as much as possible. The rear part of the station requires an arrival station and vehicular access road for shuttle bus circulation. In this way, the departure station is composed of an almost symmetrical building, which responds to the cable car lines and the flow of users.

### Location

As with the rest of the proposed tourist facilities, the site has not only been defined by means of a technical study, but also with the validation of the site polygons by the Decentralized Directorate of Culture Cusco (DDC). This decision is based on the evaluation of technical alternatives where the location of the Abra San Juan (Northern route) and Huanipaca (Southern route) departure stations was determined.

The departure stations are located in areas that do not present any obvious archaeological risk (superficially), especially because cable car technology requires an underground space for the machinery that is correctly anchored to the ground.

## DIMENSIONING

The departure stations have space for both users and machinery. The second aspect is what determines the magnitude of the building due to its dimensions. Most of the machinery is located in an underground space specially designed for its operation.

The spaces designated for user use include bus parking bays, the arrival station, waiting zones, boarding platforms, and alighting platforms. The buses considered for the design of the shuttle system have a maximum capacity of 25 to 31 passengers.

On the other hand, for the station to function, a control cabin is required for both boarding platforms and spaces for cable car workers.

The dimensions of the Departure Stations have been calculated considering the estimated capacity of the boarding and disembarking cabins, which have a capacity for 100 people. In addition to the technical personnel who will be operating at all times in the stations, the indoor areas of both stations have a capacity for 208 people. Additionally, outdoor areas are proposed, which vary according to the environment and the topography where each station is located. Finally, the capacity calculated for the Abra San Juan Departure Station is 510 tourists and for the Kiuñalla Departure Station 532 people.

Therefore, the Abra San Juan and Kiuñalla departure stations have different areas depending on the required capacity and the specific design of the cable transport system for each line.

## TABLE 33. CAPACITY CALCULATION OF THE SAN JUAN DEPARTURE STATION

| ES01 – ABRA SAN JUAN DEPARTURE STATION |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| PROGRAMME | LEVEL | ROOM NAME | CAPACITY | INDEX | BUILT AREA |
| Indoor Areas |  |  | 208 |  | 2194.53 m2 |
| Administration and maintenance | 0.00 | Control Room | 4 | 4.00 m2 per person 1 | 17.26 m2 |
|  | 0.00 | Administrative Cafeteria | 4 | 3.00 m2 per person 1 | 11.32 m2 |
|  | 0.00 | Administration Restrooms | - | 1.00 Fixture Blocks 1 | 6.99 m2 |
|  | 0.00 | Waste Storage | - | * | 10.07 m2 |
| Services | 0.00 | Dispensary | 3 | 3.00 m2 per person 1 | 10.10 m2 |
|  | 0.00 | Men's Restrooms | - | 3.00 Fixture Blocks 2 | 19.04 m2 |
|  | 0.00 | Women’s Restrooms | - | 3.00 Fixture Blocks 2 | 14.63 m2 |
|  | 0.00 | Warehouse | - | * | 3.02 m2 |
|  | 0.00 | Accessible Restrooms | - | 1.00 Fixture Blocks 3 | 4.80 m2 |
| Machine Area | -3.00 | Maintenance | - | ** | 169.85 m2 |
|  | -3.00 | Cable Passage | - | ** | 52.33 m2 |
|  | -6.80 | Connection Corridor | - | ** | 145.88 m2 |
|  | -6.80 | Machine Room | - | ** | 460.28 m2 |
|  | -6.80 | Generator Room | - | ** | 73.11 m2 |
|  | -6.80 | Electrical Panel Room | - | ** | 20.84 m2 |
|  | -6.80 | Transformer Room | - | ** | 50.66 m2 |
| Waiting and Boarding Areas | 0.00 | Boarding Area | 100 | 0.80 m2 per person 4 | 258.34 m2 |
|  | 0.00 | Alighting Area | 100 | 0.80 m2 per person 4 | 300.40 m2 |
| Circulation and structures | 0.00 | Entrance Level | - | ** | 228.55 m2 |
|  | -3.00 | Machine level | - | ** | 172.81 m2 |
|  | -6.80 | Machine level | - | ** | 164.25 m2 |
| Outdoor Areas |  |  | 362 |  | 1294.62 m2 |
| Visitors | 0.00 | Entrance Station* | 210 | 2.00 m2 per person 5 | 419.91 m2 |
|  | 0.00 | Waiting Area | 152 | 2.00 m2 per person 5 | 303.79 m2 |
| Buses | 0.00 | Bus Platform | - | 3.00 Spaces for buses | 252.58 m2 |
|  | -6.80 | Maintenance Yard | - | ** | 318.34 m2 |

| TOTAL |  | 510 |  | 3489.15 m2 |
| --- | --- | --- | --- | --- |
| - The capacity of these spaces has been calculated according to the spatiality and distribution of the program proposed in the architectural file. These environments have been dimensioned according to the functional requirements of the entire building. - According to Article 7 of Standard A.110 Transportation and Communications – RNE, three (3) complete device systems will be required to accommodate the estimated maximum capacity. - According to Article 15 of Standard A.120 Accessibility for People with Disabilities and Older Adults – RNE, an additional (1) sanitary fixture system will be required in each restroom block. - The boarding and alighting areas operate intermittently, so the area calculation using the capacity factor is divided in half. This capacity must be sufficient to cover the cabin's capacity of 100 passengers. - An estimate of 2.5 m² per person has been used for the capacity calculation of the outdoor stations of the building. * Complementary or service areas that are not dimensioned in relation to the capacity ** The areas housing the machinery required by the cable transportation system are detailed in Specific Study No. 9 Design Engineering, of this report. *** Transition and circulation areas that are dimensioned based on the architectural proposal |  |  |  |  |

Figure No. 36: Distribution Plan of San Juan Departure Station

Preparation: Choquequirao Consortium.

Figure No. 37: Elevation Plan of San Juan Departure Station

## TABLE 34. CAPACITY CALCULATION OF KIUÑALLA DEPARTURE STATION

| ES02 – KIUÑALLA DEPARTURE STATION |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| PROGRAMME | LEVEL | ROOM NAME | CAPACITY | INDEX | BUILT AREA |
| Indoor Areas |  |  | 208 |  | 2213.57 m2 |
| Administration and maintenance | 0.00 | Control Room | 4 | 4.00 m2 per person 1 | 16.53 m2 |
|  | 0.00 | Administrative Cafeteria | 4 | 3.00 m2 per person 1 | 11.32 m2 |
|  | 0.00 | Administration Restrooms | - | 1.00 Fixture Blocks 1 | 6.99 m2 |
|  | 0.00 | Waste Storage | - | * | 10.07 m2 |
| Services | 0.00 | Dispensary | 3 | 3.00 m2 per person 1 | 10.10 m2 |
|  | 0.00 | Men’s Restrooms | - | 3.00 Fixture Blocks 2 | 19.04 m2 |
|  | 0.00 | Women’s Restrooms | - | 3.00 Fixture Blocks 2 | 14.63 m2 |
|  | 0.00 | Warehouse | - | * | 3.02 m2 |
|  | 0.00 | Accessible Restrooms | - | 1.00 Fixture Blocks 3 | 4.80 m2 |
| Machine Area | -3.00 | Maintenance | - | ** | 124.40 m2 |

|  | -3.00 | Cable Passage | - | ** | 38.35 m2 |
| --- | --- | --- | --- | --- | --- |
|  | -6.80 | Connection Corridor | - | ** | 87.35 m2 |
|  | -6.80 | Machine Room | - | ** | 460.56 m2 |
|  | -6.80 | Generator Room | - | ** | 76.55 m2 |
|  | -6.80 | Electrical Panel Room | - | ** | 16.42 m2 |
|  | -6.80 | Transformer Room | - | ** | 28.79 m2 |
| Waiting and Boarding Areas | 0.00 | Boarding Area | 100 | 0.80 m2 per person 4 | 235.65 m2 |
|  | 0.00 | Alighting Area | 100 | 0.80 m2 per person 4 | 312.90 m2 |
| Circulation and structures | 0.00 | Entrance Level | - | *** | 302.14 m2 |
|  | -3.00 | Machine level | - | *** | 159.17 m2 |
|  | -6.80 | Machine level | - | *** | 274.79 m2 |
| Outdoor Areas |  |  | 324 |  | 1188.91 m2 |
| Visitors | 0.00 | Entrance Station* | 154 | 2.00 m2 per person 5 | 307.06 m2 |
|  | 0.00 | Waiting Area | 170 | 2.00 m2 per person 5 | 340.37 m2 |
| Buses | 0.00 | Bus Platform | - | 3.00 Spaces for buses | 252.58 m2 |
|  | -6.80 | Maintenance yard | - | ** | 288.90 m2 |
| TOTAL |  |  | 532 |  | 3402.48 m2 |
| - The capacity calculation for these spaces has been determined based on the spatiality and distribution of the proposed program in the architectural dossier. These environments have been dimensioned according to the functional requirements of the entire building - According to Article 7 of Standard A.110 Transportation and Communications – RNE, three (3) complete device systems will be required to accommodate the estimated maximum capacity. - According to Article 15 of Standard A.120 Accessibility for People with Disabilities and Older Adults – RNE, an additional (1) sanitary fixture system will be required in each restroom block. - The boarding and alighting areas operate intermittently, so the area calculation using the capacity factor is divided in half. This capacity must be sufficient to cover the cabin's capacity of 80 passengers. - An estimate of 2.5 m² per person has been used for the capacity calculation of the outdoor stations of the building. * Complementary or service areas that are not dimensioned in relation to the capacity ** The areas housing the machinery required by the cable transportation system are detailed in Specific Study No. 9 of this report. *** Transition and circulation areas that are dimensioned based on the architectural proposal |  |  |  |  |  |

Figure No. 38: Distribution Plan of Kiuñalla Departure Station

Figure No. 39: Side Elevation Plan of Kiuñalla Departure Station

### Technology

The preliminary design of the departure stations recommends a mixed construction system, detailed in the following table:

## TABLE 35. CONSTRUCTION TECHNOLOGY OF DEPARTURE STATIONS

| Departure and Arrival Stations – Technology |  |
| --- | --- |
| Components |  |
| Cover | Techno roof with thermal insulation |
| Beams | Laminated Wood |
| Columns | Composite Wood |
| Walls | Reinforced Concrete |
| Floor | Reinforced Concrete |
| Foundations | Reinforced Concrete |
| Outdoor treatment | Slope Retention with Geocells, Stone Pavements, Tree and Shrub Vegetation |

INTERMEDIATE STATION

### Description

The intermediate station is responsible for connecting two sections of cable car and transferring passengers from one cabin to another. This type of station appears when it is not possible to construct a single, direct route between the Departure station and the Arrival station; when the distance is greater than that supported by the system; or when an angle change is required. The location is proposed in accordance with the mechanical engineering studies that will support the effectiveness of the system layout.

### Location

The intermediate station has been proposed for the North Zone only, and will be located in the area near Camp Maizal. This location is being considered according to the mechanical engineering studies that will support the effectiveness of the system layout. Likewise, as it is a place of transition, it will have the minimum and required services for both visitors and operators. It is essential to point out that, for the Maizal Intermediate Station polygon, two technical alternatives were evaluated. The first alternative is the one that topographically results in less impact on the landscape and a smaller area affected. In addition to determining the optimal space for the location of the two technical plants that the Intermediate Station needs. However, on a visit with the DDC technical team, he recommended looking for a different alternative as this one was close to components of archaeological interest.

The second alternative, recommended by the DDC, was approved because there was no evidence of archaeological remains in the area. However, the resulting dimensions due to the technical requirements of the cable transport system and the vehicular access conditions require a considerable amount of excavation. This is due to the geographical characteristics of the site, with an average gradient of 45 degrees, which requires excavation to a depth of approximately 60 meters in order to install the technical components in question. In this location, it is technically impossible to locate the two technical plants for both cable car routes at the same level, so this difference in level had to be overcome with ramps and accesses that make this alternative unfeasible.

This operation not only implies a modification of the walking route, but also a considerable impact on the natural and cultural landscape, as well as on the ecosystems and morphology of the environment. Although an attempt was made to resolve these technical conditions, at a high cost in terms of execution, it is considered that this action contradicts the virtues that the implementation of the project seeks to achieve. Achieving a proposal that harmonizes with the territory cannot deteriorate a fundamental component such as the landscape value of the place.

Finally, it was decided to continue with the first alternative as it is the only technically feasible option due to topographical constraints and the one that would have the least impact on the natural and cultural landscape of the Choquequirao Archaeological Monument.

## DIMENSIONING

The intermediate station houses a minimum number of facilities in order to reduce the impact on the territory, as well as having the main function of being a space of transition. It contains the minimum space required for both users and the machinery of the cable transport system. The second aspect is what determines the magnitude of the building due to its dimensions. Most of the machinery is located in an underground space specially designed for its operation.

The spaces designated for user use include the boarding platforms, alighting platforms, waiting areas, and the viewpoint, which is located at the building's exit. Additionally, restroom facilities and a dispensary are provided.

On the other hand, for the station to function, a control cabin is required for both boarding platforms and spaces for cable car workers.

The size of the Intermediate Station has been calculated considering the estimated capacity of the boarding and disembarking of the cabins of two cable cars, each cabin with a capacity of 100 people. In addition to the technical personnel who will be operating at all times in the stations, the capacity of the indoor areas of this station is 407 people.

Finally, the intermediate station has different areas depending on the required capacity and the specific design of the cable transport system for each line.

## TABLE 36. CAPACITY CALCULATION OF THE MAIZAL INTERMEDIATE STATION

| EI01 - MAIZAL INTERMEDIATE STATION |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| PROGRAMME | LEVEL | ROOM NAME | CAPACITY | INDEX | BUILT AREA |
| Indoor Areas |  |  | 407 |  | 3712.74 m2 |
| Administration and maintenance | 0.00 | Control Room | 4 | 4.00 m2 per person 1 | 16.44 m2 |
|  | 0.00 | Administration Restrooms | - | 1.00 Fixture Blocks 1 | 4.05 m2 |
|  | 0.00 | Waste Storage | - | * | 18.29 m2 |
| Services | 0.00 | Dispensary | 3 | 3.00 m2 per person 1 | 18.85 m2 |
|  | 0.00 | Men’s Restrooms | - | 3.00 Fixture Blocks 2 | 26.48 m2 |
|  | 0.00 | Women’s Restrooms | - | 3.00 Fixture Blocks 2 | 20.66 m2 |
|  | 0.00 | Storage | - | * | 16.91 m2 |
|  | 0.00 | Accessible Restrooms | - | 1.00 Fixture Blocks 3 | 6.20 m2 |
| Machine Area | -6.80 | Generator Room (Departure) | - | ** | 28.35 m2 |
|  | -6.80 | Electrical room (Departure) | - | ** | 14.00 m2 |
|  | -6.80 | Transformer Room (Departure) | - | ** | 19.43 m2 |
|  | -6.80 | Storage (Departure) | - | ** | 52.38 m2 |
|  | -6.80 | Machine Area (Departure) | - | ** | 467.19 m2 |
|  | -3.50 | Machine Area (Arrival) | - | ** | 150.73 m2 |

|  | -4.50 | Machine Area (Arrival) | - | ** | 122.55 m2 |
| --- | --- | --- | --- | --- | --- |
|  | -9.10 | Pulley Pit (Arrival) | - | ** | 86.94 m2 |
| Waiting and boarding areas | 0.00 | Boarding Area (Departure) | 100 | 0.80 m2 per person 4 | 221.53 m2 |
|  | 0.00 | Alighting Area (Departure) | 100 | 0.80 m2 per person 4 | 105.16 m2 |
|  | 0.00 | Boarding Area (Arrival) | 100 | 0.80 m2 per person 4 | 142.56 m2 |
|  | 0.00 | Alighting Area (Arrival) | 100 | 0.80 m2 per person 4 | 99.14 m2 |
| Circulation and structures | 0.00 | Entrance Level | - | ** | 1819.98 m2 |
|  | 6.80 | Machine level | - | ** | 254.92 m2 |
| TOTAL |  |  | 407 |  | 3712.74 m2 |
| - The capacity calculation for these spaces has been determined based on the spatiality and distribution of the proposed program in the architectural dossier. These environments have been dimensioned according to the functional requirements of the entire building - According to Article 7 of Standard A.110 Transport and Communications – RNE, three (3) complete equipment systems will be required, corresponding to the estimated maximum capacity. - According to Article 15 of Standard A.120 Accessibility for Persons with Disabilities and Older Adults – RNE, one (1) additional sanitary fixture system will be required in each restroom block. - The boarding and alighting areas operate intermittently, so the area calculation using the capacity factor is divided in half. This capacity must be sufficient to cover the cabin's capacity of 100 passengers. - An estimate of 2.5 m² per person has been used for the capacity calculation of the outdoor stations of the building. * Complementary or service areas that are not dimensioned in relation to the capacity ** The areas housing the machinery required by the cable transportation system are detailed in Specific Study No. 9 Design Engineering, of this report. *** Transition and circulation areas that are dimensioned based on the architectural proposal |  |  |  |  |  |

Figure No. 40: Distribution Plan of Maizal Intermediate Station (Arrival of the first section)

Figure No. 41: Side Elevation Plan of Maizal Intermediate Station (Arrival of the first

section)

### Technology

The preliminary design of the departure stations recommends a mixed construction system, detailed in the following table:

## TABLE 37. CONSTRUCTION TECHNOLOGY OF THE INTERMEDIATE STATION

| Intermediate Station - Technology |  |
| --- | --- |
| Components |  |
| Cover | Techno roof with thermal insulation |
| Beams | Laminated Wood |
| Columns | Composite Wood |
| Walls | Reinforced Concrete |
| Floor | Reinforced Concrete |
| Foundations | Reinforced Concrete |
| Outdoor treatment | Slope Retention with Geocells, Stone Pavements , Tree and shrub vegetation. |

Preparation: Choquequirao Consortium.

## ARRIVAL STATIONS

### Description

The arrival station defines the end point of the cable car route and is responsible for receiving visitors who arrive at the Choquequirao Archaeological Monument via the cabins. It will include waiting areas and complementary services for both visitors

arriving and those waiting for the return to the departure station. The location is proposed based on mechanical engineering studies that will support the effectiveness of the system's layout. The departure stations will be located at the following points according to the proposed alternative: Abra Choquequirao (North Zone) and the area near Casa Sacerdotal, known as Lucas (South Zone).

### Location

The location of the arrival stations is also based on the requirements of the cable car system. Because the space at the arrival stations is considerably narrower, a single roof is developed that adapts to the lateral slope of the terrain. The arrival stations consist of a single space that adapts to the slope of the terrain to minimize the impact of the station on the territory.

### Size

The arrival stations have a minimum number of uses to reduce the impact on the MACH. They contain spaces for both users and the cable car system machinery. The second aspect is what determines the magnitude of the building due to its dimensions. Most of the machinery is located in an underground space specially designed for its operation.

The spaces designated for user use include the boarding platforms, alighting platforms, waiting areas, and the viewpoint, which is located at the building's exit. Additionally, restroom facilities and a dispensary are provided.

On the other hand, for the station to function, a control cabin is required for both boarding platforms and spaces for cable car workers.

The dimensions of the Arrival Stations have been calculated considering the estimated capacity resulting from the boarding and disembarking of the cabins (100 people per cabin), in addition to the queues that could be generated in these stations due to the flow of tourists calculated in the technical analysis of the Size. In addition to the technical personnel who will be operating at all times in the stations, the capacity of the interior areas of both stations is around 370 people. In addition, outdoor areas are proposed that vary according to the environment and topography where each station is located. Finally, the capacity calculated for the Abra Choquequirao Arrival Station is 531 tourists and for the Union Arrival Station 431 people.

Finally, the Abra Choquequirao and Union arrival stations have different areas depending on the required capacity and the specific design of the cable transport system for each line.

## TABLE 38. CAPACITY CALCULATION OF ABRA CHOQUEQUIRAO ARRIVAL STATION

| ELL01 - ABRA CHOQUEQUIRAO ARRIVAL STATION |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| PROGRAMME | LEVEL | ROOM NAME | CAPACITY | INDEX | BUILT AREA |
| Indoor Areas |  |  | 372 |  | 1358.11 m2 |
| Administration and maintenance | 0.00 | Control Room | 2 | 4.00 m2 per person 1 | 8.22 m2 |
|  | 0.00 | Administration Restrooms | - | 1.00 Fixture Blocks 1 | 3.05 m2 |
|  | 0.00 | Storage | - | * | 9.77 m2 |
| Services | 0.00 | Dispensary | 3 | 4.00 m2 per person 1 | 12.24 m2 |
|  | 0.00 | Men’s Restrooms | - | 3.00 Fixture Blocks 2 | 19.28 m2 |
|  | 0.00 | Women’s Restrooms | - | 3.00 Fixture Blocks 2 | 18.23 m2 |
|  | 0.00 | Accessible Restrooms | - | 1.00 Fixture Blocks 3 | 5.70 m2 |
| Machine Area | -4.50 | Machine Area | - | ** | 191.09 m2 |
|  | -6.00 | Machine Area | - | ** | 130.65 m2 |
|  | -9.10 | Machine Area | - | ** | 39.42 m2 |
| Waiting and boarding areas | 0.00 | Waiting Area | 167 | 2.00 m2 per person 4 | 333.03 m2 |
|  | 0.00 | Boarding Area | 100 | 0.80 m2 per person 4 | 156.86 m2 |
|  | 0.00 | Alighting Area | 100 | 0.80 m2 per person 4 | 101.41 m2 |
| Circulation and structures | 0.00 | Entrance Level | - | ** | 185.69 m2 |
|  | -4.50 | Machine level | - | ** | 82.74 m2 |
|  | -6.00 | Machine level | - | ** | 31.05 m2 |
|  | -9.10 | Machine level | - | ** | 29.68 m2 |
| Outdoor Areas |  |  | 159 |  | 339.54 m2 |
| Visitors | -3.00 | Viewpoint station | 159 | 2.00 m2 per person 5 | 318.43 m2 |
|  | 0.00 | Outdoor circulation | - | *** | 21.11 m2 |
| TOTAL |  |  | 531 |  | 1697.65 m2 |
| 1. The capacity of these spaces has been calculated according to the spatiality and distribution of the program proposed in the architectural file. These spaces have been sized according to the functional requirements of the entire building |  |  |  |  |  |
| - According to Article 7 of Standard A.110 Transport and Communications – RNE, three (3) complete equipment systems will be required, corresponding to the estimated maximum capacity. - According to Article 15 of Standard A.120 Accessibility for Persons with Disabilities and Older Adults – RNE, one (1) additional sanitary fixture system will be required in each restroom block. - The boarding and alighting areas operate intermittently, so the area calculation using the capacity factor is divided in half. This capacity must be sufficient to cover the cabin's capacity of 80 passengers. - An estimate of 2.00 m² per person has been used for the capacity calculation of the outdoor stations adjacent to the building. * Complementary or service areas that are not dimensioned in relation to the capacity ** The areas housing the machinery required by the cable transportation system are detailed in Specific Study No. 9 Design Engineering, of this report. *** Transition and circulation areas that are dimensioned based on the architectural proposal |  |  |  |  |  |

Preparation: Choquequirao Consortium.

## TABLE 39. CAPACITY CALCULATION OF THE UNION ARRIVAL STATION

| ELL02 - UNION ARRIVAL STATION |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| PROGRAMME | LEVEL | ROOM NAME | CAPACITY | INDEX | BUILT AREA |
| Indoor Areas |  |  | 365 |  | 1366.65 m2 |
| Administration and maintenance | 0.00 | Control Room | 2 | 4.00 m2 per person 1 | 7.89 m2 |
|  | 0.00 | Administration Restrooms | - | 1.00 Fixture Blocks 1 | 3.05 m2 |
|  | 0.00 | Storage | - | * | 9.76 m2 |
| Services | 0.00 | Dispensary | 3 | 4.00 m2 per person 1 | 12.32 m2 |
|  | 0.00 | Men's Restrooms | - | 3.00 Fixture Blocks 2 | 19.28 m2 |
|  | 0.00 | Women's Restrooms | - | 3.00 Fixture Blocks 2 | 15.77 m2 |
|  | 0.00 | Accessible Restrooms | - | 1.00 Fixture Blocks 3 | 5.70 m2 |
| Machine Area | -4.50 | Machine Area | - | ** | 171.28 m2 |
|  | -6.00 | Machine Area | - | ** | 151.89 m2 |
|  | -9.10 | Machine Area | - | ** | 68.05 m2 |
| Waiting and Boarding areas | 0.00 | Waiting Area | 160 | 2.00 m2 per person 4 | 319.33 m2 |
|  | 0.00 | Boarding Area | 100 | 0.80 m2 per person 4 | 153.00 m2 |
|  | 0.00 | Alighting Area | 100 | 0.80 m2 per person 4 | 111.55 m2 |
| Circulation and structures | 0.00 | Entrance Level | - | ** | 195.83 m2 |
|  | -4.50 | Machine level | - | ** | 71.84 m2 |
|  | -6.00 | Machine level | - | ** | 7.87 m2 |
|  | -9.10 | Machine level | - | ** | 42.24 m2 |
| Outdoor areas |  |  | 67 |  | 154.67 m2 |
| Visitors | -3.00 | Viewpoint station | 67 | 2.00 m2 per person 5 | 133.56 m2 |
|  | 0.00 | Outdoor circulation | - | *** | 21.11 m2 |
| TOTAL |  |  | 431 |  | 1521.32 m2 |
| - The capacity of these spaces has been calculated according to the spatiality and distribution of the program proposed in the architectural file. These environments have been dimensioned according to the functional requirements of the entire building. - According to Article 7 of Standard A.110 Transport and Communications – RNE, three (3) complete equipment systems will be required, corresponding to the estimated maximum capacity. - According to Article 15 of Standard A.120 Accessibility for Persons with Disabilities and Older Adults – RNE, one (1) additional sanitary fixture system will be required in each restroom block. - The boarding and alighting areas operate intermittently, so the area calculation using the capacity factor is divided in half. This capacity must be sufficient to cover the cabin's capacity of 80 passengers. - An estimate of 2.00 m² per person has been used for the capacity calculation of the outdoor stations adjacent to the building. * Complementary or service areas that are not dimensioned in relation to the capacity ** The areas housing the machinery required by the cable transportation system are detailed in Specific Study No. 9 Design Engineering, of this report. *** Transition and circulation areas that are dimensioned based on the architectural proposal |  |  |  |  |  |

Figure No. 42: Distribution Plan of Union Arrival Station

Figure No. 43: Side Elevation Plan of Unión Arrival Station.

### Technology

The preliminary design of the departure stations recommends a mixed construction system, detailed in the following table:

## TABLE 40. CONSTRUCTIVE TECHNOLOGY OF ARRIVAL STATIONS

| Departure and Arrival Stations - Technology |  |
| --- | --- |
| Components |  |
| Cover | Techno roof with thermal insulation |
| Beams | Laminated Wood |
| Columns | Composite Wood |
| Walls | Reinforced Concrete |
| Floor | Reinforced Concrete |
| Foundations | Reinforced Concrete |
| Outdoor treatment | Slope Retention with Geocells, Stone Pavements, Tree and Shrub Vegetation |

Preparation: Choquequirao Consortium.

# SECTION 5: PEDESTRIAN PATHWAYS

The construction of two new pedestrian walkways is proposed that will connect the future arrival stations of the cable car with the existing internal routes.

The first section starts at the Abra Choquequirao arrival station and descends for approximately 2.5 km until it connects with the Yanama - Pinchaynuyoc - Mach bridle path in the north. This section will be designed with a width of between 1.0 and 1.5 meters, using mainly natural materials from the area, such as stone and compacted earth. Its design should minimize intervention on the ground and respect a slope of preferably less than 10%, with a maximum of 12% to 15% in short sections. Drainage systems will be included along the route, such as lined gutters and water crossings, to prevent erosion during the rainy season. In sensitive areas, such as steep slopes, the use of steps or containment elements should be provided.

Likewise, informational and directional signage must be implemented to guide visitors and promote best practices in compliance with national and local regulations published by entities such as MINCETUR, ACR Choquequirao, MINCUL, the Decentralized Directorate of Culture of Cusco, among others. Finally, the installation of at least two rest areas between the start and end of the section should be considered.

The second section starts at the Union Arrival Station and continues along the same level until it reaches the internal route of the MACH. The design of this section should contemplate minimal intervention on the natural ground as it is close to the Choquequirao monumental area. The average width will be 1.0 meter. To protect the natural soil, the design should include the use of protection systems such as walkways, decking, geotextiles, platforms or other elements that prevent direct contact between users and the soil. The finish will be rustic, using locally available materials such as stone and gravel, to maintain visual harmony with the surroundings. The route will follow the contour lines to reduce the impact on the ground and minimize the risk of landslides. Likewise, the installation of drainage elements along the path should be considered.

Figure No. 44: Pedestrian Pathways Location Plan.

# SECTION 6: FOR BUSES

  - MINIMUM TECHNICAL REQUIREMENTS

Below, we present the minimum technical requirements that the buses to be acquired during the Concession must meet, in order to guarantee compliance with the quality, safety, energy efficiency and accessibility standards necessary for the operation of the transportation system. The vehicles must be in compliance with current regulations and adequately meet the needs of users.

TABLE 41. CONSTRUCTIVE TECHNOLOGY OF ARRIVAL STATIONS

| Departure and Arrival Stations - Technology |  |
| --- | --- |
| Engine and Suspension |  |
| Maximum Torque | 59/1400 |
| Type of Fuel | Diesel or others |
| Displacement (cc) | 3933 |
| Number of Cylinders | 4.00 |
| Transmission / No. of speeds | Mechanics / 5+1 |
| Rear-Wheel Drive | 4x2 |

| Dimensions |  |
| --- | --- |
| Length (mm) | 7065 |
| Width (mm) | 2035 |
| Height (mm) | 2755 |
| Payload (kg) | 1885 |
| Number of Passengers | 25 |
| Security |  |
| Engine Brake | With electronic control and vacuum actuation |
| Front brakes | Drum / Shoes |
| Rear brakes | Drum / Shoes |
| Comfort and Convenience |  |
| Air Conditioning | Yes |
| Additional Equipment |  |
| Number of Seats | 26 |
| Digital Tachograph | Yes |
| Radio | Yes |
| GPS | Yes |

# ANNEX No. 08 MINIMUM SPECIFICATIONS FOR THE DRAFTING OF FINAL ENGINEERING STUDY

ANNEX No. 08 - APPENDIX 1 – SPECIFICATIONS FOR THE DEVELOPMENT OF THE FINAL ENGINEERING STUDY OF THE CABLE CARS AND CABLE CAR STATIONS

## OBJECTIVE

The purpose of this document is to define the minimum requirements for the drafting of the EDI for Works, as well as the documents that comprise it.

## REGULATIONS

The execution of the EDI for Works must be carried out in accordance with the Applicable Laws and Provisions, considering the relevant technical standards, as well as their amendments and updates. In case of contradiction or ambiguity between the national standard and the international standard, the national standard shall prevail.

The CONCESSIONAIRE is responsible for considering the Applicable Laws and Provisions for the fulfillment of its obligations, among which are, for reference, the following:

## NATIONAL LEGAL BASIS

        - GENERAL LEGAL BASIS

- General Environment Law, approved by Law No. 28611.

- Law creating the National Disaster Risk Management System (SINAGERD), approved by Law No. 29664, and its Regulations, approved by Supreme Decree No.

- Law on Urban Development and Buildings, approved by Law No. 29090, and its Regulations, approved by Supreme Decree No. 029-2019-VIVIENDA

- Legislative Decree regulating the Promotion of Private Investment through Public-Private Partnerships and Projects in Assets, approved by Legislative Decree No. 1362, and its Regulations, approved by Supreme Decree 240-2018-EF

- National Disaster Risk Management Plan – PLANAGERD 2022-2030, approved by Supreme Decree No. 115-2022-PCM.

- National Policy on Disaster Risk Management to 2050, approved by Supreme Decree 038-2021-PCM.

- Regulation of Maximum Permissible Values for Non-Domestic Residual Discharges into the Sanitary Sewer System, approved by Supreme Decree No. 010-2019-VIVIENDA.

- Technical Code for Sustainable Construction, approved by Supreme Decree No. 014 2021-VIVIENDA.

- Technical Standard for Measurements, approved by Directorial Resolution No. 073 010/VIVIENDA/VMCS-DNC.

- Technical Standard "Technical Specifications for Vertical Geodetic Surveys", approved by Head Office Resolution No. 057-2016/IGN/UCNN.

- Formats relating to urban authorization and building permit procedures, approved by Ministerial Resolution No. 326-2015-VIVIENDA.

## 2.1.2 BASIC TECHNICAL STANDARDS

- National Building Regulations, approved by Supreme Decree No. 011-2006-VIVIENDA, where appropriate.

- Ministerial Resolution No. 305-2017- VIVIENDA, approving the formats and forms relating to the procedures for urban planning permits and building licenses under the framework of Law No. 29090, the Law Regulating Urban Planning Permits and Building Licenses.

## SPECIFIC TECHNICAL STANDARDS

### Security System

        - Peruvian Technical Standard NTP-ISO/IEC 17799:2007, Code of Best Practices for Information Security Management.

        - Peruvian Technical Standard NTP-ISO/IEC 27001:2008, Security Techniques. Information security management systems.

        - Peruvian Technical Standard NTP 399.010-1 – Safety Signs

        - Peruvian Technical Standard NTP-350.043-1 Portable fire extinguishers. Selection, Distribution, Inspection, Maintenance, Refueling and Hydrostatic Testing.

        - Peruvian Technical Standard NTP 399.009- Colors Patterns used in Safety Signs and Colors.

        - Peruvian Technical Standard NTP 399.010-2016- Safety Signs.

        - Peruvian Technical Standard NTP-833.030- Fire Extinguisher Labelling.

        - DS.042-F Industrial Safety Regulations.

        - NFPA 72: National Fire Alarm Code.

        - NFPA101: Life Safety Code.

### Structures

        - Technical Standard E.020-Loads, of the National Building Regulations, approved by Supreme Decree No. 011-2006-VIVIENDA.

        - Technical Standard E.030 - Earthquake-resistant Design, of the National Building Regulations, approved by Supreme Decree No. 011-2006-VIVIENDA.

        - Technical Standard E.050 - Floors and Foundations, of the National Building Regulations, approved by Supreme Decree No. 011-2006-VIVIENDA.

        - Technical Standard E.060 - Reinforced Concrete, of the National Building Regulations, approved by Supreme Decree No. 011-2006-VIVIENDA.

        - Technical Standard E.070 - Masonry, of the National Building Regulations, approved by Supreme Decree No. 011-2006-VIVIENDA.

        - Technical Standard E.090 - Metallic Structures, of the National Building Regulations, approved by Supreme Decree No. 011-2006-VIVIENDA.

### Mechanics

        - Technical Building Standard E.M. 040 - Gas Installations, of the National Building Regulations, approved by Supreme Decree No. 011-2006-VIVIENDA.

        - Technical Standard E.M. 030 - Ventilation installations, of the National Building Regulations, approved by Supreme Decree No. 011-2006-VIVIENDA.

        - Technical Standard E.M. 070 - Mechanical Transport, of the National Building Regulations, approved by Supreme Decree No. 011-2006-VIVIENDA.

### Telecommunications

        - Standard EM.020 - Communications Installations, of the National Building Regulations, approved by Supreme Decree No. 011-2006-VIVIENDA.

        - Peruvian Technical Standard NTP-ISO/IEC 17799:2007, Code of Best Practices for Information Security Management.

        - Peruvian Technical Standard NTP-ISO/IEC 27001:2014, Security Techniques. Information security management systems.

### Others for structured cabling:

        - National Electricity Code (Utilization), approved by Ministerial Resolution No. 175-2008 MEM/DM, dated 04.11.08

        - National Electricity Code (Supply), approved by Ministerial Resolution No. 214-2011- MEM-DM

        - IEC 60364 Standard on Earthing Systems (ECT)

        - The provisions of IEEE STD 142 – 1991 Standard Single Grounding

        - Technical Standard ANSI/TIA – 942

        - Technical Standard ANSI/TIA/EIA - 568B

        - Technical Standard EIA/TIA 568B.1

        - Technical Standard EIA/TIA 568B.2

        - Technical Standard EIA/TIA 568B.3

        - Technical Standard ANSI/TIA/EIA –569-A

        - Technical Standard ANSI/TIA/EIA –569-B

        - Technical Standard J-STD-607 A: Requirement for telecommunications grounding system installations and commercial buildings.

        - Technical Standard NFPA 75

        - Technical Standard NFPA 2001

        - Technical Standard NFPA 72

        - Technical Standard NFPA Standard 70, Article 250

        - Technical Standard NFPA Standard 101: Human security code.

### Electrical

        - National Electricity Code (Supply), approved by Ministerial Resolution No. 214–2011–MEM/DM National Electricity Code (Utilization), approved by Ministerial Resolution No. 175-2008 MEM/DM, of 11.04.08

        - Standard EM.110 Thermal and Lighting Comfort with Energy Efficiency of the National Building Regulations, approved by Supreme Decree No. 011-2006-VIVIENDA

        - Standard EM.080 - Stand-Alone Energy Installations, of the National Building Regulations, approved by Supreme Decree No. 011-2006-VIVIENDA

        - Standard EM.010. Interior Electrical Installations, of the National Building Regulations, approved by Supreme Decree No. 011-2006-VIVIENDA

        - Standard of procedures for the drafting of projects and execution of works in medium voltage systems in distribution concession areas, approved by Ministerial Resolution No. RD-018-2002–EM/DGE

        - Peruvian Technical Standard NTP-IEC 62305 (Volume 2 "Risk Assessment" and Volume 3 "Lightning Protection: Physical damage to structures and human risk)

        - Peruvian Technical Standard NTP 370.101-2 - Energy efficiency labeling for compact, circular, linear and similar fluorescent lamps for domestic use

        - Peruvian Technical Standard 370.053 ELECTRICAL SAFETY. Selection of electrical materials in indoor installations for grounding. Copper protection conductors

        - Peruvian Technical Standard 370.252 ELECTRICAL CONDUCTORS. Cables insulated with thermoplastic and thermosetting compound for voltages up to and including 450/750 V

        - Peruvian Technical Standard 370 264-7-2013 ELECTRICAL CONDUCTORS. Insulation, sheathing and covering materials for low voltage electrical power cables.

Part 7: Halogen-free thermoplastic compounds for insulation

        - Peruvian Technical Standard 62612 LED lamps with their own ballast for general lighting services with supply voltage > 50 V

        - Peruvian Technical Standard 60898-1:2004 Automatic circuit breakers for overcurrent protection in domestic and similar installations

### Sanitary

        - Health Directive No. 033-MINSA/DIGESA - V.01, Health Directive for the Determination of the Health Rating Index of Public and Private Swimming Pools for Collective Use, approved by Ministerial Resolution No. 484-2010/MINSA

        - Regulation on the Quality of Water for Human Consumption, approved by Supreme Decree No. 031-2010-SA

        - Technical Standard IS.O1O - Sanitary Installations for Buildings, of the National Building Regulations, approved by Supreme Decree No. 011-2006-VIVIENDA

        - Standard OS.030 - Storage of water for human consumption, of the National Building Regulations, approved by Supreme Decree No. 011-2006-VIVIENDA

        - Standard OS.050 - Water distribution networks for human consumption

        - Standard OS0.70 - Wastewater networks

        - Standard OS.100 - Basic considerations for the design of healthcare infrastructure

### Accessibility

        - Standard A.120 - Universal accessibility in buildings, of the National Building Regulations, approved by Supreme Decree No. 011-2006-VIVIENDA

        - Peruvian Technical Standard - NTP 873.001 - 2018, Signage for universal accessibility in buildings. Braille signage, tactile or podotactile paving and haptic plans

### Eco-efficiency

        - Law for the Promotion of the Efficient Use of Energy, approved by Law No. 27345

        - Regulations of the Law for the Promotion of the Efficient Use of Energy, approved by Supreme Decree No. 053-2007-EM

        - Comprehensive Solid Waste Management Act, approved by Legislative Decree No. 1278.

        - Regulations of Legislative Decree No. 1278, approved by Supreme Decree No. 014- 2017-MINAM

        - Technical Code for Sustainable Construction, approved by Supreme Decree No. 014 2021-VIVIENDA, which approves the Technical Code for Sustainable Construction and establishes that public sector entities must consider criteria of energy efficiency, water efficiency, indoor environmental quality, urban quality, waste management, eco-materials and infrastructure for sustainable mobility

        - Provisions for the Management of Eco-efficiency in Public Administration Bodies, approved by Supreme Decree No. 016-2021-MINAM

        - Special regime for the management and handling of waste electrical and electronic equipment, approved by Supreme Decree 009-2019-MINAM

        - Procedures for the Proper Management of State Movable Property Classified as Waste Electrical and Electronic Equipment (WEEE), approved by Resolution No. 027-2013/SBN for the management of WEEE

        - Peruvian Technical Standard NTP-ISO 14044:2013. Environmental Management. Life cycle analysis. Requirements and guidelines

        - Peruvian Technical Standard NTP-RT/ISO TR 14049:2014. Environmental Management. Life cycle analysis

        - Peruvian Technical Standard NTP-ISO 14045:2013. Environmental Management. Evaluation of the eco-efficiency of the product system. Principles, requirements and guidelines

        - Peruvian Technical Standard NTP-ISO 900.058:2019. Solid waste management

### Environmental Management

        - Environmental Management Regulations for the Tourism Sector, approved by Ministerial Resolution No. 235-2021 – MINCETUR

### Disaster Risk Management

        - "Disaster Risk Prevention and Reduction Plan of the Ministry of Foreign Trade and Tourism 2023", approved by Ministerial Resolution No. 283-2023 – MINCETUR

        - Manual for the Evaluation of Risks Originating from Natural Phenomena – 2nd Version, for Resolution No. 112-2014-CENEPRED

### Technical Standards on BIM

        - Peruvian Technical Standard NTP-ISO 19650-1:2021 - Organization and digitization of information on buildings and civil engineering works, including building information modeling (BIM) - Information management through building information modeling

        - Document Nomenclature Manual for using BIM, produced by the BuldingSMART Association (formerly known as the International Alliance for Interoperability)

## INTERNATIONAL REGULATORY REFERENCES

        - TECHNICAL REGULATIONS

### Technical Standards for Cable Transport Installations

            - European Regulation (EU) 2016/424 of March 9, 2016, which regulates the requirements that must be met for the design, construction, commissioning and operation of passenger transport facilities.

            - Harmonized Standards on Cableway Installations, developed in support of Regulation (EU) 2016/424 of the European Parliament and of the Council:

              - EN 1709 Safety requirements for cableway installations designed to carry persons. Examination prior to commissioning, maintenance and operational checks.

              - EN 1908 Safety requirements for cableway installations designed to carry persons. Tensioning devices.

              - EN 1909 Safety requirements for cableway installations designed to carry persons. Recovery and evacuation.

              - EN 12397 Safety requirements for cableway installations designed to carry persons. Operation.

              - EN 12929-1 Safety requirements for cableway installations designed to carry persons. General requirements. Part 1: Requirements applicable to all installations.

              - EN 12929-2 Safety requirements for cableway installations designed to carry persons. General requirements. Part 2: Additional requirements for bicable aerial ropeways without carrier brakes.

              - EN 12930 Safety requirements for cableway installations designed to carry persons. Calculations.

              - EN 13107 Safety requirements for cableway installations designed to carry persons. Civil Work.

              - EN 13223 Safety requirements for cableway installations designed to carry persons. Drives and other mechanical devices.

              - EN 13243 Safety requirements for cableway installations designed to carry persons. Electrical devices other than the drive.

              - EN 13796-1 Safety requirements for cableway installations designed to carry persons. Vehicles. Part 1: Grippers, trolleys, on-board brakes, cabins, chairs, cars, maintenance vehicles, tows.

              - EN 13796-2 Safety requirements for cableway installations designed to carry persons. Vehicles. Part 2: Test of the resistance to slippage of the clamps.

              - EN 13796-3 Safety requirements for cableway installations designed to carry persons. Vehicles. Part 3: Fatigue tests.

## GENERAL INFORMATION

The EDI will be developed in compliance with the Applicable Laws and Provisions and in accordance with the provisions of Annex No. 03 of the Concession Contract, and must include the contents described in this Annex.

An EDI will be carried out for each of the following project components:

- San Juan – Maizal cable car and Maizal – Abra cable car. Including the studies and designs for the cable car stations: San Juan Departure Station, Maizal Intermediate Station and Abra Arrival Station.

- Kiuñalla – Unión cable car. Including the studies and designs for the cable car stations: Departure station Kiuñalla and arrival station Unión.

All documents produced as part of the EDI should be easy to understand, clear and precise, avoiding errors of interpretation during the construction process.

Each time the deliverable is submitted to the Construction Supervisor as part of the drafting of the EDI, it must be signed by the participating specialists according to their expertise and the corresponding project manager on behalf of the CONCESSIONAIRE.

The CONCESSIONAIRE shall be responsible for the information contained in the EDI.

## BIM METHODOLOGY

The Project will be developed using a Building Information Modeling - BIM work methodology in accordance with the scope indicated in this section. For the development of the BIM methodology, the CONCESSIONAIRE must consider compliance with the scopes, milestones, responsibilities and requirements described in the Contract and its Annexes. The BIM framework will be the working format for all members of the project: GRANTOR, CONCESSIONAIRE and Supervisor.

### Scope of the BIM Methodology for the development of the Project

The BIM methodology will be implemented throughout the project, including the design and development of the EDI, the construction of the works and the operation and maintenance period.

### General conditions

      - The BIM methodology will not replace any of the aspects provided for communication between the Parties or the delivery and review of documents and information provided for in the Concession Contract and its Annexes. Notifications, communications and responses between the Parties must be presented in accordance with the provisions of the Concession Contract, including the delivery of printed and electronic EDI, as indicated in Section 6 of this Section.

      - Access to the information that forms part of the BIM methodology will be granted to specific personnel designated by the GRANTOR and the Supervisor, as appropriate, allowing them to make comments or observations to the EDI, and other documents of obligatory delivery by the CONCESSIONAIRE, without such observations being official or binding on the CONCESSIONAIRE. The observations made by the GRANTOR and the Supervisor will be formally presented in writing and in accordance with the review processes indicated in Chapter VI of the Concession Contract. The GRANTOR and the Supervisor shall notify the CONCESSIONAIRE of the personnel assigned as of the Closing Date and before the term for the delivery of the BIM Execution Plan.

      - The CONCESSIONAIRE shall determine at its own expense and risk the platforms and software that will form part of the BIM methodology, taking as a reference what is indicated in the Appendix to this Annex.

      - The implementation of the BIM methodology will not involve training actions or the provision of computer equipment and software by the CONCESSIONAIRE, the GRANTOR or the Supervisor.

      - The BIM methodology implemented by the CONCESSIONAIRE must be aligned with the national and international BIM standards in force at the time of implementation, in accordance with the Applicable Laws and Provisions.

      - The comments, opinions, recommendations or requirements issued by the Grantor or the Supervisor within the Common Data Environment, as well as in collaborative work meetings, shall not imply a transfer of risks in the design, construction, modification of term or costs to the Grantor, and it shall be the responsibility of the Concessionaire to verify such comments and address them as it deems appropriate, at its own risk.

      - For the implementation of the BIM methodology, the Concessionaire must comply with the criteria approved in the Applicable Laws and Provisions, as well as Appendix 7 of this Annex.

### Scope of BIM methodology during design development

The CONCESSIONAIRE will develop the designs for the Stations using a virtual 3D model, implementing the necessary and sufficient information for the development of the Works, facilitating their verification and monitoring by the GRANTOR and the Supervisor. As a reference, the minimum level of detail of the model will be LOD 350, without the CONCESSIONAIRE being limited to implementing higher levels of detail, when it deems it appropriate.

The CONCESSIONAIRE shall issue the EDI plans and documents in stages, in accordance with the provisions of Section 5 of this Appendix, based on the development of the virtual model.

The CONCESSIONAIRE will implement a Common Data Environment in which it will integrate the Project information as part of the technical file for all the Project components; without being limited to the following:

      - The EDI documents in stages, as referred to in Section 5 of this Appendix, as they have been submitted, observed or declared compliant by the GRANTOR and the Supervisor.

      - Studies carried out at the expense, cost and risk of the CONCESSIONAIRE, not required as part of the Contract.

      - Applicable Laws and Provisions to the Project.

      - Licenses and permits applicable to the Project and their compliance status (requests and responses) during its management.

      - The documents and deliverables foreseen for the provision of the Mandatory Services, in accordance with Chapters VI and VII of the Contract; including the Facilities Operation Manual, Equipment and Furniture Lists, among others.

      - The documents of the Project, as they have been presented, observed or declared in accordance by the GRANTOR and the Supervisor.

      - The Work Plan for each component of the Project, not observed by the GRANTOR and the Supervisor.

Through the Common Data Environment, access to the Project information will be provided to the personnel of the GRANTOR and the Supervisor, allowing them to make opinions, observations or recommendations. It will be under the discretion and responsibility of the CONCESSIONAIRE to address the recommendations issued by the GRANTOR and the Supervisor within the Common Data Environment of the BIM methodology, as they will not replace the reasons for the observations that are formally presented by the GRANTOR and the Supervisor in the delivery and revision processes referred to in Chapters VI and VII of the Contract.

Permission to access information will be proposed by the CONCESSIONAIRE through the BIM Execution Plan that they draw up and present to the GRANTOR.

### Scope of BIM methodology during the construction of the Works

Through the Common Data Environment, the CONCESSIONAIRE will use as a reference the virtual model in which the EDI compliance was generated by the GRANTOR, in order to monitor the construction of the Project components, both by the GRANTOR and the Supervisor.

In case modifications to the design arise during the construction of the Project components and such modifications have the compliance of the GRANTOR and the Construction Supervisor, the virtual model, as well as the respective EDI, must be updated by the CONCESSIONAIRE.

During the development of the construction of the Project components, the CONCESSIONAIRE will integrate the following information into the Common Data Environment for each component, without being limited to the following:

      - Delivery Certificate of the Concession Assets, referring to the areas of placement of the project components.

      - Construction Initiation Minutes for Each Component.

      - The version of the EDI for each component declared compliant by the GRANTOR.

      - Licenses and permits granted and necessary for the development of the Works, for each component. They will include renewals of those that expire during the respective Pre-operational Period.

      - Copy of the construction log corresponding to each component.

      - Work Progress Reports for Each Component, as Observed and in Compliance with the Supervisor’s Approval.

      - Work Execution Schedule by Component, in Compliance with the GRANTOR and the Supervisor’s Approval.

      - Results of laboratory and quality tests carried out during the development of the Works.

      - Copy of the Supervisor's reports.

During the Start-up processes, the following data will be included in the Common Data Environment by component:

- Copy of the Facilities Operations Manual, declared compliant by the GRANTOR and the Supervisor.

- Copy of the Equipment Lists by component, declared compliant by the GRANTOR and the Supervisor.

- Notification of observations per component resulting from verification visits as part of the Start-up processes.

- Start-up Certificates for each component, issued by the GRANTOR.

- List of Non-Substantial Observations by component, which are pending correction.

The virtual model should allow the development of the Works to be monitored by component for the GRANTOR and the Supervisor, identifying the progress of construction, the implementation of interference matrices, among others proposed by the CONCESSIONAIRE to monitor the development of the Works and which should be proposed in the BIM Execution Plan.

### 4.1.3 Content of the BIM Execution Plan

The CONCESSIONAIRE shall submit to the GRANTOR the BIM Execution Plan for the development of the Project, which shall include, at a minimum, the description and scope of:

- Description of the use of BIM methodology for the Project, in accordance with the scope foreseen in the Contract for the development of the designs and the construction of the Works.

- The level of information or development of the BIM elements or BIM model, in accordance with the levels of detail indicated in Appendix 7 of this Annex.

- Definition of the Common Data Environment,

- He will point out the BIM methodology participants among the staff of the CONCESSIONAIRE, the GRANTOR and the Supervisor.

- The definition of the roles, access permissions and scopes for each of the actors, with respect to the BIM model and the information contained in the Common Data Environment; complying, as a minimum, with what is referred to in the Contract and its Annexes.

- Description of the information management methodology in BIM methodology.

- Description of the procedures for the implementation of collaborative meetings between the GRANTOR, the CONCESSIONAIRE and the Supervisor, during the development of the EDI (when applicable).

## DRAFTING AND CONTENT OF THE FINAL ENGINEERING STUDY

      - STAGE I - PRELIMINARY WORK AND FIELD SURVEY

The CONCESSIONAIRE shall present the preliminary or basic studies, taking into account the conditions of the land and the provisions of the Applicable Laws and Provisions, including but not limited to:

- Land survey of the land and its surroundings, according to Appendix 3 of this Annex.

- Study of Soil Mechanics, as established in Appendix 4 of this Annex.

It shall be the CONCESSIONAIRE's responsibility to carry out additional studies to those indicated in this section, in order to determine the design conditions that should be included for the development of the designs and the respective EDI for the stations and cable cars.

It shall be the CONCESSIONAIRE's responsibility to carry out additional studies to those indicated in this section in order to determine the design parameters of each EDI and the pre-existing conditions in the Areas where the Project components will be located, which should be considered for the development of the EDI and the Works. This will include the performance of the technical studies necessary to identify possible interference in the different areas where the project components will be located, including hydrological and interference studies, among others.

It shall be the responsibility of the CONCESSIONAIRE, at its own expense and risk, to remove any interference that may arise in the Areas where the components of the Project will be located, including any actions deemed pertinent and necessary to enable the development of the Works to meet the requirements of the Contract; including, but not limited to:

- The execution of works linked to the elimination of interference, whatever this may be, provided that they are necessary for the development of the Works.

- Any relevant procedures before the Government Authorities.

The CONCESSIONAIRE may not invoke the decision not to carry out complementary technical studies as a basis for modifying the terms and amounts of the Contract, in the event of previously unidentified interferences in the Areas where the components of the Project will be located, which must be corrected by the CONCESSIONAIRE in order to carry out the Works.

## STAGE II - PRELIMINARY DESIGN

### Study of the Trajectory of Cable Cars 7

With the results obtained from the previous work and studies carried out in Stage I, the CONCESSIONAIRE will design the final layout of the cable cars based on the conditions of the terrain, the requirements detailed in Annex No. 03 and the European Regulations for the design of Cable Transport Installations.

It shall use as primary information the preliminary or basic site studies, such as the Soil Mechanics Study and the Land Survey, and it shall define the number of pylons, the lots and areas required for the placement of the stations and pylons, and the areas necessary to accommodate the electromechanical components of the cable cars within the stations.

7 The Cable Car Route Study is not part of the EDI for the Central Stations.

This information will serve as the initial input for both the architectural and structural preliminary design. The cable car route study shall contain, as a minimum, the following documents:

- General Descriptive Report of the Cable Car Route, which must include the

geometry and length of the cable car route, the location of the stations and pylons, as well as their respective elevations, a description of the technology to be used, and the main electromechanical components that comprise it.

- General Plan of the Route, which must include the planimetric survey of a 20-meter strip (10 meters on each side of the route axis), as well as the location of the stations and pylons at a scale of 1:5000, 1:7500, or 1:10000.

- Longitudinal Profile of the Route, which must include the location of the stations and pylons. Additionally, it must show two (02) additional longitudinal profiles at a distance of 7.50 m on either side of the axis of the route at a scale of 1:5000, 1:7500 or 1:10000.

- General Distribution Plan of the Stations (with the location and areas required for the installation of electromechanical components) on a 1:100 scale.

- Sections and Elevations on a 1:100 scale (at least two sections per station), with section locations at points where important electromechanical components, floor level changes, etc., are situated.

### Architecture Preliminary Design

Based on the results obtained from the preliminary work and studies carried out in Stage I, as well as the final alignment of the Cable Cars, the CONCESSIONAIRE shall develop the Architectural Preliminary Design based on the spaces detailed in Annex No. 03 and in the Applicable Laws and Provisions.

The design of buildings and outdoor spaces must consider and provide for: architectural landscape conditions, adequate bioclimatic conditions, structural and functional relevance, characteristics of access to basic services and others that allow for the best habitability solution for the planned buildings. All the proposed systems must be feasible to build, show technological validity and be sustainable over time.

Volumetric relationships, height of buildings, elevations and façades, functional relationships, circulation and flows of users, materiality, internal and external security, among others, must be evaluated and proposed by the CONCESSIONAIRE in compliance with the Applicable Laws and Provisions. The siting proposal, spatial and architectural proposal, as well as the materiality proposal, must correspond to the bioclimatic zone in which the land is located.

The Architectural Preliminary Design shall include the general geometric pre-dimensioning of the structure, representing the geometries of the structural elements (walls, columns, slabs, stairs, etc.) based on the proposed pre-dimensioning.

The architectural preliminary design will be developed using at least the BIM – AR LOD 350 model. It will contain, as a minimum, the following documents:

- Location map with parameters according to MRI format No. 305-2017- VIVIENDA, and sections of adjacent streets, along with a regulatory chart indicating urban planning parameters. It will include a Table of areas, information on areas of urban structure, as established in the Applicable Laws and Provisions on urban planning and building, in accordance with Section 2 of this section.

- General Descriptive Report of the Preliminary Architectural Project, which must consider the analysis of external conditions that influence the implementation of the architectural infrastructure.

- Analysis of pedestrian and vehicular accessibility to finally conclude with project strategies such as:

  - Differentiated entrances

  - Building Heights

  - Horizontal and vertical circulation

  - Strategies for the location of administrative areas

  - Strategies for the location of areas for tourist use

  - Strategies for the location of specific equipment for the correct functioning of cable cars, etc.

- Table of areas in the preliminary project (Final Architectural Program).

- General Distribution Plan (architectural plans of all floors) at a scale of 1:100, as appropriate, all rooms should indicate their respective areas, and a table of openings.

- Sections and Elevations on a 1:100 scale (minimum 02 longitudinal sections and 02 transversal cuts and the corresponding elevations). The layout of the sections and elevations to be presented must meet the minimum requirements indicated above; in addition, they must be carried out for complex areas, where there are changes in level, stairs, SSHH, unevenness topography, etc.

- Plan with the verification of measurements (overlapping of plans) between the registered perimeter and the topographic perimeter of the property, including the UTM coordinates and the orientation, duly annotated with comments on whether or not there are discrepancies between the perimeter measurements or boundaries. It should include the finished floor levels (FFL), elevations and axes.

### Structures Preliminary Project

Structural preliminary design must determine the initial design of all structural elements included in the new works, both for the stations and for the external works (tower foundations, perimeter fences, retaining walls, entrance gates, cistern, among others).

The main information to be used should be the preliminary or basic studies of the terrain, such as the Soil Mechanics Study and the Land Survey; and the most suitable foundation alternative to be used should be defined, determining the foundation depths, dimensions, materiality, among others.

Based on the results obtained in the Structural Evaluation stage, safety measures will be considered, shoring up adjacent foundations if necessary, shoring up work areas, necessary recommendations indicating the construction process to be followed to guarantee the stability of the structures.

The preliminary structural design will be developed at least in Mod BIM – AR LOD 350 and will contain the following documents, as a minimum:

- General descriptive report of the preliminary structural design, which must include the preliminary dimensioning of all the structural elements, foundations, columns, shear and masonry walls, beams, solid and lightened slabs, retaining walls, perimeter fences, doorways, cisterns, among other elements.

- General Distribution Plan (all floors and roof) at a scale of 1:100.

- Sections and Elevations on a 1:100 scale (minimum of 02 sections per block and all the facades of each block), the location of the sections will be where there are changes in floor level, etc.

The preliminary design of structures must be in line with what is established in the Applicable Laws and Provisions on earthquake-resistant design, including the design of symmetrical structures in terms of both plan and height. The proposed structure must not present any structural irregularity.

The checks for structural irregularities in Altura are indicated in Table 8 of the Standard

E.030 and the verifications of irregularities in the Plant are indicated in Table 9 of Standard E.030, it is important to point out that the Structures Preliminary Design is consistent with the Architecture Preliminary Design, at this stage both specialties must give their approval to the preliminary approach.

### Study of the layout of pedestrian pathways

The CONCESSIONAIRE must present a proposal for the layout of the footpaths that will connect the stations of the cable transport system (arrival stations) with the existing bridle paths, based on the conditions of the terrain and the requirements established in Annex No. 07. They must identify danger zones and propose measures to avoid or reduce risks, as well as the areas where they will implement drainage works, protection works, rest areas, viewpoints, signage, etc. For this purpose, primary information obtained from preliminary or basic site studies, such as the Soil Mechanics Study and the Land Survey, among others, must be used.

The study of the layout of pedestrian paths shall contain, as a minimum, the following documents:

- General descriptive report of the route, which should include the geometry and length of the route, the location of rest areas, signage, drainage works, containment works, protection works or any others that may be necessary. As well as their respective progressions and elevations.

- General Plan of the Route, which must include the planimetric survey of a 10-meter strip (5 meters on each side of the route axis) at a scale of 1:5000, 1:7500, or 1:10000.

- Longitudinal profile of the Route at a scale of 1:5000, 1:7500 or 1:10000.

- General Distribution Plan (with the location and areas required for road construction).

## STAGE III: FINAL ENGINEERING STUDY (EDI)

The CONCESSIONAIRE will develop the different specialties that make up the EDI for construction purposes.

The EDI includes the presentation of the development of the integral project of the specialties of Architecture, Safety and Disaster Evacuation, Structures, Sanitary Installations, Communications, Electrical and/or Mechanical Installations and Special Installations (gas, voice, structured cabling or other corresponding installations) duly compatible with each other, including the construction plans, descriptive reports, calculation reports.

The project will be developed at least in Mod BIM - AR LOD 350 and higher, as required for the level of detail of each specialty, which will be determined by the CONCESSIONAIRE under its responsibility.

The EDI will consist of the following specialties:

## ELECTROMECHANICAL STUDY8

This includes the calculations, design and technical specifications for the electromechanical installations of the cable car for the route defined in the route study, in accordance with the applicable international regulations for cable transport installations. In general, this study should be provided by the electromechanical manufacturer or supplier, and should include the integral design of all its components, such as:

- Cables and cable clamps

- Motor equipment and brakes

- Mechanical devices:

8 The Electromechanical Study is not part of the EDI of the Central Stations.

  - Cable tension devices

  - Mechanical devices in stations

  - Mechanical devices in line supports

- Vehicles:

  - Booths, chairs and transportation devices

  - Hooking elements

  - Cars

  - Cable attachment

- Electrotechnical devices:

  - Command, control and security devices

  - Communication and information facilities

  - Lightning protection devices

- Life-saving devices:

  - Fixed life-saving appliances

  - Mobile life-saving devices

Likewise, it includes the design of the pylons, station equipment support structures, control systems, hydraulic or air systems, information systems, communications and other parts, mechanisms or elements of any kind necessary for the proper functioning of the cable car.

The Electromechanical Study should contain at least:

- Descriptive report, including a description of the technology, the number of stations, route length, cable diameter, design capacity, estimated demand, cabin capacity, maximum system speed, number of cabins, number of pylons, travel time in each direction, system supply, frequency of travel, among other things.

- Calculation Report, including the justification calculations for the technical characteristics of the cable car, pylons, support structures, and other necessary elements for the proper operation of the cable car.

- Manufacturer's technical specifications

- Assembly Plan

- Operation and Maintenance Plan

- Operation Plan or Facility Operation Plan – Plans.

  - Specific plans of the foundations, structures or support blocks for the cable car's electromechanical components at a suitable scale of 1:25, 1:50, 1:20, 1:10 or whatever is required

  - General Plan of the Route, which must include the planimetric survey of a 20-meter strip (10 meters on each side of the route axis) as well as the location of stations and pylons at a scale of 1:5000, 1:7500 or 1:10000

  - Longitudinal Profile Plan of the Route, including the location of stations and pylons. Additionally, it must show two (02) additional longitudinal profiles at a distance of 7.50 m on either side of the axis of the route at a scale of 1:5000, 1:7500 or 1:10000.

  - General Plan of the Distribution of the Stations (with the distribution of all the components of the cable car) at a scale of 1:100

## ARCHITECTURE SPECIALTY

It includes the definition at the construction level of the approved preliminary project and includes all the documents necessary for its definition and construction, as well as (i) the description of the project and areas, technical specifications, plans, construction finishes, compatibility of specialties, (ii) the thermal analysis of the envelope of each building and the calculation of transmittances of the corresponding construction elements, and (iii) a solar analysis with the insolation, shadow generation and sunlight incidence of each building.

The development of the architecture EDI must comply with the Applicable Laws and Provisions. The architecture EDI will contain the following:

- Descriptive Report

  - Area Schedule

  - Sanitary ware calculation

  - Calculation of parking spaces

  - Calculation of the solid waste quarter

  - Dimensioning of circulation widths

  - Comparative table of project goals, EDI and Regulations

  - Thermal analysis of buildings

  - Analysis of solar isolation

  - Analysis of the occupancy rate by room according to the final architectural program considered by the Concessionaire

  - Finishes Schedule

  - Proposing technical solutions for level changes

  - Analysis of external factors influencing the implementation of the architectural infrastructure

  - Analysis of pedestrian and vehicular accessibility

  - Analysis of project strategies

  - Differentiated entrances

  - Building Heights

  - Horizontal and vertical circulation

  - Strategies for the location of administrative areas

  - Strategies for the location of areas for tourist use

  - Strategies for the location of specific equipment for the correct functioning of cable cars, etc.

  - Analysis of areas of expansion for future consideration (when feasible)

- Technical specifications

- BIM modeling

- Plans

  - Plan of Location and Position in accordance with current regulations at a scale of 1:500, 1:10,000, as appropriate.

  - General Distribution Plan at 1:100 Scale, Indicating Start of Layout, BM, Dimensions, Levels, Reference Plans; Must Include Axes, Level Dimensions, Orientation, Sections, and Elevations, Specification of Construction Details (at Least Two (2) Longitudinal Sections and Two (2) Transversal Sections). If deemed necessary, the CONCESSIONAIRE may agree with the SUPERVISOR to increase the number of sections and elevations. Plan of axes and terraces on a 1:100 scale, indicating the start of the layout, the BM and the axes of slabs or columns, retaining walls, dry stone walls, land fill, axes and elevations, etc.

  - Plan of exterior works (patios, pavements, sports areas, etc.) on a scale of 1:100, indicating name, level, finishes, coverings, furniture, vegetation, specification of construction details, etc. The proposed vegetation should take into account the particular conditions of the area.

  - Construction detail plans (scale 1:25, 1:20, 1:10, etc.) must contain at least the construction details of doors, windows, glass, metal and woodwork, floors, ceilings and roofing, finishings, bathrooms, dressing rooms, stairs, ramps, ceilings, fixed furniture, exterior elements ( planters, benches, curbs, walls, etc.), rainwater drainage elements (gutters, uprights, ditches, etc.) and any detail that allows for an understanding of the characteristics of the construction elements that will be considered in the work.

## SAFETY AND DISASTER EVACUATION SPECIALTY

This includes the design of evacuation routes, capacity calculations, signage and safety elements indicating the location of furniture and equipment, as well as all the elements indicated in this section.

The design includes the signage plan, evacuation plan (indicating the location of furniture and equipment) and security plan of the architectural project, in accordance with the Applicable Laws and Provisions on security in structures and buildings, indicating the calculation of maximum evacuation demand and others. Evacuation and safety plans will be drawn up to a scale of 1:50, 1:25, 1:10, 1:5, as required, and will bear the designation 'EVS', identifying routes, flows, room capacity and safety zones. Evacuation routes will be presented with lines

continuous and in color, using letters or numbers that will indicate the capacity per route and the total capacity of the station premises. Likewise, the deliverable should consider the evacuation calculation for all routes.

The Security and Disaster Evacuation EDI will contain the following:

- Descriptive report. - This will include the development of: stairs, evacuation routes, security systems, signage, fire control and protection systems, technical specifications; as well as the characteristics of security equipment: Escape doors, fire barriers, fire seals, signage, emergency lighting, fire extinguishers, etc., with the respective calculations according to the Applicable Laws and Provisions, including as part of the design, the calculation of the number of safety equipment, capacity calculation and  evacuation time specified for each escape route, which must be presented in each of the representative plans .

- Safety and Evacuation Plan. - This will include the development and content required to obtain civil defense authorizations from the corresponding municipality, in accordance with Applicable Laws and Provisions.

- Technical specifications.

- BIM modeling.

- Plans.

- Evacuation plans for each floor. - these should include: respective furniture, single line diagrams, as well as Certificates of grounding and operability of fire extinguishers and Consider safety plan (signage, fire extinguishers, etc.)

- General evacuation plan.

- Furniture plans.

- Single-line diagrams.

- Safety plans - signage, manual alarm stations, location of fire extinguishers, fire cabinets, sandboxes, lighting and sound systems.

As part of the technical file for the Project, to be submitted before the term for the completion of the Start-up, the Concessionaire shall submit grounding Certificates and operability of fire extinguishers.

## STRUCTURAL SPECIALTY

It includes the design of all structural elements for the new works, both for the stations and exterior works (foundation of towers, perimeter fences, retaining walls, entrance gates, cistern, etc.), using as basic information the Soil Mechanics Study, the preliminary design, the topographic survey, and the risk assessment study. It must define the most suitable foundation alternative to be used, determining the foundation depths of the infrastructures, the technical specifications of the materials, and the need for additives, if required. Likewise, it shall specify the treatment to be applied to the subgrade of pedestrian and vehicular access pavements, in accordance with the requirements of the Soil Study. Likewise, regardless of the type of material considered in the structural solution, it must comply with the provisions of the Applicable Laws and Provisions on concrete design and metal structures, as established in Numeral 2.1 of Appendix 1 of this annex.

Safety items, shoring of work areas, and necessary recommendations shall be considered, specifying the construction process to be followed to ensure the stability of the structures.

For the structural solution, a three-dimensional structural model must be made using specialized software for the dynamic modal spectral analysis of buildings. The maximum stresses will be determined by gravity and seismic analysis that will be present in the structure in accordance with current regulations. As a result of this analysis, displacements will be determined, which must be less than the thresholds allowed by the Applicable Laws and Provisions on earthquake-resistant design.

The Structures EDI will contain the following:

- Descriptive Report.

- Calculation and modeling report. The calculation report must justify the structural calculations through structural analysis and the structural design of the structural elements (footing, column, beam, plate, slab, etc.).

- Technical specifications.

- BIM modeling.

- Plans.

  - Specific plans of the foundations, columns and slabs, to a convenient scale of 1:5, 1:50, 1:20, 1:10 or whatever is required of all the buildings that make up the project, including the cable car support towers, in accordance with current regulations.

  - Specific plans of retaining walls, cisterns, footings and stairs with the necessary details to allow a clear understanding of the scope of their construction, at a convenient scale of 1:25, 1:50, of all the buildings that make up the project, including the support towers for the cable cars, in accordance with current regulations. For retaining walls with significant slopes, the submission of plans must include both plan and longitudinal profile views, showing the natural and projected ground levels, slopes, distances, and cross-sections every 10 meters, displaying all elements within each section.

  - Specific plans of floor slabs, ceilings and beams with the necessary details, at a convenient scale of 1:25, 1:50, of all the buildings that make up the project, in accordance with current regulations.

  - Specific plans of the perimeter fence (if planned) showing the layout in plan and elevation with the interior and exterior floor levels. For fences with significant slopes, the submission of plans must include both plan and longitudinal profile views, showing the natural and projected ground levels, slopes, distances, and cross-sections every 10 meters, displaying all elements within each section.

  - Specific plans of entrance covers (if planned) and external elements such as patios, pavements, ramps, roofs, gutters, etc. showing the development in plan, elevation and the necessary ones to determine the scope of the construction.

  - Specific plans of elevators and special equipment enclosures which must be consistent with the spaces required by the proposed equipment, attach the corresponding technical data sheets.

  - General plan with details of minimum distances for joints, anchorages, overlaps and others.

## ELECTRICAL INSTALLATIONS SPECIALTY

          - LOW-VOLTAGE ELECTRICAL INSTALLATIONS

Includes the design of the low voltage electrical system, including the calculation of maximum demand, design of the feeder network, branch circuits, lighting study by environment, sockets, surge protection system, protection against atmospheric discharges, earthing system and calculation of protection systems.

For the EDI of Low Voltage Electrical Installations, the following networks will be developed:

            - Lighting: includes the calculation of light for interior spaces.

            - Network of strength.

            - Grounding network.

            - Outdoor lighting network, including light calculation.

            - Distribution network of general conductors and feeders.

            - Protection network (lightning rod).

The EDI for Low Voltage Electrical Installations will contain the following:

- Descriptive Report: It should contain the location of the project, background, objectives, regulatory framework, scope of the project, characteristics of each of the system's components, tests to be carried out, list of plans. The descriptive report must include a description of the eco-efficiency measures that the Concessionaire develops in the solution to the EDIs.

- Calculation Report

  - Calculation of maximum demand

  - Lighting calculation by environment

  - Calculation of feeders, branch circuits

  - Calculation of protection against overvoltage and atmospheric discharges

  - Calculation of the earthing system by component

  - Short circuit calculation

  - Protection coordination calculation

- Technical specifications

- Measurements

- BIM modeling

- Plans

1:200 Scale General Plans of Single-Line Diagrams, General Schematics, and Panel Distribution

1:50 Scale Distribution Plans

1:25, 1:20, 1:10, 1:5 Scale Detail Plans ET Isometric Installation Plan ET

## MEDIUM VOLTAGE ELECTRICAL INSTALLATIONS

The design of the medium voltage electrical system includes: electrical substation, transformer, link circuit, surge protection system, protection against atmospheric discharges and earthing system.

The following networks will be developed in this design:

            - Grounding system network

            - Distribution network of general conductors and feeders

            - Protection network (lightning rods, overvoltage)

            - Medium Voltage Electrical Technical Specifications ET

            - Connection, substation and transformation network

The EDI for Medium Voltage Electrical Installations will contain the following:

- Descriptive Report

- Calculation Report

- Technical specifications of materials and assembly

- BIM modeling.

- Plans

  - 1:200 or 1:500 Scale General Connection Network Plan

  - 1:50 Scale Distribution Plans

  - 1:25, 1:20, 1:10 Scale Detail Plans ET, as applicable

  - Single-line diagrams and general schemes

## MECHANICAL INSTALLATIONS SPECIALTY

Includes the design of the networks to meet the needs of the mechanical system used in the stations; and to carry out the integral design of the following systems:

- Lift system for disabled people (if necessary)

- Gas installation systems, such as LPG or natural gas (if necessary)

- Mechanical ventilation system (if necessary)

- Air-conditioning systems (if necessary)

The Mechanical Installations EDI will contain the following:

- Descriptive Report

- Calculation Report

- Calculation of gas pipeline network distribution.

- Technical specifications

- BIM modeling

- Plans

  - 1:200 Scale General Network Plans

  - 1:50 Scale Distribution Plans ET (Where mechanical installation is required)

  - 1:25, 1:20, 1:10 Scale Detail Plans ET

## SANITARY INSTALLATIONS SPECIALTY

The sanitary installations specialty considers the calculation of the endowment, the calculation of the storage (volume of cistern and elevated tank), the calculation of the diameter of the meter, the calculation of the diameter of the connection, the calculation of the maximum simultaneous demand and pumping flow, the hydraulic calculation of the water network up to the most unfavorable point (pressures, speeds, diameters, etc.), the calculation of the total dynamic height, and the power of the pump, calculation for the design of the hot water network and capacity of the thermal bath or heaters, calculation for the design of the drainage network, calculation for the design of the rainwater drainage system, and the calculation for the fire protection system network, according to the use and requirements of each building and in accordance with the Applicable Laws and Provisions.

It includes the following systems:

- Supply and home connection (calculation of home connection granted by water and sanitation administration company)

- Supply and installation of water supply network (from the public network to the infrastructure storage system)

- Water supply system (cistern and/or elevated tank): Water supply system (cistern and/or elevated tank)

- Hot water networks. Hot water networks will be developed in accordance with the requirements of each building

- Fire-fighting water system

- Drainage and ventilation system

- Rainwater drainage system (floor gutters and overhead gutters)

- Irrigation water system, which will be defined by the Concessionaire taking into account the location of each building and the Applicable Laws and Provisions

The EDI for Sanitary Installations will contain the following:

- Descriptive Report, including a description of eco-efficiency measures

- Calculation Report

- Technical specifications

- BIM modeling

- Plans

  - 1:200 Scale General Network Plans

  - 1:50 Scale Distribution Plans

  - 1:25, 1:20, 1:10 Scale Detail Plans ET

## TELECOMMUNICATIONS INSTALLATIONS SPECIALTY

It includes the design and calculation of the following networks with the aim of providing service to the different spaces:

- Sound system

- Fixed telephony system

- Video surveillance system

- General fire detection system, by building (identifying the specific environment)

- Structured cabling system

- Grounding system

The Telecommunications Installations EDI will contain the following:

- Descriptive Report

- Calculation Report

- Technical specifications

- BIM modeling

- Plans

  - 1:200 Scale General Network Plans

  - 1:50 Scale Distribution Plans

  - 1:25, 1:20, 1:10 Scale Detail Plans ET

## DESIGN OF PEDESTRIAN PATHWAYS

This includes the final design of the pedestrian walkways and complementary works such as:

- Drainage works: gutters, cross drains, ditches.

- Protective works: retaining walls, slope lining, railings, walkways.

- Signage.

- Rest areas, viewpoints.

- Other complementary works as necessary.

In addition to the plans presented in the previous stage in the Study of the layout of pedestrian paths, the EDI should include at least the following:

- Descriptive Report

- Technical specifications

- Plans

  - 1:10, 1:50, or 1:100 Scale Drainage Works Detail Plans

  - 1:10, 1:50, or 1:100 Scale Protection Works Detail Plan

  - 1:10, 1:50, or 1:100 Scale Rest Areas Detail Plan

  - 1:100 Scale Sections and Elevations Minimum 01 cut every 50 meters or in areas where protective works, rest areas, drastic changes in slope, etc. are planned.

## MEASUREMENTS AND BUDGET

The measurements will be prepared by specialty based on the specialties and technical specifications. It must be in line with the Applicable Laws and Provisions on building measurements.

The measurements will be prepared by specialty based on the specialties and technical specifications. It will contain the general budget and by specialties, unit price analysis, list of materials, Consolidated Budget, Budget Summary, Breakdown of Overhead Costs.

The EDI for measurements and budget shall include the following:

- Summary of Measurements by Specialty

- Measurements support

- List of furniture

- General and consolidated budget

- Analysis of unit costs

- List of inputs

  - Consolidated budget

  - Procurement schedule

  - Construction Schedule and Valuated Equipment

  - PERT – CPM diagram

  - GANTT diagram

  - Disaggregated from General expenses

## LICENSES, PERMITS, AUTHORIZATIONS AND FEASIBILITIES

        - ENVIRONMENTAL ASPECTS

The obtaining of licenses, permits and authorizations in environmental matters required by the Applicable Laws and Provisions will be the responsibility of the CONCESSIONAIRE. This includes environmental certifications, waste management plans, remediation plans and other Environmental Management Instruments, as appropriate.

## CERTIFICATE OF ABSENCE OF ARCHAEOLOGICAL REMAINS

Obtaining the Certificate of Absence of Archaeological Remains will be the responsibility of the CONCESSIONAIRE, in compliance with the Applicable Laws and Provisions and shall include the required supplementary documents.

## ARCHAEOLOGICAL MONITORING PLAN

This includes obtaining authorization from the Directorial Resolution that authorizes the Archaeological Monitoring Plan issued by the Relevant Government Authority, if required by Applicable Laws and Provisions.

## SERVICE FEASIBILITIES

The CONCESSIONAIRE is responsible for the feasibility request for Essential Services, when applicable. Engineers in the corresponding specialties are responsible for preparing the feasibility order project to the Service Provider Companies or to the competent Regulatory Body of the sector, having to coordinate and present the information in accordance with the requirements of the Applicable Laws and Provisions, including the following documents:

- Feasibility of a medium or low voltage power supply and electrical connection point for the required power and maximum projected demand, to the service provider or the corresponding Relevant Governmental Authority.

- Feasibility of drinking water and sewerage services, so that the respective project is adequate for the characteristics of the public networks.

- Telecommunications Feasibility to the corresponding service provider company. If necessary, projects for link or complementary networks will be included, which must be approved by the supply companies, at the cost and risk of the CONCESSIONAIRE.

## MUNICIPAL LICENSES

This includes the Building and Demolition License application, as well as certificates of urban planning parameters, zoning and roads, temporary use of roads, among other documents that the CONCESSIONAIRE must request from local governments for the management of the Project.

## VIRTUAL TOUR AND VIEWS OF THE PROJECT

THE CONCESSIONAIRE must present virtual tours of the interior and exterior spaces of the EDI that clearly show the project solution, with a minimum term of two (2) minutes.

In addition to the virtual tour, fifteen (15) photorealistic images or three-dimensional color illustrations (composed of eight (8) exterior images and seven (7) interior images) must be included that clearly show the design of the project, including details of finishes, use and treatment of landscape.

    - FORMATS OF DELIVERY

      - PRINTED DELIVERIES

        - DOCUMENTS

One (1) original Printed on white A4 bond paper, and two (2) copies with the project format. The documentation must be stamped and signed by the project manager, the specialist responsible for the corresponding specialty and the legal representative of the CONCESSIONAIRE. Documents containing scanned and printed stamps and signatures will not be accepted.

## PLANS

Printed on three (3) sets of bond paper, with project letterhead, in the scale requested in accordance with the Contract. The plans must be stamped and signed by the project manager, the specialist responsible for the corresponding specialty and the legal representative of the CONCESSIONAIRE.

## DIGITAL DELIVERIES

CD or DVD disk or disks (non-rewritable) containing:

- Source information documents with all files editable:

  - Document formats: text editor (doc, rtf, etc.), spreadsheets (xls, etc.), digital documents (PDF)

  - Drawing formats: digital document (PDF), CAD (dwg, dxf, etc.)

  - BIM modeling (rvt, nwd, ifc, pln, pla, etc.) at least LOD 350

  - Photographs: Jpg format

  - Virtual tour video

  - Structural modeling in the software established by the GRANTOR

  - Time schedules in the format requested by the GRANTOR

  - Other requested formats established by the GRANTOR

- Scanned digital document (PDF)

ANNEX No. 08 - APPENDIX 2 – SPECIFICATIONS FOR THE DRAFTING OF THE FINAL ENGINEERING STUDY OF CENTRAL STATIONS

## OBJECTIVE

The purpose of this document is to define the minimum requirements for the drafting of the EDI for Works, as well as the documents that comprise it.

## REGULATIONS

The execution of the Works EDI must be carried out in accordance with the Applicable Laws and Provisions.

considering the respective technical standards, as well as their modifications and updates. In case of contradiction or ambiguity between the national standard and the international standard, the national standard shall prevail.

The CONCESSIONAIRE is responsible for considering the Applicable Laws and Provisions for the fulfillment of its obligations, among which are, for reference, the following:

## NATIONAL LEGAL BASIS

    - GENERAL LEGAL BASIS

      - General Environment Law, approved by Law No. 28611.

      - Law creating the National Disaster Risk Management System (SINAGERD), approved by Law No. 29664, and its Regulations, approved by Supreme Decree No.

      - Law on Urban Development and Buildings, approved by Law No. 29090, and its Regulations, approved by Supreme Decree No. 029-2019-VIVIENDA

      - Legislative Decree regulating the Promotion of Private Investment through Public-Private Partnerships and Projects in Assets, approved by Legislative Decree No. 1362, and its Regulations, approved by Supreme Decree 240-2018-EF

      - National Disaster Risk Management Plan – PLANAGERD 2022-2030, approved by Supreme Decree No. 115-2022-PCM.

      - National Policy on Disaster Risk Management to 2050, approved by Supreme Decree 038-2021-PCM

      - Regulation of Maximum Permissible Values for Non-Domestic Residual Discharges into the Sanitary Sewer System, approved by Supreme Decree No. 010-2019- VIVIENDA.

      - Technical Code for Sustainable Construction, approved by Supreme Decree No. 014 2021-VIVIENDA.

      - Technical Standard for Measurements, approved by Directorial Resolution No. 073 010/VIVIENDA/VMCS-DNC.

      - Technical Standard "Technical Specifications for Vertical Geodetic Surveys", approved by Head Office Resolution No. 057-2016/IGN/UCNN.

      - Formats relating to urban authorization and building permit procedures, approved by Ministerial Resolution No. 326-2015-VIVIENDA.

## 2.1.2 BASIC TECHNICAL STANDARDS

- National Building Regulations, approved by Supreme Decree No. 011-2006-VIVIENDA, where appropriate.

- Ministerial Resolution No. 305-2017- VIVIENDA, approving the formats and forms relating to the procedures for urban planning permits and building licenses under the framework of Law No. 29090, the Law Regulating Urban Planning Permits and Building Licenses.

## SPECIFIC TECHNICAL STANDARDS

### Security System

        - Peruvian Technical Standard NTP-ISO/IEC 17799:2007, Code of Best Practices for Information Security Management.

        - Peruvian Technical Standard NTP-ISO/IEC 27001:2008, Security Techniques. Information security management systems.

        - Peruvian Technical Standard NTP 399.010-1 – Safety Signs

        - Peruvian Technical Standard NTP-350.043-1 Portable fire extinguishers. Selection, Distribution, Inspection, Maintenance, Refueling and Hydrostatic Testing.

        - Peruvian Technical Standard NTP 399.009- Colors Patterns used in Safety Signs and Colors.

        - Peruvian Technical Standard NTP 399.010-2016- Safety Signs.

        - Peruvian Technical Standard NTP-833.030- Fire Extinguisher Labelling.

        - DS.042-E Industrial Safety Regulations

        - NFPA 72: National Fire Alarm Code

        - NFPA101: Life Safety Code.

### Structures

        - Technical Standard E.020-Loads, of the National Building Regulations, approved by Supreme Decree No. 011-2006-VIVIENDA.

        - Technical Standard E.030 - Earthquake-resistant Design, of the National Building Regulations, approved by Supreme Decree No. 011-2006-VIVIENDA.

        - Technical Standard E.050 - Floors and Foundations, of the National Building Regulations, approved by Supreme Decree No. 011-2006-VIVIENDA.

        - Technical Standard E.060 - Reinforced Concrete, of the National Building Regulations, approved by Supreme Decree No. 011-2006-VIVIENDA.

        - Technical Standard E.070 - Masonry, of the National Building Regulations, approved by Supreme Decree No. 011-2006-VIVIENDA.

        - Technical Standard E.090 - Metallic Structures, of the National Building Regulations, approved by Supreme Decree No. 011-2006-VIVIENDA.

### Mechanics

        - Technical Building Standard E.M. 040 - Gas Installations, of the National Building Regulations, approved by Supreme Decree No. 011-2006-VIVIENDA

        - Technical Standard E.M. 030 - Ventilation installations, of the National Building Regulations, approved by Supreme Decree No. 011-2006-VIVIENDA

        - Technical Standard E.M. 070 - Mechanical Transport, of the National Building Regulations, approved by Supreme Decree No. 011-2006-VIVIENDA.

### Telecommunications

        - Standard EM.020 - Communications Installations, of the National Building Regulations, approved by Supreme Decree No. 011-2006-VIVIENDA.

        - Peruvian Technical Standard NTP-ISO/IEC 17799:2007, Code of Best Practices for Information Security Management.

        - Peruvian Technical Standard NTP-ISO/IEC 27001:2014, Security Techniques. Information security management systems.

### Others for structured cabling:

        - National Electricity Code (Utilization), approved by Ministerial Resolution No. 175-2008 MEM/DM, dated 04.11.08.

        - National Electricity Code (Supply), approved by Ministerial Resolution No. 214-2011- MEM-DM.

        - IEC 60364 Standard on Earthing Systems (ECT)

        - The provisions of IEEE STD 142 – 1991 Standard Single Grounding

        - Technical Standard ANSI/TIA – 942

        - Technical Standard ANSI/TIA/EIA - 568B

        - Technical Standard EIA/TIA 568B.1

        - Technical Standard EIA/TIA 568B.2

        - Technical Standard EIA/TIA 568B.3

        - Technical Standard ANSI/TIA/EIA –569-A

        - Technical Standard ANSI/TIA/EIA –569-B

        - Technical Standard J-STD-607 A: Requirement for telecommunications grounding system installations and commercial buildings.

        - Technical Standard NFPA 75

        - Technical Standard NFPA 2001

        - Technical Standard NFPA 72

        - Technical Standard NFPA Standard 70, Article 250

        - Technical Standard NFPA Standard 101: Human security code.

### Electrical

        - National Electricity Code (Supply), approved by Ministerial Resolution No. 214–2011–MEM/DM National Electricity Code (Utilization), approved by Ministerial Resolution No. 175-2008 MEM/DM, of 11.04.08

        - Standard EM.110 Thermal and Lighting Comfort with Energy Efficiency of the National Building Regulations, approved by Supreme Decree No. 011-2006-VIVIENDA

        - Standard EM.080 - Stand-Alone Energy Installations, of the National Building Regulations, approved by Supreme Decree No. 011-2006-VIVIENDA

        - Standard EM.010. Interior Electrical Installations, of the National Building Regulations, approved by Supreme Decree No. 011-2006-VIVIENDA

        - Standard of procedures for the drafting of projects and execution of works in medium voltage systems in distribution concession areas, approved by Ministerial Resolution No. RD-018-2002–EM/DGE

        - Peruvian Technical Standard NTP-IEC 62305 (Volume 2 "Risk Assessment" and Volume 3 "Lightning Protection: Physical damage to structures and human risk)

        - Peruvian Technical Standard NTP 370.101-2 - Energy efficiency labeling for compact, circular, linear and similar fluorescent lamps for domestic use

        - Peruvian Technical Standard 370.053 ELECTRICAL SAFETY. Selection of electrical materials in indoor installations for grounding. Copper protection conductors

        - Peruvian Technical Standard 370.252 ELECTRICAL CONDUCTORS. Cables insulated with thermoplastic and thermosetting compound for voltages up to and including 450/750 V.

        - Peruvian Technical Standard 370 264-7-2013 ELECTRICAL CONDUCTORS. Insulation, sheathing and covering materials for low voltage power cables.

Part 7: Halogen-free thermoplastic compounds for insulation

        - Peruvian Technical Standard 62612 LED lamps with their own ballast for general lighting services with supply voltage > 50 V

        - Peruvian Technical Standard 60898-1:2004 Automatic circuit breakers for overcurrent protection in domestic and similar installations

### Sanitary

        - Health Directive No. 033-MINSA/DIGESA - V.01, Health Directive for the Determination of the Health Rating Index of Public and Private Swimming Pools for Collective Use, approved by Ministerial Resolution No. 484-2010/MINSA

        - Regulation on the Quality of Water for Human Consumption, approved by Supreme Decree No. 031-2010-SA

        - Technical Standard IS.O1O - Sanitary Installations for Buildings, of the National Building Regulations, approved by Supreme Decree No. 011-2006-VIVIENDA

        - Standard OS.030 - Storage of water for human consumption, of the National Building Regulations, approved by Supreme Decree No. 011-2006-VIVIENDA

        - Standard OS.050 - Water distribution networks for human consumption

        - Standard OS0.70 - Wastewater networks

        - Standard OS.100 - Basic considerations for the design of healthcare infrastructure

### Accessibility

        - Standard A.120 - Universal accessibility in buildings, of the National Building Regulations, approved by Supreme Decree No. 011-2006-VIVIENDA

        - Peruvian Technical Standard - NTP 873.001 - 2018, Signage for universal accessibility in buildings. Braille signage, tactile or podotactile paving and haptic plans

### Eco-efficiency

        - Law for the Promotion of the Efficient Use of Energy, approved by Law No. 27345

        - Regulations of the Law for the Promotion of the Efficient Use of Energy, approved by Supreme Decree No. 053-2007-EM

        - Comprehensive Solid Waste Management Act, approved by Legislative Decree No. 1278

        - Regulations of Legislative Decree No. 1278, approved by Supreme Decree No. 014- 2017-MINAM

        - Technical Code for Sustainable Construction, approved by Supreme Decree No. 014 2021-VIVIENDA, which approves the Technical Code for Sustainable Construction and establishes that public sector entities must consider criteria of energy efficiency, water efficiency, indoor environmental quality, urban quality, waste management, eco-materials and infrastructure for sustainable mobility

        - Provisions for the Management of Eco-efficiency in Public Administration Bodies, approved by Supreme Decree No. 016-2021-MINAM

        - Special regime for the management and handling of waste electrical and electronic equipment, approved by Supreme Decree 009-2019-MINAM

        - Procedures for the Proper Management of State Movable Property Classified as Waste Electrical and Electronic Equipment (WEEE), approved by Resolution No. 027-2013/SBN for the management of WEEE

        - Peruvian Technical Standard NTP-ISO 14044:2013. Environmental Management. Life cycle analysis. Requirements and guidelines

        - Peruvian Technical Standard NTP-RT/ISO TR 14049:2014. Environmental Management. Life cycle analysis

        - Peruvian Technical Standard NTP-ISO 14045:2013. Environmental Management. Evaluation of the eco-efficiency of the product system. Principles, requirements and guidelines

        - Peruvian Technical Standard NTP-ISO 900.058:2019. Solid waste management

### Environmental management

        - Environmental Management Regulations for the Tourism Sector, approved by Ministerial Resolution No. 235-2021 – MINCETUR

### Disaster Risk Management

        - “Disaster Risk Prevention and Reduction Plan of the Ministry of Foreign Trade and Tourism 2023," approved by Ministerial Resolution No. 283-2023 – MINCETUR

        - Manual for the Evaluation of Risks Originating from Natural Phenomena – 2nd Version, for Resolution No. 112-2014-CENEPRED

### Technical Standards on BIM

        - Peruvian Technical Standard NTP-ISO 19650-1:2021 - Organization and digitization of information on buildings and civil engineering works, including building information modeling (BIM) - Information management through building information modeling

        - Document Nomenclature Manual for using BIM, produced by the BuldingSMART Association (formerly known as the International Alliance for Interoperability)

## GENERAL INFORMATION

The EDI will be developed in compliance with the Applicable Laws and Provisions and in accordance with the provisions of Annex No. 03 of the Concession Contract, and must include the contents described in this Annex.

An EDI will be carried out for each of the following project components:

- Yanama Central Station

- Huanipaca Central Station

All documents produced as part of the EDI should be easy to understand, clear and precise, avoiding errors of interpretation during the construction process.

Each time the deliverable is submitted to the Construction Supervisor as part of the drafting of the EDI, it must be signed by the participating specialists according to their expertise and the corresponding project manager on behalf of the CONCESSIONAIRE.

The CONCESSIONAIRE shall be responsible for the information contained in the EDI.

## BIM METHODOLOGY

The Project will be developed using a Building Information Modeling - BIM work methodology in accordance with the scope indicated in this section. For the development of the BIM methodology, the CONCESSIONAIRE must consider compliance with the scopes, milestones, responsibilities and requirements described in the Contract and its Annexes. The BIM framework will be the working format for all members of the project: GRANTOR, CONCESSIONAIRE and Supervisor.

### Scope of the BIM Methodology for the development of the Project

The BIM methodology will be implemented throughout the project, including the design and development of the EDI, the construction of the works and the operation and maintenance period.

### General conditions

      - The BIM methodology will not replace any of the aspects provided for communication between the Parties or the delivery and review of documents and information provided for in the Concession Contract and its Annexes. Notifications, communications and responses between the Parties must be presented in accordance with the provisions of the Concession Contract, including the delivery of printed and electronic EDI, as indicated in Section 6 of this Section.

      - Access to information that forms part of the BIM methodology will be granted to specific personnel designated by the GRANTOR and the Supervisor, as appropriate.

allowing them to make comments or observations to the EDI and other documents of obligatory delivery by the Licensee, without these observations being of an official or obligatory nature for the CONCESSIONAIRE. The observations made by the GRANTOR and the Supervisor will be formally presented in writing and in accordance with the review processes indicated in Chapter VI of the Concession Contract. The GRANTOR and the Supervisor shall notify the GRANTOR of the personnel assigned as of the Closing Date and before the term for the delivery of the BIM Execution Plan.

      - The CONCESSIONAIRE shall determine at its own expense and risk the platforms and software that will form part of the BIM methodology, taking as a reference what is indicated in the Appendix to this Annex.

      - The implementation of the BIM methodology will not involve training actions or the provision of computer equipment and software by the CONCESSIONAIRE, the GRANTOR or the Supervisor.

      - The BIM methodology implemented by the CONCESSIONAIRE must be aligned with the national and international BIM standards in force at the time of implementation, in accordance with the Applicable Laws and Provisions.

      - The comments, opinions, recommendations or requirements issued by the Grantor or the Supervisor within the Common Data Environment, as well as in collaborative work meetings, shall not imply a transfer of risks in the design, construction, modification of term or costs to the Grantor, and it shall be the responsibility of the Concessionaire to verify such comments and address them as it deems appropriate, at its own risk.

      - For the implementation of the BIM methodology, the Concessionaire must comply with the criteria approved in the Applicable Laws and Provisions, as well as Appendix 7 of this Annex.

### Scope of BIM methodology during design development

The CONCESSIONAIRE will develop the designs for the Stations using a virtual 3D model, implementing the necessary and sufficient information for the development of the Works, facilitating their verification and monitoring by the GRANTOR and the Supervisor. As a reference, the minimum level of detail of the model will be LOD 350, without the CONCESSIONAIRE being limited to implementing higher levels of detail, when it deems it appropriate.

The CONCESSIONAIRE shall issue the EDI plans and documents in stages, in accordance with the provisions of Section 5 of this Appendix, based on the development of the virtual model.

The CONCESSIONAIRE will implement a Common Data Environment in which it will integrate the Project information as part of the technical file for all the Project components; without being limited to the following:

      - The EDI documents in stages, as referred to in Section 5 of this Appendix, as submitted, observed or declared compliant by the GRANTOR and the Supervisor

      - Studies carried out at the expense, cost and risk of the CONCESSIONAIRE, not required as part of the Contract

      - Applicable Laws and Provisions to the Project

      - Licenses and permits applicable to the Project and their compliance status (requests and responses) during its management

      - The documents and deliverables foreseen for the provision of the Mandatory Services, in accordance with Chapters VI and VII of the Contract; including the Facilities Operation Manual, Equipment and Furniture Lists, among others.

      - The Project documents, as submitted, observed or declared in conformity by the GRANTOR and the Supervisor

      - The Work Plan for each component of the Project, not observed by the GRANTOR and the Supervisor

Through the Common Data Environment, access to the Project information will be provided to the personnel of the GRANTOR and the Supervisor, allowing them to make opinions, observations or recommendations. It will be under the discretion and responsibility of the CONCESSIONAIRE to address the recommendations issued by the GRANTOR and the Supervisor within the Common Data Environment of the BIM methodology, as they will not replace the reasons for the observations that are formally presented by the GRANTOR and the Supervisor in the delivery and revision processes referred to in Chapters VI and VII of the Contract.

Permission to access information will be proposed by the CONCESSIONAIRE through the BIM Execution Plan that they draw up and present to the GRANTOR.

### Scope of BIM methodology during the construction of the Works

Through the Common Data Environment, the CONCESSIONAIRE will use as a reference the virtual model in which the EDI compliance was generated by the GRANTOR, in order to monitor the construction of the Project components, both by the GRANTOR and the Supervisor.

In case modifications to the design arise during the construction of the Project components and such modifications have the compliance of the GRANTOR and the Construction Supervisor, the virtual model, as well as the respective EDI, must be updated by the CONCESSIONAIRE.

During the development of the construction of the Project components, the CONCESSIONAIRE will integrate the following information into the Common Data Environment for each component, without being limited to the following:

      - Delivery Certificate of the Concession Assets, referring to the areas of placement of the project components.

      - Construction Initiation Minutes for Each Component.

      - The version of the EDI for each component declared compliant by the GRANTOR

      - Licenses and permits granted and necessary for the development of the Works, for each component. They will include the renewals of those that expire during the respective Pre-operational Period

      - Copy of the construction log corresponding to each component

      - Progress Reports of the Work corresponding to each component, as observed and approved by the Supervisor

      - Construction Schedule by component, with the approval of the GRANTOR and the Supervisor

      - Results of laboratory and quality tests carried out during the development of the Works

      - Copy of the Supervisor's reports

During the Start-up processes, the following data will be included in the Common Data Environment by component:

- Copy of the Facilities Operations Manual, declared compliant by the GRANTOR and the Supervisor

- Copy of the Equipment Lists by component, declared compliant by the GRANTOR and the Supervisor

- Notification of observations per component resulting from verification visits as part of the Start-up processes

- Start-up Certificates for each component, which have been issued by the GRANTOR

- List of Non-Substantial Observations by component, pending correction

The virtual model should allow the development of the Works to be monitored by component for the GRANTOR and the Supervisor, identifying the progress of construction, the implementation of interference matrices, among others proposed by the CONCESSIONAIRE to monitor the development of the Works and which should be proposed in the BIM Execution Plan.

### 4.1.3 Content of the BIM Execution Plan

The CONCESSIONAIRE shall submit to the GRANTOR the BIM Execution Plan for the development of the Project, which shall include, at a minimum, the description and scope of:

- Description of the use of BIM methodology for the Project, in accordance with the scope foreseen in the Contract for the development of the designs and the construction of the Works

- The level of information or development of the BIM elements or BIM model, according to the levels of detail indicated in Appendix 7 of this Annex

- Definition of the Common Data Environment

- He/she will point out the BIM methodology participants among the staff of the CONCESSIONAIRE, the GRANTOR and the Supervisor.

- The definition of the roles, access permissions and scopes for each of the actors, with respect to the BIM model and the information contained in the Common Data Environment; complying, as a minimum, with what is referred to in the Contract and its Annexes

- Description of the information management methodology in BIM methodology

- Description of the procedures for the implementation of collaborative meetings between the GRANTOR, the CONCESSIONAIRE and the Supervisor, during the development of the EDI (when applicable)

## DRAFTING AND CONTENT OF THE FINAL ENGINEERING STUDY

  - STAGE I - PRELIMINARY WORK AND FIELD SURVEY

The CONCESSIONAIRE shall present the preliminary or basic studies, taking into account the conditions of the land and the provisions of the Applicable Laws and Provisions, including but not limited to:

- Land survey of the land and its surroundings, according to Appendix 3 of this Annex.

- Study of Soil Mechanics, as established in Appendix 4 of this Annex.

It shall be the CONCESSIONAIRE's responsibility to carry out additional studies to those indicated in this section, in order to determine the design conditions that should be included for the development of the designs and the respective EDI for the stations and cable cars.

It shall be the CONCESSIONAIRE's responsibility to carry out additional studies to those indicated in this section in order to determine the design parameters of each EDI and the pre-existing conditions in the Areas where the Project components will be located, which should be considered for the development of the EDI and the Works. This will include the performance of the technical studies necessary to identify possible interference in the different areas where the project components will be located, including hydrological and interference studies, among others.

It will be the responsibility of the CONCESSIONAIRE, at its own expense and risk, to eliminate any interference that may arise in the Areas where the components of the Project will be located.

including actions deemed pertinent and necessary to enable the development of the Works to fulfill the requirements of the Contract; including, but not limited to:

- The execution of works linked to the removal of interference, whatever this may be, provided that they are necessary for the development of the Works

- Any relevant procedures before the Government Authorities

The CONCESSIONAIRE may not invoke the decision not to carry out complementary technical studies as a basis for modifying the terms and amounts of the Contract, in the event of previously unidentified interferences in the Areas where the components of the Project will be located, which must be corrected by the CONCESSIONAIRE in order to carry out the Works.

## STAGE II - PRELIMINARY DESIGN

### Architecture Preliminary Design

Based on the results obtained from the preliminary work and studies carried out in Stage I, as well as the final alignment of the Cable Cars, the CONCESSIONAIRE shall develop the Architectural Preliminary Design based on the spaces detailed in Annex No. 03 and in the Applicable Laws and Provisions.

The design of buildings and outdoor spaces must consider and provide for: urban architectural conditions, adequate bioclimatic conditions, the urban context, structural and functional relevance, characteristics of access to basic services and others that allow for the best habitability solution for the planned buildings. All the proposed systems must be feasible to build, show technological validity and be sustainable over time.

Volumetric relationships, height of buildings, elevations and façades, functional relationships, circulation and flows of users, materiality, internal and external security, among others, must be evaluated and proposed by the CONCESSIONAIRE in compliance with the Applicable Laws and Provisions. The siting proposal, spatial and architectural proposal, as well as the materiality proposal, must correspond to the bioclimatic zone in which the land is located.

The architectural draft will contain the general geometric pre-dimensioning of the structure, and the geometries of the structural elements (plates, columns, slabs, stairs, etc.) must be represented based on the proposed pre-dimensioning.

The architectural preliminary design will be developed using at least the BIM – AR LOD 350 model. It will contain, as a minimum, the following documents:

      - Location map with parameters according to MRI format No. 305-2017- VIVIENDA, and sections of adjacent streets, along with a regulatory chart indicating urban planning parameters.

It will include an Area Schedule, information on areas of urban structure, as established in the Applicable Laws and Provisions on urban planning and building, in accordance with Section 2 of this section

      - General Descriptive Report of the Preliminary Architectural Project, which must consider the analysis of external factors influencing the implementation of the architectural infrastructure

      - Analysis of pedestrian and vehicular accessibility to finally conclude with project strategies such as:

        - Differentiated entrances

        - Building Heights

        - Horizontal and vertical circulation

        - Strategies for the location of administrative areas

        - Strategies for the location of areas for tourist use

        - Strategies for the location of the specific equipment	for the proper functioning of the cable cars, etc.

      - Area Schedule of the preliminary project (Final Architectural Program)

      - General Distribution Plan (architectural plans of all floors) at a scale of 1:100, as appropriate, all rooms should indicate their respective areas and Openings Schedule.

      - Cuts and Elevations on a 1:100 scale (minimum 02 longitudinal cuts and 02 transversal cuts and the corresponding elevations). The layout of the cuts and elevations to be presented must meet the minimum requirements indicated above; in addition, they must be carried out for complex areas, where there are changes in level, stairs, SSHH, uneven topography, etc.

      - Plan with the verification of measurements (overlapping of plans) between the registered perimeter and the topographic perimeter of the property, including the UTM coordinates and the orientation, duly annotated with comments on whether or not there are discrepancies between the perimeter measurements or boundaries. It should include the finished floor levels (FFL), elevations and axes.

### Structures Preliminary Project

The preliminary design of structures must determine the preliminary design of all the structural elements that comprise the new works, both for the stations and for the exterior works (tower foundations, perimeter fences, retaining walls, entrance gates, cisterns, among others).

The main information to be used should be the preliminary or basic studies of the terrain, such as the Soil Mechanics Study and the Land Survey; and the most suitable foundation alternative to be used should be defined, determining the foundation depths, dimensions, materiality, among others.

Based on the results obtained in the Structural Evaluation stage, safety items will be considered, adjacent foundation footing adjustments if necessary, bracing

for work areas, and any necessary recommendations indicating the construction process to follow in order to guarantee the stability of the structures.

The preliminary design of structures will be developed at least in BIM Mod – AR LOD 350 and will contain the following documents, at least:

- General Descriptive Report of the preliminary design of structures, which must include the pre-dimensioning of all structural elements, foundations, columns, cutting and masonry walls, beams, solid and lightened slabs, retaining walls, perimeter fences, doorways, cisterns, among other elements.

- General Distribution Plan (all floors and roof plan) to scale 1:100.

- Sections and Elevations on a scale of 1:100 (minimum 02 sections per block and all the facades of each block), the location of the sections will be by places where changes in floor level are located, etc.

The preliminary design of structures must be aligned with what is established by the Applicable Laws and Provisions on seismic resistant design, including design of symmetrical structures both in plan and in height. The solution of the proposed structure must not present structural irregularity.

The verifications of structural irregularities in Height are indicated in Table 8 of the Standard

E.030 and the checks for irregularities in the layout are indicated in Table 9 of Standard E.030, It is important to note that the Structural Preliminary Design is in accordance with the Architectural Preliminary Design, and at this stage, both specialties must approve the preliminary proposal.

# STAGE III: FINAL ENGINEERING STUDY (EDI)

The CONCESSIONAIRE will develop the different specialties that make up the EDI for purposes Constructive.

The EDI include the submission of the integrated development of the project for the specialties of Architecture, Disaster Safety and Evacuation, Structures, Sanitary Installations, Communications, Electrical and/or Mechanical Installations, and Special Installations (gas, public address, structured cabling, or other relevant ones), properly coordinated among them, including work plans, descriptive reports, and calculation reports.

The project will be developed at least in Mod BIM – AR LOD 350 and higher, as required for the level of detail of each specialty, which will be determined by the CONCESSIONAIRE itself under its responsibility.

The EDI shall consist of the following specialties:

# ARCHITECTURE SPECIALTY

It includes the definition at the construction level of the approved preliminary project and includes all the documents necessary for its definition and construction, as well as (i) the description of the project and areas, technical specifications, plans, work finishes, compatibility of specialties, (ii) the thermal analysis of the envelope of each building and the calculation of transmittances of the corresponding construction elements,  and (iii) a solar analysis with the desolation, generation of shadows and incidence of sunlight of each building.

The drafting of the architectural EDI must comply with the Applicable Laws and Provisions. The architectural EDI will contain the following:

- Descriptive Report

  - Area Schedule.

  - Calculation of Sanitary Fixtures

  - Calculation of Parking lots

  - Calculation of Solid Waste Room

  - Calculation of Circulation Width

  - Comparative table of project goals, EDI, and Regulations

  - Thermal analysis of the buildings

  - Solar Shading Analysis

  - Analysis of occupancy rate by room in accordance with the final architectural program considered by the Concessionaire

  - Finishes Schedule

  - Proposal of technical solutions for changes of Levels

  - Analysis of External Conditions Influencing the Implementation of Architectural Infrastructure

  - Analysis of Pedestrian and Vehicular Accessibility

  - Analysis of Design Strategies:

    - Differentiated Entrances

    - Building Heights

    - Horizontal and Vertical Circulations

    - Strategies for the Location of Administrative Areas

    - Strategies for the Location of Tourist Use Areas

    - Strategies for locating the specific equipment for the correct operation of the ropeways, etc.

    - Analysis of Expansion Areas for Future Considerations (When Feasible)

- Technical Specifications

- Modeling BIM

- Plans

  - Location and Site Plan in Compliance with Current Regulations at a Scale of 1:500, 1:10,000, as Applicable.

  - General Distribution Plan at a scale of 1:100, indicating the start of the layout, BM, dimensions, levels, reference planes, must contain axes, level dimensions, orientation, cuts and elevations, specification of construction details (at least, two (2) longitudinal cuts and two (2) cross-sections. If deemed necessary, the CONCESSIONAIRE may agree with the SUPERVISOR to increase the number of sections and elevations. Axis and Terraces Plan at a 1:100 scale, indicating the starting point of the layout, the BM, and the axes of slabs or columns, retaining walls, dry-stone walls, land fill, axes and dimensions, etc.

  - "Plan of exterior works (courtyards, sidewalks, sports slabs, etc.) at a 1:100 scale, indicating name, level, finishes, coverings, furniture, vegetation, specification of construction details, etc. The vegetation proposal must consider the particular conditions of the area.

  - Construction Detail Plans of the Work (Scale 1:25, 1:20, 1:10, etc.) must include at a minimum, the construction details of doors, windows, glass carpentry, metal and wooden carpentry, floors, roofs and coverings, finishes schedule, bathrooms, dressing rooms, stairs, ramps, ceilings, fixed furniture, exterior elements (planters, benches, curbs, walls, etc.), storm-water evacuation elements (gutters, risers, ditches, etc.), and any other detail that helps to understand the characteristics of the construction elements that will be considered in the project.

# SECURITY AND EVACUATION SPECIALTY DISASTERS

It includes the design of evacuation routes, calculation of capacity, signage and safety elements indicating the location of furniture, equipment, as well as all the elements indicated in this section.

The design includes the signage plan, evacuation (indicating the location of furniture and equipment) and safety plan of the architectural project, according to the Applicable Laws and Provisions on safety in structures and buildings, indicating the calculation of maximum evacuation of demand and others. The evacuation and safety plans will be made on a scale of 1:50, 1:25, 1: 10, 1:5, as required, and will bear the name 'EVS', in which routes, flows, capacity of the environment and safety zones will be identified. The evacuation routes will be presented with solid lines and in colors, using letters or numbers that will indicate the capacity per route and the total capacity of the station premises. Likewise, the deliverable must consider the evacuation calculation of all routes.

The EDI for Safety and Evacuation in the event of a Disaster Evacuation shall contain the following:

- Descriptive report. - It will include the development of: stairs, evacuation routes, security systems, signage, fire control and protection systems, technical specifications; as well as safety equipment features: Evacuation doors, fire-resistant barriers, fire-resistant seals, signage, emergency lights, fire extinguishers, etc., with the respective calculations according to the Applicable Laws and Provisions, including as part of the design the calculation of the number of safety equipment, evacuation time calculation specified for each escape route, which must be presented in each of the representative plans.

- Security and Evacuation Plan. - It will include the development and content required to obtain authorizations on civil defense by the corresponding municipality, in accordance with the Applicable Laws and Provisions

- Technical Specifications

- Modeling BIM

- Plans

- Evacuation plans by level. - must include: respective furniture, single-line diagrams, as well as certificates of grounding and operation of fire extinguishers and Consider safety plan (signage, fire extinguishers)

- General evacuation plan

- Floor plans furniture

- Single-line diagrams

- Security plans. - Signage, manual alarm stations, location of fire extinguishers, fire cabinets, sandboxes, luminaires and sound

As part of the technical file of the Project, to be submitted before the term set for the completion of the Start-up, the Concessionaire will submit Certificates of grounding and operation of fire extinguishers.

# STRUCTURES SPECIALTY

It includes the design of all the structural elements that comprise the new works both for the stations and for the exterior works (tower foundations, perimeter fences, retaining walls, entrance portals, cistern, etc.), taking as basic information the Soil Mechanics Study, the preliminary design, land survey and risk assessment study, having to define the most suitable foundation alternative to be used.  determining the foundation depths of the infrastructures, technical specifications of the materials, if there is a need for additives, in the same way it will indicate the treatment that must be given to the subgrade of pedestrian and vehicular access pavements, in accordance with the requirements of the Soil Study. Likewise, regardless of the type of material considered in the structural solution, the provisions of the Laws and Applicable Provisions on the design of concrete and metal structures must be complied with, as established in Numeral 2.1 of Appendix 1 of this annex.

Safety items, shoring up of the work areas, necessary recommendations indicating the construction process to be followed to guarantee the stability of the structures will be contemplated.

For the structural solution, the three-dimensional structural model must be made using specialized software for the spectral modal dynamic analysis of buildings. The following shall be determined the maximum stresses for gravity and seismic analysis that will be presented in the structure in accordance with current regulations. As a result of this analysis, the displacements will be determined, which must be less than the thresholds allowed by the Applicable Laws and Provisions on seismic resistant design.

The EDI of Structures will contain the following:

- Descriptive Report

- Calculation and Modeling Report In the calculation report, the calculations of the structures must be justified, through the structural analysis and the structural design of the structural elements (footing, column, beam, plate, slab, etc.).

- Technical Specifications

- Modeling BIM

- Plans

  - Specific plans of foundations, columns and plates, at a convenient scale 1:25, 1:50, 1:20, 1:10 or whatever is required of all the buildings that make up the project, including the support towers of the cable cars, in accordance with current regulations.

  - Specific plans of retaining walls, cisterns, shims and stairs with the necessary details to clearly understand the scope of their construction, at a convenient scale of 1:25, 1:50, of all the buildings that make up the project, including the support towers of the cable cars, in accordance with current regulations. For retaining walls that have considerable slopes, the presentation of plans must be in plan and longitudinal profile, showing the level of natural and projected terrain, slopes, distances, and sections every 10 meters where all the elements that are in that section are shown.

  - Specific plans of mezzanine slabs, ceilings and beams with the necessary details, at a convenient scale 1:25, 1:50, of all the buildings that make up the project, in accordance with current regulations.

  - Specific plans of the perimeter fence (if projected) showing the development in plan and elevation with the interior and exterior floor levels. For fences with significant slopes, the submission of plans must include a plan view and longitudinal profile, showing the natural and projected ground levels, slopes, distances, and sections every 10 meters, detailing all elements present in each section.

  - Specific plans of entrance doorways (if projected) and exterior elements whether it is patios, sidewalks, ramps, covers, gutters, etc. in which it is shown the development in plan, elevation and those necessary to know the scope of its construction.

  - Specific plans of elevators and special equipment enclosures which must be consistent with the spaces required by the proposed equipment, attach the corresponding technical sheets.

  - General plan with details of minimum distances of joints, anchors, overlaps and others.

# ELECTRICAL INSTALLATIONS SPECIALTY

      - LOW-LEVEL ELECTRICAL INSTALLATIONS TENSION

It includes the design of the low-voltage electrical system, including the calculation of the maximum demand, design of the feeder network, branch circuits, lighting study by room, outlets, surge protection system, protection against atmospheric discharges, grounding system and calculation of protection systems.

For the EDI of Low Voltage Electrical Installations, the following will be developed networks:

        - Lighting: includes the calculation of lighting by spaces in the rooms Interiors

        - Network of strength

        - Intake network to earth

        - Outdoor lighting network, which includes the calculation Light

        - Distribution network of conductors and feeders General

        - Protection Net (lightning rod)

The EDI for Low Voltage Electrical Installations shall contain the following:

- Descriptive report: It must contain the location of the project, background, objectives, regulatory framework, scope of the project, characteristics of each of the components of the system, tests to be carried out, list of plans. In the descriptive report, the description of eco-efficiency measures developed by the Concessionaire in the EDI solution must be included.

- Calculation Report

  - Calculation of Maximum demand

  - Calculation of Lighting per room

  - Calculation of Feeders and Branch Circuits

  - Calculation of Surge Protection and Lightning Protection

  - Calculation of Grounding System by Component

  - Calculation of Short Circuit

  - Calculation of Protection Coordination.

- Technical Specifications

- Measurements

- Modeling BIM

- Plans

  - ingle-Line Diagrams, General Schematics, and Panel Distribution

  - 1:200 General Plans

  - 1:50 Distribution Plans

  - 1:25, 1:20, 1:10, 1:5 Detail Plans

  - Isometric installation Plan

# MEDIUM VOLTAGE ELECTRICAL INSTALLATIONS

The design of the medium voltage electrical system includes: electrical substation, transformer, link circuit, surge protection system, lightning protection, and grounding system.

In this design, the following will be developed: networks:

        - Grounding system network

        - Distribution network of conductors and feeders General

        - Protective net (lightning rods, surge)

        - ET OF MEDIUM VOLTAGE ELECTRICITY

        - Link, substation and transformation

The EDI for Medium Voltage Electrical Installations shall contain the following:

- Descriptive Report

- Calculation Report

- Technical specifications of materials and assembly

- Modeling BIM

- Plans

  - General plan of connection networks 1:200 or 1:500

  - Distribution plans 1:50

  - Detail plans 1:25, 1:20, 1:10 as applicable

  - Single-line diagrams and general schemes

# MECHANICAL INSTALLATIONS SPECIALTY

It includes the design of the networks to meet the needs of the mechanical system used in the stations; and to carry out the comprehensive design of the following systems:

- Elevator system for the disabled (if they are necessary)

- Gas installation systems, such as LPG or natural gas (if applicable) necessary)

- Mechanical ventilation system (if necessary)

- Air conditioning systems (if necessary)

The EDI of Mechanical Installations shall contain the following:

- Descriptive Report

- Calculation Report

- Calculation of pipe network distribution for gas.

- Technical Specifications

- Modeling BIM

- Plans

  - General network plans 1:200

  - Distribution plans 1:50 (Where mechanical installation is required)

  - Detail plans 1:25, 1:20, 1:10

# SANITARY INSTALLATIONS SPECIALTY

The sanitary installations specialty considers the calculation of supply, storage calculation (cistern and elevated tank volume), meter diameter calculation, service connection diameter calculation, maximum simultaneous demand and pumping flow rate calculation, hydraulic calculation of the water network up to the most unfavorable point (pressures, velocities, diameters, etc.), total dynamic head and pump power calculation, design calculation of the hot water network and capacity of the water heater or boilers, design calculation of the sewage network, design calculation of the storm drainage system, and the calculation of the fire protection network, according to the use and requirements of each building and in compliance with Applicable Laws and Provisions.

It includes the following systems:

- Household supply and connection (calculation of home connection granted by water and sanitation management company)

- Supply and installation of water supply network (from the public network to the infrastructure storage system)

- Water supply system (cistern and/or elevated tank): Water supply system (cistern and/or elevated tank)

- Hot water networks. The development of the hot water networks will be according to the requirements of each building

- Fire Protection Water System

- Drainage and ventilation System

- Storm Drainage System (Floor Gutters and Aerial Gutters)

- Water system for irrigation, which will be defined by the Concessionaire taking into account the location of each building and the Applicable Laws and Provisions

The EDI of Sanitary Facilities will contain the following:

- Descriptive Report, including a description of eco-efficiency measures

- Calculation Report

- Technical Specifications

- BIM Modeling.

- Plans

  - General network plans 1:200

  - Distribution plans 1:50

  - Detail Plans at 1:25, 1:20, 1:10

# TELECOMMUNICATIONS INSTALLATIONS SPECIALTY

It includes the design and calculation of the following networks in order to provide service to the different Spaces:

- Sound System.

- Fixed Telephony System.

- Video Surveillance System

- General Fire Detection System, by Building (Identifying the Specific Area)

- Structured Cabling System

- Grounding System

The EDI of Telecommunications Installations shall contain the following:

- Descriptive Report

- Calculation Report

- Technical Specifications

- Modeling BIM

- Plans

  - General network plans 1:200

  - Distribution plans 1:50

  - Detail plans 1:25, 1:20, 1:10

# MEASUREMENTS AND BUDGET

The measurement by specialty will be prepared based on the specialties and technical specifications. It must be aligned with the Applicable Laws and Provisions on building measurements

The measurement will be prepared by specifying the meters for each building or component. It will contain the general budget and by specialties, analysis of unit prices, list of materials, Consolidated Budget, Summary of the Budget, Disaggregation of General Expenses.

The EDI of Measurements and budget will contain the following:

- Summary of measurements by specialty

- Justification of measurements

- General and consolidated budget

- Unit cost analysis

- List of supplies

  - Consolidated Budget

  - Procurement schedule

  - Valued Work and Equipment Execution Schedule

  - PERT Chart – CPM

  - Diagram GANTT

  - Breakdown of General Expenses

# LICENSES, PERMITS, AUTHORIZATIONS AND FEASIBILITY

    - ENVIRONMENTAL ASPECTS

The CONCESSIONAIRE shall be responsible for obtaining the licenses, permits and authorizations in environmental matters required by the Applicable Laws and Provisions. This includes environmental certifications, waste management plans, remediation plans, and other Environmental Management Instruments, as appropriate.

# CERTIFICATE OF ABSENCE OF ARCHAEOLOGICAL REMAINS

Obtaining the Certificate of Absence of Archaeological Remains will be the responsibility of the CONCESSIONAIRE, in compliance with the Applicable Laws and Provisions, including the required complementary documents.

# ARCHAEOLOGICAL PLAN MONITORING

It includes obtaining the authorization of the Directorial Resolution that authorizes the Archaeological Monitoring Plan issued by the Relevant Governmental Authority, if required in accordance with the Applicable Laws and Provisions.

# SERVICES FEASIBILITY

The CONCESSIONAIRE is responsible for the request for feasibility of the Essential Services, when applicable. The engineers of the corresponding specialties are responsible for preparing the feasibility request project for the Service Provider Companies or the competent Regulatory Body of the sector. They must coordinate and submit the information in accordance with the requirements established by the Applicable Laws and Provisions, including the following documents:

- Feasibility of electrical supply in Medium or Low Voltage and electrical connection point for the required Power and Projected Maximum Demand, submitted to the corresponding service provider entity or the Relevant Governmental Authority.

- Feasibility of drinking water and sewage service, so that the respective project is adequate to the characteristics of the public networks.

- Feasibility of Telecommunications to the corresponding service provider company. If necessary, the projects for link or complementary networks will be included, which must be approved by the supply companies, at the cost and risk of the CONCESSIONAIRE.

# MUNICIPAL LICENCES

It includes the application for a Building and Demolition License, as well as the certificates of urban planning parameters, zoning and roads, temporary use of road, among other documents that must be requested by the CONCESSIONAIRE to the local governments for the management of the Project.

# VIRTUAL TOUR AND PROJECT VIEWS

THE CONCESSIONAIRE must submit virtual tours of the interior and exterior spaces of the EDI that clearly show the solution of the project, with a minimum term of two (2) minutes.

In addition to the virtual tour, fifteen (15) photorealistic images or three-dimensional color illustrations (composed of eight (8) exterior images and seven (7) interior images) that clearly show the design of the project, including details of finishes, use and landscape treatment.

- FORMATS OF DELIVERY

  - PRINTED DELIVERIES

    - DOCUMENTS

One (1) original printed on white bond paper, A-4 size, and two (2) copies in the project format. The documentation must be stamped and signed by the project manager, the specialist responsible for the corresponding specialty and the legal representative of the CONCESSIONAIRE. Documents containing scanned and printed stamps and signatures will not be received.

# PLANS

Printed on three (3) sets of bond paper, on project letterhead, at the scale requested pursuant to the Contract. The plans must be stamped and signed by the project manager, the specialist responsible for the corresponding specialty, and the legal representative of the CONCESSIONAIRE.

# DIGITAL DELIVERIES

CD or DVD disc(s) (non-rewritable) Containing:

- Source information documents with all files Editable:

  - Document formats in: text editor (doc, rtf, etc.), spreadsheets (xls, etc.), digital document (PDF).

  - Drawing formats: digital document (PDF), CAD (dwg, dxf, etc).

  - BIM modeling (rvt, nwd, ifc, pln, pla, etc.) in LOD 350 as minimal.

  - Photographs: format jpg.

  - Tour Video virtual.

  - Structural modeling in the software established by the GRANTOR.

  - Schedules in the requested format established by the GRANTOR.

  - Other requested formats established by the GRANTOR.

- Scanned digital document (PDF).

ANNEX No. 08 - APPENDIX 3 – SPECIFICATIONS FOR THE DEVELOPMENT OF THE FINAL ENGINEERING STUDY OF TOURIST ROADS

# OBJECTIVE

The purpose of the following document is to define the minimum requirements for the drafting of the EDI for Works on Tourist Roads, as well as the documents that comprise it.

# REGULATIONS

The execution of the EDI of Works must be carried out in accordance with the Applicable Laws and Provisions, considering the respective technical standards, as well as their modifications and updates. In the event of contradiction or ambiguity between national and international norms, the national norm prevails.

The CONCESSIONAIRE is responsible for considering the Applicable Laws and Provisions for the fulfillment of its obligations, among which are, by reference, the following:

# NATIONAL LEGAL BASIS

    - GENERAL LEGAL BASIS

- General Environmental Law, approved by Law No. 28611.

- Law that creates the National Disaster Risk Management System (SINAGERD), approved by Law No. 29664; and its Regulations, approved by Supreme Decree No.

- Legislative Decree regulating the Promotion of Private Investment through Public-Private Partnerships and Projects in Assets, approved by Legislative Decree No. 1362, and its Regulations, approved by Supreme Decree 240-2018-EF.

- National Disaster Risk Management Plan – PLANAGERD 2022-2030, approved by Supreme Decree No. 115-2022-PCM.

- National Disaster Risk Management Policy to 2050, approved by Supreme Decree 038-2021-PCM.

- Technical Standard for Measurements, approved by Directorial Resolution No. 073 010/VIVIENDA/VMCS-DNC.

- Technical Standard "Technical Specifications for Vertical Geodetic Surveys", approved by Chief Resolution No. 057-2016/IGN/UCNN.

# 2.1.2 BASIC TECHNICAL STANDARDS

(a) National Road Infrastructure Management Regulations, approved by Supreme Decree No. 034-2008 – MTC, and amended by Supreme Decrees No. 003-2009-MTC and No. 011-2009-MTC and No. 012-201 – MTC.

# SPECIFIC TECHNICAL STANDARDS

## Highway Manual

        - RD No. 22-2013-MTC/14 "(Highway Manual: General Technical Specifications for Construction"

        - RD No. 03-2018-MTC 14 "Highway Manual: Geometric Design “

        - RD No.  36-2016-MTC14 “Highway Manual: Tunnels, Walls and Complementary Works"

        - RD No. 19-2018-MTC14 "Highway Manual: Bridges"

        - RD No. 10-2014-MTC14 "Highway Manual: Soils, Geology, Geotechnics and Pavements"

        - RD No. 18-2016-MTC14 "Highway Manual: Materials Testing"

        - RD No. 20-2011-MTC14 "Highway Manual: Hydrology, Hydraulics and Drainage"

        - RD No. 05-2016-MTC14 "Highway Manual: Road Maintenance or Conservation and Part IV"

        - RD No. 16-2016-MTC14 "Highway Manual: Automotive Traffic Control Devices for Streets and Highways"

        - RD No. 05-2017-MTC14 "Highway Manual:  Road Safety"

        - RD No. 22-2015-MTC14 "Highway Manual: Road Inventory and Part Manual IV"

## Structures

        - Technical Standard E.020-Loads, of the National Building Regulations, approved by Supreme Decree No. 011-2006-VIVIENDA.

        - Technical Standard E.030 - Seismic Resistant Design, of the National Building Regulations, approved by Supreme Decree No. 011-2006-VIVIENDA.

        - Technical Standard E.050 - Soils and Foundations, of the National Building Regulations, approved by Supreme Decree No. 011-2006-VIVIENDA.

        - Technical Standard E.060 - Reinforced Concrete, of the National Building Regulations, approved by Supreme Decree No. 011-2006-VIVIENDA.

## Environmental Management

Regulations on Environmental Management of the Tourism Sector, approved by Ministerial Resolution No. 235-2021 – MINCETUR.

## Disaster Risk Management

        - "Disaster Risk Prevention and Reduction Plan of the Ministry of Foreign Trade and Tourism 2023", approved by Ministerial Resolution No. 283-2023 – MINCETUR.

        - Manual for the Evaluation of Risks Caused by Natural Phenomena – 2nd Version, for Chief Resolution No. 112-2014-CENEPRED.

## Technical Standards on BIM

        - Peruvian Technical Standard NTP-ISO 19650-1:2021 - Organization and digitization of information about buildings and civil engineering works, including Building Information Modeling (BIM) – Information management using Building Information Modeling”.

        - Manual of Document Nomenclature when Using BIM, prepared by the BuldingSMART Association (formerly known as the International Alliance for Interoperability).

# INTERNATIONAL REGULATORY REFERENCES

A policy on geometric design of highways and streets 2011 (Green book), American Association of State Highway and Transportation Officials - AASHTO.

# GENERALITIES

The EDI shall be developed in compliance with the Applicable Laws and Provisions and in accordance with the provisions of Annex No. 03 of the Concession Contract, and shall include the contents described in this Annex.

An EDI will be made for each of the pathways of the project:

- Kiuñalla Tourist Road – Kiuñalla Station

- Yanama Tourist Road – San Juan Station

All documents prepared as part of the EDI must be easy to understand, clear and precise, avoiding errors of interpretation during the construction process.

Each time the deliverable is presented to the Construction Supervisor as part of the preparation of the EDI, it must be signed by the participating specialists according to their specialty and the corresponding project manager by the CONCESSIONAIRE.

The CONCESSIONAIRE will be responsible for the information contained in the EDI.

# BIM METHODOLOGY

The Project will be developed through the use of a Building Information Modeling – BIM work methodology in accordance with the scope indicated in this section. For the development of the BIM methodology, the CONCESSIONAIRE must consider compliance with the scopes, milestones, responsibilities and requirements described in the Contract and its Annexes. The BIM framework will be the working format for all the members of the Project: GRANTOR, CONCESSIONAIRE and Supervisor.

## Scope of the BIM Methodology for the development of the Project

The BIM methodology will be implemented in the Project periods, including the design and development of the EDI, the construction of the Works and the operation and maintenance period.

## General Conditions

      - The BIM methodology will not replace any of the aspects provided for communication between the Parties or the delivery and review of documents and information provided for in the Concession Contract and its Annexes. Notifications, communications and responses between the Parties must be submitted in accordance with the provisions of the Concession Contract, including paper and electronic delivery of EDIs, as noted in Section 6 of this Section.

      - Access to the information that is part of the BIM methodology will be granted to the specific personnel indicated by the GRANTOR and the Supervisor, as appropriate, allowing them to make comments or observations to the EDIs, and other documents of mandatory delivery by the Concessionaire, without such observations being official or mandatory for the CONCESSIONAIRE. The observations issued by the GRANTOR and the Supervisor shall be formally submitted in writing and in accordance with the review processes indicated in Chapter VI of the Concession Contract. The personnel assigned by the GRANTOR and the Supervisor must be notified to the CONCESSIONAIRE as of the Closing Date, and before the term set for the delivery of the BIM Execution Plan.

      - The CONCESSIONAIRE will determine at its own expense, cost and risk the platforms and software that will be part of the BIM methodology, taking as a reference what is indicated in the Appendix to this Annex.

      - The implementation of the BIM methodology will not imply training actions or the provision of computer equipment and software by the CONCESSIONAIRE, the GRANTOR or the Supervisor.

      - The BIM methodology implemented by the CONCESSIONAIRE must be aligned with the national and international BIM standards in force at the time of implementation, in accordance with the Applicable Laws and Provisions.

      - The comments, opinions, recommendations or requirements issued by the Grantor or Supervisor within the Common Data Environment, as well as in meetings of collaborative work, shall not imply a transfer of the risks in the design, construction, modification of terms or costs to the Grantor, being the responsibility of the Concessionaire to verify such comments and attend to them as it deems, at its own risk.

      - For the implementation of the BIM methodology, the Concessionaire must comply with the criteria approved in the Applicable Laws and Provisions, as well as Appendix 7 of this Annex.

## Scope of the BIM Methodology During Design Development

The CONCESSIONAIRE will develop the designs for the Tourist Roads through a 3D virtual model, incorporating the necessary and sufficient information for the development of the Works, facilitating their verification and monitoring by the GRANTOR and the Supervisor. As a reference, the minimum level of detail of the model will be LOD 350, without the CONCESSIONAIRE being limited to implementing greater levels of detail, when it deems it appropriate.

The CONCESSIONAIRE will issue the EDI plans and documents in stages, in accordance with the provisions of Section 5 of this Appendix, based on the development of the virtual model.

The CONCESSIONAIRE will implement a Common Data Environment in which it will integrate the Project information as part of the technical dossier for all Tourist Roads, including but not limited to the following:

      - The EDI documents in stages, as referred to in Section 5 of this Appendix, as submitted, observed or declared compliant by the GRANTOR and the Supervisor.

      - Studies prepared at the expense, cost and risk of the CONCESSIONAIRE, not required as part of the Contract.

      - Applicable Laws and Provisions to the Project.

      - Licenses and permits applicable to the Project and their compliance status (requests and responses) during its management

      - The documents and deliverables provided for the provision of the Mandatory Services, in accordance with Chapters VI and VII of the Contract.

      - The Project documents, as they have been presented, observed or declared in conformity by the GRANTOR and the Supervisor.

      - The Work Plan for each Tourist Roads, not observed by the GRANTOR and the Supervisor.

Through the Common Data Environment, access to the Project information will be provided to the staff of the GRANTOR and the Supervisor, allowing them to make opinions, observations or recommendations. It will be under the discretion and responsibility of the CONCESSIONAIRE to attend to the recommendations issued by the GRANTOR and the Supervisor within the Common Data Environment of the BIM methodology, since they will not replace the reasons for the observations that are formally presented by the GRANTOR and the Supervisor in the delivery and revision processes referred to in Chapters VI and VII of the Contract.

The permits for access to the information will be proposed by the CONCESSIONAIRE through the BIM Execution Plan that it prepares and presents to the GRANTOR.

## Scope of the BIM methodology during the construction of the Works

Through the Common Data Environment, the CONCESSIONAIRE will take the virtual model as a reference in which the conformity of the EDI was generated by the GRANTOR, in order to carry out the monitoring of the construction of the Tourist Roads, both by the GRANTOR and the Supervisor.

If modifications to the design arise during the construction of the Tourist Roads and such modifications have the compliance of the GRANTOR and the Supervisor, the virtual model, as well as the respective EDI, must be updated by the CONCESSIONAIRE

During the construction of the Tourist Roads, the CONCESSIONAIRE shall integrate the following information into the Common Data Environment for each Tourist Road, without being limited to the following:

      - Delivery Certificate of the Concession Assets, referring to the Areas of the Tourist Roads.

      - Construction Start Records for each Tourist Road.

      - The version of the EDI for each Tourist Road declared as compliant by the GRANTOR

      - Licenses and permits granted and necessary for the development of the Works, for each Tourist Road. They will include the renewals of those that expire during the respective Pre-operational Period.

      - Copy of the construction log corresponding to each Tourist Road.

      - Reports of work progress corresponding to each Tourist Road, as observed and received compliance from the Supervisor.

      - Schedule for the Execution of Works for each Tourist Road, with compliance from the GRANTOR and the Supervisor

      - Results of laboratory and quality tests carried out during the development of the Works.

      - Copy of the Supervisor's reports.

The virtual model must allow the monitoring of the development of the Works by the GRANTOR and the Supervisor, identifying the construction progress, the implementation of interference matrices, among others proposed by the CONCESSIONAIRE to follow up on the development of the Works and which must be proposed in the BIM Execution Plan.

## 4.1.3 Content of the BIM Execution Plan

The CONCESSIONAIRE shall submit to the GRANTOR the BIM Execution Plan for the development of the Project, which shall include, at least, the description and scope of:

- Description of the use of the BIM methodology for the Project, according to the scope provided in the Contract for the development of the designs and construction of the Works.

- The level of information or development of the BIM elements or BIM model, in accordance with the levels of detail indicated in Appendix 7 of this Annex.

- Definition of the Common Data Environment,

- It will designate the participants of the BIM methodology among the personnel of the CONCESSIONAIRE, the GRANTOR and the Supervisor.

- The definition of the roles, access permissions and scope for each of the actors, with respect to the BIM model and the information contained in the Common Data Environment; complying at least with the provisions of the Contract and its Annexes.

- Description of the information management methodology in the BIM methodology.

- Description of the procedures for the implementation of collaborative meetings between the GRANTOR, the CONCESSIONAIRE and the Supervisor, during the development of the EDI (when applicable).

# DRAFTING AND CONTENT OF THE FINAL ENGINEERING STUDY

## STAGE I - PRELIMINARY WORK AND FIELD RECONNAISSANCE

The CONCESSIONAIRE shall submit the preliminary or basic studies, taking into account the conditions of the land and the provisions of the Applicable Laws and Provisions, including but not limited to:

- Land survey of the terrain and its surroundings, according to Appendix 3 of this Annex.

- Study of soils, quarries and water sources, as established in Appendix 5 of this Annex.

- Study of Hydrology and Hydraulics, as established in Appendix 6 of this Annex.

It will be the responsibility of the CONCESSIONAIRE to carry out additional studies to what is indicated in this section, in order to determine the design conditions that must be included for the development of the designs and the respective EDI for each road.

It will be the responsibility of the CONCESSIONAIRE to carry out additional studies to what is indicated in this section in order to determine the design parameters of each EDI and the pre-existing conditions in the Areas of the roads, which must be considered for the development of the EDI and the Works. The foregoing will include the execution of the necessary technical studies for the identification of possible interferences in the different areas of the roads.

It shall be the responsibility of the CONCESSIONAIRE, at its own expense and expense, and at its own risk, to release the interferences that occur in the Areas of the tracks, including the actions that are deemed pertinent and necessary to allow the development of the Works for the fulfillment of the requirements of the Contract; including, but not limited to:

- The execution of works linked to the release of interferences, whatever they may be, provided that they are necessary for the development of the Works.

- Any relevant procedures before the Government Authorities.

The CONCESSIONAIRE may not invoke the decision not to carry out complementary technical studies as a basis for the modification of the terms and amounts of the Contract, in the event of previously unidentified interferences in the Areas of the Concession roads that must be corrected by the CONCESSIONAIRE to develop the Works.

# STAGE II: FINAL ENGINEERING STUDY (EDI)

The CONCESSIONAIRE will develop the EDI of the roads for construction purposes. The EDI includes the presentation of the development of the integral project of the roads which includes: Geometric Design, Pavement Design, Structure Design, Drainage Design, Road Safety and Signage, Plans, Measurements and Budgets and Technical Specifications.

The project will be developed at least in Mod BIM – AR LOD 350 and higher, as required for the level of detail determined by the CONCESSIONAIRE itself under its responsibility.

The EDI, in addition to including the studies developed in the previous stage, must be prepared following:

# DESIGN

      - GEOMETRIC

It includes the geometric design of the road alignment (horizontal and vertical alignment). The CONCESSIONAIRE will design the layout of the tracks based on the estimated demand and the characteristics detailed in Annex No. 03 and in the Applicable Laws and Provisions, containing the calculation report, plans and other documents, as appropriate and taking into consideration the following:

        - General technical criteria adopted for the geometric design in plan, profile and cross-section of the project.

        - Classification of the project.

        - Design speeds of the project by homogeneous sections.

        - Visibility, horizontal and vertical curves, tangents, slopes, superelevation, cross-section, slopes, intersections, etc.

        - Calculation report, plans and others, in accordance with the requirements of the GRANTOR.

# PAVEMENTS

It includes the design of the pavement structure for the roads. The CONCESSIONAIRE will design the layout of the roads based on the results obtained in the soil study and the Applicable Laws and Regulations, containing the calculation report, plans and other documents, as appropriate and taking into consideration the following:

        - Summary of pavement structure design parameters.

        - Submission of the laboratory analyses carried out, properly supporting the methodologies used.

        - Maintenance or conservation strategy, depending on the evolution of damage over time and the corresponding corrective measures.

        - Summary of the different actions to be carried out from the beginning to the end of the project's useful life.

# STRUCTURES

It includes the design of the different types of structures that will accompany or complement the roads, such as bridges, tunnels, drainage works, walls, complementary works and others, and must comply with the regulations in force on the matter, containing the calculation report, plans and other documents, as appropriate and taking into account basically the following:

        - The design criteria used.

        - The technical justification for the type and magnitude of the loads.

        - Measurements, tests and evaluations to determine the functional and structural condition of existing drainage works.

        - Summaries of the main results and verifications.

# DRAINAGE

Includes the results of the hydraulic design of the drainage works required by the project, such as culverts, gutters, crest ditches, subdrains, energy dissipaters, speed bumps, etc., based on the results obtained in the hydrology study and the Applicable Laws and Provisions, and shall contain the calculation report, plans and other documents, as appropriate, basically taking into consideration the following:

        - Design of the required drainage systems, which must operate in an integrated and efficient manner.

        - Design of rehabilitation or repair of existing structures that are maintained in the project and design of replacement works.

        - Adequate design of the height of the road grade, in areas of flat topography or adjacent irrigated farmland, to avoid flooding effects and saturation of the platform.

        - Design of adequate management of rainfall, which makes it possible to restore vegetation cover.

# ROAD SAFETY AND SIGNAGE

It will include the design of traffic control devices and road safety elements for the roads, including signage plans and control procedures, in accordance with the Applicable Laws and Provisions, including the following:

        - Design of signage in accordance with the provisions of the Manual of Devices for Motor Vehicle Traffic Control for Streets and Highways, and the Technical Specifications for Paints for Roadworks, in force.

        - Design of the placement of road safety elements such as safety barriers, satellite speed control systems, speed bumps, reflective studs, and others as applicable.

# PLANS

The plans of the project's roads will be presented in the scales, formats, sizes, quantities and other requirements of the Supervisor and the GRANTOR, and of the regulations in force. In addition, they must be properly identified, numbered, coded, and protected; they must also include a legend stating, among other details, the date, the name of the person responsible for its preparation and approval, seal, and signature, as applicable. It will basically cover the following plans:

- Geographical Location of the project

- Key

- Typical Sections

- Plan and Profile of the Project

- Cross Sections

- Intersections

- Mass Diagram

- Quarries and water points

- Surplus Material Depots (DME)

- Pavements

- Structures (bridges and tunnels), drainage works and complementary works

- Slopes and Stabilizations

- Signage and road safety

- Environmental Impact

# MEASUREMENTS AND BUDGET

      - MEASUREMENTS

It includes the measurement of the activities or items to be executed, both specifically and globally, specifying their unit and the criteria followed for their formulation, in accordance with the Applicable Laws and Provisions for road rehabilitation, improvement, and construction works, covering at a minimum the following:

        - Preliminary works

        - Earthworks

        - Pavements

        - Drainage and complementary works

        - Transportation

        - Signage and road safety

        - Environmental protection

        - Others

# UNIT PRICE ANALYSIS

It includes the analysis of unit prices that cover the costs of the resources of labor, materials and equipment necessary to fulfill the corresponding activity or item. This shall consist of:

        - Cost basis calculations

        - Direct cost analysis

        - Indirect cost analysis

        - Cost summary

# BUDGET

It constitutes the determination of the total project cost and will include generic and specific items, scopes, definitions, and units of measurement in accordance with the Laws and Applicable Provisions for road rehabilitation, improvement, and construction works Likewise, it will be determined based on the corresponding quantities and unit prices and will include general expenses, profits, taxes, and other requirements set by the Supervisor and the GRANTOR.

# SCHEDULES

The schedule of road works includes the programming of the sequential and orderly execution of the generic and specific items established in the study, establishing the corresponding Critical Route, in order to achieve the objectives of the project. It also includes schedules for the use of materials and equipment. The schedules will be prepared according to the programming method established by the Supervisor and the GRANTOR.

# TECHNICAL SPECIFICATIONS

They will be those corresponding to those established by the Highway Manual: General Technical Specifications for Construction, currently in force. In the event that the particularities of the project require the inclusion of activities not contemplated in the aforementioned Manual, the corresponding "Special Specifications" will be attached, which will be approved by the Supervisor and the GRANTOR.

# LICENSES, PERMITS, AUTHORIZATIONS AND FEASIBILITY

    - ENVIRONMENTAL ASPECTS

The CONCESSIONAIRE shall be responsible for obtaining the licenses, permits and authorizations in environmental matters required by the Applicable Laws and Provisions. This includes environmental certifications, waste management plans, remediation plans, and others Environmental Management Instruments, as applicable.

# CERTIFICATE OF ABSENCE OF ARCHAEOLOGICAL REMAINS

Obtaining the Certificate of Absence of Archaeological Remains will be the responsibility of the CONCESSIONAIRE, in compliance with the Applicable Laws and Provisions, including the required complementary documents

# ARCHAEOLOGICAL PLAN MONITORING

It includes obtaining the authorization of the Directorial Resolution that authorizes the Archaeological Monitoring Plan issued by the Relevant Governmental Authority, if required in accordance with the Applicable Laws and Provisions.

# MUNICIPAL LICENCES

It includes the application for a Building and Demolition License, as well as the certificates of urban planning parameters, zoning and roads, temporary use of road, among other documents that must be requested by the CONCESSIONAIRE to the local governments for the management of the Project.

# VIRTUAL TOUR AND PROJECT VIEWS

THE CONCESSIONAIRE must submit virtual tours of the interior and exterior spaces of the EDI that clearly show the solution of the project, with a minimum term of two (2) minutes.

In addition to the virtual tour, fifteen (15) photorealistic images or three-dimensional color illustrations (composed of eight (8) exterior images and seven (7) interior images) that clearly show the design of the project, including details of finishes, use and landscape treatment.

- FORMATS OF DELIVERY

  - PRINTED DELIVERIES

    - DOCUMENTS

One (1) original printed on white bond paper, A-4 size, and two (2) copies in the project format. The documentation must be stamped and signed by the project manager, the specialist responsible for the corresponding specialty and the legal representative of the CONCESSIONAIRE. Documents containing scanned and printed stamps and signatures will not be received.

# PLANS

Printed on three (3) sets of bond paper, on project letterhead, at the scale requested pursuant to the Contract. The plans must be stamped and signed by the project manager, the specialist responsible for the corresponding specialty, and the legal representative of the CONCESSIONAIRE.

# DIGITAL DELIVERIES

CD or DVD disc(s) (non-rewritable) Containing:

- Source information documents with all files Editable:

  - Document formats in: text editor (doc, rtf, etc.), spreadsheets (xls, etc.), digital document (PDF).

  - Drawing formats: digital document (PDF), CAD (dwg, dxf, etc).

  - BIM modeling (rvt, nwd, ifc, pln, pla, etc.) in LOD 350 as minimal.

  - Photographs: format jpg.

  - Virtual Tour Video.

  - Schedules in the requested format established by the GRANTOR.

  - Other requested formats established by the GRANTOR.

- Scanned digital document (PDF).

ANNEX No. 08 - APPENDIX 4 – CONTENT FOR THE DRAFTING OF THE LAND SURVEY

The specifications set forth in this Appendix shall not relieve the CONCESSIONAIRE of its responsibility for the content of the studies necessary to determine the specifications of the designs and infrastructure of the Project. Although the content of this document will be the minimum required by the GRANTOR for the verification and monitoring of the Project, the CONCESSIONAIRE may, at its own discretion, include the additional parameters and content that it determines necessary to determine the conditions in the design and infrastructure that must be taken into account to achieve the objectives of the Project. The content referred to herein Appendix shall be the minimum required, without prejudice to the information required and indicated in the Applicable Laws and Provisions for the drafting of these studies. The CONCESSIONAIRE shall carry out the land survey for each of the Project's infrastructures.

# WORK TO BE PERFORMED

The CONCESSIONAIRE shall carry out the geo-referencing and land survey for each land in each Area of the Central Stations, Cable Car Stations, Cable Car Layout and Tourist Roads of the Project.

# GEODETIC CONTROL AND GEO-REFERENCING

The CONCESSIONAIRE shall establish two (2) geodetic control points in the areas where the survey will be conducted, linked to the Permanent Tracking Stations of the Peruvian Geodetic Continuous Monitoring Network, which are distributed throughout the national territory. In the case of Tourist Roads, THE CONCESSIONAIRE will establish two (2) geodetic control points every five (05) kilometers along the road, including the beginning and end of the section.

Taking into account the geometric accuracy standards of the IGN to determine the order of the point in Table 1. It is recommended to use at least the points of Order C for the placement of these.

The control points of the project must be located in clear places to avoid interference from the satellite signal and protected for their safety, the pairs of points must have visibility to each other, to allow the respective distance measurement.

Table 1 (Technical Specifications for Positioning)

| Minimum number of control stations of the Horizontal Geodetic Network that must be linked: | O | A | B | LINK |
| --- | --- | --- | --- | --- |
| 0 | 8 |  |  | NETWORK |
| A | 3 | 3 |  | NETWORK |
| B | 3 | 3 | 3 | NETWORK |
| C | 1 | 1 | 1 | BASELINE |
| SUPPORT (PFCH) | 1 | 1 | 1 | BASELINE |

| Separation of the stations | 0 | A | B | C | SUPPORT (PFCH) |
| --- | --- | --- | --- | --- | --- |
| Maximum separation (km) between base stations within the project area | 4000 | 1000 | 500 |  |  |
| Maximum separation (km) between base stations and the point to be established | 3500 | 500 | 250 | 100 | 100 |

# TOPOGRAPHIC SUPPORT POLYGON

The horizontal and vertical control points will be located.

## Horizontal Control

Includes the measurement and adjustment of the support.

      - Topographic control points will be established, which will serve as the support polygon for the land survey and will be properly monumented. These points will have to be visible to each other for the measurement of the traverse.

      - The measurement of the support traverse will consist of directly obtaining the angles at the vertices and the distances of each of the sides of the polygon.

      - For the angular closure of the support polygon, the permissible error shall be determined by the following expression:

Eadm = ±R√n Where: R = precision of the equipment used n = number of vertices of the polygon

      - For the linear closure of the support polygon, the minimum relative error will be: Er= 1:5,000.

      - The report of the topographic support polygon work will include: Methodology, sketch of location and referencing of the vertices of the support polygonal linked to the geodetic control points, calculation and adjustments of the support polygon, results table, photographic panel, technical specifications of the equipment and materials used, as well as the presentation of the Equipment Calibration certificates.

## Vertical Control:

The vertical control of the land survey will be carried out by means of geometric or differential leveling.

      - Information will be located and obtained from the BMs established by the Relevant Governmental Authority, in order to transfer the official level to the project.

      - The leveling will have to be compound and in a closed circuit and using as a permissible error the expression: ± 0.02 ∗ √k; where "k" is the level distance in kilometers.

      - Two (2) BMs will be strategically located and monumented in the project area for each project area, in places that are not reached by the works during the execution of works and are visible to each other for the purposes of staking out the work. For these milestones, their UTM coordinates must also be established. For easy location, they will be built with the following specification: concrete compressive strength factor (f'c) = 140 Kg/cm2 of 20x20x40 depth by placing a bronze plate (4" register type), in which the BM will be indicated. In the case of the Tourist Roads, a BM will be located and monumented every 500, also in duly protected places, outside the scope of the works and referenced to immovable points, taking as a reference the levels of the nearest IGN vertical control milestones that exist in the area.

      - In the event that the BM of the National Leveling Network of the IGN is not relatively close to the project area, after communication and supporting report, duly reviewed and approved by the Supervisor, the CONCESSIONAIRE may use the geoidal height resulting from a point, processed with the EGM96 Geoidal Model, measured from an Official BM, using geodetic methods.

      - The report on the vertical control work will include: Methodology for data collection, adjustment and compensation of the leveling circuits considered, results table, sketch, and copy of field notebook.

# LAND SURVEY OF THE STUDY AREA

- The land survey will be conducted based on the topographic benchmarks established for the control polygon, which will have UTM coordinates, WGS-84.

- The measurements for the land survey will be conducted using a total station with a maximum angular accuracy of five seconds (5”)

- The measurements will be made by the radiation method, taken from each vertex of the support polygon, by means of which the coordinates (E, N) and elevation for each point will be obtained. In addition, each point will have a sequential numbering and a description read by the total station.

- Additionally, THE GRANTOR may propose the use of other methodologies, such as Photogrammetry or the use of geodesy through the RTK method, which must be approved by the Supervisor. In such case, the costs arising from such work shall be borne by THE GRANTOR

- The information obtained must include the planimetric and altimetry details of the existing structures within the area involved in the project, interior and exterior of the land designated for the project.

- The report of the Land Survey work will include: Methodology, topographic plan with contour lines, perimeter plan, location plan and plan of profiles and cross-sections, at a convenient scale. Photographic Panel, technical specifications of the equipment and materials used, and certification of calibration of the equipment used.

# PLANS CONTENT

  - LOCATION AND SITE PLAN

The location and site plan must include indications of the most notable landmarks in the area (such as main squares, educational centers, municipal buildings, rivers, ravines, or the archaeological monument itself) and depict the optimal route to follow from these notable landmarks.

# PERIMETER PLAN

The format must be designed for a 1:500 scale plan for station areas and a 1:2,000 scale for roadways. For digital presentation, it must be in LAYOUT mode while maintaining a 1:1 scale and geo-referencing in the MODEL. The presentation must be provided both in physical and digital formats and must include:

    - The polygon of the property, including its perimeter measurements, area, and adjoining properties. The vertices must be indicated and numbered, starting from the left side of the front of the property and following a clockwise direction.

    - Magnetic North or North orientation. - The orientation indicated must coincide with that stated in the location plan and the floor plan;

    - Technical Data Table. - It will indicate the vertices, sides, distances specified in meters and up to two (2) decimal places; as well as the angle of each vertex in degrees-minutes-seconds; and, the values of the coordinates of the East (X) and North (Y) vertices – referred to to up to three decimal places. The area of the land must appear in this table.

    - DATUM, Coordinate System, Zone, Scale. - the official DATUM WGS84 and the UTM Coordinate System will be recorded, the UTM Zone where the raised property is located (17, 18 or 19) will be placed.

    - Topographic Support Polygon Used for the Survey.

    - Location Plan.

    - The polygonal obtained must be contrasted with the technical data of the property title, in order to determine the possible differences that merit a rectification procedure or the identification of additional land areas.

# TOPOGRAPHIC PLAN

When conducting the land survey, the number of points and stations must be such that the surface obtained accurately represents the terrain's morphology. In some cases, additional details will need to be provided. The topographic plan will minimally contain the following:

    - The contour lines will be defined by THE GRANTOR and approved by the Supervisor according to the specific needs of each survey (stations, cable car layout and tourist roads).

    - The topographic fill points must be maintained on the plan, showing only the dimension of each of them and in a format that does not disturb the visibility of the rest of the elements of the plan. These points will be placed on a separate layer to be able to view or turn them off.

    - Location and exact location of the BMs required for vertical control, which must be well monumented on the ground in a place and in a way that lasts with the following specification: compressive strength of concrete (f'c) = 140 Kg/cm2 20x20x40 deep by placing a bronze plate (4" register type), on which the BM will be indicated.

    - Indication of the exterior of the land, perimeter streets, necessarily indicating the points or exterior levels of the perimeter or boundary. The sections of the projected roads must be presented

    - Area of the land, which must be compatible with the legal documentation, and built area by levels. The boundaries should be indicated according to the title of ownership.

    - Verify the existence of public electricity networks. If there is one, indicate whether the supply is three-phase or single-phase, indicating the type of connection (overhead or underground) and the location of existing energy meters. Verify the supply number, contracted power, etc. Additionally, if applicable, indicate the presence of existing posts and electrical substations. In some localities where municipalities generate and distribute electricity, the type of generation should be indicated, which may be through mini-hydroelectric plants or by Generating Sets. The result of the verification must be reflected in a plan.

    - Verify whether or not there are public sewage and potable water networks, commenting on whether they are operational, and indicate the entity or company responsible for the potable water and sewage service. Additionally, if they exist, the cover elevation, bottom elevation, depth, and the number of manholes located on the public roads adjacent to the property should be indicated. The result of the verification must be reflected in a plan.

    - Regarding neighboring lands and constructions, the CONCESSIONAIRE must accurately indicate the contour lines and levels of the adjacent lands, with a minimum interval of 3.00 m. beyond the existing boundaries and, in the case of streets, across their entire width. If there are neighboring constructions, indicate the type of construction, materials, heights, and foundation details.

# CROSS-SECTIONS AND PROFILES PLAN

At a minimum, three longitudinal cuts that cross the terrain, including the width of the adjacent streets, and three transversal cuts with the same characteristics must be presented This plan will contain the following:

    - Longitudinal profile of the mandatory longitudinal and transversal sections, showing the terrain elevation at every 10 m. The location of the property boundaries of the property shall be indicated in these profiles. "In case of being adjacent to neighboring constructions, the levels and elevations of these should be indicated, if possible, along with the number of floors and the construction materials used.

    - Longitudinal profile of the entire perimeter of the property starting at point 1 of the perimeter and clockwise, showing the level of the land every 10 m.

    - Cross-sections of the perimeter at every 10 m of spacing and in a width that covers 10 m. on each side of the perimeter polygon.

    - Longitudinal profiles of all adjacent streets, indicating, if any, the location of the existing mailboxes, their cover level and depth level.

# SUBMISSION OF THE DESCRIPTIVE REPORT

The content of the descriptive report submitted by the CONCESSIONAIRE must include the following:

- The description of the topographic procedure used, both in the field and in the office, as well as the calculation records of the support polygon and leveling circuits.

- Indicate the adjacent boundaries, area, and perimeter of the land.

- Attach photographic views, at a minimum, including panoramic shots to support:

  - Urban environment, streets, accesses, etc.

  - Rural environment, streams, rivers, etc.

  - Land survey, responsible professional and personal carrying out topographic work.

  - Terrain configuration (contour lines, contour changes, etc.)

  - Monumented, painted, and numbered landmarks of the support polygon, BMs (Benchmark Points), and perimeter polygon.

- Technical sheets, in accordance with the formats predefined by the Supervisor, stamped by the responsible professional.

- Verification of the existence of public electricity networks. If there is one, indicate whether the supply is three-phase or single-phase, indicating the type of connection (overhead or underground) and the location of the existing energy meter, as well as the supply number, the contracted power, etc., and, if there is one, the presence of an electrical substation group. If the electrical networks are managed by municipalities or local governments, the source of energy generation must be indicated, such as mini-hydroelectric plants or generators.

- If there is no public drinking water service, indicate if there is another source of drinking water.

- If applicable, a brief description of the condition of the existing sanitary, electrical, and drainage networks, along with their respective photographic panel.

# SCALE OF PLANS

The scale to be used will be as following:

- Topographic plan and layout: Scale 1:200

- Location plan: Scale 1:1000 or 1:10000

- Perimeter Plan: Scale 1:500 or 1:2000

- Location Plan: Scale 1:1000 or 1:5000

ANNEX No. 08 - APPENDIX 5 – CONTENT FOR THE DRAFTING OF THE MECHANICS STUDY OF SOILS FOR THE CABLE CAR STATIONS AND FOUNDATIONS

The CONCESSIONAIRE shall carry out the mechanics study of soils under its own responsibility and in accordance with the methodology established for the development of the studies and in accordance with the Applicable Laws and Provisions, being at its discretion the incorporation of different and complementary parameters to those referred to in this Appendix, which should be considered only as a reference and of minimum content. The parameters referred to in this document will not exempt the CONCESSIONAIRE from its responsibility in the design of the infrastructure of the Project, so that the objectives of the Project, as well as the Applicable Laws and Provisions. The study must contain at least the following:

# GENERALITIES

    - OBJECTIVE

Execution of the mechanics study of soils in order to determine or support the characteristics of the foundation systems for the components of the Project.

The soil study will contemplate alternatives for analyzing the admissible capacity of the foundation soil for appropriate foundations for the components of the Project.

# REGULATIONS

It is the responsibility of the CONCESSIONAIRE to consider the Applicable Laws and Provisions for the fulfillment of its obligations. Soil studies must be carried out in accordance with said Applicable Laws and Provisions, and considering the respective technical standards.

# LOCATION AND DESCRIPTION OF THE STUDY AREA

- Area under study, in accordance with the properties referred to in the Annex No. 02.

- Attach map of the area and location plan in the same EMS report. georeferenced in UTM coordinates in the WGS84 system and corresponding area.

# GENERAL DATA OF THE AREA

The mechanics study of soils must note, if the information is known, the previous uses of the land (cultivation, quarry, landfill, waste deposit area, etc.).

# ACCESS TO THE STUDY AREA

The mechanics study of soils shall describe the access to the study area and the existing means of transportation in the zone, as well as the approximate travel time to the site from the main nearby localities.

# METHODOLOGY

The methodology to be implemented for the development of the studies must be described, taking into account compliance with the Applicable Laws and Provisions.

# GEOLOGY AND SEISMICITY OF THE STUDY AREA

    - GEOLOGY

The geology and seismicity component will include:

- Description of the main geological aspects, including a figure that locates the project to be executed on the corresponding geological map (geological maps from INGEMMET).

- Aspects of internal and external geodynamics that could affect the work to be executed.

# SEISMICITY

- Rely on seismic microzoning or geotechnical zoning maps published by the Relevant Governmental Authority

- Attach a seismic zoning map (in accordance with the Applicable Laws and Provisions on seismic resistant design). In the event that there are Quaternary geological faults less than forty (40) km away, which have been reported in the Map of Quaternary Geological Faults of Peru approved by the Competent Government Authority, the study shall analyze said geological hazard and recommend the necessary considerations regarding its seismic hazard.

- The seismic parameters (Z, U, TP (s), TL (s), S, C) will be described and defined. The graphic of the spectrum of generic design specific to the study area will be included.

It is recommended that the seismicity component include the aspects of seismic microzoning, defining the design parameters to be taken into account.

# FIELD INVESTIGATION

- Description of the characteristics of the investigation conducted

- indicate the type of exploration conducted (test pits, boreholes, SPT, DPL, etc.), the quantity, and the application of the type of test must be within the framework of the Applicable Laws and Provisions regarding soils and foundations.

- Present a summary of the fieldwork carried out, accompanied by photographic views showing the found strata and the boreholes performed.

In the case of finding sandy soils or areas where the geological zone of interest is influenced by sand deposits, and high groundwater levels are present, making it impossible to carry out test pits or demonstrating the need to evaluate soil liquefaction, the CONCESSIONAIRE shall coordinate with the Supervisor to determine the extent of the need to complement the field investigation with the Standard Penetration Test (SPT), which will be the responsibility, cost, and risk of the CONCESSIONAIRE.

# FOUNDATIONS OF THE STRUCTURES TO BE CONSIDERED FOR THE CALCULATION OF THE ALLOWABLE LOAD CAPACITY

It should be taken into account that the foundation proposals will contemplate supported structures in continuous foundations, square footings, rectangular footings, cisterns, etc.

To determine the allowable soil capacity, the following will be considered:

- Various dimensions of continuous foundations, footings and slabs applicable for various embedment depths and that are useful for the subsequent structural design considering buildings of 1 to 3 levels.

- In soil studies where the allowable capacity is less than 0.5 kg/cm², alternative solutions must be presented.

# LABORATORY TESTS

The following tests will be mandatory:

- Granulometry.

- Moisture content.

- Atterberg limits (liquid limit, plastic limit, plasticity index).

- Soils Classification.

- Chemical analysis of soil aggressiveness (TSS content, Chlorides, Sulfates, pH).

- Chemical analysis of water aggressiveness (when groundwater is present)

- In situ density, water replacement method in the case of granular soils or volumetric weight in the case of fine soils.

- Appropriate test to evaluate the shear resistance of the soil according to the conditions found in the field.

- Collapse test in case of evidence of soil strata with such characteristics (cemented, carbonated, or caliche) to evaluate their collapse index "Ic".

- Unconfined compression test in the case of cohesive soils (clays corresponding to the foundation ground)

- Soil consolidation test in case of clays that correspond to the foundation ground (considering appropriate loads according to the project structure).

- Appropriate test to estimate the parameters involved in the estimation of elastic and consolidation settlements.

- CBR (California Bearing Ratio) + Proctor Modified.

# STRATIGRAPHIC PROFILES

For each borehole, a description of the different strata constituting the investigated ground will be provided, and relevant information will be included according to the technical regulations for the preparation of the Soil Use Manual, in accordance with Appendix 2 of this Annex No. 10.

# ONE-DIMENSIONAL PROFILES

Profiles will be developed for all direct and indirect boreholes conducted, with relevant information indicated in their description according to the technical standards for the development of the Soil Use Manual, in accordance with Section 1.2 of this Appendix.

# TWO-DIMENSIONAL PROFILES

Various longitudinal and transversal profiles must be presented, crossing the areas to be intervened, clearly defining the natural ground level (N.T.N.), soil strata, groundwater level (if present), found fill levels, and the recommended foundation depth (N.F.C.). In the two-dimensional profiles, the surface excavation mounds found in the study area must also be shown.

# FOUNDATION ANALYSIS

    - FOUNDATION DEPTH

The foundation analysis will detail the recommended depth for each alternative and include a summary table specifying the considered structures, their embedment depth (Df) in meters, their lowest N.P.T., and their recommended foundation depth (N.F.C.). It will also include information for minor works, such as booths, perimeter fences, as well as other complementary structures such as elevated tanks, cisterns, etc., as appropriate.

# THE TYPE OF FOUNDATION

The foundation analysis details, at a minimum, the foundation alternatives such as continuous footings, isolated footings, and slabs. It also includes information for minor structures such as booths, perimeter fences, and, if applicable, other complementary structures such as elevated tanks and cisterns.

Except in exceptional cases, deep foundations should be considered if required due to soil issues, geological or climatic hazards, or structural load capacity requirements. Additionally, other soil improvement techniques or special foundations should be included if justified.

# CALCULATION AND ANALYSIS OF THE ALLOWABLE BEARING CAPACITY

      - The foundation analysis must include the corresponding calculation report for the allowable bearing capacity, presenting the theoretical basis, sources of information, parameters, and numerical values used, as applicable, justifying the criteria for the proposed formulation.

It must apply the safety factor as established by the applicable regulations or its amendments.

      - The foundation analysis must present alternative solutions for different types of foundations applicable to the projected structures, both main structures (modules, pavilions, etc.) and minor works (perimeter fences, guardhouses, small buildings), and, if applicable, for swimming pools, cisterns, elevated tanks, among others.

# SETTLEMENT CALCULATION

      - The foundation analysis must present the calculation supporting the estimation of settlements caused by induced pressure, explicitly indicating the values of the coefficients used and the source of information for the applied formulations.

The parameters used in the settlement calculations for the foundations must be detailed and justified.

      - In cases of problematic soils (e.g., collapsible soils), the allowable bearing capacity must be reformulated, either due to the use of a non-conventional foundation such as slabs, piles, micro piles, among others, or due to the need for engineered fills (controlled fills) or the application of soil improvement techniques. For any of the cases, the calculation report of the admissible capacity of the must be included and must be correlated with the maximum permissible settlements.

# CALCULATION OF EARTH PRESSURE ON RETAINING STRUCTURES

The soil mechanics study must include the calculation of earth pressures on retaining elements in accordance with current regulations to determine the types of earth pressure coefficients required for the design of retaining structures.

If the groundwater table is present in the terrain, the Soil Mechanics Report must provide recommendations on the subdrainage system for groundwater management. It must specify whether the bearing capacity calculation is performed under saturated and/or dry conditions. Additionally, for the bearing capacity calculation, the report must present various footing dimensions to provide the Concessionaire with multiple alternatives to consider.

# PAVEMENTS DESIGN

The design and characteristics of the structural package of the pavement must respect the Applicable Laws and Provisions and the technical standards on the design and construction of floors and pavements.

In addition, the design of pavements may consider the regulations AASHTO.

In the event that the subgrade qualifies as inappropriate, all the necessary recommendations must be provided for the stabilization of the soils or their corresponding replacement.

The flexible pavement designs will be for periods of ten (10) and fifteen (15) years of useful life; while, in the case of rigid pavement, the useful life periods will be twenty (20) and thirty (30) years. In the case of interior pavements, the estimation of the vehicle count, traffic growth rate, and equivalent axes must be made based on the number of parking spaces and use of the pavements.

In addition to the design of rigid and flexible pavement for vehicle traffic, the design must include the necessary recommendations for interior and exterior slabs, sidewalks, walkways, and pedestrian passages.

A summary table must be included with the design of the pavements, as well as the graphic diagrams summarizing the materials and thicknesses that make up the structure of the pavements.

# SOIL AGGRESSION TO THE FOUNDATION

The results obtained from the soil chemical analysis, including the content percentages in representative samples, must be attached.

In the case of the presence of a groundwater table, the design must include the chemical analysis of the water in the study

According to these results, he or she should recommend the type of cement to be used, or the special treatment as the case may be.

The recommendations for the type of cement must be consistent with the stipulations of the technical standards on reinforced concrete. In the event that the chemical aggressiveness results indicate different levels of severity that lead to different types of cement to be used, a chemical aggressiveness zoning map must be included.

# CONCLUSIONS - RECOMMENDATIONS AND ANNEXES

    - CONCLUSIONS AND RECOMMENDATIONS

The recommended solution alternatives must be described, such as type of foundation support stratum, foundation embedment depth, N.F.C., admissible load capacity, differential or total settlement, type of cement to be used, etc.

A Summary with the Foundation Conditions must be submitted, following the provisions of the technical standards on soils and foundations, as well as including the seismic parameters (Z, U, TP (s), TL (s), S, C) and the parameters for the design and construction of support works.

The results of the design of rigid and flexible pavements for the access roads must be presented and parking.

It will consider all necessary recommendations for base, subbase, and subgrade treatment materials if applicable.

# FIGURES AND LOCATION PLAN OF BOREHOLES

In addition to the project location image, a borehole location map with UTM coordinates (north, east, and elevation) will be included to allow accurate placement. For the location of the test pits, the most recent topographic plan should be used.

# TABLES

The following four (4) tables: must be presented as a minimum:

- Summary of fieldwork based on direct and indirect boreholes.

- The number of laboratory tests should be provided, along with the corresponding technical standard.

- Summary of laboratory tests (table of results of standard tests and another for special tests).

- Aggressive chemical elements to the foundation, in accordance with the established technical standards.

# ANNEX I

All records of excavations or test pits conducted will be shown.

# ANNEX II

All records of excavations or test pits conducted will be shown.

# OTHERS

    - SUBMISSION OF PHOTOGRAPHS

In the photographs to be presented in the soil report, the explorations carried out, the material extracted and the types of strata found must be identified and shown.

A panoramic photograph of the areas of the stations, towers or sections of the tracks where the exploration is carried out should be included, if possible, indicating their location. Photo views must display the following information:

- Overview of the terrain where each borehole is located before being Intervened.

- General view of each borehole showing the material extracted from the exploration. In addition, in the case of finding boulders or blocks, a photograph of this evidence should be included, reporting the maximum size in inches.

- Depth view of the excavation/exploration where the soil strata can be seen.

- In the case of finding gravel, boulders, or blocks, a view showing the Maximum Size in inches should be included

- Closure of the excavation at the end of fieldwork.

Panoramic photographic views showing the entire study area indicating the location of the explorations will also be included.

# MINIMUM NUMBER OF TEST PITS

The number and distribution of the explorations will be determined by the GRANTOR and approved by the Supervisor, so that they cover the largest possible extension of the area where the infrastructure.

For all test pits, the minimum exploration depth shall comply with the provisions of the Applicable Laws and Provisions on field exploration program and field testing of laboratory.

The minimum depth must satisfy all the projected structures, including those of great depth, such as cisterns and other structures that may be buried.

# CASE CLAYEY SOILS

When the soils are clayey, consolidation tests must be carried out, and for soils with high expansive indices, free or controlled expansion tests should be performed. For these cases, coordination with the Supervisor is required to estimate an appropriate term for the execution of these tests.

# CASE OF HIGH GROUNDWATER LEVELS

      - In the case of encountering high groundwater levels in sandy soil layers, the Supervisor should be informed of the need to perform probabilistic and deterministic analyses of the soil liquefaction potential according to the Applicable Laws and Provisions regarding soils and foundations. For these purposes, coordination with the Supervisor will be made to schedule the execution of a complementary investigation program that includes conducting SPT boreholes.

      - In the case of encountering high groundwater levels in layers of soft soils, the Supervisor should be informed of the need to carry out a complementary investigation program that includes conducting Standard Penetration Test (SPT) boreholes with undisturbed sampling using the Shelby tube method, followed by consolidation soil tests and unconfined uniaxial compression tests in the laboratory.

# CASE OF FILL LAYERS GREATER THAN 2.5 M.

In the case of encountering fill layers at depths greater than 2.50 m, it is necessary to perform "Standard Penetration Test (SPT)" or "Light Penetration Tests (DPL)" (provided the terrain allows it and considering the limitations of the tests according to the Applicable Laws and Provisions on soils and foundations). The number of explorations to be carried out must be sufficient to cover the area to be investigated, the depth of these will be until reaching firm ground suitable for the execution of foundations, it will depend on professional criteria if the depth reached to firm ground is adequate from the point of view of the feasibility of the project.

In the event of detecting uncontrolled fills at depths not exceeding three (3) meters, it is allowed to remove these materials until leaving a natural ground surface on which the execution of the SPT tests begins. In the event that the depth is greater than three (3) meters, the drilling system must be changed to mechanical rotary without the need to remove the uncontrolled backfill.

The execution of these scanning methods should be communicated to the Supervisor.

# UNEAVENNESS, PLATFORMS, AND FOUNDATIONS

The unevenness of interior platforms or the differences in elevation with respect to the perimeter of the Stations should be presented. The following coefficients are recommended for supporting elements such as: Depth (established by static segments, unit weight, cohesion, friction angle, static passive coefficient, push reduction factor, dynamic active coefficient, dynamic repose coefficient, dynamic passive coefficient, and friction coefficient under the foundation). Additionally, where applicable, all necessary recommendations for the support of buildings, perimeter walls, pavements, and neighboring terrains must be included. This should consider the possibility of these being destabilized due to an earthquake or overloads during construction, which should be reflected in the corresponding calculations

To comply with the indications, all the information regarding the soil profile that will be involved by the shoeing or support work must be provided. Such information must include at least: the soil profile showing its different strata and the water table, the physical characteristics, the unit weight, the cohesion value and the internal friction angle of the different strata that compromise it, as applicable, and must be obtained in accordance with the technical standards on soils and foundations. These same parameters must be provided in the event of an eventual saturation of the soil.

In the event that the pumping of the water table is required for the construction of the groundwater or support works, horizontal and vertical permeability coefficients of the ground must be proposed, applicable to the calculation of the flow of water to be extracted, and must prevent any negative consequences that may be caused to the work or to the existing buildings by the act of pumping or lowering the water table.

# FOR MINOR WORKS

For minor works, such as perimeter fences, sheds, sports slabs, bleachers, ramps, or exterior stairs, the relevant recommendations should be presented, considering that they transmit minimal loads. Therefore, a range of shallow foundation alternatives, including pad footings and strip foundations, should be included for these minor works.

In the event of the existence of perimeter fences in adjoining properties, all the details must be taken so that the works that are planned do not affect said third parties.

# RECOMMENDATION REGARDING SUBGRADE TREATMENT

Recommendations for the treatment of subgrades in floors, sports slabs, patios, sidewalks, parking lots, among others, should be provided, indicating the cutting thicknesses (whether through superficial filling), structural fill thicknesses, including their granulometric specifications, placement method (number of layers and compaction degree or CBR), layer thicknesses, as well as the quality control tests, minimum acceptance values for placed layers, and the frequency of execution of quality control tests

For cases where uncontrolled surface fills or organic material are found, the appropriate treatment for these cases must be recommended, which will include removal of filling material with replacement of affirmation layers or granular material, indicating the thicknesses of these and the degrees of compaction necessary to receive the concrete layers in the execution of exterior works.  such as patios, sidewalks, sports slabs, among others.

In the same way, the same will be done for interior works, that is, interior floors; In both cases, the treatment of the subgrade will be indicated. These recommendations must be consistent with the Applicable Laws and Provisions on urban pavements and soils and foundations.

The Soil Study will provide as input data for pavement design the type of material (SUCS classification), the integral granulometry (including gravel), CBR test, and Modified Proctor test, taking into account the Applicable Laws and Provisions, and technical standards for urban pavements. On this basis and taking into consideration the accesses, parking lots, bicycle lanes, accesses, parking lots, interior roads, among others, the design of the rigid or flexible pavements will be carried out.

# SUBMISSION OF DOCUMENTS, ESSAYS, CERTIFICATES

All documents, certificates, essays will be signed by those responsible and endorsed by the professional who has been commissioned to study.

ANNEX No. 08 - APPENDIX 6 - CONTENT FOR THE DRAFTING OF THE SOIL STUDY, QUARRIES AND WATER SOURCES FOR TOURIST ROADS

# SOIL STUDY

- Information will be collected on the characteristics and condition of the terrain along the section where the road is projected.

- The Concessionaire must establish the Stratigraphic Profile (Horizontal 1:10,000 and Vertical 1:12.5) of the soil along the projected route of the road to be built.

- For the definition of the Stratigraphic Profile, the CONCESSIONAIRE must carry out study prospections. The surveys must not be less than two (02) for each kilometer of road, uniformly spaced, alternately (left – right) and within the strip of the projected road. In case of differentiation in the characteristics of the strata between adjacent test pits, an additional test pit will be made between both The Concessionaire may use as reference information the results of the test pits obtained from previous studies conducted in the area; furthermore, they will present photographic views of all the test pits carried out, showing the strata found and the depth of each test pit

- The study depth shall be at least 1.50 m below the projected subgrade line; if organic or expansive soils are found, the depth of exploration should be increased so that the power of deeper strata can be determined. The evaluation must determine the presence or not of organic or expansive soils, in order to recommend concrete actions on the treatment to be carried out in these areas during the construction process.

- The Concessionaire shall submit for each pit, an Excavation Record (stratigraphic column), where:

  - Indicate the thicknesses and description (type of material, color, moisture content, compaction, etc.) of each of the strata found, including the surface layer).

  - It will present photographic views of each of the test pits, showing the strata found and the depth of each excavation.

- The test pits must be protected for evaluation and be duly referred to the polygonal system (alignment of the projected track) for its location. For safety, the test pits will be duly filled and compacted once the evaluation has been completed and each of the strata found has been sampled in sufficient quantities for the execution of the corresponding laboratory tests.

- The amount of material sampled must be such that verification tests can be carried out, especially of the strata selected for the execution of Proctor and CBRs.

- The Concessionaire will analyze and evaluate the samples, carrying out tests in the soil and materials laboratory in accordance with the EM-2000, ASTM, AASHTO and NTP Standards, which must be supported by certificates issued by a recognized laboratory, being responsible for the accuracy and reliability of the results.

- The laboratory tests of Soil Mechanics to be carried out on the samples of each stratum found in each survey (pit), will be carried out in accordance with the MTC's Road Materials Testing Manual and will be:

  - Grain Size Analysis by Sieving

  - Natural Humidity

  - Atterberg Limits (Liquid Limit, Plastic Limit, Plasticity Index)

  - Soil Classification by SUCS and AASHTO Methods

- A value of the CBR of the foundation land must be obtained for each type of soil and as a control of its permanence every two (02) kilometers at most, in order to obtain, after a statistical analysis, the determination of the design CBR, which corresponds to the Stratigraphic Profile (each sector and/or subsection of characteristics homogeneous).

- The Concessionaire will prepare the Stratigraphic Profile of the projected road, considering the ground levels, based on the information taken in the field and the results of laboratory tests; indicating type, thickness of the different soil strata, as well as their characteristics such as density, humidity, support value, plasticity, etc.

- It will evaluate the stratigraphic profile and according to the physical-mechanical characteristics, it will determine critical sectors and sectors with homogeneous characteristics.

- In order to establish the Design CBR, the analysis of the soils will be carried out from the point of view of support capacity for the projected pavement, which will conclude in the sectorization of the road if possible. The design CBR for the pavement structure can be determined based on the highest value observed in the sector or based on the statistical calculation of all CBR tests conducted and the total soils encountered.

- The Concessionaire, in addition to the laboratory test certificates, must present tables summarizing and systematizing the results of these tests, indicating test pit number, progressive depth, sample, stratum depth, percentages of material retained on Sieve No. 04 and No. 200, physical constants (Liquid Limit and Plasticity Index), natural moisture, SUCS and AASHTO classification, Proctor (maximum dry density and optimum moisture content), and CBR (at 95% and 100% of MDS).

- The Concessionaire will prepare the stratigraphic profile of the road, considering ground levels and the levels of the projected subgrade, as well as base on the information taken in the field and the results of laboratory tests and will represent graphically the types of soils and physical-mechanical characteristics, thickness of the strata, water table and other observations that it deems necessary. Likewise, it will evaluate the profile and, according to the physical-mechanical characteristics, determine critical sectors and sectors with homogeneous characteristics, indicating the recommendations on the treatment they should receive during the construction of the work.

- The profile must include all information that could explain the condition of the surface soil and natural terrain to a depth no less than 1.50 meters below the projected subgrade Areas with slope stability problems, steep slopes, sharp curves, etc. should be indicated.

- In the Profile, in accordance with the Highway Research Board, the types of soils, thickness of the different strata, physical-mechanical characteristics of each of the strata will be represented graphically, according to the results of laboratory tests, water table and other observations considered by the Concessionaire.

- The Descriptive Report of the Soil Study must consider the description of the soils found, current condition of the surface and structural condition of the foundation land, location of inadequate materials (organic or expansive soils), weak soils (if any), presence of water table, analysis of the totality of the results of laboratory tests, with their recommendations, treatment, solutions and other observations in this regard that the Concessionaire considers.

- The study must specify the depths (thicknesses), widths and lengths of those sectors where improvements will be made, either due to the existence of inadequate materials, weak soils of the projected route, as well as the cuts of slopes or platform widenings, indicating the characteristics of the material for improvement, the construction procedure and the corresponding measurements.

- The analysis of the soils will be carried out from the point of view of support capacity for the projected pavement, which will conclude in the sectorization of the road if possible. The CBR of design for pavement structuring is the value with the highest incidence in the sector, so its calculation is due to the statistics of all the CBR tests carried out and all the soils found; then said Design CBR will be used to establish the structure of the pavement.

- The Concessionaire will analyze and evaluate the samples in the soil and materials laboratory, being responsible for the accuracy and reliability of the results.

# QUARRIES AND WATER SOURCES

- The quarries to be used for the formation of the base layer and the preparation of concrete mixes will be located. Only quarries that demonstrate that the quality and quantity of the existing material are adequate and sufficient for the construction of the project, and that comply with the requirements established in the applicable standards, will be selected. Additionally, they must meet the environmental criteria established in the environmental assessment report.

- The work to be carried out in the field, laboratory, and office will be aimed at developing activities that allow for the evaluation and establishment of the physical-mechanical characteristics of the aggregates from the quarries to determine their quality and suitability for different project requirements.

- At least one (01) quarry will be located for each proposed road, which will be used in the various structural pavement layers (fills, base course, etc.), borrow areas for fill material, as well as stone aggregates for the production of hydraulic concrete. These quarries will initially be proposed with the necessary estimates or discarded based on the experience of the responsible professional.

- The land survey will be carried out only of those quarries that will be used in the project to determine the uses, volume and power of the bank of materials, they must be delimited on the ground by means of easily located milestones. Likewise, the GPS coordinates of these quarries will be specified.

- The quarries will be analyzed and classified, evaluating their quality, power, performance, accessibility, state of the access roads and their legal status (free availability).

- The Concessionaire shall calculate the volume of usable and disposable material and recommend, the period and opportunity of use, calculating the yield for each use; indicate the operating procedure and its availability to provide the different types of materials to be used in the work.

- The Concessionaire will recommend, if applicable, the types of plants for the production of aggregates, for the different granulometric spindles, will indicate the requirements of production performance.

- The quality of the aggregates of the Quarry will be determined by compliance with all the Basic Technical Specifications of the Project.

- In order to determine the strata to be exploited, utilization, yields and power of the quarries, the CONCESSIONAIRE will carry out explorations (minimum 02 surveys for each area less than or equal to one hectare) by means of test pits, boreholes, pits and/or trenches of depths not less than the maximum depth of exploitation. In the event that the operation depth is greater, the Concessionaire must deepen the pits and/or make complementary test pits, in order to reach the operation depth and guarantee the real power of the Material Bank.

- The Concessionaire will present an Excavation Record for each of the test pits made in the quarries studied, where it will detail the characteristics of the aggregates, shape, size, humidity, color, etc.

- Laboratory tests to determine the physical, chemical and mechanical of quarry materials, shall be carried out in accordance with the applicable standards, and they will be according to the proposed use, among which are the following:

  - Standard Trials:

    - Grain Size Analysis by Sieving

    - Material passing mesh No. 200

    - Natural Humidity

    - Absorption Percentage (coarse and fine aggregate)

    - Atterberg limits (material passing the Mesh No. 40)

    - Soil classification by SUCS and AASHTO

  - Special Trials:

    - Modified Proctor

    - California Bearing Ratio (CBR)

    - Percentage of flat and elongated particles

    - Percentage of particles with one and two sides of fracture

    - Absorption percentage (coarse and fine aggregate)

    - Equivalent of sand

    - Abrasion

    - Durability (coarse and fine aggregate)

    - Coal and lignite (coarse and fine aggregate)

    - Total Soluble Salts

    - Sulfate and chloride content (coarse and fine aggregate)

    - Organic impurities (coarse and fine aggregate)

    - Lumps of clay (coarse and fine aggregate)

    - Volumetric weights (loose and compacted, coarse and fine aggregate)

    - Specific weights (loose and compacted, coarse and fine aggregate)

- In the case of rocks and/or rock outcrops that have been proposed as quarries, the quality tests will also include:

Macroscopic petrographic description of the rock.

Definition of outcrop characteristics (volume, fracturing, block sizing, etc.)

Recommendation of the operation processing methodology (blasting method, crushing, etc.).

- The Descriptive Report must provide information on: the location of the material source, its accessibility (length and condition), type of material source, description of the aggregates, strength, yield, uses, treatment, type and period of exploitation, owner, and any other relevant information deemed necessary by the Concessionaire.

- It must determine the location of the Water Sources, carry out their chemical analysis and determine their quality to be used in the work (for concrete mixtures, granular layers and others). The following tests must be carried out at least: soluble salts, organic matter, PH, chloride ion content and sulfate ion.

- It must evaluate the requirements of the accesses to the quarries, considering the needs to build or improve them, it will also indicate if the accesses are located within third-party properties.

- The Concessionaire shall submit a quarry and water source plan, which will concisely and clearly present the results of field investigations and the Descriptive Report. This plan shall include details such as the location of quarries and water sources, the length and condition of access routes, aggregate characteristics, uses, strength, yield, treatment, operation period, and equipment.

- The Concessionaire shall establish the legal and technical conditions or possible rights to exploit quarries, in order to carry out the corresponding procedures for obtaining the permits, authorizations and concessions of an environmental nature, as well as the easements, necessary for the extraction, use and exploitation of the natural resources required by the Project.

- In the case of river quarries (riverbeds) and water sources, the Concessionaire must take the corresponding steps to obtain availability permits from the National Water Authority.

- Quarries and water sources should not be located in archaeological zones or adjacent to them, and a new quarry and/or water source should be reconsidered.

ANNEX No. 08 - APPENDIX 7 - CONTENT FOR THE DRAFTING OF THE HYDROLOGY AND DRAINAGE STUDY FOR TOURIST ROADS

# OBJECTIVE

Execution of the Hydrology and Drainage study of the Tourist Roads of the Project, in order to propose the most suitable drainage system (sewers, ditches, fords, water diverters, etc.) that ensures the durability and preservation of the roadway's useful life and the environment.

# REGULATIONS

It is the responsibility of the CONCESSIONAIRE to consider the Applicable Laws and Provisions for the fulfillment of its obligations. Soil studies must be carried out in accordance with said Applicable Laws and Provisions, and considering the respective technical standards.

# GENERALITIES

The hydrology and drainage study must include the location of the study area, as well as a brief description of it. To do this, it must be supported by images, maps, or any graphic material that allows the identification of the study area and the section of the tourist road.

On the other hand, the scope of the work performed and the content of the study must be clearly defined.

# INFORMATION COLLECTION

To carry out the hydrological study of the drainage system of the roads, the precipitation records from the hydro-meteorological stations that are near the study area must be indicated and presented. Likewise, its location must be indicated. Precipitation records must be at least 10 years old.

In case there are no nearby hydro-meteorological stations or if the minimum recording time is not available, the CONCESSIONAIRE may consider using other sources in order to estimate the flow rates that will be generated in the area occupied by the roadway. This must be duly justified and communicated to the Supervisor, who must evaluate and approve the use of these sources.

# CARTOGRAPHIC INFORMATION

Cartographic information must be obtained from the national chart provided by the National Geographic Institute at an appropriate scale, in which the section of the road will be located, as well as the water sources and main courses that affect it. Based on this, the sub-basin map should be prepared.

# INFORMATION ANALYSIS

Based on the information collected from official sources and the field visits carried out by the responsible professional, the information obtained will be systematized and analyzed.

On the other hand, the frequency analysis must be carried out, indicating the methodology followed, as well as the type of distribution to be used and the return periods. To this end, the CONCESSIONAIRE may rely on the use of specialized software, which must be communicated to the Supervisor. Finally, the results obtained should be presented.

# DETERMINATION OF SUBCATCHMENTS AND DESIGN FLOWS

Based on the cartographic information, the basins and sub-hydrographic basins whose streams affect the road must be located and delimited. The characteristics of the sub-basins referring to the area, length of the main channel, average slope of the course and concentration time will be used in the calculations to obtain the design flows.

For the estimation of the design flows, the CONCESSIONAIRE may use different methods such as the Mack Matt method, Rational Method, Triangular Hydrograph, Hec HMS, among others. The method to be used must be previously communicated to the Supervisor and approved by them.

# DRAINAGE WORKS

The CONCESSIONAIRE must design the most appropriate drainage system for tourist roads, in addition to indicating the number, location and characteristics of the ditches and sewers projected for the discharge of water (passage or relief), taking into account that the proposed solution guarantees the operability of surface and subsurface drainage in times of flooding.

Additionally, the design of the proposed elements, technical specifications, and construction details for their implementation in the project must be presented.

# PLANS

- Political and Geographical Location

- Map of Basins and Sub-basins

- Location of hydro-meteorological stations, in which the section of the tourist road is clearly visualized.

- Location Plan of the Projected Drainage System.

- Detail Plan of the Projected Drainage System.

ANNEX 08 - APPENDIX 8 – BIM REQUIREMENTS

# INTRODUCTION

The use of the BIM methodology (Building Information Modeling)  will be implemented as part of the process of generating the Final Engineering Study established in the Concession Contract for the design, financing, operation and maintenance of the project "Improving Public Tourist Services at the Choquequirao Archaeological Park" (hereinafter, the Concession Contract), with all the specialties that it includes (architecture,  structure, safety, mechanical, telecommunications, electrical, sanitary) in the Design stage, and with respect to the stages of Execution of Works and Operation and Maintenance, according to the established provisions in the Concession Contract and this document, which defines the BIM requirements to be developed.

According to NTP-ISO 19650-1:2021, BIM is the "use of a shared digital representation of a built asset to facilitate design, construction, and operation processes, in order to have a reliable basis for decision-making." This digital representation integrates all the information of an investment, both graphic and non-graphic.

In this regard, within the framework of its adoption in Peru and according to its National Guide, BIM is defined as a collaborative work methodology for managing the information of a public investment. It uses an information model created by the involved parties to facilitate multi-annual programming, formulation, design, construction, operation, and maintenance of public infrastructure, ensuring a reliable basis for decision-making.

The BIM methodology aims to organize people, processes and tools, which guarantees integration and communication between all the actors involved.

## People

Consider the definition of organizational structure. BIM roles are the functions that one or more individuals will perform in the development of an investment by applying BIM. These do not define a new discipline or a new position; rather, they involve assuming responsibilities for specific actions that the parties involved in the BIM Information Management process must fulfill. These roles should be carried out by individuals who possess the necessary competencies to perform specific activities. However, it is important to provide training and progressively develop BIM knowledge at the organizational level.

## Processes

It focuses on understanding how the necessary activities to create or modify products and/or services through BIM are carried out, identifying the responsible parties and their roles, as well as the associated information flows.

The actions linked to this pillar seek to generate continuous improvement, and effective management, monitoring and control for the proper use of all resources.

## Tools

This pillar involves the technological tools (hardware and software) for the performance of the activities linked to the implementation of BIM, these technological resources must be aligned with the needs identified in all phases of the investment. However, this digital representation does not only integrate all the information of an investment, both graphic (such as, for example, three-dimensional pipes) and non-graphic.

The use of the BIM methodology will enable the project to be developed more efficiently in the delivery of the Final Engineering Studies.

# OBJECTIVE

The objective of this ANNEX is to establish the standards, collaboration strategies and requirements of the GRANTOR for the use of the BIM Methodology, for the project "Improving Public Tourist Services at the Choquequirao Archaeological Park”. Additionally, the working base for the project development using the BIM methodology allows all participants throughout the various stages of the project's development to produce and receive information collaboratively, facilitating the assertive and efficient exchange of information between the products developed and included in the Model by the different specialties, without the need to repeat and/or duplicate efforts, thereby increasing efficiency in the development and revision of deliverables

# GENERAL OBJECTIVE

The general objective of the use of the BIM Methodology in the drafting stage of the Final Engineering Study is to ensure constructability from the conceptualization stage of the design, anticipating and detecting all those problems derived from interferences or deficiencies in the total integration of the Project and in this way reduce losses of time and additional modifications to the Project.  strongly contributing efficiency and economy to the process.

In the Execution stage of the work, BIM becomes an organization and documentation tool that includes all the BIM models involved in the project, updated during the construction stage with the respective modifications made on site, to represent a reliable model with what has been built.

In the Operation and Maintenance stage, it becomes a tool for the continuous updating of the different specialties of the BIM models, through an information matrix that allows adding data about the life cycle of the installed equipment or elements, scheduling notifications when preventive maintenance or replacement is needed.

It also enables identifying components with their technical specifications, allowing for the replacement of malfunctioning equipment and maintaining a record of modifications made to the building.

# SPECIFIC OBJECTIVES

In the drafting of the Final Engineering Studies:

    - Develop the Final Engineering Studies using the BIM Model.

    - Improve communication through a workflow based on BIM standards and the use of Common Data Environment (CDE) technology among the involved parties, ensuring reliable and real-time information for proper decision-making.

    - Integrate the BIM models of the different specialties or disciplines into the CDE for design collaboration, conflict identification, revision and incident management from the early stages of the Project.

    - Verify, through the BIM Model, compliance with the applicable Technical Standards.

    - Provide coherence, transparency, and traceability to the project to ensure its constructability.

    - Visualize and perform virtual tours in the 3D model.

    - Audit, on behalf of the GRANTOR, the progress of the work and the dissemination of the solutions, both internally and externally.

    - Use BIM models as a source of information during the Project Design, being the main source of 2D documentation for the deliverables.

    - Use BIM models (3D coordination) for a better study of the proposed construction phases, integrated project coordination, and to define the preliminary design and project design.

    - Control the dynamics of the Project through the BIM model.

    - Reduce the uncertainty of the value of the work and work queries, extracting the quantities more efficiently, quickly and accurately directly from the BIM Models for the items and unit values (5D).

    - Ensure the delivery of accurate information of the completed work (As-Built BIM Model)

During the execution of the work:

    - Ensure the delivery of accurate information of the completed work (As-Built BIM Model)

In the Operation and Maintenance:

    - Update the BIM As Built Model based on the modifications made to the Project Infrastructures annually.

# DEFINITIONS

The following terms have been developed for the development of information management under the BIM methodology in accordance with the provisions of the BIM National Guide of the BIM implementation plan of Peru:

Asset: An item, object, or item that has potential or current value for an organization. These resources are controlled by a public entity as a result of past events (acquisition, transfer, construction, donation, etc.), with the expectation of generating future economic benefits or a potential for service delivery, contributing to the development of administrative functions or public purpose

Investments: These are temporary interventions that include investment projects and optimization, marginal expansion, rehabilitation and replacement investments - IOARR (DL 1252 Regulation, approved by DS 284-2018-EF). The process by which an investment is conceived, designed, evaluated, executed and generates its benefits for the effective provision of services and the provision of the infrastructure necessary for the development of the country is called the Investment Cycle, which consists of 4 phases: Multi-Year Programming of Investments, Formulation and Evaluation, Execution and Operation.

BIM: Building Information Modelling. It is a collaborative work methodology for the management of information on a public investment, which makes use of an information model created by the parties involved, to facilitate multi-year programming, formulation, design, construction, operation and maintenance of public infrastructure, ensuring a reliable basis for decision-making.

CAD: Computer Aided Design. (Computer-Aided Design)

CDE: Common Data Environment. Source of information agreed upon for any given project or asset, for the collection, management and dissemination of each container of information through a management process.

Information Container: A set of persistent, retrievable information from a hierarchical storage file, system, or application. Some examples of information containers are: a file (3D models, documents, an information table, a report, recordings, and videos), a database, or a subset such as a chapter or section, layer, symbol.

Quantity Tables: Set of data obtained through item quantification tables

FM: Facility Management

Information Model: It is equivalent to an information model. It is the set of containers of structured and unstructured information. It comprises all the documentation developed during an investment, which is in a reliable database of information

Federated Model: Information model composed of separate information containers, which can come from different work teams

Metadata: Metadata provides information about the data produced, meaning they are "data about data." They describe the content, quality, conditions, history, availability, and other characteristics of the data produced. Additionally, they provide a standardized inventory of the georeferenced data available within an organization, making them useful for users who need to verify whether a dataset is suitable for their needs or for those seeking to locate data in databases from different organizations.

LOD: The level of development (LOD) for all elements modelled in the different disciplines will follow that specified in the latest published standard of "Level of Development Specifications" of the BIM Forum. December 2020, a global reference.

Interference Reports: They include incompatibilities and/or interferences between the different Specialties, including their respective Systems and/or Services

ICE Meetings: The ICE Meetings, for its acronym in English, Integrated Concurrent Engineering, are intended to teach the progress of the Modeling of the different Specialties, as well as to clarify any doubts that arise as part of the lack of information in the plans.

# CONDITIONS

The following conditions are established for the development of the Project in BIM:

Develop a BIM Model for each specialty or discipline.

    - Develop a Federated BIM Model based on Information Models separate from the different specialties or disciplines.

    - Ensure that the models are translational between the different instances. The model must respond easily in each phase or stage of the Project.

    - Develop BIM Models with the objects/elements that allow to meet the expected BIM objectives and uses.

    - All the necessary modeled objects/elements must have parametric information (metadata) consistent with the objectives of the Project.

    - Maintain the Information Models as the only source of information for the Project, both in 3D and 2D in the necessary stages, being able to work in AutoCAD the information that cannot be extracted from the model due to the level of development to which the BIM objectives are adjusted, this information must be validated by the GRANTOR.

    - Maintain the Information Models constantly updated in all stages of the Project, which must be presented at the meetings established and requested by the GRANTOR, after coordination with the CONCESSIONAIRE.

    - Adhere to the BIM Requirements defined in this document for the drafting of the BIM Execution Plan (BIP) and development of the intelligent models.

    - Use a state-of-the-art collaboration platform or Common Data Environment (CDE) for real-time shared development and socialization of models among all those involved in the Project. The option to be used will be established in the BIM Execution Plan and validated by the GRANTOR.

    - The information exchange will aim to be as efficient as possible, allowing it to be monitored by the GRANTOR while also streamlining processes so that the reviewers stay informed and conduct preliminary validations of the CONCESSIONAIRE's deliverable progress, if applicable, during the development of the Final Engineering Study.

    - The software to be used will be defined in the BEP, which will be proposed by the CONCESSIONAIRE according to the need of the Project.

    - The CONCESSIONAIRE may propose Plugins that make the process more efficient or that serve for the collaboration and monitoring of the Final Engineering Studies.

# RESPONSIBILITIES

The use of BIM methodology is a resource that is used to reduce uncertainty and achieve more efficient processes and better deliverables. In order to meet these objectives, the following BIM roles and functions are established to be presented by the CONCESSIONAIRE as an integral part of the development of BIM projects.

The rights and responsibilities of the actors in the building process, who intervene as natural or legal persons, are determined in standard G.030 Rights and responsibilities, of the National Building Regulations.

Additionally, the following responsibilities will be established to ensure the proper execution and coordination of the BIM models. Therefore, the CONCESSIONAIRE shall be responsible for ensuring their quality:

    - The CONCESSIONAIRE must provide access to the intelligent BIM management models of the different specialties that are part of the BIM project throughout its entire and to all participants authorized by the GRANTOR.

    - The CONCESSIONAIRE must provide access to the Common Data Environment (CDE) to individuals authorized by the GRANTOR, granting them permissions to view, download, review, create graphics and review notes, generate incidents, create coordination spaces, and other options that allow for model quality control.

    - In order to make recommendations for the rapid elimination of interferences, it is suggested that the interference report be submitted before the ICE Meetings, for the corresponding revision and analysis by the specialists involved in order to have prior knowledge of the interferences in order to propose possible solutions in said meetings.

    - The CONCESSIONAIRE shall use the BIM Models in the ICE (Integrated Concurrent Engineering) Meetings between the Concessionaire, Grantor and the Supervisor, in accordance with the provisions of the BIM Execution Plan.

    - The CONCESSIONAIRE, GRANTOR and SUPERVISOR will participate in the ICE Meetings in accordance with the Schedule established by the CONCESSIONAIRE in the BIM Execution Plan (BEP).

    - The CONCESSIONAIRE must develop an integrated and consolidated project that is composed of references of BIM Models of the different specialties or disciplines that are part of the Project.

    - The CONCESSIONAIRE must specify the process of coordination and compatibility with BIM Models free of Interferences that can be considered as serious and medium (they imply changes in the design or interdisciplinary cooperation for their resolution). Interferences considered minor will be reviewed by the SUPERVISOR as such and will be resolved whenever the SUPERVISOR deems them necessary.

    - The CONCESSIONAIRE must obtain the measurements or quantifications of the Project, from the BIM Models of all the specialties developed in the LOD required in the corresponding deliverables. The specification will be detailed in the BEP, if it is necessary to model an object at a high level of detail than required in the deliverables.

    - The CONCESSIONAIRE shall issue partial deliveries of the EDI according to the development proposal, considering in each delivery the level of development at which they are. Likewise, the CONCESSIONAIRE will determine the methodology to be used to the total delivery of the EDI, according to a schedule proposed for all deliverables under the BIM methodology. This schedule must respect the terms established in the Concession Contract for the development of the Project.

    - The CONCESSIONAIRE must deliver its BIM final models to the GRANTOR. These must be based on national and international standards (BIM National Guide, ISO 19650, PAS 1192 or others)

    - The CONCESSIONAIRE must allow access to the SUPERVISOR for the audits of each of the Models that make up the project based on the milestones defined in the programming of the work scheme contained in the BIM Execution Plan.

    - The CONCESSIONAIRE must allow access to the SUPERVISOR for audits of the Common Data Environment in accordance with the provisions of ISO 19650 and the BIM National Guide.

    - The CONCESSIONAIRE shall allow the SUPERVISOR to continuously monitor the models, the Common Data Environment (CDE), the interference report, the deliverables of the BIM use, the BIM execution plan, and any other aspects deemed necessary by the GRANTOR.

The CONCESSIONAIRE must develop the Project from the model, ensuring that both the BIM Leader and the other BIM roles identified for the national context work alongside the specialists, rather than merely having the modeler act as a draftsman for what the specialist produces. Additionally, it must be ensured that the modelers have knowledge of the specialty they are developing.

The BIM Leader and other roles specific to BIM processes in the drafting of the Final Engineering Study are responsible for drafting, approving, and updating the model, as well as the data extracted from it, in accordance with the established roles. However, they are not responsible for the technical and regulatory aspects of the Project.

The responsible professionals must sign the plans, specifications and other documents of which they are authors, and which they have prepared as part of the Final Engineering Study, the CONCESSIONAIRE is responsible for deficiencies and errors, as well as for non-compliance with the regulatory standards in which they have incurred in the drafting and execution of the Project.

# GENERAL CONSIDERATIONS

The platform to be used for the development of BIM models must be based on:

    - Depending on the degree of detail (LOD) required for the development of the BIM platform, not all objects/elements will be 3D modeled within the Model, so some objects/elements will have to be represented only in 2D or referenced, but, if necessary, these elements will contain complementary information and can be visualized in all the detail views required by the Project.

    - The development of design proposals in 2D AutoCAD format in parallel to the modeling will be allowed after consensus with the SUPERVISOR and GRANTOR. 2D files in .dwg format can be used for the development of details, which will have to be converted to the 2D format of the BIM modeling platform.

    - The software (or formats) and formats with which the BIM models must be presented will be defined in the PEB, where commercial tools that have extensive connectivity with other platforms will be selected. The chosen software(s) must allow the GRANTOR to revision any of its deliveries without any problem.

    - The CONCESSIONAIRE shall propose in the BEP a Common Data Environment (CDE) to support the project and the interdisciplinary collaborative work, which shall be compatible with the proposed modeling Software. The collaboration platform must guarantee correct notification of the management of the models, incidents, immediacy, accessibility from different devices, traceability, archiving, printing and exchange of information.

    - The BEP is a document that accompanies and defines the BIM scope of the Project following the BIM Objectives and Uses of the Project, in accordance with the provisions of numeral 14.1.

# RESULTS PROPERTIES

The Federated BIM Model generated for the Project is part of the Concession Contract, is the property of the GRANTOR and includes the designs, plans, charts, images, schedules, measurements, tables, reports, technical specifications, among others, contained therein. This includes the content itself within the Federated BIM Model and any other content from other work teams presented as part of it.

It is prohibited, under the responsibility of the CONCESSIONAIRE, to disseminate or communicate the plans, models and other information provided by the GRANTOR or generated in the process, without the express authorization of the GRANTOR. CONCESSIONAIRE is responsible for compliance with this confidentiality condition as applicable

# PLATFORM

The BIM platform to be used must be defined in the BEP and be multidisciplinary, based on BIM ecosystems that allow the integration of models from different specialties with various digital information exchange formats (extensions), enabling the management, review, and analysis of different specialties in a uniform, coherent manner, without loss or distortion of information.

Among the functionalities that it must have, is that of being a scalable system, with access control and security, with process creation, requirements control, document control and federated model (unique) with different statuses such as Work in Progress, Shared, Published and Archived, in accordance with the BIM National Guide.

The BIM platform to be used must be robust enough to contain all the Project information, both in 3D and 2D. It must allow importing and exporting information in CAD and IFC formats by specialty to and from the BIM Model, respectively.

The BIM platform to be used must link its information with a Common Data Environment (CDE).

It is recommended that the BIM Platform to be used has the possibility of linking its information with Cost Management Systems, Construction Management Systems and Asset Management Systems. To this end, the corresponding BIM Uses must be proposed.

# STANDARDS

The CONCESSIONAIRE will be responsible for defining a standardization scheme based on the principles of the BIM Methodology, such as ISO 19650, the BIM National Guide, PAS 1192, and others. It must include workflows, processes, procedures, best practices, etc., which are critical when developing a project using BIM technology.

The model must comply with the principles of OPEN BIM (universal approach to collaborative design independent of the software tools they use) which correspond and facilitate interoperability between the different programs. Likewise, the model must meet the minimum characteristics of constructability in more than one specialty.

The IFC formats (short for Industry Foundation Classes) are a common standard for data exchange and must be correctly exported from the native file, considering the type of compatible IFC for the software and the corresponding MVD (Model View Definition).

# VERSION

The version of the software to be used will be the most up-to-date. Considering that more than one software may be used, the version of each of them must be provided so that integration and conversion to the IFC format can be ensured.

The Final Model will be delivered in a native file defined in the BEP, including all libraries, families and objects.

The final model may be delivered in IFC format, subject to prior agreement with the SUPERVISOR and the GRANTOR.

# SUGGESTED REQUIREMENTS FOR BIM ROLES

Here are the suggested requirements for the BIM roles, which should be assigned by the CONCESSIONARIO, based on the responsibilities for specific actions that the parties involved in the BIM Information Management process must fulfill, in accordance with the guidelines set forth in the BIM National Guide, recognizing these 5 main roles, which are detailed below.

## BIM Leader

In charge of successfully managing, leading and designing the processes and strategies for the adoption of BIM at the organizational level, according to the needs and objectives of each entity.

The main responsibilities of the BIM Leader are:

    - Develop BIM implementation strategies and processes.

    - Supervise the application of BIM within the organizational framework.

    - Collect the lessons learned.

    - Develop strategies for the development of staff capabilities.

    - Evaluate and Establish Organizational Information Requirements.

## BIM Manager

In charge of the BIM Information Management process and responsible for establishing the Investment Information Requirements, in coordination with the BIM Leader. Must clearly convey the Information Requirements to the Project Teams, maintaining constant communication and coordination with the BIM Coordinator.

The main responsibilities of the BIM Manager are:

    - Evaluate and establish the Investment Information Requirements.

    - Evaluate and establish the Investment Information Requirements.

    - Evaluate and establish the standards of information.

    - Evaluate and propose methods and procedures for information production.

    - Evaluate, establish, and manage information through the Common Data Environment (CDE).

    - Establish the organization and exchange flow of information containers.

    - Evaluate and develop the BIM Execution Plan (BEP).

    - Develop the planning and schedule of the project's delivery milestones.

    - Define the implementation of Information Technology (IT) Infrastructure.

    - Ensure communication between the entity and the Project Team.

    - Evaluates and approves the delivery of information, according to compliance with the information requirements of the service required in the development of the investment.

    - Manage the lessons learned.

## BIM Coordinator

Responsible for coordinating the execution of information models for the different specialties, ensuring compliance with the Information Requirements, regulations, and procedures established for BIM Information Management, while maintaining communication and coordination with the BIM Manager and the Work Team.

The main responsibilities of the BIM Coordinator are:

Support the BIM Manager in the development of the BIM Execution Plan.

    - In charge of confirming and ensuring the correct implementation and interoperability of Information Resources and Technology (IT).

    - Coordinate the development of the Information Model.

    - Develop and coordinate the workflows with the Project Team.

    - Configure the Information Containers.

    - Review and validate the integration of federated information models from different specialties.

    - Review and propose solutions to the incompatibilities and clashes of the Information Model.

    - Ensure that the information models remain up to date.

    - Ensure that the information models comply with the standards defined by the BIM Manager.

    - Define the strategy for the development of Information Models.

    - Ensure communication within the Work Team. Likewise, maintain communication with the BIM Manager.

    - Extract information and documentation from the Information Model.

## BIM Modeler

Responsible for developing the Information Models according to the Information Requirements, considering the Level of Information Need (LOIN), maintaining constant communication and coordination with the BIM Coordinator and the members of the Project Team.

The main responsibilities of the BIM Modeler are:

    - Develop the Information Models according to the specialty.

    - Generate information exchange files in different formats.

    - Model and enter the necessary information into the required models or model elements according to the Level of Information Needed.

    - Use and create new objects according to the project's needs.

    - Ensure the quality of the deliverables, maintaining coordination with the different specialties.

## BIM Supervisor

Responsible for carrying out periodic reviews of the Information Containers and verifying that the Information Model is carried out according to the Information Requirements, in collaboration with the BIM Coordinator, before the delivery of the Information Model to the BIM Manager.

The main responsibilities of the BIM Supervisor are:

    - Support in the development of the BIM Execution Plan (BEP).

    - Supervise the execution processes of the Information Models.

    - Review and validate the information models generated by the Execution team.

# COLLECTIVE RESPONSIBILITIES

They are the responsibility of all those involved in the execution of the Project, including the following:

    - Participate in the Project Initiation Orientation Meeting, where the Scope, Objectives and Schedule of the Project will be defined prior to the preparation of the BEP. It will be the responsibility of the GRANTOR and the SUPERVISOR, with the participation of the CONCESSIONAIRE

    - Participate in the Integrated Concurrent Engineering (ICE) Meetings, in accordance with the schedule established and approved in the BEP. The BIM Execution Plan should specify the method to get the maximum benefit from the ICE meetings. Responsible: CONCESSIONAIRE, SUPERVISOR and GRANTOR

    - Other Collective Activities that may be defined in the BIM Execution Plan.

# METHODOLOGY

The methodology to be used will be BIM (Building Information Modeling) which is based on the development of a BIM Model using a collaborative and coordinated work dynamic.

The leadership of the implementation of the BIM Methodology shall be the responsibility of the CONCESSIONAIRE, ensuring the integration of this methodology into the Project, if applicable.
 Likewise, the BIM Leader must be considered for the Supervision Team in order to have a responsible professional who accompanies, analyzes and reports with proposals for improvements to the Project. The functions and responsibilities of the BIM Manager, BIM Coordinator, and BIM Modeler are specified in Section 12 above, based on the BIM National Guide. Therefore, any changes or modifications to these roles must be agreed upon with the GRANTOR.

The CONCESSIONAIRE must have the capacity to develop the following points:

# BIM EXECUTION PLAN (BEP)

The BIM Execution Plan (BEP) shall be submitted within the first fifteen

(15) calendar days from the Closing Date by the CONCESSIONAIRE, considering at a minimum this Annex 1 BIM Requirements and the recommendations of the "BIM National Guide”.

It shall be reviewed by the SUPERVISOR and the GRANTOR The BEP will be carried out by the professional with the role of BIM Coordinator as defined the functions for this role.

The objective of the BIM Execution Plan is to define the framework in which the GRANTOR, SUPERVISOR and CONCESSIONAIRE use the BIM Methodology under the same work scheme.

The BIM Execution Plan explains the work methodology, processes, technical characteristics, BIM roles, responsibilities and deliverables that respond to the information requirements of the GRANTOR and that the parties involved must follow for the development of the Project.

It is worth mentioning that the BEP is a document that will be updated throughout the design and as the development of the Project progresses, with the prior opinion of the SUPERVISOR. The nature of these changes will always be aligned with the success of the Project, always ensuring the correct use of the Final Engineering Study in the Execution of the work. All changes must be perfectly documented and at the end of the development of the Final Engineering Study, in the last deliverable, a final version of this document will be presented where all the details of how the Project was worked on will be made.

Its development must take into account the following:

- Description of the Project and details of those responsible for the management of the information on behalf of the Implementation Team.

- An information development strategy.

- A strategy of federation

- Responsibility Matrix (See Annex H. Format No. 7 Responsibility Matrix from the BIM National Guide)

- Proposal to Add or Modify Project Information Standards

- Methods and Procedures for Information Production

- List of Software and Coordination Platforms.

# ICE MEETINGS (INTEGRATED CONCURRENT ENGINEERING)

The ICE Meetings, for its acronym in English, Integrated Concurrent Engineering, are intended to teach the progress of the Modeling of the different Specialties, as well as to clarify any doubts that arise as part of the lack of information in the plans. These will be held biweekly to review the progress of the Project, each ICE meeting must be documented with minutes.

The key to these ICE Meetings is to have the right participants, that is, the accredited representatives of the CONCESSIONAIRE, SUPERVISOR and GRANTOR, since these meetings are work sessions in which solutions will be given to the design problems expressed in the BIM model. These ICE sessions shall include minutes, which must be signed, if applicable, virtually by all attendees to verify their participation and the agreements reached therein.

Every ICE Meeting must contain at least two documents: ICE Session Agenda and ICE Session Minutes, which must be signed by stakeholders from both parties.

In these meetings, the BIM Model is toured virtually, collecting design observations, flows, processes, interferences, etc.

The meetings will be held with the availability of the BIM program and model in the room, for a better understanding of possible interferences, as long as they are face-to-face. In the case of meetings through virtual platforms, these will not have limitations.

The BIM Execution Plan should outline the rules and procedures necessary in order to get the maximum benefit from the ICE Meetings.

# LEVEL OF INFORMATION NEED (LOIN)

The Level of Information Need (LOIN) satisfies the information-related objectives of a Project in each information exchange process. This must contain the essential data to meet the objectives and requirements of the Project Information and may include the Level of Graphic Information or geometric details (for example: three-dimensional elements), the Level of Non-Graphic Information or scope of data sets (for example: tables of contents and alphanumeric information) and the documentation associated with the Information Container (for example:  technical reports).

The definition of the Level of Graphic Information will be done through the Level of Detail (LOD) and to define the Level of Non-Graphic Information it will be done through the Level of Information (LOI). Both LOD and LOI are equally important and define the Level of Information Needed (LOIN), as shown below:

Source: BIM National Guide – BIM Plan Peru.

In this regard, the progression of the Level of Information Need (LOIN) implies that both the Level of Detail (LOD) and the Level of Information (LOI) increase the quantity and reliability of the information as the development of a project advances

# LEVEL OF DETAIL (LOD)

The level of detail (LOD) refers to the level of graphic information related to the detail and accuracy of each of the objects modeled in 3D. For all the elements modelled in the different disciplines, the specifications of the BIM National Guide will be followed.

The project's LOD is cumulative and must progress from one level to another.

Proposals with levels of development lower than those specified will not be accepted. For the Final Engineering Study, the LODs will be defined as follows:

# LEVEL OF DETAIL (LOD 2)

The LOD 2 (Generic Representation) level of detail is described in the BIM National Guide as shown below:

Source: BIM National Guide – BIM Plan Peru.

LOD 2 includes elements that use generic components where the characteristics of the elements are only general and volumetric (e.g., a wall), with approximate quantities, size, shape, location, and orientation. This level corresponds to the preliminary design of architecture and structures, where compatibility is allowed through the visualization of interferences.

Source: BIM National Guide – BIM Plan Peru.

# LEVEL OF DETAIL (LOD3)

The LOD 3 (Defined Representation) level of detail is described in the BIM National Guide as shown below:

Source: National BIM Guide - Peru BIM Plan.

LOD 3 includes elements in which generic components have been replaced by fully defined materials. This level corresponds to the second deliverable; in which it is possible to obtain accurate Quantity Charts based on the different materials in the BIM model.

It is graphically represented as a specific system, object or assembly with characteristics of quantity, size, shape, location, orientation and interaction with other systems of the building or construction work.

Specific non-graphic information is included in each Modeled BIM Element (e.g., technical specifications, components, materials, costs, budgeting dates, pricing analysis, etc.). The BIM Model is fully capable of producing drawings and other documents specific to the Final Engineering Assessment. The features should not change at the next stage, but more features can be defined with further definition.

As mentioned above, this level corresponds to the architectural, structural and installation design.

Source: National BIM Guide - Peru BIM Plan.

### LEVEL OF INFORMATION (LOI)

It is the level of non-graphical information related to the technical specifications and/or documentation inserted, linked or annexed, in order to complement the information of the 3D model.

All objects/elements shall have parametric information (meta data). For this purpose, what is indicated in the National BIM Guide should be considered. The final input information shall be included in the second deliverable of the Final Engineering Assessment.

In the Final Engineering Assessment (final deliverable) the CONCESSIONAIRE shall carry out the necessary processes for the extraction of detailed quantifications from the BIM models, this export shall be adapted to the Technical Standard of Estimates and optionally to another classification system with the agreement of the GRANTOR.

### GRANULARITY

It is assumed that not all objects/elements of a building can be modeled in 3D within the BIM environment as it would make the files too large and difficult to manage, therefore, it is considered that the BIM Models shall not be able to accurately represent all the elements to be included in reality. Therefore, it is recommended that objects that do not contribute anything to the metering or planimetry development can be represented in 2D within the model or with a simple or geometric model. In case any element has no relevance in the estimates and its dimensions are negligible, it shall be proposed in the BEP at the CONCESSIONAIRE’s discretion not to consider the element in the modeling or to add only a description as meta data, which shall be approved by the CONCESSIONAIRE, prior opinion of the SUPERVISOR.

The exception to this rule are objects/elements that the BIM modeling software automatically builds as part of some of its systems, such as Pipe Elbows, Pipe Reducers, Tube Grids, and all those of importance in the modeling and reporting of the Project.

### EXCLUSIONS

The Virtual Model is an intermediate product and an Asset of the GRANTOR for its later use, so it is possible to consider that in the development of the Project some elements shall not be necessary to model in detail, in order to define these points a proposal shall be presented in the PEB that shall have to be evaluated by the GRANTOR, prior opinion of the SUPERVISOR, in order to give conformity to the elements that shall not be modeled. This does not mean that in these cases such elements shall not be in the project, since in some cases some of these elements that shall not be modeled shall be visualized with 2D information.

Other exclusions, as long as they have the purpose of providing efficiency and effectiveness to the process without affecting the scope and quality of the actual execution of the Project, must have the express authorization of the GRANTOR, prior opinion of the SUPERVISOR.

### BIM DELIVERABLES

These shall be carried out in accordance with the deliverables defined in the Concession Contract for the Definitive Engineering Assessments, as indicated below:

### BIM DELIVERABLES OF FINAL ENGINEERING ASSESSMENTS

#### First Deliverable

The CONCESSIONAIRE shall define, together with the GRANTOR, the information to be included in its modeling based on the scopes detailed for the Preliminary Project Phase. In this regard, the information to be modeled shall have an average LOD 2, proper of the stage level, but this shall be defined in greater detail in the BEP.

Likewise, the CONCESSIONAIRE shall submit documentation from the modeling, which shall show the design intentions and be validated by the CONCESSIONAIRE, through the SUPERVISOR.

#### Second Deliverable

The CONCESSIONAIRE shall propose the information included in the modeling based on the scopes detailed in the LOD to be reached by each item of this deliverable. The LOD level shall respond to the objectives of the Final Engineering Assessments.

At this stage, the CONCESSIONAIRE and the GRANTOR shall define in the BIM Execution Plan the presentation of the planimetry corresponding to the development level of the BIM modeling that shall allow reviewing and validating the proposal.

#### Third Deliverable

Measurements should be made from the BIM model to a Measurement and Quotation Platform, suggesting that the flow should be bidirectional, i.e. measurements could also be managed from the Measurement and Quotation Platform to the BIM model.

The classification system or codes shall be proposed by the CONCESSIONAIRE and validated by the SUPERVISOR and the GRANTOR following the requirements defined in the BIM Execution Plan. It is the responsibility of the CONCESSIONAIRE to generate the estimates for each of the elements defined herein.

Should the SUPERVISOR and/or CONCESSIONAIRE request any additional information necessary for the review of the Project, it shall be the responsibility of the CONCESSIONAIRE to obtain this information from the BIM model or from the measurement and budgeting platform.

The formats of schemes and lists shall be proposed by the CONCESSIONAIRE, these shall be duly structured and ordered by Modules, floors, environments, etc. and shall have the necessary information for their location and verification depending on the magnitude and unit of each element or object, suggesting the following order.

      - Code

      - Item / object

      - Unit

      - Length

      - Width

      - Height

      - Area

      - Quantity

      - Volume

### BIM DELIVERABLES FOR EXECUTION OF WORKS

Updates to the Federated Model and BIM Execution Plan (BEP), as well as As Built drawings, shall be submitted at this stage. Any other BIM deliverables in the Execution of Works stage shall be defined in an update of the BIM Execution Plan (BEP) according to the consensus between the CONCESSIONAIRE, SUPERVISOR and the GRANTOR.

### OPERATION AND MAINTENANCE BIM DELIVERABLES

It includes the update of the As Built model.

### INFORMATION MANAGEMENT

It is essential that there are established methods known to all, both for information management and information exchange.

In other words, a collaboration strategy must be defined, which must be supported by enabling platforms that facilitate communication, allow traceability of information, and traceability in the Project’s decision making.

### COMMON DATA ENVIRONMENT (CDE)

The Common Data Environment (CDE) plays a fundamental role in the development of collaborative work and information management for investment development using BIM.

The CDE is the source of information used by the project team in the investments developed applying BIM for the collection, management and dissemination of each information container generated by those involved in the investment. This project team consists of the GRANTOR (Designating Party), CONCESSIONAIRE (Main Designated Party) and SUPERVISOR (the Designated Parties) as shown in Figure 40 (UK BIM Framework, 2020b).

Source: National BIM Guide - Peru BIM Plan.

The CDE is based on a combination of two approaches: workflow and technology. The workflow of a CDE describes the processes to be used to collect, manage and disseminate structured or unstructured information (e.g. 3D models, contracts, videos, reports, costs, etc.). Once the required flows have been defined, one or more technological solutions are chosen, which may or may not be related through the Application Program Interface (API) responding to the required flows. It is important to highlight that it is possible to use different and/or multiple technologies within a single workflow.

There is also a misconception that the CDE is more about technology and less about workflows. However, it is critical that, in practice, workflows are developed first and technology solutions are adapted and selected to facilitate the workflow according to the needs of the investment. Bringing processes and technology solutions together shall allow information to be properly managed and benefits to be extracted from it.

According to the purpose of the information container within the investment, it is necessary to evaluate the CDE software options, so that the necessary workflows can be developed efficiently. This part highlights the idea that an investment can work with different CDE solutions, according to its needs and the type of containers it shall work with. For example, if the information container is oriented to the purpose of collaborative design (Model-3D), it shall be necessary to look for a CDE solution that has workflows that allow collaboration in real time, version control, among others. On the other hand, if the information container is oriented to contract management, a CDE solution should be sought that has workflows for contract tracking, payment tracking, valuations, including statistics, among others.

There must be a collaborative environment in the different stages of the Asset cycle, this must allow the Project stakeholders to access the information to perform their different functions and can be implemented in different ways, depending on the maturity level of the requester and the supplier. This environment is known as Common Data Environment.

The Common Data Environment is a single source of information to collect, manage and disseminate documents and models among Project stakeholders through a standardized process.

The security and quality of information must be considered in a CDE.

ISO 19650 - 1 indicates that since project information may be distributed across multiple locations, the CDE facilitates workflow, connecting different computer systems or platforms.

The CDE may consist of a platform or the sum of different systems that allow to COLLABORATE, MANAGE, RECORD and TRACE the information transferred between the stakeholders.

The CDE shall allow the management of information during Asset management and project development. The CDE shall allow the integration of all the members of the teams involved in the project:

Source: National BIM Guide - Peru BIM Plan.

### MINIMUM COMPONENTS OF THE COMMON DATA ENVIRONMENT (CDE)

#### Collaboration platform

This platform, in accordance with the provisions of numeral 8.0, must allow working with unified and centralized information, following the selected consolidation strategy (Federated or Integrated Models), managing and backing up the BIM Models in a secure manner.

#### Documentary management platform

Likewise, this platform should allow the control of documentation and BIM models exchange processes, managing changes and monitoring the project.

#### Model coordination platform

This platform shall allow the coordination of models from different disciplines, revisions and changes shall be managed. It shall be used without restrictions by the CONCESSIONAIRE, Supervisor and GRANTOR.

### INFORMATION AND COLLABORATION REQUIREMENT FORM

Comments, incidents and revisions of the BIM Models must be made through formats that allow the registration and traceability of them.

### INFORMATION CONTAINER STATES

As an information container is developed, these containers, or their contents, may be in different states as part of a workflow, of the information container, within the Common Data Environment (CDE), as shown below:

Source: National BIM Guide - Peru BIM Plan.

- Work in Progress (WIP): Information that is being developed by its creator or work team, not visible or accessible to anyone else. Within an investment there can be several WIP sites, usually each one involved in an investment has its own WIP site.

- Shared: The information is reviewed to validate that it is suitable for the use of other work teams, execution teams or with the GRANTOR. This validation is done by the CONCESSIONAIRE.

- Published: Information authorized by the GRANTOR for use in the following stages that require more detailed designs, for construction or for asset management. Examples are contractual deliverables.

- Archiving: Information recorded through workflows, automatically creating an investment file. It records every progress at each investment milestone and should keep a record of all exchanges and changes to provide traceability to information management for inspection and comparison in case of query and/or dispute.

Derived from the above, the application of equivalents to these states of the information container occurs in most conventional information production processes, including e-mails, although this process is often invisible to the user.

### MEETING STRATEGY

At the beginning of the Project, a meeting should be held with all the stakeholders involved to confirm the availability of resources and capabilities in relation to the requested BIM Uses and to reach a consensus and validate information for the development of the BEP.

In addition, in order to achieve a collaborative process during the development of the project, progress control meetings should be scheduled for the activities that require it. Prior to the meetings, a clear objective, the participants, and the frequency and modality of these meetings should be defined.

Source: National BIM Guide - Peru BIM Plan.

The following requirements should be established for convening meetings:

- Conduct meetings in accordance with the provisions of the Concession Contract.

- Meetings may be held at the offices of the GRANTOR, the CONCESSIONAIRE or virtually.

- The project initiation meeting, as well as the periodic progress control meetings, must integrate the CONCESSIONAIRE’s specialists with those of the GRANTOR and SUPERVISOR.

It is the responsibility of the CONCESSIONAIRE to propose the number and frequency of meetings in its Plan, according to the needs of the Project.

### NOMENCLATURE AND METADATA

The CONCESSIONAIRE must propose the nomenclature and metadata for the Project, based on national (National BIM Guide) and international standards (ISO 19650 and “Document Nomenclature Manual when using BIM,” prepared by Building Smart), standardizing the nomenclature of the information containers both in the Common Data Environment, the BIM models, the BIM deliverables and the generated documentation.

### NOMENCLATURE AND METADATA CONVENTION

The component shall be defined in depth: nomenclature and metadata convention for the information containers within the CDE:

A status code (e.g. S1, A1, etc.) - A revision code (e.g. P01.01) - A classification code (e.g. PM_40_40_01: 2D Drawings).

However, the scope of metadata mapping can be expanded beyond the recommendations and requirements of this document. For example, to include Asset-centric information.

### STANDARD OF NOMENCLATURE OF INFORMATION CONTAINERS

Projects developed under the BIM methodology must standardize a nomenclature at the specific level of each project. This nomenclature must be reflected and detailed within the BIM Execution Plan (BEP) for the knowledge of all involved.

The following image shows the standard nomenclature of information containers to be considered as a reference in the development of projects:

Example of a nomenclature standard for an information container.

Source: National BIM Guide - Peru BIM Plan.

### BIM DEADLINES

Once the development of the Project has started, the BIM Models shall be prepared, which shall be submitted for review by the SUPERVISOR and the GRANTOR at the end of each Deliverable.

The models shall be shared through the CDE to the SUPERVISOR and GRANTOR, the CDE is a communication platform previously established and provided by the CONCESSIONAIRE, for which access levels shall be established as revision, and its content shall always be accessible to the SUPERVISOR and the GRANTOR. The CDE is a platform based on Standard 19650-1.

During the EDI preparation process, ICE Meetings or Working Groups shall be held, as appropriate, to verify the integration of the different specialties and review the non-existence of interferences among them, as well as to provide Value Engineering to the Project, being the CONCESSIONAIRE obliged to hold these meetings every two weeks, as set forth in the Concession Contract or when required according to the Project progress.

After the presentations, the SUPERVISOR shall verify the analyses made to the model, interference reports, quantification reports, diagrams, lists, etc. and may make observations and recommendations. The deadlines for these activities shall be indicated in the BEP, respecting the deadlines set forth in the Concession Contract and in the supervision contract.

### RECOMMENDED BIM FLOWS

The recommended workflows, modeling techniques, view organization, etc. are described below. The CONCESSIONAIRE shall specify them in its BIM Execution Plan (BEP) and respect them throughout the Project in order to maintain a unique and uniform structure and configuration, and shall provide all facilities to the SUPERVISOR and GRANTOR to verify compliance and grant approval as appropriate.

### MODEL DEVELOPMENT CONTROL

The development of the Project Progress Control performed by the CONCESSIONAIRE shall be evaluated according to the Development Level defined in the BIM Execution Plan (BEP), as this shall allow an accurate assessment of the quantity and quality of the BIM Model.

### BIM WORKFLOWS

The following are the BIM Workflows suggested for the beginning of the Project development, however, they are not the only ones that the CONCESSIONAIRE should develop. Other ways of performing what is requested may be considered, but must be defined in the BIM Execution Plan (BEP).

    - The BIM Execution Plan (BEP) shall be developed, then it shall be reviewed by the SUPERVISOR, ICE Meetings shall be held where the BIM Coordinator shall submit the content of the BEP and it shall be approved by the GRANTOR upon favorable opinion of the SUPERVISOR.

    - The Architecture Specialty develops a design approach based on the Spatial Programming / Project Area Requirement and shall include certain structural elements (plates, columns, slabs, etc.)

    - Once the design has reached a degree of maturity, it shall be shared with the Structures Specialty.

    - The Structures Specialty shall develop, from the version of the Model delivered by the Architecture Specialty, its Structural approach. The Structural Model shall include the structural elements proposed by the Architecture Specialty and shall resize and/or add more structural elements (beams, foundations, etc.) if necessary.

    - Once the design has reached a degree of maturity, it shall be shared back with the Architecture Specialty.

    - The Architecture Specialty shall link the Structural Model and eliminate all those structural instances originally proposed.

    - Both Specialties, Architecture and Structures, shall coordinate to confirm their design approaches.

    - The models of the Architecture and Structures Specialties shall be shared with the Facilities and Equipment Specialties so that they can start their design.

    - The Facilities and Equipment Specialties shall start their design by developing the Equipment, Upright Posts and Main Networks.

    - All Specialties shall participate in an ICE Meeting, verify that the Equipment, Upright Posts and Main Networks do not interfere with the design proposed by the Architecture and Structures Specialties.

    - The Facilities and Equipment Specialties shall continue their design process through the development of the Secondary Networks.

    - ICE Meetings shall be held on a biweekly basis to review the progress of the project. It is recommended that these meetings be virtual and use the Common Data Environment (CDE) platforms for visualization of the models and documentation.

### VIEW ORGANIZATION

The CONCESSIONAIRE is responsible for organizing all the information of Views (2D and 3D) contained in the Model by means of a codification and standardization of names that allows the identification of the views in a quick and orderly manner, separating the views that are for work and the views that are used for deliveries. It is recommended that the views be named alphanumerically so that the order of the views is generated automatically.

### MODELING TECHNIQUES

The CONCESSIONAIRE is responsible for generating the BIM Models of the different specialties that make up this Project. This is crucial for the correct estimates thereof and future construction deliverables. The CONCESSIONAIRE shall submit the modeling techniques in the BIM Execution Plan (BEP), which shall be reviewed by the SUPERVISOR and GRANTOR.

### COORDINATES AND GEOGRAPHIC LOCATION

In the case that models are linked in a single project, shared coordinates must be used to establish the position of the related files. The shared coordinates must come from the BMs of the survey.

The model should specify the geographic location and also the weather stations in the case of an energy analysis model.

### INTERFERENCES

It is the CONCESSIONAIRE’s responsibility to generate Interference Reports under the color scheme of the Common Data Environment coordination tools, in order to facilitate the identification of the different systems and/or elements of the Model for the Generation of Interference Reports in the platform it deems necessary. The CONCESSIONAIRE shall propose the color scheme is referential in the BEP and shall be validated by the SUPERVISOR and GRANTOR.

### QUALITY CONTROL

The BIM Leader of the CONCESSIONAIRE and the SUPERVISOR shall perform Quality Controls of the different Models that are part of this Project to verify their integrity, as the Design Process develops.

### BIM AUDIT REPORT

The BIM Coordinator shall generate BIM Audit Reports, which shall include the following:

    - Visual inspection

    - Model Integrity

    - Duplicate Elements

    - BIM Standards

### INTERFERENCE REPORTS

Throughout the process of preparation of the Final Engineering Assessment, Interference Reports shall be generated, which shall be the basis for the Integrated Concurrent Engineering (ICE) Meetings for the corresponding review and analysis by the specialists involved in order to be aware of how Interferences are being identified and raised by the CONCESSIONAIRE, in order to provide technical support, if applicable, for the rapid resolution of critical interferences.

It is not a Deliverable; however, during the ICE Meetings, the CONCESSIONAIRE shall present the Reports showing the survey of the interferences in a format defined by the parties, being that, at the conclusion of the Final Engineering Assessment, it should be free of interferences.

The report must be accompanied by the federated model from which the report is extracted.

The CONCESSIONAIRE may make its revisions on whatever platform it deems necessary. The GRANTOR and SUPERVISOR shall use the CDE or other direct linkage platform with the BIM model to make revisions to the model and other data in real time and at such times as they may deem necessary.

The CONCESSIONAIRE may not limit the SUPERVISOR’s and GRANTOR’s reviews.

ANNEX No. 09: SERVICE LEVELS

# INTRODUCTION

The purpose of this Annex is to establish the minimum Service Levels, together with the Indicators and procedures for the control of the provision of the Mandatory Services in charge of the CONCESSIONAIRE, as from the Start-Up and during the Concession Term. All the above with the purpose of guaranteeing the quality, safety, regularity, capacity and comfort of the services offered.

Failure to comply with the Service Levels and Indicators set forth in this Annex shall lead to the application of deductions to the Availability Payment (PPD for its acronym in Spanish), notwithstanding other consequences derived from the Contract.

# MANDATORY SERVICES TO BE PROVIDED BY THE CONCESSIONAIRE

During the operation of the Project, the CONCESSIONAIRE shall provide the following Mandatory Services:

- Conservation and Maintenance Service: It includes the work and activities of Conservation and Maintenance of the Works (Central Stations, Cable Car Stations, Tourist Roads and Pedestrian Paths), Electromechanical Equipment (Cables, Cabins, Clamps, etc.) and Buses with the following methods:

- Preventive Maintenance (routine or periodic activities)

- Corrective Maintenance

- Replenishment of Supplies and Components

- Replacement of property and furniture

- Cleaning Services: It includes the following services:

- Cleaning Service at Central Stations and Cable Car Stations

- Cable Car Electromechanical Equipment Cleaning Services

- Bus Cleaning Services

- Solid Waste Management Service generated inside the Stations, Cabins and Buses.

- Pest Control Service

#### Security and Surveillance Service:

- Surveillance inside the Stations

- Routine surveillance

- Corrective Surveillance or Emergency Care

- Implementation of video surveillance cameras

#### Transportation Service by Cable Car and Buses:

- Cable Car Transportation Service

- Bus Ground Transportation Service (between central stations and departure stations)

- User Access Control and Management

- Management of boarding and disembarkation of Users at Stations (queue and agglomeration management).

- Accessibility for people with disabilities and the elderly

- Information and Customer Service in Spanish, Quechua and English.

- Orientation Service (signage) in Spanish, Quechua and English.

#### Mandatory Services Administration Service:

- Preparation of Monthly Activity Reports

- Periodic Evaluation of Service Levels and Indicators

- Recording and documenting Operating Activities

- Compliance with Environmental Management Instruments

- Documentary management

# DEFINITIONS

Anomaly or Incident: Any unforeseen stop or interruption in cable cars or buses, whether automatic or manual.

Interruptions caused by force majeure or acts of God beyond the Concessionaire’s responsibility, such as adverse weather conditions, power outages by the utility company, incidents with passengers, among others, are not considered Anomalies or Incidents.

Conservation: Set of operations aimed at preserving the specified state of buildings, works, facilities and electromechanical equipment, as well as their structures, substructures, elements or subcomponents.

Service Level Indicators: It is the score resulting from the weighted average of the rating of the Service Levels performed by the Supervisor.

Special Report: Document requested by the Supervisor and prepared by the CONCESSIONAIRE during the Operation, detailing, clarifying or explaining any situation or aspect related to the provision of the Mandatory Services of the Concession Contract.

Monthly Activity Report: Document prepared by the CONCESSIONAIRE, which shall contain the list and description of the activities executed during the month for the fulfillment of the provision of the Mandatory Services in accordance with the provisions of the annual plans. In addition, the monthly calculation of the Service Level Indicators in accordance with the provisions of Appendix I of this Annex.

Maintenance: Set of operations necessary to maintain or restore, as appropriate, the specified condition of buildings, works, facilities and electromechanical equipment, as well as their structures, substructures, elements or subcomponents, and the verification and evaluation of their effective condition.

Corrective maintenance: Set of operations necessary to reestablish or restore the specific state of a component after the occurrence of Anomalies or Incidents. It may involve the repair or replacement of damaged components, which have not been foreseen.

Preventive maintenance: Set of operations that are carried out in advance and planned with the objective of maintaining in good condition and/or the correct functioning of a component in order to avoid the occurrence of Anomalies or Incidents, or any other potential failure.

Service Levels: Minimum quality parameters and standards of the Mandatory Services, measured by means of their corresponding indicators, which the CONCESSIONAIRE must achieve and maintain within the ranges or margins set forth in this Annex, during the Operation, in accordance with the provisions of this Annex.

Annual Conservation and Maintenance Plan: Management document prepared by the CONCESSIONAIRE, which shall contain the strategies, policies, activities, execution frequencies and resources necessary for the Provision of the Conservation and Maintenance Service of the Works and Equipment, as well as the definition of each one of the indicators, their permissible ranges and the compliance with the Service Levels for a one-year period.

Annual Cleaning Plan: Management document prepared by the CONCESSIONAIRE, which shall contain the strategies, policies, activities, execution frequencies and resources necessary for the provision of the Cleaning Service of the Works and Equipment, as well as the definition of each of the indicators, their permissible ranges and compliance with the Service Levels for the period of one year.

Annual Operation Plan: Management document prepared by the CONCESSIONAIRE, which shall contain the strategies, policies, activities, execution frequencies and resources necessary for the provision of the Cable Car Transportation Service, as well as the definition of each of the indicators, their permissible ranges and compliance with the Service Levels for the period of one year.

Annual Security and Surveillance Plan: Management document prepared by the CONCESSIONAIRE, which shall contain the strategies, policies, activities, execution frequencies and resources necessary for the provision of the Security and Surveillance Service, as well as the definition of each of the indicators, their permissible ranges and compliance with the Service Levels for the period of one year.

Contingency Plan: Management document that defines the objectives, strategies and programs that guide the activities to be carried out by the CONCESSIONAIRE for prevention, risk reduction, emergency response and rehabilitation in case of disasters, allowing to reduce or minimize damages, victims and losses that could occur as a result of natural or technological phenomena, potentially damaging.

Operation Record: Control instrument in charge of the CONCESSIONAIRE, in which the information related to the operation and maintenance of the cable cars shall be recorded on a daily basis.

Operation Regulations: Document established by the operator, in this case the CONCESSIONAIRE, in charge of the operation, which defines the provisions to be implemented by the personnel to guarantee the safety and regularity of the operation.

Repair: operations aimed at restoring the specified optimum condition of buildings, works, installations and electromechanical equipment, as well as that of their structures, substructures, elements or subcomponents.

# SECTION 1: CONSERVATION AND MAINTENANCE SERVICE

### GENERAL PRINCIPLES

All the Assets of the Concession shall be constructed, manufactured, installed, tested and/or submitted to Conservation and Maintenance works to protect human life and guarantee the safety of people and the optimum operation thereof.

Conservation and maintenance work must be carried out in a timely manner, respecting international safety and quality standards.

As a general rule, the Conservation shall at all times maintain the functionality or the original purpose for which both the Works and the Electromechanical Equipment of the Cable cars were executed.

Conservation and Maintenance policies or practices that produce defects that compromise the functionality, durability, utility or aesthetics of both the Works and the Electromechanical Equipment of the Cable cars shall not be acceptable.

### CONSERVATION SERVICE LEVELS

The condition of the Concession Assets shall be expressed through condition parameters, which shall make reference to various aspects of Conservation of the systems that make up the Concession Assets. The limits of the condition parameters to be complied with are called “Conservation and Maintenance Service Levels,” which shall be established in compliance with the international maintenance standards proposed by the CONCESSIONAIRE.

The CONCESSIONAIRE shall prepare an Annual Conservation and Maintenance Plan detailing the conservation and maintenance work planned for the facilities, equipment, infrastructure and other Concession Assets, based on international recommendations and standards and the manuals provided by the specialized manufacturers.

It is the CONCESSIONAIRE’s obligation to schedule and execute the Conservation and Maintenance tasks in a timely manner, during the entire Concession Term, so that the Conservation and Maintenance Service Levels are equal to or always above the minimum thresholds set forth in this Annex.

The CONCESSIONAIRE shall monitor the condition parameters and detect those whose measurement is eventually below the admissible limits and adopt the necessary measures for their timely correction, in order to always be within the Conservation Service Levels defined in this Annex.

The CONCESSIONAIRE shall have at all times the structure, organization and resources (physical, technical and administrative) that shall allow it to program and execute throughout the Concession Term the Conservation tasks necessary for the measurement of the condition parameters to be maintained within the Conservation Service Levels defined in this Annex.

The CONCESSIONAIRE shall carry out the quality control of the works performed from the beginning of the Operation and shall obtain, at the latest in the second year counted from the Acceptance Date of the Works, the certification of compliance with the ISO 9001 standard for maintenance activities, issued by an entity duly authorized for such purpose.

The CONCESSIONAIRE shall keep updated the maintenance history of the Concession Assets contemplated in the Annual Conservation and Maintenance Plan, within three (3) Days after such maintenance has been performed.

The Supervisor shall inspect, supervise and control the performance of all the obligations of the CONCESSIONAIRE on a continuous and unexpected basis, in order to timely detect deviations and demand that the deficiencies found be corrected.

### GENERAL PROCEDURES

#### Annual Conservation and Maintenance Plan

The CONCESSIONAIRE shall submit the Annual Conservation and Maintenance Plan to the GRANTOR, with a copy to the Supervisor. The GRANTOR shall have a term of ten (10) Calendar Days counted from the day following its receipt to give its favorable opinion, prior opinion of the Supervisor. Upon expiration of such term, the GRANTOR shall issue its opinion, even if the Supervisor has not issued its opinion. In case the GRANTOR formulates observations or recommendations, the procedure is regulated in Clauses 7.7 and 7.8.

The first Annual Conservation and Maintenance Plan shall be submitted to the Supervisor, with a copy to the GRANTOR, no later than ninety (90) Calendar Days prior to the execution of the Operation Initiation Act.

Subsequent plans must be submitted by the last day of September of the year prior to their effective date and shall be in effect from January through December of the corresponding year.

The Annual Conservation and Maintenance Plan shall be duly justified in its technical aspects, indicating the analysis of the current state, the international maintenance standards considered and the policies applied for decision making.

#### Monthly Activity Report

Within the first ten (10) Calendar Days of each month, the CONCESSIONAIRE shall submit to the GRANTOR, with copy to the Supervisor, the list of the Conservation and Maintenance works carried out during the previous month, and if applicable, shall indicate the variations made with respect to the provisions of the Annual Conservation and Maintenance Plan with the due justification.

The list of the work performed shall form part of the Monthly Activity Report, described in Section 5 of this Annex.

#### Works Execution Stage

During the Works Execution Stage, the Conservation Service Levels set forth in this Annex shall not be evaluated.

Upon completion of the Works Execution Stage, the CONCESSIONAIRE shall perform all those Conservation tasks necessary to recover and maintain the Conservation Service Levels of the Works defined in this Annex, during the Concession Term.

# SECTION 2: CLEANING SERVICE

### GENERAL PRINCIPLES

The CONCESSIONAIRE shall provide the Cleaning Service inside and outside the stations, cabins and buses. Likewise, it shall be in charge of the Solid Waste Management generated inside the stations, cabins and buses.

Cleaning activities and Solid Waste Management shall be carried out in a timely manner, in compliance with international standards and national regulations in force.

Policies or practices that produce negative impacts on the environment shall not be acceptable.

### CLEANING SERVICE LEVELS

The Cleaning of the Concession Assets shall be expressed through compliance with the Service Levels set forth in this Annex and the Indicators set forth in Appendix I of this Annex.

The CONCESSIONAIRE shall consider the provision and replacement of all the necessary supplies for the proper operation of the restrooms, such as soap, toilet paper, alcohol, hand towels, etc.

For each day of operation and during the entire Operation, the CONCESSIONAIRE shall start the service with clean, deodorized, disinfected and disinsected cabs and buses. Clean cabs or buses are understood as those whose internal and external surfaces, exteriors, seats, backrests, glass, floors, roof, are free of dust, dirt and stains of any kind and origin.

The CONCESSIONAIRE shall carry out at least once (1) a week a thorough and complete cleaning of each cab and bus, including washing, both externally and internally.

The CONCESSIONAIRE shall be responsible for the removal of garbage and waste generated inside the Stations, cabins and buses. To this end, it shall establish the appropriate methodology in coordination with the entities or public service providers in charge of the final disposal of solid waste, in compliance with the national regulations in force and international standards. If required, it may outsource the service, which shall not exonerate it from compliance with the provisions of this annex.

It is the CONCESSIONAIRE’s obligation to schedule and execute the cleaning and tasks in a timely manner and with the necessary frequency, during the entire Concession Term, in such a way that the Service Levels and Indicators defined in this Annex are met.

The CONCESSIONAIRE shall prepare an Annual Cleaning Plan that includes all the cleaning activities required for each of the internal and external environments of the Stations, Electromechanical Equipment of the Cable Cars and buses. As well as the frequency, supplies and resources necessary for its execution; as well as the program and methodology for solid waste management, in compliance with international standards, current regulations and the minimum criteria for cleaning detailed in Appendix 2 of this Annex.

The CONCESSIONAIRE shall have at all times the structure, organization and resources (physical and administrative) that shall allow it to program and execute throughout the Concession Term the Cleaning tasks necessary to maintain the Service Levels and Cleaning Indicators defined in this Annex.

The CONCESSIONAIRE shall document, record and keep updated the history of all cleaning activities performed during the day.

### GENERAL PROCEDURES

#### Annual Cleaning Plan

The CONCESSIONAIRE shall submit the Annual Cleaning Plan to the GRANTOR, with a copy to the Supervisor. The GRANTOR shall have a term of ten (10) Calendar Days counted from the day following its receipt to give its favorable opinion, prior opinion of the Supervisor. Upon expiration of such term, the GRANTOR shall issue its opinion, even if the Supervisor has not issued its opinion. In case the GRANTOR formulates observations or recommendations, the procedure is regulated in Clauses 7.7 and 7.8.

The first Annual Cleaning Plan shall be delivered to the Supervisor, with a copy to the GRANTOR, no later than ninety (90) Calendar Days prior to the execution of the Operation Initiation Act.

Subsequent plans must be submitted by the last day of September of the year prior to their effective date and shall be in effect from January through December of the corresponding year.

The CONCESSIONAIRE shall comply with the schedule of activities proposed in the Annual Cleaning Plan. The CONCESSIONAIRE may modify the schedule of activities, as long as it is duly justified, for which it shall update the annual plan in force and submit it to the CONCESSIONAIRE fifteen (15) Calendar Days before it becomes into force.

It must be taken into account that the resources to be used in the cleaning of stations, cabins and buses shall be in relation to the usual behavior of the Users. Users’ improper behavior shall not exempt the CONCESSIONAIRE from liability for compliance with this obligation, except in cases which, in the Supervisor’s judgment, are exceptional.

#### Monthly Activity Report

Within the first ten (10) Calendar Days of each month, the CONCESSIONAIRE shall submit to the GRANTOR, with copy to the Supervisor, the list of the Cleaning works performed during the previous month, and if applicable, shall indicate the variations made with respect to the provisions of the Annual Cleaning Plan with the due justification.

The list of the work performed shall form part of the Monthly Activity Report, described in Section 5 of this Annex.

# SECTION 3: CABLE CAR AND BUS TRANSPORTATION SERVICE

### GENERAL PRINCIPLES

The Service provision shall be carried out protecting human life and guaranteeing people’s safety.

The Service provision shall be carried out in compliance with international standards of operation, safety and quality of cable transport facilities.

The CONCESSIONAIRE shall comply with all the provisions related to the service provision set forth in the regulations and Applicable Laws. In the event a provision contained in the regulations or Applicable Laws has a more demanding safety obligation than any of those set forth below, the provisions of the regulations or Applicable Laws shall prevail.

### SERVICE PROVISION LEVELS

The limits of the minimum parameters to be complied with during the Service provision stage are called “Service Provision Levels,” which are established in compliance with the international standards of operation, safety and quality proposed by the CONCESSIONAIRE.

The proposed international standards of operation, safety and quality shall be submitted to the GRANTOR and the Supervisor for approval, no later than thirty (30) Calendar Days prior to the delivery of the Annual Operation Plan.

It is the CONCESSIONAIRE’s obligation to timely schedule and execute the tasks related to the Service provision, during the entire Concession Term, in such a way that the Service Provision Levels are equal to or always above the minimum thresholds established by the Service Provision Levels.

The CONCESSIONAIRE shall prepare an Annual Operation Plan that includes all the activities required for the correct execution of the Service, complying with internationally recognized standards of operation, safety and quality. Said activities shall be set forth in a schedule indicating the daily, weekly, monthly, annual, etc. frequency, as appropriate.

The CONCESSIONAIRE shall have at all times the structure, organization and resources (physical, technical and administrative) that shall allow it to program and execute throughout the Concession Term the tasks related to the Service provision.

The CONCESSIONAIRE shall perform the quality control of the Service offered from the Operation Initiation and shall obtain, at the latest in the second year as from the date of Operation Initiation date, the certification of compliance with the ISO 9001 standard for the operation activities, issued by an entity duly authorized for such purpose.

The CONCESSIONAIRE shall have an Operating Record where the following information is recorded:

- Name of operating personnel present.

- Opening and closing hours for service.

- Reading of hourly or trip meters.

- Reading of the number of passengers per trip.

- Results of controls in operation and effects.

- Incidents, accidents and interventions of all nature, specifying their causes and effects.

- Operating speeds

- Atmospheric conditions at the time of opening to the public and any changes affecting operating conditions.

- Other information deemed necessary by the CONCESSIONAIRE or the Supervisor.

The Operation Record shall be automated via software and registered in the SIDIG. Both the GRANTOR and the Supervisor may request the Operation Record at any time.

The CONCESSIONAIRE shall have an Information and Customer Service Office at the Central Stations to attend to the complaints and suggestions of the Users, including the complaint books required by the applicable regulations. The Information and Customer Service Office shall classify and analyze each claim, request or suggestion and then, if the case warrants it, within a term no longer than seven (7) Calendar Days, it shall issue the acquittal thereof.

The Supervisor shall inspect, supervise and control the performance of all the obligations of the CONCESSIONAIRE on a continuous and unexpected basis, in order to timely detect deviations and demand that the deficiencies found be corrected.

#### Minimum Parameters for Service Provision Levels Service

#### Hours and Operating Conditions

The CONCESSIONAIRE shall offer the Cable Car and Bus Transportation Service as of the Operation Initiation, respecting the opening and closing hours of the facilities, under the following conditions:

    - High-demand period:

It includes the months of June, July and August.

During this period, the Service shall be from Tuesday to Sunday, including holidays:

- The minimum hours for the Service provision shall be twelve (12) hours per day.

- The opening hours shall be from 06:00 to 18:00. Considering the last bus return time at 17:30 and/or until the entrance to the Choquequirao monument closes.

    - Low-demand period:

It includes the rest of the months outside the high-demand period.

During this period, the Service shall be from Tuesday to Sunday, including holidays:

- The minimum hours for the Service provision shall be eight (8) hours per day.

- The opening hours shall be from 08:00 to 16:00. Considering the last bus return time at 15:30 and/or until the entrance to the Choquequirao monument closes.

The CONCESSIONAIRE shall not be obliged to provide the Cable Car and Bus Transportation Service when maintenance activities previously programmed in the Annual Conservation and Maintenance Plan are carried out, or in case of events of force majeure or acts of God, such as:

  - Vandalism

  - Sabotage

  - Natural disasters

  - Terrorism, rebellion, sedition, riot, social demonstrations, actions of the armed forces in states of emergency.

  - Fires unrelated to the operation of the cable car or any other service provided by the CONCESSIONAIRE, which may endanger the users and assets of the Concession.

  - Electricity supply cut-off by the utility company.

#### Availability in the Service provision

The CONCESSIONAIRE shall guarantee the availability of the cable car and bus transportation service in the schedules and conditions previously indicated and in accordance with the provisions of its Annual Operation Plan.

It shall be understood that the cable car transportation service is unavailable in the following cases:

  - During the execution of corrective maintenance work on the cable cars.

  - During the execution of unscheduled preventive maintenance work on the cable cars.

  - During the time of Anomalies or Incidents in the Cable Cars.

  - During weather conditions that prevent the operation of the cable car in accordance with EN 12397:2006.

Likewise, it shall be understood that the bus transportation service is unavailable in the following cases:

      - During the execution of corrective maintenance work on the buses.

      - During the execution of unscheduled preventive maintenance work on buses.

      - During the time of Anomalies or Incidents on the Buses.

In the event that the cable car or bus transportation service is unavailable, the CONCESSIONAIRE shall reimburse the users the full amount paid for the service.

The Cable Car and Bus Transportation Service shall not be considered unavailable during the execution of maintenance work programmed in the Annual Conservation and Maintenance Plan, or in the event of events of force majeure or acts of God.

The Availability of the Cable Car Transportation Service shall be calculated based on the following formula:

Availability = 𝑇𝐹𝑇 𝑥100 = 𝑇0𝑇 − 𝑇𝐼𝑇 𝑥100

𝑇0𝑇		𝑇0𝑇

      - 𝑇0𝑇 = Cable Car Scheduled Operating Time according to the Annual Operation Plan.

      - 𝑇𝐹𝑇 = Cable Car Operating Time.

      - 𝑇𝐼𝑇 = Time during which the Cable Car Transportation Service is Unavailable.

Similarly, the Availability of Bus Transportation Service shall be calculated from the following formula:

Availability = 𝑇𝐹𝐵 𝑥100 = 𝑇0𝐵 − 𝑇𝐼𝐵 𝑥100

𝑇0𝐵		𝑇0𝐵

      - 𝑇0𝑇 = Bus Scheduled Operating Time according to the Annual Operation Plan.

      - 𝑇𝐹𝑇 = Bus Operating Time.

      - 𝑇𝐼𝑇 = Time during which the Bus Transportation Service is Unavailable.

In the event that the CONCESSIONAIRE is forced to cancel a Cable Car or Bus trip, the CONCESSIONAIRE shall reimburse the affected users the full amount of the fare paid for the service. Likewise, it shall justify the reason for the cancellation or cancellation, indicate the causes and inform the CONCESSIONAIRE and Supervisor within a maximum term of one (1) Calendar Day. Any cancellation or cancellation shall be registered in the SIDIG.

#### Carrying capacity and comfort

The CONCESSIONAIRE shall be obliged to guarantee timely and efficient service to all Users, without exception, regardless of the level of demand present at any given time. It shall ensure that the cable car and bus transportation service is provided in a continuous and accessible manner, complying with the established quality standards, regardless of the number of Users accessing the service at any given time.

In this regard, it shall establish the departure frequencies of cable cars and buses in a synchronized manner in order to serve the largest possible number of Users at all times. It shall take into account the maximum capacity of the cabins and buses, the number of buses available and the maximum speeds indicated in the following table.

|  | Maximum capacity of the vehicle | Maximum speed |
| --- | --- | --- |
| Cable Car Transportation - Cabins | 100 passengers | 12 m/s or 43 km/h |
| Ground transportation - Buses | 23 passengers | 8 m/s or 30 km/h |

The CONCESSIONAIRE shall maintain the Tourist Roads in adequate conditions for the transit of buses, in compliance with the national standards applicable to road maintenance and conservation, so as to guarantee the comfort and safety of the Users at all times.

#### Customer Service

The CONCESSIONAIRE shall have an Information and Customer Service Office at the central stations. The offices shall have trained personnel to receive, guide, orient, inform, assist in boarding and disembarking tasks, including the care of elderly people or people with special abilities. Likewise, they must have a mailbox for claims and suggestions and a physical and virtual Complaints Book, as provided for in the regulations in force.

The Information and Customer Service Office shall also be in charge of receiving, registering, storing and managing objects that have been lost by Users in stations, cabins and buses, with the aim of facilitating the recovery of their belongings by their owners.

The CONCESSIONAIRE shall develop and manage a Web Platform containing at least monthly updated information on the Service provision, schedules, promotions, security measures and newsletters, as well as the possibility of registering users’ complaints and suggestions regarding the services provided. The Web Platform shall be effective as of the Operation Initiation.

The CONCESSIONAIRE shall be responsible for registering and centralizing the complaints and suggestions made by the Users in the Complaints Book and/or on the Web Platform, and shall address them within a term no longer than seven (7) Calendar Days.

At any time, the Supervisor or the GRANTOR may verify the validity of the information posted on the web page and in case it is not updated, the GRANTOR shall notify the CONCESSIONAIRE so that the latter may correct the observation within a term no longer than one (01) Calendar Day.

The CONCESSIONAIRE shall issue and disseminate guides and/or bulletins for the Users at least every six months, containing information of interest regarding the Service provision and the safety measures to be adopted by the Users in different cases.

The CONCESSIONAIRE shall implement a real-time user evaluation service, through digital platforms or supports such as tablets, touch screens, cell phone applications, among others.

Likewise, the CONCESSIONAIRE shall conduct monthly surveys to determine the User Satisfaction Index. For the survey, a robust and statistically representative sample size shall be defined. The design of the survey and the attributes (variables to be measured) shall be defined in coordination with the GRANTOR and the Supervisor. The survey shall allow the identification of the profile of the tourist who uses the service, socioeconomic category, reason for the trip, etc.

At a minimum, the surveys should cover the following variables or aspects of the service: Service frequency, travel time, punctuality, cleanliness of cabins, buses and stations, information on delays, staff treatment, lighting in stations, general condition of cabins, buses and stations, general condition of pedestrian paths between stations and the monument, condition of signage, ease of ticket purchase and waiting time at ticket offices, general condition of websites for information and virtual complaint handling, accessibility for people with disabilities and senior citizens, travel comfort, interruptions, safety due to accidents, security against crime and other complementary services that the Concessionaire may offer within the Concession Area.

To measure the quality of services, a Likert scale shall be used, allowing respondents to evaluate each aspect by assigning one of the following values:

- Bad

- Fair

- Good

- Very Good

- Excellent

The result of the monthly surveys shall be registered in the SIDIG within a term no longer than fifteen (15) Calendar Days after its accomplishment. The GRANTOR and the Supervisor shall have access to this information at all times.

## GENERAL PROCEDURES

#### Annual Operation Plan

The CONCESSIONAIRE shall submit the Annual Operation Plan to the GRANTOR, with copy to the Supervisor. The GRANTOR shall have a term of ten (10) Calendar Days counted from the day following its receipt to give its favorable opinion, prior opinion of the Supervisor. Upon expiration of such term, the GRANTOR shall issue its opinion, even if the Supervisor has not issued its opinion. In case the GRANTOR formulates observations or recommendations, the procedure is regulated in Clauses 7.7 and 7.8.

The first Annual Operation Plan shall be submitted to the Supervisor, with a copy to the GRANTOR, no later than ninety (90) Calendar Days prior to the execution of the Operation Initiation Act.

Subsequent plans must be submitted by the last day of September of the year prior to their effective date and shall be in effect from January through December of the corresponding year.

The Annual Operation Plan shall be duly justified in its technical aspects, indicating the international operating standards considered and the policies applied for decision making.

The Annual Operation Plan shall include at least the content required in the UNE-EN 12397:2006 Standard referring to the Operation Plan for Cable Transport Installations:

- Name and characteristics of the installation

- Personnel and responsibilities

- Technical Documents

- Operating modes in normal service

- Operating modalities in case of exceptional circumstances

- Maintenance and controls in operation

- Incidents and accidents

- Evacuation plan

In addition to the aspects related to the service provision, such as:

- Description of services offered

- Service Coverage

- Bus operating hours and departure frequency

- Cable Car operating hours and departure frequency

- Hours management: Coordination of departure and arrival times to minimize waiting times.

- Personnel and Hierarchical Organization

- Safety protocols: Procedures to ensure the safety of passengers.

#### Monthly Activity Report

Within the first ten (10) Calendar Days of each month, the CONCESSIONAIRE shall submit to the GRANTOR, with copy to the Supervisor, the list of the operation activities carried out during the previous month, and if applicable, shall indicate the variations made with respect to the provisions of the Annual Operation Plan with the due justification.

The list of the works performed shall form part of the Monthly Activity Report, described in Section 5 of this Annex. The CONCESSIONAIRE shall attach a copy of the Operation Record with the corresponding information of the corresponding report.

# SECTION 4: SECURITY AND SURVEILLANCE SERVICE

## GENERAL PRINCIPLES

The CONCESSIONAIRE shall provide the Security and Surveillance Service inside and outside the Stations, in order to guarantee the integrity and protection of the Users at all times.

## SECURITY AND SURVEILLANCE SERVICE LEVELS

The CONCESSIONAIRE is obliged to provide the security service to the User inside the stations, as well as the surveillance service inside them.

To this end, it must have duly trained personnel at the stations and install video surveillance cameras, CCTV systems or others. In addition, it should implement recording devices in both cabins and buses, in order to have a daily record of events that may occur during the movement of vehicles.

The Central Stations shall be equipped with the minimum resources to provide basic medical care to Users during risk situations that may arise within the Concession Area. Likewise, Abra Choquequirao Station and Union Station must have oxygen equipment permanently and be made available to Users in case of emergencies.

## GENERAL PROCEDURES

#### Annual Security and Surveillance Plan

The CONCESSIONAIRE shall submit the Annual Security and Surveillance Plan to the GRANTOR, with a copy to the Supervisor. The GRANTOR shall have a term of ten (10) Calendar Days counted from the day following its receipt to give its favorable opinion, prior opinion of the Supervisor. Upon expiration of such term, the GRANTOR shall issue its opinion, even if the Supervisor has not issued its opinion. In case the GRANTOR formulates observations or recommendations, the procedure is regulated in Clauses 7.7 and 7.8.

The first Annual Security and Surveillance Plan shall be submitted to the Supervisor, with a copy to the GRANTOR, no later than ninety (90) Calendar Days prior to the execution of the Operation Initiation Act.

Subsequent plans must be submitted by the last day of September of the year prior to their effective date from January through December of the corresponding year.

The Annual Security and Surveillance Plan shall specify the personnel and equipment required to perform this service.

The Annual Security and Surveillance Plan shall be duly justified, indicating the analysis of the current status, international standards and policies applied for decision making.

#### Monthly Activity Report

Within the first ten (10) Calendar Days of each month, the CONCESSIONAIRE shall submit to the GRANTOR, with copy to the Supervisor, the list of the Security and Surveillance works carried out during the previous month, and if applicable, shall indicate the variations made regarding the provisions of the Annual Security and Surveillance Plan with the due justification.

The list of the work performed shall form part of the Monthly Activity Report, described in Section 5 of this Annex.

#### Contingency Plan

The CONCESSIONAIRE shall prepare and submit to the Supervisor and GRANTOR for approval the Contingency Plan which shall contain at least the following:

- Contingency plan in case of fire, heavy rains, flooding and landslides

- Contingency plan in case of earthquakes

- Operational contingency plan

The Contingency Plan shall be submitted to the GRANTOR with copy to the Supervisor, in the maximum term of ninety (90) Calendar Days prior subscribing the Operation Initiation Act. In no case the Service can be started without the approval of the contingency plans foreseen.

Prior to its submission to the GRANTOR, this Plan must have the conformity of the National Institute of Civil Defense - INDECI, the Peruvian National Police - PNP and the General Fire Brigade of Peru. In this context, the GRANTOR shall have a term of thirty (30) Calendar Days to give its opinion, prior to the subscription of the corresponding Operation Initiation Act. Once approved, it shall be sent to the Supervisor. If there is no pronouncement from the GRANTOR within the established term, the plan shall be understood as approved.

Contingency plans shall be updated annually. Any modification shall have to be approved by the GRANTOR, previous favorable opinion of the relevant entity of the National Civil Defense System (SINADECI): National Institute of Civil Defense - INDECI, the Peruvian National Police - PNP and the General Fire Brigade of Peru.

The operational contingency plan shall contain at least the following procedures:

- Operation in exceptional weather conditions.

- Operation under degraded conditions of electrical, signaling, automation and telecommunications systems.

- Actions in the event of: power failure, accidents, earthquakes, fires, floods, crashes and others.

- Actions for the evacuation of the cabins according to the “Evacuation Plan” in case of breakdowns or total stoppage of the cable cars.

- Service shutdown due to vandalism at stations.

- Actions against acts of sabotage and terrorism.

- Actions in the event of a blockade on tourist routes.

# SECTION 5: ADMINISTRATION OF MANDATORY SERVICES

## GENERAL PRINCIPLES

The CONCESSIONAIRE shall guarantee the administration, control, registration and communication to the Supervisor and GRANTOR about the activities and occurrences related to the provision of the mandatory services contained in this Annex and the Concession Contract.

## SERVICE LEVELS OF THE ADMINISTRATION OF MANDATORY SERVICES

The CONCESSIONAIRE shall keep a record of the daily activities carried out for Conservation and Maintenance, Cleaning, Cable Car Transportation Service, and Security and Surveillance in the SIDIG. Likewise, anomalies or incidents, rectifications or non-compliance with the service levels detected, requests registered and attended, complaints and claims made by the Users, and other activities related to the service provision such as meetings, participants, visits, etc., shall be recorded.

Likewise, the CONCESSIONAIRE shall register daily in the SIDIG the information of the Operation Record as described in Section 3 of this Annex.

Based on the information recorded, the CONCESSIONAIRE shall implement an IT tool that allows it to calculate the values of the Service Level Indicators and record them in the SIDIG during the Concession period.

At any time, the GRANTOR and Supervisor may request the information registered in the SIDIG regarding the activities related to the performance of the CONCESSIONAIRE’s Mandatory Services.

On a monthly basis, the CONCESSIONAIRE shall submit an activity report (The Monthly Activity Report), where it shall report the work performed related to the Mandatory Services as stipulated in the annual plans. Likewise, it shall include the calculation of the Service Level Indicators in accordance with the provisions of Appendix I of this Annex.

## GENERAL PROCEDURES

#### Monthly Activity Report

The CONCESSIONAIRE shall submit the Monthly Activity Report to the Supervisor, with a copy to the GRANTOR, within ten (10) Calendar Days following the end of the month covered by the report. In case the Supervisor requires further information regarding the activity report, it may request such information, establishing a reasonable term for the CONCESSIONAIRE’s response.

The Monthly Activity Report shall contain at least the following:

- Report on the activities of the CONCESSIONAIRE’s Mandatory Services executed during the period according to the annual plans.

- Report regarding rectifications of non-compliances.

- Report of the requests registered and attended during the period.

- Report of complaints and claims registered by the Users and attended by the CONCESSIONAIRE during the period.

- Summary of activities carried out during the month (meetings, participants, visits, etc.).

- On the results of the service levels for the month, which shall be used as input for the quarterly evaluation of the Service.

#### Special Reports Requested by the Supervisor

Upon request of the Supervisor or the GRANTOR, the CONCESSIONAIRE shall prepare special reports that may help to detail, clarify or explain any situation related to the provision of the Mandatory Services of the Concession Contract.

The CONCESSIONAIRE shall submit these special reports within fifteen (15) Calendar Days after the request is made by the Supervisor.

# SECTION 6: ASSESSMENT OF SERVICE LEVELS AND INDICATORS

## 6.1. GENERAL PROCEDURES

#### Service Provision Assessment Program

In order to ensure that the Service Performance Levels provided by the CONCESSIONAIRE are always within the admissible values, the Supervisor shall prepare an Assessment Program of the Mandatory Services provided by the CONCESSIONAIRE.

The specific objectives of the program are:

- Verify compliance with the Annual Conservation and Maintenance Plan prepared by the CONCESSIONAIRE.

- Verify compliance with the Annual Cleaning Plan prepared by the CONCESSIONAIRE.

- Verify compliance with the Annual Security and Surveillance Plan prepared by the CONCESSIONAIRE.

- Verify compliance with the Annual Operation Plan prepared by the CONCESSIONAIRE.

- Identify compliance with Service Levels and Indicators.

- Verify the correct and timely correction of the non-compliances of the Service Levels found.

The Supervisor shall communicate to the GRANTOR and CONCESSIONAIRE with due anticipation the implementation of the Service Provision Assessment Program, in order to determine the Service Level Indicators corresponding to the assessment quarter.

#### Assessments

The Supervisor shall carry out monthly evaluations with the purpose of verifying compliance with the Service Levels and the Indicators for the control of the provision of the Mandatory Services. The Supervisor may also supervise the CONCESSIONAIRE’s working conditions or practices so that they are not unsafe for the Users and its own personnel, and may supervise the procedures used and the other contractual obligations.

The Supervisor shall carry out the evaluations without prior notice to the CONCESSIONAIRE. He may also use the information provided by the GRANTOR and/or the information registered in the SIDIG to detect the eventual non-compliance with the Service Levels.

Of the evaluation carried out, one (1) original and two (2) copies of the minutes shall be drawn up, detailing the non-compliances of the Service Levels, location, and the observations that the Supervisor may make. The Supervisor and the CONCESSIONAIRE shall keep a copy of the Minutes, keeping the original for the GRANTOR. The absence of the personnel designated by the CONCESSIONAIRE and/or the lack of discharges in the Minutes, shall be taken as conformity thereof with the result of the assessment performed.

If, in any assessment, non-compliance with the Service Levels is detected, the Supervisor shall issue a “Notice of Non-Compliance with Service Levels.”

Upon receipt of a “Notice of Non-Compliance with Service Levels,” the CONCESSIONAIRE shall carry out the works that raise the quality back to the required Service Levels, within the term established by the Supervisor.

When the CONCESSIONAIRE completely remedies the non-compliances detailed in the “Notice of Non-Compliance with Service Levels,” it shall communicate to the Supervisor informing the completion of the remedy.

#### Deductions

The quarterly Availability Payments (PPD) received by the CONCESSIONAIRE shall be conditioned to the periodic, sustained and verifiable compliance with the Service Levels based on the Indicators calculated for the assessment period during the Operation.

ANNEX No. 09 - APPENDIX 1: SERVICE LEVEL INDICATORS

| Service | Cod | Indicator | Activity record frequency | Indicator calculation period |
| --- | --- | --- | --- | --- |
| CONSERVATION AND MAINTENANCE | CM.1 | Compliance with the Conservation and Maintenance Activities Scheduled in the Annual Conservation and Maintenance Plan. | Daily | Monthly |
|  | CM.2 | Attention to requests for anomalies or incidents at works. | According to occurrence | Monthly |
|  | CM.3 | Attention to requests for anomalies or incidents in the Electromechanical Equipment of the Cable Cars. | According to occurrence | Monthly |
|  | CM.4 | Attention to requests for anomalies or incidents in the Buses. | According to occurrence | Monthly |
| CLEANING | AL.1 | Compliance with cleaning and sanitation activities according to frequency and procedures set forth in the Annual Cleaning Plan. | Daily | Monthly |
|  | AL.2 | Compliance with solid waste management in accordance with the applicable current regulations. | Daily | Monthly |
|  | AL.3 | Pest control compliance in accordance with applicable current regulations. | Quarterly | Quarterly |
|  | AL.4 | The CONCESSIONAIRE is responsible for the provision and maintenance of all the consumables in the restrooms. | Daily | Monthly |
|  | AL.5 | Attention to cleaning and pest control requests. | According to occurrence | Quarterly |
| CABLE CAR TRANSPORTATION | STT.1 | Availability of Cable Car Transportation Service | Daily | Monthly |
|  | STT.2 | Availability of Bus Transportation Service | Daily | Monthly |
|  | STT.3 | User Satisfaction Level | Quarterly | Quarterly |
|  | STT.4 | The CONCESSIONAIRE must have an Customer Service and Information Office | Quarterly | Quarterly |
|  | STT.5 | The Concessionaire must attend to the complaints made by the users in the Complaint Book or official Websites. | According to occurrence | Quarterly |
|  | STT.6 | Availability of official Websites. | Daily | Monthly |
| SECURITY AND SURVEILLANCE | SV.1 | The CONCESSIONAIRE must provide the security service within the stations. | Quarterly | Quarterly |
|  | SV.2 | Availability of video surveillance cameras. | Daily | Quarterly |
|  | SV.3 | Attention to risk situations arising within the Concession Area. | According to occurrence | Quarterly |
|  | SV.4 | The CONCESSIONAIRE is responsible for providing, replenishing and maintaining in good condition all equipment and materials within the stations to deal with risk situations arising within the Concession Area. | Monthly | Monthly |
| ADMINISTRATION OF MANDATORY SERVICES | ADM.1 | Timely delivery of the Monthly Activity Report | Monthly | Monthly |
|  | ADM.2 | Timely delivery of Special Reports requested by the Supervisor | According to occurrence | Quarterly |
|  | ADM.3 | Timely documentation of all activities performed under the Contract during the Operation. | Daily | Quarterly |

CONSERVATION AND MAINTENANCE SERVICE

| TECHNICAL DATA SHEET |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Group Category | Conservation and Maintenance Service |  |  | Measurement | Documentary / Visual |  |  |
| Code | CM.1 |  |  | Weight | 1.25 % |  |  |
| Parameter | Compliance with the Conservation and Maintenance Activities Scheduled in the Annual Conservation and Maintenance Plan. |  |  |  |  |  |  |
| Definition and Measurement Method |  |  |  |  |  |  |  |
| Definition | The purpose of the indicator is to verify compliance with the conservation and maintenance activities of the works and electromechanical equipment of the cable cars scheduled by the CONCESSIONAIRE in accordance with the Annual Conservation Plan, prepared based on national and international regulations, manufacturers’ manuals, among others. |  |  |  |  |  |  |
| Service Level Calculation |  |  | No. of conservation and maintenance activities executed |  |  | X 100 |  |
|  |  |  | No. of conservation and maintenance activities scheduled |  |  |  |  |
| Measurement Method | Documentary: Review of the documentation recorded in the SIDIG by the CONCESSIONAIRE regarding the execution of conservation and maintenance activities. |  |  |  |  |  |  |
|  | Visual: On-site technical audit inspection of compliance with the conservation and maintenance activities scheduled in the Annual Conservation and Maintenance Plan. |  |  |  |  |  |  |
| Scope | The scope of this indicator includes the maintenance of the following: - Electromechanical Equipment for Cable Cars. - Tourist Routes - Pedestrian Walkways - Buses - Architecture (floors, walls, ceilings, floors, coverings, carpentry, locksmithing, glass and similar, painting, signage). - Structures (columns, walls, beams, slabs, stairs, cisterns, elevated tanks, metal structures, wood structures, joints). - Sanitary facilities (potable water distribution network (hot and cold water), sewage drainage network, sanitary batteries). - Electrical installations (general power supply lines, grounding system, general distribution and protection panel, main switch, protection boxes, protection fuses, outlets, interior installations, generator set). - Mechanical installations (air conditioning system, ventilation). - Telecommunications installations (structured cabling system, sound system, internet access system, video surveillance system, burglar alarm system). - Emergency system (fire extinguishing system, fire detection and alarm system). - Irrigation system. - Furniture and equipment. - Exterior areas (pavements, parking lot, sidewalks, sidewalks, patios, driveways, curbs, stairs and exterior ramps). - Green areas. |  |  |  |  |  |  |
| Specifications | The CONCESSIONAIRE shall record in the SIDIG the maintenance activities performed by the technical personnel. The documents on which the Supervisor shall rely for the measurement of the indicator are the following: - CONCESSIONAIRE’S Annual Conservation and Maintenance Plan. - Non-compliance reports recorded in the SIDIG and their documentation. - Maintenance and conservation activity scheduling, date and time recorded by the CONCESSIONAIRE in the SIDIG. |  |  |  |  |  |  |
| Frequency | Unit of Measurement |  |  | Service level |  |  |  |
| Monthly | Points |  |  | 95 |  |  |  |
| Quarterly Score Calculation |  |  |  |  |  |  |  |
| Simple average of monthly indicators for the assessment quarter. |  |  |  |  |  |  |  |
| Deduction Criteria |  |  |  |  |  |  |  |
| Does rectification apply? |  | Rectification Period |  |  |  |  |  |
| Yes (X) |  | Up to 2 Calendar Days |  |  |  |  |  |
| No ( ) |  |  |  |  |  |  |  |
| Deduction |  | Deduction Criteria |  |  |  |  |  |
| Area |  | Deduction is applied according to the quarterly score obtained on the indicator |  |  |  |  |  |
| Service | X |  |  |  |  |  |  |

| TECHNICAL DATA SHEET |  |  |  |  |
| --- | --- | --- | --- | --- |
| Group Category | Conservation and Maintenance Service |  | Measurement | Documentary / Visual |
| Code | CM.2 |  | Weight | 1.25 % |
| Parameter | Attention to requests for anomalies or incidents at works. |  |  |  |
| Definition and Measurement Method |  |  |  |  |
| Definition | The purpose of this indicator is to ensure that requests for incidents at works, which include: Buildings (stations), tourist roads and pedestrian paths are attended. Due to a circumstantial accident, improper use, lack of preventive maintenance, among others, breakdowns or failures may occur that shall lead to corrective maintenance works. Corrective maintenance considers repair work of a punctual nature and is aimed at correcting breakdowns or faults that prevent the operation of the building, its components, electrical or sanitary installations, tourist routes, pavement, drainage and works of art, in expected conditions of safety, habitability and functionality. |  |  |  |
| Service Level Calculation | When all incident requests recorded in the SIDIG are attended within the established timeframe, the score shall be 100; otherwise, if any incident request is not attended within the established timeframe, the score shall be 0. If, during the assessment period, no incident requests were recorded, a score of 100 shall be considered. |  |  |  |
| Measurement Method | Documentary: The Supervisor shall review the documentation recorded in the SIDIG regarding the incident attention requests, analysis of the recorded cases. |  |  |  |
|  | Visual: Random visual inspection by the Supervisor. |  |  |  |
| Scope | - The scope of the indicator includes all incident attention requests recorded in the SIDIG with respect to building and tourist road components. |  |  |  |
| Specifications | The documents on which the Supervisor shall rely for the measurement of the indicator are the following: - Service request reports recorded in the SIDIG and their documentation. - CONCESSIONAIRE’s inspection report. |  |  |  |
| Frequency | Unit of Measurement |  | Service level |  |
| Monthly | Points |  | 100 |  |
| Quarterly Score Calculation |  |  |  |  |
| Simple average of monthly indicators for the assessment quarter. |  |  |  |  |
| Deduction Criteria |  |  |  |  |
| Does rectification apply? |  | Rectification Period |  |  |
| Yes ( ) |  | Not applicable. |  |  |
| No (X) |  |  |  |  |
| Deduction |  | Deduction Criteria |  |  |
| Area |  | Deduction is applied according to the quarterly score obtained on the indicator |  |  |
| Service | X |  |  |  |

| TECHNICAL DATA SHEET |  |  |  |  |
| --- | --- | --- | --- | --- |
| Group Category | Conservation and Maintenance Service |  | Measurement | Documentary / Visual |
| Code | CM.3 |  | Weight | 1.25 % |
| Parameter | Attention to requests for anomalies or incidents in the Electromechanical Equipment of the Cable Cars. |  |  |  |
| Definition and Measurement Method |  |  |  |  |
| Definition | The purpose of this indicator is to ensure that requests for anomalies or incidents in cable car components and their electromechanical equipment are attended. Due to a circumstantial accident, improper use, lack of preventive maintenance, among others, breakdowns or failures may occur that shall lead to corrective maintenance works. The corrective maintenance considers repair works of punctual character and they are oriented to correct breakdowns or failures that do not allow the operation of the cable cars under the expected safety and functionality conditions. |  |  |  |
| Service Level Calculation | When all incident requests recorded in the SIDIG are attended within the established timeframe, the score shall be 100; otherwise, if any incident request is not attended within the established timeframe, the score shall be 0. If, during the assessment period, no incident requests were recorded, a score of 100 shall be considered. |  |  |  |
| Measurement Method | Documentary: The Supervisor shall review the documentation recorded in the SIDIG regarding the incident attention requests, analysis of the recorded cases. |  |  |  |
|  | Visual: Random visual inspection by the Supervisor. |  |  |  |
| Scope | - The scope of the indicator includes all incident attention requests recorded in the SIDIG with respect to cable car components. |  |  |  |
| Specifications | The documents on which the Supervisor shall rely for the measurement of the indicator are the following: - Service request reports recorded in the SIDIG and their documentation. - CONCESSIONAIRE’s inspection report. |  |  |  |
| Frequency | Unit of Measurement |  | Service level |  |
| Monthly | Points |  | 100 |  |
| Quarterly Score Calculation |  |  |  |  |
| Simple average of monthly indicators for the assessment quarter. |  |  |  |  |
| Deduction Criteria |  |  |  |  |
| Does rectification apply? |  | Rectification Period |  |  |
| Yes ( ) |  | Not applicable. |  |  |
| No (X) |  |  |  |  |
| Deduction |  | Deduction Criteria |  |  |
| Area |  | Deduction is applied according to the quarterly score obtained on the indicator |  |  |
| Service | X |  |  |  |

| TECHNICAL DATA SHEET |  |  |  |  |
| --- | --- | --- | --- | --- |
| Group Category | Conservation and Maintenance Service |  | Measurement | Documentary / Visual |
| Code | CM.4 |  | Weight | 1.25 % |
| Parameter | Attention to requests for anomalies or incidents in the Buses. |  |  |  |
| Definition and Measurement Method |  |  |  |  |
| Definition | The purpose of this indicator is to ensure that requests for anomalies or incidents in buses are attended. Due to a circumstantial accident, improper use, lack of preventive maintenance, among others, breakdowns or failures may occur that shall lead to corrective maintenance works. The corrective maintenance considers repair works of punctual character and they are oriented to correct breakdowns or failures that do not allow the operation of the buses under the expected safety and functionality conditions. |  |  |  |
| Service Level Calculation | When all incident requests recorded in the SIDIG are attended within the established timeframe, the score shall be 100; otherwise, if any incident request is not attended within the established timeframe, the score shall be 0. If, during the assessment period, no incident requests were recorded, a score of 100 shall be considered. |  |  |  |
| Measurement Method | Documentary: The Supervisor shall review the documentation recorded in the SIDIG regarding the incident attention requests, analysis of the recorded cases. |  |  |  |
|  | Visual: Random visual inspection by the Supervisor. |  |  |  |
| Scope | - The scope of the indicator includes all incident attention requests recorded in the SIDIG with respect to cable car components. |  |  |  |
| Specifications | The documents on which the Supervisor shall rely for the measurement of the indicator are the following: - Service request reports recorded in the SIDIG and their documentation. - CONCESSIONAIRE’s inspection report. |  |  |  |
| Frequency | Unit of Measurement |  | Service level |  |
| Monthly | Points |  | 100 |  |
| Quarterly Score Calculation |  |  |  |  |
| Simple average of monthly indicators for the assessment quarter. |  |  |  |  |
| Deduction Criteria |  |  |  |  |
| Does rectification apply? |  | Rectification Period |  |  |
| Yes ( ) |  | Not applicable. |  |  |
| No (X) |  |  |  |  |
| Deduction |  | Deduction Criteria |  |  |
| Area |  | Deduction is applied according to the quarterly score obtained on the indicator |  |  |
| Service | X |  |  |  |

CLEANING SERVICE

| TECHNICAL DATA SHEET |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Group Category | Cleaning Service |  |  | Measurement | Documentary / Visual |  |  |
| Code | AL.1 |  |  | Weight | 0.40 % |  |  |
| Parameter | Compliance with cleaning and sanitation activities according to frequency and procedures set forth in the Annual Cleaning Plan. |  |  |  |  |  |  |
| Definition and Measurement Method |  |  |  |  |  |  |  |
| Definition | The purpose of this indicator is to verify that the environments in the stations, cabins and buses are clean, tidy and disinfected. The CONCESSIONAIRE shall submit in the Annual Cleaning Plan a program of cleaning activities by environment and components such as cabins and buses. |  |  |  |  |  |  |
| Service Level Calculation |  |  | No. of environments meeting the cleaning criteria |  |  | X 100 |  |
|  |  |  | No. of environments assessed for cleaning |  |  |  |  |
| Measurement Method | Documentary: Analysis of records of cleaning and sanitation activities in the SIDIG, regarding the Annual Cleaning Plan. |  |  |  |  |  |  |
|  | Visual: The Supervisor shall carry out verification, randomly during the week, of the state of cleanliness of the rooms. Sample size: The number of environments monitored in each measurement shall be a random sample of at least 25% of the total number of environments. In addition to the supervised environments, the Supervisor shall verify the condition of the cabins and buses. |  |  |  |  |  |  |
| Scope | - The cleaning service includes all station environments, the interior and exterior of the cable car cabins and buses. |  |  |  |  |  |  |
| Specifications | The Cleaning Criteria are shown in Appendix 3 of this Annex. |  |  |  |  |  |  |
| Frequency | Unit of Measurement |  |  | Service level |  |  |  |
| Monthly | Points |  |  | 95 |  |  |  |
| Quarterly Score Calculation |  |  |  |  |  |  |  |
| Simple average of monthly indicators for the assessment quarter. |  |  |  |  |  |  |  |
| Deduction Criteria |  |  |  |  |  |  |  |
| Does rectification apply? |  | Rectification Period |  |  |  |  |  |
| Yes (X) |  | Up to 3 hours |  |  |  |  |  |
| No ( ) |  |  |  |  |  |  |  |
| Deduction |  | Deduction Criteria |  |  |  |  |  |
| Area | X | Deduction is applied according to the quarterly score obtained on the indicator |  |  |  |  |  |
| Service |  |  |  |  |  |  |  |

| TECHNICAL DATA SHEET |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Group Category | Cleaning Service |  |  | Measurement | Documentary / Visual |  |  |
| Code | AL.2 |  |  | Weight | 0.40 % |  |  |
| Parameter | Compliance with solid waste management in accordance with the applicable current regulations. |  |  |  |  |  |  |
| Definition and Measurement Method |  |  |  |  |  |  |  |
| Definition | The purpose of this indicator is to verify that the solid waste management processes are carried out in compliance with current applicable regulations and in application of the protocols and procedures approved in the Annual Cleaning Plan. The control of waste generated in stations, cabins and buses is aimed at reducing their effects on health and the environment. |  |  |  |  |  |  |
| Service Level Calculation |  | No. of waste management activities meeting the current regulations |  |  |  | X 100 |  |
|  |  | Total No. of waste management activities |  |  |  |  |  |
| Measurement Method | Documentary: Review of the documentation to be performed by the CONCESSIONAIRE in accordance with the applicable regulations in force, which must always be updated. |  |  |  |  |  |  |
|  | Visual: The Supervisor shall perform verification, on a random basis during the month, of the execution of the activities scheduled for proper waste management. |  |  |  |  |  |  |
| Scope | The scope of the indicator applies to solid waste management processes in stations, cabins and buses. The solid waste management service must comply with the following regulations and their updates: - Law of Comprehensive Solid Waste Management, approved by Legislative Decree No. 1218 and its regulations. - Hazardous Waste Management in Peru. DIGESA. - Resolution No. 027-2013/SBN: Directive No. 003-2013/SBN, which approves the Procedure for the proper management of state-owned personal property classified as waste electrical and electronic equipment - WEEE. - Peruvian Technical Standard on Colors. NTP 900.058.2019. |  |  |  |  |  |  |
| Specifications | In the event of parameters that differ from the contractual parameters, those of higher quality or more demanding for the measurement of the indicator prevail. The documents on which the Supervisor shall rely for the measurement of the indicator are the following: - CONCESSIONAIRE’s Annual Cleaning Plan. - Scheduling of activities, recorded by date and time by the CONCESSIONAIRE in the SIDIG. - Waste management documents, prepared by the CONCESSIONAIRE and recorded in the SIDIG. |  |  |  |  |  |  |
| Frequency | Unit of Measurement |  |  | Service level |  |  |  |
| Monthly | Points |  |  | 100 |  |  |  |
| Quarterly Score Calculation |  |  |  |  |  |  |  |
| Simple average of monthly indicators for the assessment quarter. |  |  |  |  |  |  |  |
| Deduction Criteria |  |  |  |  |  |  |  |
| Does rectification apply? |  |  | Rectification Period |  |  |  |  |
| Yes (X) |  |  | Up to 1 hour |  |  |  |  |
| No ( ) |  |  |  |  |  |  |  |
| Deduction |  |  | Deduction Criteria |  |  |  |  |
| Area |  |  | Deduction is applied according to the quarterly score obtained on the indicator |  |  |  |  |
| Service | X |  |  |  |  |  |  |

| TECHNICAL DATA SHEET |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Group Category | Cleaning Service |  |  | Measurement | Documentary / Visual |  |  |
| Code | AL.3 |  |  | Weight | 0.40 % |  |  |
| Parameter | Pest control compliance in accordance with applicable current regulations. |  |  |  |  |  |  |
| Definition and Measurement Method |  |  |  |  |  |  |  |
| Definition | The purpose of this indicator is to verify that pest control activities in station environments are carried out as scheduled and in compliance with applicable regulations in force. Pest control in station environments is carried out in order to avoid or eliminate conditions that favor the proliferation of microorganisms, insects or other fauna that transmit diseases to people. The Supervisor must verify that the CONCESSIONAIRE has current environmental sanitation certificates issued by a company authorized by DIGESA that demonstrate compliance with the scheduled preventive activities. In addition, he shall verify that the environmental sanitation works are carried out in compliance with the applicable regulations in force: - Preparation of the premises. - Application of authorized chemical substances according to the volume of the space and according to the manufacturer’s instructions. - Implementation of security measures. - Cleaning of rooms, furniture and equipment after sanitation. In the Annual Cleaning Plan, the CONCESSIONAIRE shall detail the pest control activities and frequency for the following work: - Rodent extermination: sanitation technique applied for the extermination of commensal rodents (gray rat - rattus norvegicus, black rat - rattus and house mouse - mus musculus). - Disinfestation: sanitation technique aimed at eliminating or controlling the population of insects and other arthropods. - Disinfection: sanitation technique applied for the elimination of pathogenic and harmful microorganisms in the closed environment where human life takes place. - Prevention of the appearance of bird nests. Special pests: Prevention and elimination of any kind of harmful fauna, corresponding to the habitat where the station is located. |  |  |  |  |  |  |
| Service Level Calculation |  | No. of performed pest control activities meeting the current regulations |  |  |  | X 100 |  |
|  |  | No. of scheduled pest control activities |  |  |  |  |  |
|  | If no pest control activities were scheduled during the assessment period, a score of 100 shall be considered. |  |  |  |  |  |  |
| Measurement Method | Documentary: Review of the documentation recorded by the CONCESSIONAIRE in the SIDIG that supports the execution of environmental sanitation activities and compliance with regulations. |  |  |  |  |  |  |
|  | Visual: The Supervisor shall verify, on a random basis during the quarter, that the programmed environmental remediation activities are carried out in compliance with the applicable regulations in force. |  |  |  |  |  |  |
| Scope | The scope of the indicator applies to all indoor environments of the Stations. Pest control must comply with the following regulations and their updates: - Sanitary Regulations for environmental sanitation activities in homes and commercial, industrial and service establishments, approved by Supreme Decree N° 022-2011-SA. - Sanitary Standard for disinsecting, rat extermination, disinfecting, cleaning and disinfection of water reservoirs, cleaning of rooms and septic tanks, approved by Ministerial Resolution No. 449-2001-SA/DM. |  |  |  |  |  |  |
| Specifications | In the event of parameters that differ from the contractual parameters, those of higher quality or more demanding for the measurement of the indicator prevail. The Supervisor shall use the following documentation to measure this indicator: - CONCESSIONAIRE’s Annual Cleaning and Housekeeping Plan. - Environmental sanitation certificate(s) recorded in SIDIG. - Other documentation related to the execution of environmental remediation, recorded in the SIDIG. - Scheduling of pest control, recorded by date and time by the CONCESSIONAIRE in the SIDIG. |  |  |  |  |  |  |
| Frequency | Unit of Measurement |  |  | Service level |  |  |  |
| Quarterly | Points |  |  | 100 |  |  |  |
| Quarterly Score Calculation |  |  |  |  |  |  |  |
| Simple average of monthly indicators for the assessment quarter. |  |  |  |  |  |  |  |
| Deduction Criteria |  |  |  |  |  |  |  |
| Does rectification apply? |  |  | Rectification Period |  |  |  |  |
| Yes ( ) |  |  | Not applicable. |  |  |  |  |
| No (X) |  |  |  |  |  |  |  |
| Deduction |  |  | Deduction Criteria |  |  |  |  |
| Area |  |  | Deduction is applied according to the quarterly score obtained on the indicator |  |  |  |  |
| Service | X |  |  |  |  |  |  |

| TECHNICAL DATA SHEET |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Group Category | Cleaning Service |  |  | Measurement | Documentary / Visual |  |  |
| Code | AL.4 |  |  | Weight | 0.40 % |  |  |
| Parameter | The CONCESSIONAIRE is responsible for the provision and maintenance of all the consumables in the restrooms. |  |  |  |  |  |  |
| Definition and Measurement Method |  |  |  |  |  |  |  |
| Definition | The purpose of this indicator is to ensure that Users and Personnel have access to consumables in the restrooms inside the Stations. Consumables include the following: toilet soap (liquid or bar), toilet paper, paper towel. |  |  |  |  |  |  |
| Service Level Calculation |  |  | No. of assessed restrooms having consumables |  |  | X 100 |  |
|  |  |  | Total No. of assessed restrooms |  |  |  |  |
| Measurement Method | Visual: Weekly random on-site verification of consumables in the restrooms of the Stations. |  |  |  |  |  |  |
| Scope | This indicator applies to all toilet facilities at the stations. |  |  |  |  |  |  |
| Specifications | Not applicable. |  |  |  |  |  |  |
| Frequency | Unit of Measurement |  |  | Service level |  |  |  |
| Monthly | Points |  |  | 100 |  |  |  |
| Quarterly Score Calculation |  |  |  |  |  |  |  |
| Simple average of monthly indicators for the assessment quarter. |  |  |  |  |  |  |  |
| Deduction Criteria |  |  |  |  |  |  |  |
| Does rectification apply? |  | Rectification Period |  |  |  |  |  |
| Yes (X) |  | Up to 30 minutes |  |  |  |  |  |
| No ( ) |  |  |  |  |  |  |  |
| Deduction |  | Deduction Criteria |  |  |  |  |  |
| Area |  | Deduction is applied according to the quarterly score obtained on the indicator |  |  |  |  |  |
| Service | X |  |  |  |  |  |  |

| TECHNICAL DATA SHEET |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Group Category | Cleaning Service |  |  | Measurement | Documentary / Visual |  |  |
| Code | AL.5 |  |  | Weight | 0.40 % |  |  |
| Parameter | Attention to cleaning and pest control requests. |  |  |  |  |  |  |
| Definition and Measurement Method |  |  |  |  |  |  |  |
| Definition | The purpose of this indicator is to verify that the CONCESSIONAIRE attends to cleaning and pest control requests that may arise unexpectedly or that have not been contemplated in the Annual Cleaning Plan. In the operation of the Stations, requests may arise due to: - Circumstantial accidents (falling of an agent, spillage of liquids, among other cases) of users and incidents at the stations that require the cleaning service. - Elimination of the presence of rodents, insects, harmful fauna, among others. The CONCESSIONAIRE shall carry out the actions in compliance with the protocols and procedures in such a way that the affected environment maintains sanitary and hygienic conditions. The staff or Supervisor may report a request, which must be recorded in the SIDIG and attended to by the CONCESSIONAIRE within the corresponding attention period. |  |  |  |  |  |  |
| Service Level Calculation |  |  | No. of recorded and attended pest cleaning and control requests |  |  | X 100 |  |
|  |  |  | Total No. of recorded pest cleaning and control requests |  |  |  |  |
|  | If no cleaning and pest control requests were recorded during the assessment period, a score of 100 shall be considered. |  |  |  |  |  |  |
| Measurement Method | Documentary: Review of documentation recorded in SIDIG regarding cleaning and pest control requests, analysis of recorded cases. |  |  |  |  |  |  |
| Scope | This indicator applies to all environments belonging to the Stations. |  |  |  |  |  |  |
| Specifications | - The turnaround time for service requests shall be up to 60 minutes for cleaning, and up to 1 Calendar Day for pest control. - If the request is reported at a time that does not correspond to the working day of the personnel providing the service, the start of the attention period shall count from the beginning of the next working shift. The documents on which the Supervisor shall rely for the measurement of the indicator are the following: Service request reports recorded in the SIDIG and their documentation. |  |  |  |  |  |  |
| Frequency | Unit of Measurement |  |  | Service level |  |  |  |
| Monthly | Points |  |  | 100 |  |  |  |
| Quarterly Score Calculation |  |  |  |  |  |  |  |
| Simple average of monthly indicators for the assessment quarter. |  |  |  |  |  |  |  |
| Deduction Criteria |  |  |  |  |  |  |  |
| Does rectification apply? |  | Rectification Period |  |  |  |  |  |
| Yes ( ) |  | Not applicable. |  |  |  |  |  |
| No (X ) |  |  |  |  |  |  |  |
| Deduction |  | Deduction Criteria |  |  |  |  |  |
| Area |  | Deduction is applied according to the quarterly score obtained on the indicator |  |  |  |  |  |
| Service | X |  |  |  |  |  |  |

CABLE CAR TRANSPORTATION SERVICE

| TECHNICAL DATA SHEET |  |  |  |  |
| --- | --- | --- | --- | --- |
| Group Category | Cable Car Transportation Service |  | Measurement | Documentary / Visual |
| Code | STT.1 |  | Weight | 72.00 % |
| Parameter | Availability of Cable Car Transportation Service |  |  |  |
| Definition and Measurement Method |  |  |  |  |
| Definition | The purpose of this indicator is to verify that the cable car transportation service between the Departure Stations and Choquequirao Archeological Monument is available to the user. |  |  |  |
| Service Level Calculation | In accordance with Section 3 of Annex No. 9 |  |  |  |
| Measurement Method | Documentary: Review of the Operation Record integrated to the SIDIG. |  |  |  |
| Scope | The scope of the indicator includes the availability of the cable car transportation service provided by the CONCESSIONAIRE, through the Operation Record, the scheduled operating time of the cable cars, and the time they are unavailable. |  |  |  |
| Specifications | The cable cars should not be considered unavailable in the event of scheduled maintenance, in accordance with the Annual Conservation and Maintenance Plan and which has been previously communicated to the Supervisor. The Supervisor shall use the following information to measure this indicator: - Annual Conservation and Maintenance Plan. - Operation Record |  |  |  |
| Frequency | Unit of Measurement |  | Service level |  |
| Daily | Points |  | 90 - Up to the third year of operation. 95 - From the fourth year of operation on. |  |
| Quarterly Score Calculation |  |  |  |  |
| Simple average of monthly indicators for the assessment quarter. |  |  |  |  |
| Deduction Criteria |  |  |  |  |
| Does rectification apply? |  | Rectification Period |  |  |
| Yes ( ) |  | Not applicable. |  |  |
| No (X) |  |  |  |  |
| Deduction |  | Deduction Criteria |  |  |
| Area |  | Deduction is applied according to the quarterly score obtained on the indicator |  |  |
| Service | X |  |  |  |

| TECHNICAL DATA SHEET |  |  |  |  |
| --- | --- | --- | --- | --- |
| Group Category | Cable Car Transportation Service |  | Measurement | Documentary / Visual |
| Code | STT.2 |  | Weight | 9.00 % |
| Parameter | Availability of Bus Transportation Service |  |  |  |
| Definition and Measurement Method |  |  |  |  |
| Definition | The objective of this indicator is to verify that the bus transportation service between Central Stations and Departure Stations is available to the User. |  |  |  |
| Service Level Calculation | In accordance with Section 3 of Annex No. 9 |  |  |  |
| Measurement Method | Documentary: Review of the Activity Record integrated in SIDIG. |  |  |  |
| Scope | The scope of the indicator includes the availability of the bus transportation service provided by the CONCESSIONAIRE, through the activity record in SIDIG, the scheduled operation time of the buses and the time they are unavailable. |  |  |  |
| Specifications | The buses should not be considered unavailable in the event of scheduled maintenance, in accordance with the Annual Conservation and Maintenance Plan and which has been previously communicated to the Supervisor. The Supervisor shall use the following information to measure this indicator: - Annual Conservation and Maintenance Plan. - Activity Record in SIDIG. |  |  |  |
| Frequency | Unit of Measurement |  | Service level |  |
| Daily | Points |  | 90 - Up to the third year of operation. 95 - From the fourth year of operation on. |  |
| Quarterly Score Calculation |  |  |  |  |
| Simple average of monthly indicators for the assessment quarter. |  |  |  |  |
| Deduction Criteria |  |  |  |  |
| Does rectification apply? |  | Rectification Period |  |  |
| Yes ( ) |  | Not applicable. |  |  |
| No (X) |  |  |  |  |
| Deduction |  | Deduction Criteria |  |  |
| Area |  | Deduction is applied according to the quarterly score obtained on the indicator |  |  |
| Service | X |  |  |  |

| TECHNICAL DATA SHEET |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Group Category | Cable Car Transportation Service |  |  | Measurement | Documentary / Visual |  |  |
| Code | STT.3 |  |  | Weight | 3.00 % |  |  |
| Parameter | User Satisfaction Level |  |  |  |  |  |  |
| Definition and Measurement Method |  |  |  |  |  |  |  |
| Definition | The purpose of this indicator is to estimate the User satisfaction level regarding the services provided by the CONCESSIONAIRE. |  |  |  |  |  |  |
| Service Level Calculation |  |  | No. of questions that obtained 3, 4 and 5 in the survey |  |  | X 100 |  |
|  |  |  | Total No. of questions in the survey |  |  |  |  |
| Measurement Method | Documentary: Conducting User Satisfaction Surveys. |  |  |  |  |  |  |
| Scope | The scope of the indicator includes the measurement of the level of satisfaction on the part of the Users with respect to the services provided by the CONCESSIONAIRE. |  |  |  |  |  |  |
| Specifications | The CONCESSIONAIRE shall conduct monthly surveys to determine the User Satisfaction Index. For the survey, a robust and statistically representative sample size shall be defined. The survey design and the attributes (variables to be measured) shall be defined in coordination with the GRANTOR and the Supervisor. The survey shall allow the identification of the profile of the tourist who uses the service, socioeconomic category, reason for the trip, etc. At a minimum, the surveys should cover the following variables or aspects of the service: Service frequency, travel time, punctuality, cleanliness of cabins, buses and stations, information on delays, staff treatment, lighting in stations, general condition of cabins, buses and stations, general condition of pedestrian paths between stations and the monument, condition of signage, ease of ticket purchase and waiting time at ticket offices, general condition of websites for information and virtual complaint handling, accessibility for people with disabilities and senior citizens, travel comfort, interruptions, safety due to accidents, security against crime and other complementary services that the Concessionaire may offer within the Concession Area. To measure the quality of services, a Likert scale shall be used, allowing respondents to evaluate each aspect by assigning one of the following values: - Bad - Fair - Good - Very Good - Excellent The results of the monthly surveys must be recorded in the SIDIG within fifteen (15) Calendar Days after its conduction. The GRANTOR and the Supervisor shall have access to this information at all times. |  |  |  |  |  |  |
| Frequency | Unit of Measurement |  |  | Service level |  |  |  |
| Monthly | Points |  |  | 75 |  |  |  |
| Quarterly Score Calculation |  |  |  |  |  |  |  |
| Simple average of monthly indicators for the assessment quarter. |  |  |  |  |  |  |  |
| Deduction Criteria |  |  |  |  |  |  |  |
| Does rectification apply? |  | Rectification Period |  |  |  |  |  |
| Yes ( ) |  | Not applicable. |  |  |  |  |  |
| No (X) |  |  |  |  |  |  |  |
| Deduction |  | Deduction Criteria |  |  |  |  |  |
| Area |  | Deduction is applied according to the quarterly score obtained on the indicator |  |  |  |  |  |
| Service | X |  |  |  |  |  |  |

| TECHNICAL DATA SHEET |  |  |  |  |
| --- | --- | --- | --- | --- |
| Group Category | Cable Car Transportation Service |  | Measurement | Visual |
| Code | STT.4 |  | Weight | 3.00 % |
| Parameter | The Concessionaire must have an Information and Customer Service Office |  |  |  |
| Definition and Measurement Method |  |  |  |  |
| Definition | The purpose of this indicator is to verify that the CONCESSIONAIRE has an Information and Customer Service Office at the Yanama and Huanipaca Central Stations. |  |  |  |
| Service Level Calculation | If the CONCESSIONAIRE has an Information and Customer Service Office at the Yanama and Huanipaca Central Stations, it shall be scored as 100; otherwise, it shall be scored as 0. |  |  |  |
| Measurement Method | Visual: The Supervisor shall verify on-site the existence of a Customer Service Office. |  |  |  |
| Scope | The Supervisor shall confirm whether the CONCESSIONAIRE has a Customer Service Office. |  |  |  |
| Specifications | Not applicable. |  |  |  |
| Frequency | Unit of Measurement |  | Service level |  |
| Quarterly | Points |  | 100 |  |
| Quarterly Score Calculation |  |  |  |  |
| Score obtained from the Quarterly Indicator. |  |  |  |  |
| Deduction Criteria |  |  |  |  |
| Does rectification apply? |  | Rectification Period |  |  |
| Yes ( ) |  | Not applicable. |  |  |
| No (X) |  |  |  |  |
| Deduction |  | Deduction Criteria |  |  |
| Area |  | Deduction is applied according to the quarterly score obtained on the indicator |  |  |
| Service | X |  |  |  |

| TECHNICAL DATA SHEET |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Group Category | Cable Car Transportation Service |  |  | Measurement | Documentary / Visual |  |  |
| Code | STT.5 |  |  | Weight | 1.50 % |  |  |
| Parameter | The Concessionaire must attend to the complaints made by the users in the Complaint Book or Official Websites. |  |  |  |  |  |  |
| Definition and Measurement Method |  |  |  |  |  |  |  |
| Definition | The purpose of this indicator is to verify that the CONCESSIONAIRE attends to the complaints made by users in the Complaints Book or on the official Websites. |  |  |  |  |  |  |
| Service Level Calculation |  |  | No. of recorded and attended complaints |  |  | X 100 |  |
|  |  |  | No. of recorded complaints |  |  |  |  |
|  | If, during the assessment period, no complaints were recorded in the Complaint Book or on the Official Websites, a score of 100 shall be considered. |  |  |  |  |  |  |
| Measurement Method | Documentary: The Supervisor shall verify in SIDIG, in the Complaints Book and in the Official Websites, if the CONCESSIONAIRE attended or responded to the complaints made by the Users. |  |  |  |  |  |  |
| Scope | The scope of the indicator includes the record and handling of complaints made by users, both in the Complaints Book and on the Web platform. Only those claims related to the mandatory services provided by the CONCESSIONAIRE shall be considered. Any claim, complaint, comment or suggestion about the public or private tourist services offered by third parties (tourist agencies, hotels, personnel of the Archaeological Park of Choquequirao, etc.) shall not be taken into account for the calculation of this indicator. |  |  |  |  |  |  |
| Specifications | The Supervisor may rely on information obtained from: - SIDIG - Complaints Book - Official Websites |  |  |  |  |  |  |
| Frequency | Unit of Measurement |  |  | Service level |  |  |  |
| Monthly | Points |  |  | 90 |  |  |  |
| Quarterly Score Calculation |  |  |  |  |  |  |  |
| Simple average of monthly indicators. |  |  |  |  |  |  |  |
| Deduction Criteria |  |  |  |  |  |  |  |
| Does rectification apply? |  | Rectification Period |  |  |  |  |  |
| Yes ( ) |  | Not applicable. |  |  |  |  |  |
| No (X) |  |  |  |  |  |  |  |
| Deduction |  | Deduction Criteria |  |  |  |  |  |
| Area |  | Deduction is applied according to the quarterly score obtained on the indicator |  |  |  |  |  |
| Service | X |  |  |  |  |  |  |

| TECHNICAL DATA SHEET |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Group Category | Cable Car Transportation Service |  |  | Measurement | Documentary / Visual |  |  |
| Code | STT.6 |  |  | Weight | 1.50 % |  |  |
| Parameter | Availability of Official Websites. |  |  |  |  |  |  |
| Definition and Measurement Method |  |  |  |  |  |  |  |
| Definition | The purpose of this indicator is to verify that the CONCESSIONAIRE maintains available the official Websites where the service provided is reported and offered. |  |  |  |  |  |  |
| Service Level Calculation |  |  | Uptime |  |  | X 100 |  |
|  |  |  | Scheduled uptime |  |  |  |  |
|  | Uptime is considered to be the actual time during which the official Website service is available to the public. The total time for the assessment period (day or month) is considered as scheduled uptime. In the event that the official Websites are unavailable due to duly scheduled maintenance actions, the time during which they are unavailable shall be subtracted from the total time for the assessment period. |  |  |  |  |  |  |
| Measurement Method | Documentary: The Concessionaire shall keep a digital record of the uptime of all the official Websites and duly register them in the SIDIG. The Supervisor shall be able to verify in SIDIG, such records in order to validate the calculation of the Indicator for the assessment period. |  |  |  |  |  |  |
| Scope | The scope of the indicator comprises only those official Websites operated by the CONCESSIONAIRE, intended solely and exclusively for the CONCESSIONAIRE’s Mandatory Services. |  |  |  |  |  |  |
| Frequency | Unit of Measurement |  |  | Service level |  |  |  |
| Monthly | Points |  |  | 95 |  |  |  |
| Quarterly Score Calculation |  |  |  |  |  |  |  |
| Simple average of monthly indicators. |  |  |  |  |  |  |  |
| Deduction Criteria |  |  |  |  |  |  |  |
| Does rectification apply? |  | Rectification Period |  |  |  |  |  |
| Yes ( ) |  | Not applicable. |  |  |  |  |  |
| No (X) |  |  |  |  |  |  |  |
| Deduction |  | Deduction Criteria |  |  |  |  |  |
| Area |  | Deduction is applied according to the quarterly score obtained on the indicator |  |  |  |  |  |
| Service | X |  |  |  |  |  |  |

SECURITY AND SURVEILLANCE SERVICE

| TECHNICAL DATA SHEET |  |  |  |  |
| --- | --- | --- | --- | --- |
| Group Category | Security and Surveillance Service |  | Measurement | Documentary / Visual |
| Code | SV.1 |  | Weight | 0.50 % |
| Parameter | The CONCESSIONAIRE must provide the security service within the stations. |  |  |  |
| Definition and Measurement Method |  |  |  |  |
| Definition | The purpose of this indicator is to verify that the CONCESSIONAIRE has provided the security service within the stations. |  |  |  |
| Service Level Calculation | If the CONCESSIONAIRE provides the security service at the Stations, it shall be scored as 100; otherwise, it shall be scored as 0. |  |  |  |
| Measurement Method | Visual: Monthly random on-site verification of the provision of security services at the stations. |  |  |  |
| Scope | Not applicable. |  |  |  |
| Specifications | Not applicable. |  |  |  |
| Frequency | Unit of Measurement |  | Service level |  |
| Monthly | Points |  | 100 |  |
| Quarterly Score Calculation |  |  |  |  |
| Simple average of monthly indicators. |  |  |  |  |
| Deduction Criteria |  |  |  |  |
| Does rectification apply? |  | Rectification Period |  |  |
| Yes ( ) |  | Not applicable. |  |  |
| No (X) |  |  |  |  |
| Deduction |  | Deduction Criteria |  |  |
| Area |  | Deduction is applied according to the quarterly score obtained on the indicator |  |  |
| Service | X |  |  |  |

| TECHNICAL DATA SHEET |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Group Category | Security and Surveillance Service |  |  | Measurement | Documentary / Visual |  |  |
| Code | SV.2 |  |  | Weight | 0.50 % |  |  |
| Parameter | Availability of video surveillance cameras. |  |  |  |  |  |  |
| Definition and Measurement Method |  |  |  |  |  |  |  |
| Definition | The purpose of this indicator is to verify that the video surveillance cameras installed in the stations are operational in order to ensure security control at the stations. |  |  |  |  |  |  |
| Service Level Calculation |  |  | No. of operating video surveillance cameras |  |  | X 100 |  |
|  |  |  | Total No. of video surveillance cameras |  |  |  |  |
| Measurement Method | Visual: On-site verification of equipment operability at stations. |  |  |  |  |  |  |
| Scope | The scope of the indicator includes the security and surveillance cameras that the CONCESSIONAIRE has implemented according to its Annual Security and Surveillance Plan. |  |  |  |  |  |  |
| Specifications | Equipment should not be considered inoperative in the event of scheduled maintenance, which has been previously communicated to the Supervisor. The Supervisor shall use the following information to measure this indicator: - Annual Security and Surveillance Plan. |  |  |  |  |  |  |
| Frequency | Unit of Measurement |  |  | Service level |  |  |  |
| Quarterly | Points |  |  | 100 |  |  |  |
| Quarterly Score Calculation |  |  |  |  |  |  |  |
| Simple average of monthly indicators for the assessment quarter. |  |  |  |  |  |  |  |
| Deduction Criteria |  |  |  |  |  |  |  |
| Does rectification apply? |  | Rectification Period |  |  |  |  |  |
| Yes ( ) |  | Not applicable. |  |  |  |  |  |
| No (X) |  |  |  |  |  |  |  |
| Deduction |  | Deduction Criteria |  |  |  |  |  |
| Area |  | Deduction is applied according to the quarterly score obtained on the indicator |  |  |  |  |  |
| Service | X |  |  |  |  |  |  |

| TECHNICAL DATA SHEET |  |  |  |  |
| --- | --- | --- | --- | --- |
| Group Category | Security and Surveillance Service |  | Measurement | Documentary / Visual |
| Code | SV.3 |  | Weight | 0.50 % |
| Parameter | Attention to risk situations arising within the Concession Area. |  |  |  |
| Definition and Measurement Method |  |  |  |  |
| Definition | The purpose of this indicator is to verify compliance in the attention to risk situations related to the security service that may arise within the stations, tourist roads, cabins and buses under the responsibility of the CONCESSIONAIRE’s administration. A risk situation is considered to be attended to when the CONCESSIONAIRE has adopted all the security measures and protocols set forth in the Annual Security and Surveillance Plan. |  |  |  |
| Service Level Calculation | When no unattended risk situations are recorded, a score of 100 shall be given; otherwise, if unattended risk situations are detected, a score of 0 shall be given. |  |  |  |
| Measurement Method | Documentary: The Supervisor shall review and analyze the documentation recorded in the SIDIG by the CONCESSIONAIRE regarding risk situations (daily reports). It may be supported by the recordings of the surveillance cameras. |  |  |  |
| Scope | This indicator includes the attention to the different security risk situations arising within Stations, Tourist Roads, Cabins and Buses in charge of the CONCESSIONAIRE’s administration. |  |  |  |
| Specifications | In risk situations, the security actions taken by the CONCESSIONAIRE and the response period from the time the risk situation is identified until the security personnel arrive at the scene of the must be verified. In order to measure this indicator, the Supervisor must have access to the following information: - CONCESSIONAIRE’s Annual Security and Surveillance Plan. - Daily report of incidents, recorded by the CONCESSIONAIRE in the SIDIG. - Recordings from the CONCESSIONAIRE’s video surveillance cameras. |  |  |  |
| Frequency | Unit of Measurement |  | Service level |  |
| Quarterly | Points |  | 100 |  |
| Quarterly Score Calculation |  |  |  |  |
| Simple average of monthly indicators for the assessment quarter. |  |  |  |  |
| Deduction Criteria |  |  |  |  |
| Does rectification apply? |  | Rectification Period |  |  |
| Yes ( ) |  | Not applicable. |  |  |
| No (X) |  |  |  |  |
| Deduction |  | Deduction Criteria |  |  |
| Area |  | Deduction is applied according to the quarterly score obtained on the indicator |  |  |
| Service | X |  |  |  |

| TECHNICAL DATA SHEET |  |  |  |  |
| --- | --- | --- | --- | --- |
| Group Category | Security and Surveillance Service |  | Measurement | Documentary / Visual |
| Code | SV.4 |  | Weight | 0.50 % |
| Parameter | The CONCESSIONAIRE is responsible for providing, replenishing and maintaining in good condition all equipment and materials within the stations to deal with risk situations arising within the Concession Area. |  |  |  |
| Definition and Measurement Method |  |  |  |  |
| Definition | The purpose of this indicator is to verify that the Concessionaire has and maintains in optimal conditions the necessary equipment and materials to deal with risk situations in the central stations and cable car stations. Equipment is considered to be in optimal condition if it is available for immediate use (unless it is in use at the time of the assessment) and calibrated, |  |  |  |
| Service Level Calculation | When equipment or materials that are not available or in optimal conditions are recorded, they shall be scored as 0; otherwise, they shall be scored as 100. |  |  |  |
| Measurement Method | Documentary/Visual: The Supervisor shall verify whether or not the CONCESSIONAIRE has the necessary equipment and materials in optimal conditions within the stations. In addition, it may request the calibration certificates or the calibration record of the equipment that may require it. |  |  |  |
| Scope | This indicator includes the attention to the different security risk situations arising within Stations, Tourist Roads, Cabins and Buses in charge of the CONCESSIONAIRE’s administration. |  |  |  |
| Specifications | In risk situations, the security actions taken by the CONCESSIONAIRE and the response period from the time the risk situation is identified until the security personnel arrive at the scene of the incident must be verified. In order to measure this indicator, the Supervisor must have access to the following information: - CONCESSIONAIRE’s Annual Security and Surveillance Plan. - Daily report of incidents, recorded by the CONCESSIONAIRE in the SIDIG. - Recordings from the CONCESSIONAIRE’s video surveillance cameras. |  |  |  |
| Frequency | Unit of Measurement |  | Service level |  |
| Quarterly | Points |  | 100 |  |
| Quarterly Score Calculation |  |  |  |  |
| Simple average of monthly indicators for the assessment quarter. |  |  |  |  |
| Deduction Criteria |  |  |  |  |
| Does rectification apply? |  | Rectification Period |  |  |
| Yes ( ) |  | Not applicable. |  |  |
| No (X) |  |  |  |  |
| Deduction |  | Deduction Criteria |  |  |
| Area |  | Deduction is applied according to the quarterly score obtained on the indicator |  |  |
| Service | X |  |  |  |

ADMINISTRATION OF MANDATORY SERVICES

| TECHNICAL DATA SHEET |  |  |  |  |
| --- | --- | --- | --- | --- |
| Group Category | Administration of Mandatory Services |  | Measurement | Documentary / Visual |
| Code | ADM.1 |  | Weight | 0.35 % |
| Parameter | Timely delivery of the Monthly Activity Report. |  |  |  |
| Definition and Measurement Method |  |  |  |  |
| Definition | The purpose of the indicator is to measure the CONCESSIONAIRE’s compliance in delivering the Monthly Activity Reports within the established deadlines. |  |  |  |
| Service Level Calculation | When the CONCESSIONAIRE delivers the Monthly Activity Report on time, it shall be scored as 100; otherwise, it shall be scored as 0. |  |  |  |
| Measurement Method | Documentary: To corroborate its delivery, the Supervisor must receive the document formally in digital format within the established deadlines. |  |  |  |
| Scope | The scope of this indicator includes ensuring the delivery of the Monthly Activity Report within 10 Calendar Days after the end of the reporting month. The document must contain at least the following information: - Report on the activities of the CONCESSIONAIRE’s Mandatory Services executed during the period according to the annual plans. - Report regarding rectifications of non-compliances. - Report of the requests recorded and attended during the period. - Report of complaints and claims recorded by the Users and attended by the CONCESSIONAIRE during the period. - Summary of activities carried out during the month (meetings, participants, visits, etc.). |  |  |  |
| Specifications | The Supervisor shall confirm whether the CONCESSIONAIRE has complied with submitting the Monthly Activity Report on time and in accordance with Section 5 of Annex No. 9. |  |  |  |
| Frequency | Unit of Measurement |  | Service level |  |
| Monthly | Points |  | 100 |  |
| Quarterly Score Calculation |  |  |  |  |
| Simple average of monthly indicators for the assessment quarter. |  |  |  |  |
| Deduction Criteria |  |  |  |  |
| Does rectification apply? |  | Rectification Period |  |  |
| Yes ( ) |  | Not applicable. |  |  |
| No (X) |  |  |  |  |
| Deduction |  | Deduction Criteria |  |  |
| Area |  | Deduction is applied according to the quarterly score obtained on the indicator |  |  |
| Service | X |  |  |  |

| TECHNICAL DATA SHEET |  |  |  |  |
| --- | --- | --- | --- | --- |
| Group Category | Administration of Mandatory Services |  | Measurement | Documentary / Visual |
| Code | ADM.2 |  | Weight | 0.30 % |
| Parameter | Timely delivery of Special Reports requested by the Supervisor |  |  |  |
| Definition and Measurement Method |  |  |  |  |
| Definition | The purpose of the indicator is to measure the CONCESSIONAIRE’s compliance with the delivery of the Special Reports requested by the Supervisor on any aspect related to the services rendered within the established deadlines. |  |  |  |
| Service Level Calculation | When the CONCESSIONAIRE submits the Special Report on time, it shall be scored as 100; otherwise, it shall be scored as 0. |  |  |  |
| Measurement Method | Documentary: To corroborate its delivery, the Supervisor must receive the document formally in digital format within the established deadlines. |  |  |  |
| Scope | The scope of this indicator includes the delivery of the Special Reports requested by the Supervision, referring to aspects related to the service provision by the CONCESSIONAIRE, within 15 Calendar Days following the request. |  |  |  |
| Specifications | The Supervisor shall confirm whether the CONCESSIONAIRE has complied with the delivery of the Special Report on time and in accordance with the technical specifications. |  |  |  |
| Frequency | Unit of Measurement |  | Service level |  |
| As requested | Points |  | 100 |  |
| Quarterly Score Calculation |  |  |  |  |
| Simple average of monthly indicators for the assessment quarter. |  |  |  |  |
| Deduction Criteria |  |  |  |  |
| Does rectification apply? |  | Rectification Period |  |  |
| Yes ( ) |  | Not applicable. |  |  |
| No (X) |  |  |  |  |
| Deduction |  | Deduction Criteria |  |  |
| Area |  | Deduction is applied according to the quarterly score obtained on the indicator |  |  |
| Service | X |  |  |  |

| TECHNICAL DATA SHEET |  |  |  |  |
| --- | --- | --- | --- | --- |
| Group Category | Administration of Mandatory Services |  | Measurement | Documentary / Visual |
| Code | ADM.3 |  | Weight | 0.30 % |
| Parameter | Timely documentation of all activities performed under the Contract during the Operation. |  |  |  |
| Definition and Measurement Method |  |  |  |  |
| Definition | The purpose of the indicator is to measure the CONCESSIONAIRE’s compliance in documenting all activity reports, documents and tasks related to the mandatory services in the SIDIG. |  |  |  |
| Service Level Calculation | Documentary: To corroborate its delivery, the Supervisor shall review the Operating Manuals of the services and shall contrast it with the activity reports, documents and tasks recorded in the SIDIG. |  |  |  |
| Measurement Method | Documentation: To corroborate its delivery, the Supervisor must receive the document formally in digital format within the established deadlines. |  |  |  |
| Scope | The scope of this indicator includes ensuring that the CONCESSIONAIRE adequately uses the SIDIG to document all activity reports, documents and tasks related to the services it provides under the Contract. Likewise, the CONCESSIONAIRE shall keep on record all annual plans, monthly, quarterly, quarterly and special service reports. |  |  |  |
| Specifications | The Supervisor shall confirm whether the CONCESSIONAIRE has complied with reporting in the SIDIG all the activities executed. |  |  |  |
| Frequency | Unit of Measurement |  | Service level |  |
| Monthly | Points |  | 100 |  |
| Quarterly Score Calculation |  |  |  |  |
| Simple average of monthly indicators for the assessment quarter. |  |  |  |  |
| Deduction Criteria |  |  |  |  |
| Does rectification apply? |  | Rectification Period |  |  |
| Yes (X) |  | Up to 1 Calendar Day |  |  |
| No ( ) |  |  |  |  |
| Deduction |  | Deduction Criteria |  |  |
| Area |  | Deduction is applied according to the quarterly score obtained on the indicator |  |  |
| Service | X |  |  |  |

ANNEX No. 09 - APPENDIX 2: MINIMUM CONTENT OF THE ANNUAL CONSERVATION PLAN

During the Operation and Maintenance stage, the CONCESSIONAIRE shall have a Conservation Plan of annual validity containing the Conservation and Maintenance Activities for the electromechanical equipment of the cable cars, the infrastructures and other assets that are part of the Concession Assets.

The Conservation Plan shall describe the conservation and maintenance activities and indicate the daily, weekly, monthly and annual frequency in a schedule of activities for the corresponding year of validity. The CONCESSIONAIRE shall carry out the activities that allow guaranteeing the Service Levels and the correct condition of the facilities throughout the Concession Term, as well as extending the useful life of the Concession Assets.

The Annual Conservation Plan shall include:

- Maintenance of the Electromechanical Equipment of the Cable cars

- Conservation of Stations

- Conservation of Tourist Roads

- Conservation of Pedestrian Paths

- Maintenance of Tourist Buses

Maintenance of the Electromechanical Equipment of the Cable Cars:

It comprises maintenance actions on the totality of the components that make up the cable cars, as defined in EU 424/2016 Regulations: safety subsystems, cabins, clamps, tires and belts, synchronization gears, drive equipment, pulleys, backup equipment (generator set, internal combustion engine), cables, bollards, outriggers and wheels, etc.

The maintenance actions should be set out in a maintenance plan in accordance with the specific characteristics of the system and the technology used, as indicated by the manufacturer of the installation and in compliance with the requirements indicated in Standard EN 1709 “Safety requirements for cableway installations designed to carry persons: Examination prior to commissioning, maintenance and checks during operation.” The standards in force at the date of preparation of the plan shall be used.

The Maintenance Plan for the Electromechanical Equipment of the cable cars shall include at least the following activities:

- Monthly inspections: Verification of wire breaks in cables and junctions, apparent position (derailment), apparent appearance of wheels and rocker arms (cracks, physical damage), brakes, electrical systems, speed detectors and backstops, electric accumulators, etc.

- Annual inspections: Visual inspection of the foundation civil works to identify deterioration caused by adverse weather conditions and mechanical devices. Functionality tests, visual control of cables and junctions for broken wires or imperfections, electrical safety and signaling devices. Visual revision of vehicles and revision by means of tests to check the condition of calipers, caliper tightening force, functional condition of doors, loading devices and optimum on-board brakes triggering.

- Multi-year inspections: Inspection of carriages and mechanical brakes, nondestructive testing of cables, testing of electrical devices, control of deformations in foundations and anchor rods, etc.

- Major inspections: Review of safety elements subject to fatigue by non-destructive testing and corresponding corrective actions. The first Major Inspection shall be carried out at 22,500 hours of operation or maximum 15 years after the first commissioning. The second, at 15 00 hours or 10 years after the first major inspection. The subsequent ones at 7 500 hours of use or 5 years after the last Major Inspection performed.

- Renovation of civil engineering works: Partial or total renovation of civil engineering works following exceptional events as a result of major wear and tear or a significant increase in transport capacity.

- Daily inspection and controls during operation: Triggering of monitoring and safety circuits, electrical shutdown, speed change, braking systems, communication means, cable position, hydraulic system tightness and service pressure, clamps, condition of embarkation and disembarkation areas. A test run shall be carried out to verify the good support of the cables, free passage of vehicles, operation of the anemometer, evident anomalies, accesses, etc. During the operation, the tension values, pulley and station roller drive rotation, boarding areas and vehicle circulation shall be verified.

- Periodic revision of electric motors, reducers, automatons and other mechanical equipment used for the operation of the cable cars, according to the indications and manuals of the manufacturers themselves.

Conservation of Stations:

It includes the conservation actions of the structures and architectural elements, sanitary installations, electrical installations and other installations of the Central Stations and Cable Car Stations.

The conservation actions must be set out in a conservation plan in accordance with the specific characteristics of the buildings and following the provisions of Standard GE.040 Use and Maintenance of the National Building Regulations in force. The regulations in force at the time the plan is prepared must be used.

The Station Maintenance Plan shall include at least routine and periodic maintenance activities for:

- Outdoor Station Areas

- Roofs and Decks

- Facades and Walls

- Doors, Windows, Glass, other

- Exterior and Interior Floors

- Gardens and green areas

- Pedestrian and vehicular accesses and circulations

- Indoor and Outdoor Lighting

- Sanitary Installations

- Electrical Installations

- Air Conditioning Installations

- Communications and CCTV

Conservation of Tourist Roads:

It includes the conservation actions of the structures and works of art of the Tourist Roads. The conservation actions must be set out in a conservation plan in accordance with the technical characteristics of the roads and following the provisions of the Manual de Carreteras - Conservación Vial (Roads Manual - Road Conservation) published by the Ministry of Transportation and Communications. The regulations in force at the time the plan is prepared must be used.

The Conservation Plan for Tourist Roads should contemplate at least routine and periodic conservation activities for:

- Maintenance of Platform and Slopes

- Conservation of Roadway and Berms

- Conservation of Surface Drainage

- Conservation of Underground Drainage

- Conservation of Retaining Walls

- Maintenance of Road Safety Signs and Devices

- Conservation of the Right-of-Way

- Conservation of Works of Art

Conservation of Pedestrian Pathways:

It includes the conservation actions of the structures and complementary works of the Pedestrian Paths that connect the cable transport stations (arrival stations) with the existing internal routes.

Conservation actions should be set out in a conservation plan in accordance with the technical characteristics of the trails, following international recommendations regarding the design and maintenance of tourist trails and the provisions of MINCETUR’s Peruvian Tourism Signage Manual.

The Pedestrian Pathway Conservation Plan shall at a minimum provide for routine and periodic maintenance activities for:

- Maintenance of Roadway and Slopes

- Conservation of Drainage Works

- Conservation of Containment Works.

- Signage Conservation

Bus Maintenance:

It comprises the maintenance actions of the buses and their specific components according to the supplier’s indications and the national regulations in force of the Ministry of Transport and Communications, related to Vehicle Technical Inspections.

Minimum content of the Annual Conservation Plan:

- Maintenance Plan for the Electromechanical Equipment of the Cable Cars

  - Introduction

    - Maintenance Plan Objectives

    - Scope of the Plan

  - Description of Electromechanical Equipment

    - Equipment Inventory

    - Equipment Location

    - Equipment Technical Description

  - Maintenance Actions

    - Preventive Maintenance

    - Corrective Maintenance

    - Description of Procedures

  - Maintenance Scheduling

    - Annual Maintenance Schedule

    - Frequency of Maintenance Activities

    - Monthly Calendar of Activities

  - Resources Required

    - Maintenance Personnel

    - Tools and Equipment

    - Supplies and Spare Parts

  - Control and Follow-up

    - Maintenance Records

  - Safety and Applicable Regulations

  - Documentation and Manuals

    - Cable car Manufacturer’s Maintenance Manual

    - Manufacturer’s Maintenance Manuals for other components: electric motors, gearboxes, automatons and other mechanical equipment used for the operation of cable cars.

  - Annexes

    - Formats to be used

    - Diagrams and Drawings

- Conservation Plan for Stations

  - Introduction

    - Conservation Plan Objectives

    - Scope of the Plan

  - Description of the Structures to be Conserved

    - Inventory and Location of Structures

  - Conservation Actions

    - Routine Conservation

    - Periodic Conservation

    - Description of Procedures

  - Maintenance Scheduling

    - Annual Maintenance Schedule

    - Frequency of Maintenance Activities

    - Monthly Calendar of Activities

  - Resources Required

    - Maintenance Personnel

    - Tools and Equipment

    - Supplies and Spare Parts

  - Control and Follow-up

    - Maintenance Records

  - Safety and Applicable Regulations

  - Annexes

    - Formats to be used

    - Diagrams and Drawings

- Conservation Plan for Tourist Roads

  - Introduction

    - Conservation Plan Objectives

    - Scope of the Plan

  - Description of the buildings

    - Description of the Elements subject to Conservation

    - Location

  - Conservation Actions

    - Routine Conservation

    - Periodic Conservation

    - Description of Procedures

  - Maintenance Scheduling

    - Annual Conservation Schedule

    - Frequency of Conservation Activities

    - Monthly Calendar of Activities

  - Resources Required

    - Maintenance Personnel

    - Tools and Equipment

    - Supplies and Spare Parts

  - Control and Follow-up

    - Maintenance Records

  - Safety and applied regulations

  - Annexes

    - Formats to be used

    - Diagrams and Drawings

- Maintenance Plan for Buses:

  - Introduction

    - Maintenance Plan Objectives

    - Scope of the Plan

  - Bus Technical Specifications

  - Maintenance Actions

    - Preventive Maintenance

    - Corrective Maintenance

    - Description of Procedures

  - Maintenance Scheduling

    - Annual Maintenance Schedule

    - Frequency of Maintenance Activities

    - Monthly Calendar of Activities

  - Resources Required

    - Maintenance Personnel

    - Tools and Equipment

    - Supplies and Spare Parts

  - Control and Follow-up

    - Maintenance Records

  - Safety and Applicable Regulations

  - Annexes

  - Formats to be used

### ANNEX No. 09 - APPENDIX 3: CRITERIA FOR THE CLEANING OF ELECTROMECHANICAL INSTALLATIONS AND EQUIPMENT

- The Cleaning Plan shall contain the schedule and details of the daily, weekly, monthly and semi-annual cleaning activities for the stations (internal and external spaces), cabins and buses, specifying the personnel and supplies to carry them out.

- The Cleaning of the facilities within the Concession Area includes, but is not limited to, the internal and external cleaning of the walls, floors, ceilings, windows, doors and other surfaces that are part of the Central Stations and Cable Car Stations. It also includes the cleaning of sanitary fixtures, lighting fixtures, baskets and/or wastebaskets, furniture, equipment and any other element that is part of the facilities. It also includes the internal and external cleaning of cabins and buses.

- On a daily basis, the CONCESSIONAIRE shall clean the areas surrounding the stations and their accesses, eradicating weeds and waste generated by the Users, the CONCESSIONAIRE’s own activity and/or third parties.

- At least two (02) times per week, the CONCESSIONAIRE shall wash and disinfect the floors of the sidewalks, spaces and areas with public traffic.

- The CONCESSIONAIRE shall install an adequate number of bins and/or wastepaper baskets, conveniently distributed in the stations. As a minimum, they shall be installed in restrooms, administrative areas, workshops, waiting areas and areas with a large number of users.

- At the beginning of each day, the CONCESSIONAIRE shall empty the contents of the wastebaskets and/or wastepaper baskets, wash and disinfect them. This procedure shall be repeated as many times a day as necessary.

- The CONCESSIONAIRE shall wash and disinfect the sanitary fixtures daily at the beginning of the day. This procedure shall be repeated as many times a day as necessary.

- Periodically, when necessary, the lower parts of the walls exposed to the public, the glass of doors and windows shall be cleaned, graffiti and unauthorized advertising shall be removed.

- Periodically, when necessary, luminaires, lighting fixtures, signage and other elements in general shall be cleaned.

- Daily, at the beginning of the day and before opening to the public, the CONCESSIONAIRE shall clean and disinfect the interior of the buses, and wash the exterior. During the day, when necessary, the CONCESSIONAIRE shall collect the solid waste generated by the Users inside the buses. At least once (01) a week, the CONCESSIONAIRE shall wash the interior of the buses.

- Daily, at the beginning of the day and before opening to the public, the CONCESSIONAIRE shall clean, wash and disinfect the inside of the booths, and wash the outside. The cleaning, washing and disinfection shall ensure that, the internal and external surfaces, accessories,

seats, backrests, windows, floors, and ceilings shall be kept free of dust, dirt, and stains of any kind and origin.

- At least twice (02) a year, the CONCESSIONAIRE shall carry out the necessary disinsections, deratizations, and deodorization processes at the Stations.

- The CONCESSIONAIRE shall also maintain an adequate level of cleanliness and functionality in the technical rooms and maintenance workshops.

- The CONCESSIONAIRE shall implement a daily solid waste collection plan for waste generated at the stations and along the route of the tourist railway lines, in coordination with the municipalities located within the direct area of influence.

- The details and frequency of all activities, as well as the necessary supplies and resources, shall be outlined in a schedule of activities included in the Annual Cleaning and Sanitation Plan.

### ANNEX No. 09 – APPENDIX 4: COMMUNICATION FORMATS

Notice of Verification of Remedy of Service Level Breach

Location:

Date:

PCI Notice No.	:

Reference: Detection No.

To: (Name of the CONCESSIONAIRE)

In accordance with the provisions set forth in Annex No. 09 of the Concession Contract, this is to inform you that the deficiencies identified in Service Level Breach Notice No. ___ have been duly remedied in the following cases.

Affected Service Level:

Deadline to Remedy Defects (if applicable):

Based on the nature of the defects found, the following maximum deadlines are granted to proceed with the remedy of the following defects.

Without further ado, sincerely,
Signature of the Supervisor
Cc: GRANTOR

| Item | Detected value | Start date | End date | Period (days or hours) |
| --- | --- | --- | --- | --- |

| Item | Deadline to Remedy |
| --- | --- |

Notice of Remedy of Service Level Breach

Location:

Date:

PCI Notice No.	:

Reference: Detection No.

Mr. Supervisor:

Pursuant to the provisions of Service Level Breach Notice No. ___, the following is hereby communicated:

The necessary tasks to remedy the defects have been carried out, as detailed below:

Without further ado, sincerely,

Signature
CONCESSIONAIRE

Cc: GRANTOR

#### Notice of Verification of Remedy of Service Level Breach

Location:

Date:

Service Level Breach Notice No.	:

#### To: (name of the CONCESSIONAIRE)

Pursuant to the provisions of Annex No. 09 of the Concession Contract, this is to inform you that the defects identified in Service Level Breach Notice No. ___ have been remedied in the following cases:

Service Level involved:

| Item | Detected Value | Start Date | End Date | Period (days or hours) |
| --- | --- | --- | --- | --- |

On the other hand, pursuant to the provisions of Annex 09 of the Concession Contract, it is hereby informed that the defects identified in Service Level Breach Notice No. ___ have not been remedied

Service Level involved:

| Item | Detected Value | Start Date | End Date | Period (days or hours) |
| --- | --- | --- | --- | --- |

Without further ado, sincerely,

Signature of the Supervisor

Cc: GRANTOR

### ANNEX No. 09 – APPENDIX 5: SERVICE PROVISIONS IN CASE OF SUSPENSION OF THE CONCESSION

During the Operating Period, in the event of a suspension of the term of the Concession, the CONCESSIONAIRE shall maintain the provision of all Mandatory Services indicated in this Annex, except for services related to cable car and bus transport. In this regard, the CONCESSIONAIRE shall continue providing the following Mandatory Services:

- Conservation and Maintenance Service: Includes the tasks and activities of Conservation and Maintenance of the Works (Central Stations, Cable Car Stations, Tourist Routes, and Pedestrian Walkways), Electromechanical Equipment (Cables, Cabins, Clamps, etc.), and Buses, using the following methods:

I.   Preventive Maintenance (routine or periodic activities)
II.  Corrective Maintenance
III. Supply and Component Replacement
IV. Replacement of Assets and Furniture

- Cleaning and Sanitation Service: Includes the following services:

I.   Cleaning and Sanitation at Central Stations and Cable Car Stations
II.  Cleaning and Sanitation of Cable Car Electromechanical Equipment
III. Cleaning and Sanitation of Buses
IV. Solid Waste Management Service generated inside the Stations, Cabins, and Buses
V.  Pest Control Service

#### Security and Surveillance Service:

I.   Surveillance inside the Stations
II.  Routine Surveillance
III. Corrective Surveillance or Emergency Response
IV. Implementation of Video Surveillance Cameras

#### Mandatory Services Management Service:

I.   Preparation of Monthly Activity Reports
II.  Periodic Evaluation of Service Levels and Indicators
III. Registration and Documentation of Operational Activities
IV. Compliance with Environmental Management Instruments
V.  Document Management

### NON-DEDUCTIBLE COSTS OF MANDATORY SERVICES IN CASE OF SERVICE SUSPENSION

The costs of the following items may not be deducted from the O&M payment in the event the service is suspended:

### O&M COSTS OF THE CABLE CARS (INCLUDING STATIONS)

- 1.1. PERSONNEL

SKILLED LABOR
SEMI-SKILLED LABOR
UNSKILLED LABOR

### 1.2. SERVICES

SPECIALIZED SERVICES
ANNUALIZED EXTRAORDINARY MAINTENANCE

GENERAL SERVICES
ELECTRICITY SUPPLY SERVICE (ENGINE)
ELECTRICITY SUPPLY SERVICE (STATIONS)
WATER AND SEWERAGE SERVICE
INTERNET + LANDLINE TELEPHONE SERVICE (5 EXTENSIONS)
RADIO EQUIPMENT + UNLIMITED RADIO PLAN
CELL PHONE + UNLIMITED PLAN
ORDINARY WASTE COLLECTION
HAZARDOUS AND SPECIAL WASTE COLLECTION
SOCIAL MEDIA AND WEBSITE MANAGEMENT

ELECTRONIC SERVICES
COMPUTER EQUIPMENT MAINTENANCE
IT SERVICE
SECURITY CAMERA MAINTENANCE
ANNUAL LED INFORMATION PANEL MAINTENANCE
MONTHLY TURNSTILE MAINTENANCE
MONTHLY ELEVATOR MAINTENANCE
ANNUAL A/C MAINTENANCE

SECURITY SERVICE
SECURITY COORDINATOR (8H)
MONTHLY ALARM SYSTEM SERVICE
UNARMED PATROL OFFICER (16H)
MOTORIZED PATROL OFFICER (24H)
VIDEO SURVEILLANCE MONITOR

TRAINING AND WORKSHOPS
OCCUPATIONAL HEALTH & SAFETY TRAINING WORKSHOP
ADVANCED WORK AT HEIGHTS

OCCUPATIONAL MEDICAL EXAMINATION
BASIC OPERATION AND MAINTENANCE
BASIC FIRST AID
HIGH-ALTITUDE RESCUE
COVID PROTOCOL
WEEKLY RAPID TEST
DISPOSABLE FACE MASKS
ALCOHOL AND PERSONAL HYGIENE SUPPLIES

### 1.3. MAINTENANCE

ELECTROMECHANICAL MAINTENANCE
DEGREASERS, LUBRICANTS, AND GREASE
REPLACEMENT OF ELECTROMECHANICAL COMPONENTS
MAIN GEARMOTOR MAINTENANCE
SECONDARY MOTOR MAINTENANCE
GENERATOR SET MAINTENANCE
CONTROL AUTOMATION MAINTENANCE
VEHICLE MAINTENANCE
10-TON CRANE RENTAL
TWO-PERSON BASKET LIFT RENTAL

BUILDING MAINTENANCE SPARE PARTS

ELECTRICAL PANEL MAINTENANCE

REPLACEMENT OF 4X36W–4X18W LIGHT FIXTURES

REPLACEMENT OF SANITARY FIXTURES

WALL PAINTING

METAL COATING PAINTING

REPLACEMENT OF FLOORING (TILES)

REPLACEMENT OF GLASS PANELS (TEMPERED 6MM)

REPLACEMENT OF SIGNAGE (STATIC)

FERTILIZER AND GARDENING CONSUMABLES

BUILDING MAINTENANCE EQUIPMENT
TOOL SET (WRENCHES, PLIERS, MEASURING TAPE, LEVEL, SCREWDRIVERS, ETC.)
1/2" SOCKET SET
HAMMER
ROTARY HAMMER
HACKSAW
850W ELECTRIC GRINDER
LED FLASHLIGHT
1450W AIR COMPRESSOR
OILER

700W WOOD PLANER
OXY-FUEL CUTTING EQUIPMENT WITH 5 NOZZLES, SPARK LIGHTER, ETC.
GARDENING TOOL SET
PORTABLE SPRAYER
1.6KW LAWN MOWER
3HP BRUSH CUTTER
1.2HP CHAINSAW

### CLEANING SUPPLIES

INDUSTRIAL DEGREASER (9–11%) SOLUBLE – 5 GAL
INDUSTRIAL HYPOCHLORITE DISINFECTANT (5–6%) – 1 GAL
DRAIN OPENER – 500 ML
GLASS CLEANER – 4 L
25% FLOOR SEALER – 5 GAL
SPRAYABLE LIQUID AIR FRESHENER – 5 GAL
SELF-SHINING POLYMERIC FLOOR WAX – 1 GAL
SOFT PLASTIC FIBER BROOM
HARD PLASTIC FIBER BROOM
MOP WITH HANDLE – 500 G
MULTI-PURPOSE ABSORBENT CLOTH – 8 PCS
RIGID PLASTIC DUSTPAN
EXTENDABLE MICROFIBER DUSTER
MULTI-PURPOSE FIBER SPONGE – 6 PCS
RIGID SMOOTH PLASTIC FIBER HAND BRUSH
DISPOSABLE FACE MASK – 50 PCS
GAUGE 50 RED CLEANING GLOVE
RED CLEANING RAG – 40X70 CM
BLACK TRASH BAGS 100X120 CM – POLYPROPYLENE – 10 PCS
DOUBLE-PLY TOILET PAPER ROLLS – 40 PCS

CLEANING EQUIPMENT (ANNUAL REPLACEMENT)

INDUSTRIAL PRESSURE WASHER 13 HP, 15 LPM
INDUSTRIAL FLOOR POLISHER 20", 1500 RPM
MANUAL FLOOR POLISHER – 80 CM
EXTENDABLE METAL WINDOW SQUEEGEE (2.6 METERS)
METAL FLOOR SQUEEGEE – 50 CM
48-LITER MOP BUCKET WITH TROLLEY
9-STEP LADDER (3 METERS)
5-STEP LADDER (1.8 METERS)
CLEANING CART
½" HOSE, 50 M WITH HOSE REEL
“WET FLOOR” WARNING SIGN
100 M ELECTRICAL EXTENSION CORD, 12 GAUGE

PEDAL TRASH BINS – 20 L
VERTICAL RETRACTABLE LIFELINE – 10 METERS
POSITIONING LANYARD
CARABINER
THREE-COMPARTMENT RECYCLING STATION – 100 L EACH (COLOR-CODED FOR WASTE SEPARATION)
FUMIGATION SERVICE FOR ONE STATION
CERTIFIED SCAFFOLD – 3X3 SECTION

SUPPLIES FOR OTHER AREAS

POSTERS AND BANNERS
OFFICE SUPPLIES (STATIONERY, MATERIALS, INK, ETC.)
MEDICAL SUPPLIES
INSTITUTIONAL STATIONERY
MISCELLANEOUS PROMOTIONAL MERCHANDISE (PLASTIC GIFTS)

PERSONAL PROTECTIVE EQUIPMENT

SAFETY HELMET

CLEAR SAFETY GLASSES

EARPLUGS

GLOVES

SAFETY BOOTS

LONG-SLEEVED SHIRT

WORK OVERALL

SAFETY VEST

CERTIFIED HARNESS

LIFE VEST

GASOLINE

GASOLINE DOUBLE-CABIN PICK-UP TRUCK
GASOLINE 11-PASSENGER MINIVAN

PROCUREMENT OF ELECTRONIC EQUIPMENT (ANNUAL SUPPLY)

REPLACEMENT OF COMPUTER EQUIPMENT (I5 PROCESSOR, 6GB RAM)
REPLACEMENT OF PRINTERS (MULTIFUNCTION)
REPLACEMENT OF ACCESS CONTROL EQUIPMENT
REPLACEMENT OF KITCHEN APPLIANCES
REPLACEMENT OF LED INFORMATION PANELS.

### O&M COSTS FOR TOURIST ROUTES

      - ROUTINE MAINTENANCE

GENERAL CLEANING
VEGETATION CONTROL
CLEANING OF MINOR LANDSLIDES

PATCHING WITH STABILIZED GRANULAR MATERIAL

MAINTENANCE OF CULVERTS

MAINTENANCE OF FORDS

MAINTENANCE OF RETAINING WALLS

MAINTENANCE OF VERTICAL SIGNS

MAINTENANCE OF METAL GUARDRAILS

### PERIODIC MAINTENANCE

REPLACEMENT OF STABILIZED GRANULAR MATERIAL

ASPHALT SEAL

REPAIR OF DRAINAGE STRUCTURES

### O&M COSTS FOR CENTRAL STATIONS (INCLUDING BUSES)

- 3.1. PERSONNEL

SKILLED LABOR
SEMI-SKILLED LABOR
UNSKILLED LABOR

### 3.2. SERVICES

SPECIALIZED SERVICES

GENERAL BUS MAINTENANCE AT 5,000 KM

TIRE REPLACEMENT

PERIODIC OIL AND FILTER CHANGES

CORRECTIVE REPAIRS

### GENERAL SERVICES

ELECTRIC POWER SUPPLY SERVICE (STATIONS)
WATER SUPPLY AND SEWERAGE SERVICE
INTERNET + LANDLINE (5 EXTENSIONS)
RADIO EQUIPMENT + UNLIMITED RADIO PLAN
CELLPHONE + UNLIMITED PLAN
ORDINARY WASTE COLLECTION
HAZARDOUS AND SPECIAL WASTE COLLECTION
SOCIAL MEDIA AND WEBSITE MANAGEMENT

### ELECTRONIC SERVICES

COMPUTER EQUIPMENT MAINTENANCE
IT SERVICE
SECURITY CAMERA MAINTENANCE
LED INFORMATION PANELS ANNUAL MAINTENANCE
MONTHLY MAINTENANCE OF FARE GATES
MONTHLY ELEVATOR MAINTENANCE
ANNUAL A/C MAINTENANCE

### SECURITY SERVICE

SECURITY COORDINATOR (8 hours)
MONTHLY ALARM SYSTEM SERVICE

SECURITY GUARD – UNARMED PATROL (16 hours)

SECURITY GUARD – MOTORIZED PATROL (24 hours)

VIDEO SURVEILLANCE MONITOR

WORKSHOPS AND TRAINING

OCCUPATIONAL HEALTH AND SAFETY (OHS)

ADVANCED WORKING-AT-HEIGHT TRAINING

OCCUPATIONAL MEDICAL EXAMINATION

BASIC FIRST AID

HIGH-ALTITUDE RESCUE

COVID PROTOCOL

WEEKLY RAPID TEST

DISPOSABLE FACE MASKS

ALCOHOL AND PERSONAL HYGIENE SUPPLIES

### 3.3. MAINTENANCE

SPARE PARTS FOR BUILDING MAINTENANCE
MAINTENANCE OF ELECTRICAL PANEL
REPLACEMENT OF 4X36W–4X18W LIGHT FIXTURES
REPLACEMENT OF SANITARY FITTINGS

### WALL PAINTING

### PAINTING OF METAL COATINGS

### REPLACEMENT OF FLOORING (TILES)

### REPLACEMENT OF GLASS (6MM TEMPERED)

### REPLACEMENT OF SIGNAGE (STATIC)

### FERTILIZER AND GARDENING SUPPLIES

### BUILDING MAINTENANCE EQUIPMENT

### TOOL SET (WRENCHES, PLIERS, TAPE MEASURES, LEVEL, ETC., SCREWDRIVERS, ETC.)

### ½" SOCKET SET

### HAMMER

### ROTARY HAMMER DRILL

### HACKSAW

### 850W ELECTRIC GRINDER

### LED FLASHLIGHT

### 1450W AIR COMPRESSOR

### OIL CAN

### 700W WOOD PLANER

### OXY-FUEL CUTTING EQUIPMENT WITH 5 NOZZLES, SPARK LIGHTER, ETC.

### GARDENING TOOL SET

### PORTABLE SPRAYER

### 1.6KW LAWN MOWER

### 3HP BRUSH CUTTER

### 1.2HP CHAINSAW

### CLEANING SUPPLIES

NDUSTRIAL DEGREASER (9–11%) SOLUBLE 5 GAL

INDUSTRIAL DISINFECTANT – SODIUM HYPOCHLORITE (5–6%), 1 GAL

DRAIN OPENER, 500 ML

GLASS CLEANER LIQUID, 4 L

25% FLOOR SEALER, 5 GAL

LIQUID AIR FRESHENER – SPRAYABLE, 5 GAL

SELF-GLOSSING POLYMER FLOOR WAX, 1 GAL

SOFT BROOM WITH FLAGGED PLASTIC BRISTLES

HARD BROOM WITH PLASTIC BRISTLES

MOP WITH HANDLE, 500 G

MULTIPURPOSE ABSORBENT CLOTH, 8 UNITS

STIFF PLASTIC DUSTPAN

EXTENDABLE MICROFIBER DUSTER

MULTIPURPOSE SCRUB SPONGE, 6 UNITS

HAND BRUSH WITH STIFF PLASTIC BRISTLES

DISPOSABLE FACE MASKS, 50 UNITS

GAUNTLET GLOVES, GAUGE 50

RED CLEANING CLOTH, 40 × 70 CM

BLACK TRASH BAGS, 100 × 120 CM, POLYPROPYLENE, 10 UNITS

TWO-PLY TOILET PAPER ROLL, 40 UNITS

CLEANING EQUIPMENT (ANNUAL REPLACEMENT)

INDUSTRIAL PRESSURE WASHER 13HP, 15LPM
INDUSTRIAL FLOOR BUFFER 20, 1500 RPM
MANUAL FLOOR POLISHER 80 CM
EXTENDABLE METAL WINDOW CLEANER (2.6 METERS)
METAL FLOOR SQUEEGEE 50 CM
48-LITER MOP BUCKET WITH WRINGER AND TROLLEY
STEP LADDER WITH 9 STEPS (3 METERS)
STEP LADDER WITH 5 STEPS (1.8 METERS)
CLEANING CART
½" HOSE, 50 M WITH HOSE REEL
WET FLOOR WARNING SIGN
100 M ELECTRIC EXTENSION CORD, GAUGE 12
PEDAL BINS 20 LITERS
VERTICAL RETRACTABLE LIFELINE 10 METERS
POSITIONING LANYARD
CARABINER
ECO-FRIENDLY STATION WITH 3 BINS OF 100 LITERS EACH (COLOR-CODED FOR WASTE SORTING)
FUMIGATION SERVICE FOR ONE STATION
CERTIFIED SCAFFOLD SECTION 3*3

### SUPPLIERS FOR OTHER AREAS

POSTERS AND BANNERS
OFFICE SUPPLIES (STATIONERY, OFFICE MATERIALS, INK, ETC.)
MEDICAL SUPPLIES
INSTITUTIONAL STATIONERY
MISCELLANEOUS PLASTIC MERCHANDISE (GIFTS)

### PERSONAL PROTECTIVE EQUIPMENT (PPE)

SAFETY HELMET
CLEAR SAFETY GOGGLES
EARPLUGS
GLOVES
SAFETY BOOTS
LONG-SLEEVE POLO SHIRT
WORK OVERALLS
VEST
CERTIFIED HARNESS
LIFE JACKET

FUEL

GASOLINE DOUBLE-CABIN PICKUP TRUCK
GASOLINE MINIVAN FOR 11 PASSENGERS

ACQUISITION OF ELECTRONIC EQUIPMENT (ANNUAL SUPPLY)

REPLACEMENT OF COMPUTER EQUIPMENT (i5 PROCESSOR, 6GB RAM)

REPLACEMENT OF PRINTERS (MULTIFUNCTIONAL)

REPLACEMENT OF ACCESS CONTROL EQUIPMENT

REPLACEMENT OF KITCHEN APPLIANCES

REPLACEMENT OF LED INFORMATION PANELS

# ANNEX No. 10: EQUIPMENT AND FURNITURE REQUIREMENTS

- ELECTROMECHANICAL EQUIPMENT OF THE CABLE CARS

Includes all electrical and mechanical components that are part of the cable transport system (cable car), which, according to European standards, are the following:

- Cables and cable grips

- Drive and braking equipment

- Mechanical devices:

  - Cable tensioning devices

  - Mechanical devices at stations

  - Mechanical devices on line supports

- Vehicles:

  - Cabins, chairs, and towing devices

  - Coupling elements

  - Carriers

  - Cable attachments

- Electrotechnical devices:

  - Command, control, and safety devices

  - Communication and information systems

  - Lightning protection devices

- Rescue devices:

  - Fixed rescue devices

  - Mobile rescue devices.

# ADMINISTRATIVE EQUIPMENT AND FURNITURE

The following annex contains the minimum list of administrative equipment and furniture that the CONCESSIONAIRE must have to ensure the proper provision of the mandatory services.

- Office furniture:

  - Desks and chairs.

  - Filing cabinets and shelving units.

  - Meeting tables.

- Communication equipment:

  - Telephones and intercom systems.

  - Two-way radios for staff at stations.

  - Public address systems for passenger announcements.

- Computer equipment:

  - Desktop and laptop computers.

  - Printers, scanners, and photocopiers.

- Passenger management systems:

  - Operations management and control software.

  - Ticketing and reservation management systems.

- Security systems:

  - Surveillance cameras and monitoring equipment.

  - Access control systems and staff identification cards.

- Signage and guidance equipment:

  - Arrival and departure display boards.

  - Directional and emergency signage.

  - Visual and auditory announcements.

- Logistical support equipment:

  - Cargo handling equipment.

  - Tools and equipment for facility maintenance.

- Facility management systems:

  - Infrastructure maintenance software.

  - Climate control and ventilation systems.

  - Energy management and efficiency equipment.

# ANNEX No. 11: ECONOMIC AND FINANCIAL REGIME

### ANNEX No. 11 – APPENDIX 1 – ADJUSTMENT, SETTLEMENT AND PAYMENT MECHANISM FOR 
THE PPD AND THE PPO

#### Payment for Works (PPO)

- During the Pre-Operational Period, the following shall be acknowledged and paid in Dollars through the PPO system:

𝑃𝑃𝑂 = 𝑃𝑃𝑂1 ; 𝑃𝑃𝑂2; 𝑃𝑃𝑂3 ; 𝑃𝑃𝑂4

Each PPO amounts to:

𝑃𝑃𝑂1 = [	]

𝑃𝑃𝑂2 = [	]

𝑃𝑃𝑂3 = [	]

𝑃𝑃𝑂4 = [	]

Where:

| PPO1: | Component of the PPO, excluding VAT, paid in Dollars. This PPO acknowledges an initial advance payment for the manufacturing and purchase of the Electromechanical Equipment of the Northern Component, which shall be paid in accordance with the schedule established in the technical proposal of the CONCESSIONAIRE and pursuant to Numerals 2 and 3 of this Appendix. |
| --- | --- |
| PPO2: | Component of the PPO, excluding VAT, paid in Dollars. This PPO acknowledges a second advance payment for the manufacturing and purchase of the Electromechanical Equipment of the Northern Component, which shall be paid in accordance with the schedule established in the technical proposal of the CONCESSIONAIRE and pursuant to Numerals 2 and 3 of this Appendix. |
| PPO3: | Component of the PPO, excluding VAT, paid in Dollars. This PPO acknowledges a first advance payment for the manufacturing and purchase of the Electromechanical Equipment of the Southern Component, which shall be paid in accordance with the schedule established in the technical proposal of the CONCESSIONAIRE and pursuant to Numerals 2 and 3 of this Appendix. |
| PPO4: | Component of the PPO, excluding VAT, paid in Dollars. This PPO acknowledges the second advance payment for the manufacturing and purchase of the Electromechanical Equipment of the Southern Component, which shall be paid in accordance with the schedule established in the technical proposal of the CONCESSIONAIRE and pursuant to Numerals 2 and 3 of this Appendix. |

- The payment corresponding to PPO1 and PPO3 shall be acknowledged by the Grantor upon submission of the purchase order for the Electromechanical Equipment of each Component.

The payment corresponding to PPO2 and PPO4 shall be acknowledged upon submission of the documents evidencing nationalization.

The difference between the total cost of the Electromechanical Equipment and the total value of the PPOs shall be paid through PPD1 as offered by the Concessionaire.

- The procedure for the acknowledgment of each PPOi is as follows:

  - No later than 6 months after Financial Closing is accredited, the Concessionaire must submit to the Grantor, with a copy to the Supervisor, the payment request for PPO1 and PPO3, attaching the purchase order for the Electromechanical Equipment of the Northern Component and/or the purchase order for the Electromechanical Equipment of the Southern Component.

  - Upon the Nationalization of the Electromechanical Equipment of the Northern Component and/or the Nationalization of the Electromechanical Equipment of the Southern Component, the Concessionaire shall submit to the Grantor, with a copy to the Supervisor, the payment request for each PPO2 and PPO4, attaching the documents that support such accreditation.

  - No later than ten (10) Days after submission of the request referred to in item i) or item ii) of this section, and subject to the Supervisor’s opinion, the Grantor shall respond to said request.

  - If there are any comments, the CONCESSIONAIRE shall have a period of ten (10) Days to address them.

  - Once the corrections have been received, the GRANTOR shall have ten (10) Days to issue an opinion on the correction of the comments. If the Grantor does not issue an opinion within the aforementioned period, it shall be understood that the comments have been duly addressed.

  - Once the payment request has been approved, the CONCESSIONAIRE shall submit to the GRANTOR the Guarantee of Faithful Fulfillment of the PPO referred to in Clause 10.3 of the Concession Contract, solely for PPO1 and PPO3. Likewise, the CONCESSIONAIRE must submit the corresponding invoice(s) to the GRANTOR, with a copy to the Trustee, for the approved amount.

  - Within no more than five (5) Days after the payment request has been approved and the Guarantee of Faithful Fulfillment of the PPO has been submitted, the GRANTOR shall instruct the Trust to proceed with the corresponding payment of PPOi to the Concessionaire. Such payment shall be made within no more than three (3) Days following receipt of the instruction.

#### Availability Payment (PPD)

- In accordance with the provisions of Clause 9.4 of this Concession Contract, for the purposes of settlement and adjustments, the PPD is composed of the following components: PPD1 and PPD2.

- The PPD1 component shall recognize the Investment (excluding the investment recognized through PPO) and shall be part of the PPD settlement for fifteen (15) years. The PPD1 shall be paid in Dollars in installments to be settled quarterly and shall also be adjusted for inflation between the date of the Successful Bid and the start of each semiannual work progress, in accordance with the following formula:

𝑃𝑃𝐷1j = 𝑃𝑃𝐷1oferta× 𝑋% × 𝑘j

Where:

| PPD1j: | PPD1 corresponding to Component j. |
| --- | --- |
| PPD1Oferta: | Value of the PPD1 component offered by the successful bidder. Amounts to USD ( ) |
| X%: | Proportion of PPD1 corresponding to each Component. Corresponds to % (percent) for the Northern Component and % (percent) for the Southern Component. |
| kj: | Adjustment factor corresponding to Component j. |
| j: | N (Northern Component) and S (Southern Component) |

- The inflation adjustment factor for 𝑘j in the preceding numeral shall be calculated for each Component j according to the following formulas:

𝑚

𝑘j = ∑ 𝑘j,𝑖

𝑖=1

Where:

𝑘j,𝑖 = % progress𝑖

× (%𝐶𝐹1 ×  𝐼𝑃𝑖,𝐹1

𝐼𝑃𝑜𝑓,𝐹1

× 𝑇𝐶1

+ %𝐶𝐹2 ×  𝐼𝑃𝑖,𝐹2

𝐼𝑃𝑜𝑓,𝐹2

× 𝑇𝐶2

+ %𝐶𝐹3 ×  𝐼𝑃𝑖,𝐹3

𝐼𝑃𝑜𝑓,𝐹3

× 𝑇𝐶3 + …

+ %𝐶𝐹𝑛 ×  𝐼𝑃𝑖,𝐹𝑛

𝐼𝑃𝑜𝑓,𝐹𝑛

× 𝑇𝐶𝑛)

Where:

| kj: | Adjustment factor corresponding to Component j for progress stage i |
| --- | --- |
| %progressi: | Percentage of each semiannual progress for progress stage i. % progress1 + % progress2 + ... + % progressm = 100% |
| i: | Represents the progress number in the respective semiannual periods. i = 1, 2, ..., m |
| %CFn: | Percentage of the factor with respect to the % of each semiannual progress. The factors group the cost inputs. |
| n | Represents the number of factors that group the cost inputs. n = 1, 2, ..., n |
| IPi,Fn: | Price Index corresponding to factorn. The value of the latest monthly index available at the end date of each progress period i shall be taken into account. |
| IPof,Fn: | Price Index corresponding to factorn. The value of the latest monthly index available as of the date of the Successful Bid of the Contract shall be taken into account. |
| TCi | Exchange Rate Factor for factor n of the semiannual progress i. If the variation in the investment cost of a factor is linked to the Dollar, the Exchange Rate Factor shall be 1. If the variation in the investment cost of a factor is linked to Soles or a currency other than the Dollar, the Exchange Rate Factor shall be considered as follows: 𝑇𝐶𝑜𝑓,𝐹𝑛. 𝑇𝐶𝑠,𝐹𝑛 Where: |

|  | TCof,Fn: Exchange rate for the conversion of a currency to U.S. Dollars, available on the date of the Successful Bid. TCs,Fn: Exchange Rate for converting a currency into U.S. Dollars, available on the last day of the month prior to the completion date of each progress during period s. |
| --- | --- |

The inflation adjustment factor kj, in the case of costs associated with the manufacturing of the Cable Cars for the Northern and Southern components, shall only consider investment costs compensated through the PPD. In this regard, the corresponding EDI items shall exclude the portion of the cost paid through the PPO.

The inflation adjustment factor kj,i must consider, for each factor “n”, a price index “PI” consistent with the currency in which the investment cost of said factor is determined.

On the other hand, for the determination of %progessi and %CFn of the corresponding semiannual progress, all costs shall be expressed in U.S. Dollars, using the exchange rates published by the Superintendence of Banking, Insurance and AFP (SBS), for the respective currencies, as of the approval date of the EDI of the corresponding component.

- For the purposes of adjusting PPD1 based on price variation, the following procedure shall be taken into account:

- Within fifteen (15) days after the completion of each semiannual deployment, the CONCESSIONAIRE shall request the Contract Supervisor, with a copy to the GRANTOR, to calculate the adjustment factor kj,i for the semiannual progress. This request must be accompanied by a supporting report.

- The report must be reviewed by the Contract Supervisor, who shall determine the value of the adjustment factor kj,i for the semiannual progress within fifteen (15) days and inform the CONCESSIONAIRE and the GRANTOR in writing. This period may be extended for an additional five (5) days upon prior notice by the Supervisor.

- Within fifteen (15) days after the issuance of the Works and Electromechanical Equipment Acceptance Certificate for each Component, the Contract Supervisor shall determine the adjustment of PPD1j, which must include the calculation of all the factors described in sections i) and ii), in accordance with numeral 6 of this appendix.

- If either Party disagrees with the adjustment index established by the Supervisor, it may submit the matter to dispute resolution in accordance with the procedures set forth in Section XVII of the Concession Contract.

- The PPD2 component shall account for Operation and Maintenance and will be included in the quarterly settlement of the PPD throughout the entire Operating Period of the Project. It shall be subject to Deductions based on compliance with the Service Levels established in 
Annex No. 9.

- The PPD2 shall be paid in Soles in installments settled quarterly and shall be adjusted annually for inflation occurring between the date of submission of the Successful Bid and the beginning of each Calendar Year corresponding to each Component j, in accordance with the following formula:

Where:

𝑃𝑃𝐷2j,𝑖

= 𝑃𝑃𝐷2

0ffer

× 𝑌% × 𝐼𝑃𝐶𝑖

𝐼𝑃𝐶0

| PPD2j, i: | Component of PPD2 corresponding to Component j, adjusted for inflation at the beginning of the Calendar Year i of the Contract. |
| --- | --- |
| PPD2 Oferta: | Value of the PPD2 component offered by the Successful Bidder. Amounts to S/ [***] |
| Y%: | Proportion of the PPD2 corresponding to each Component j. Corresponds to % (percent) for the Northern Component and % (percent) for the Southern Component. |
| IPCi: | Consumer Price Index (CPI) of Metropolitan Lima published by the National Institute of Statistics and Informatics (INEI), or the indicator that replaces it. The latest monthly CPI available at the date of adjustment shall be considered, as applicable. |
| IPC0: | Consumer Price Index (CPI) of Metropolitan Lima published by the National Institute of Statistics and Informatics (INEI), or the indicator that replaces it. The last available monthly CPI at the date of the Successful Bid shall be taken into account. |
| j: | N (Northern Component) and S (Southern Component) |
| i: | Calendar year for which the adjustment is made |
| 0: | Corresponds to the month of the date of the submission of the Successful Bid. |

- For the purposes of adjusting PPD2 due to price variations, the following procedure shall be taken into account:

- Either Party may request the adjustment of the offered PPD2.

The requesting Party shall submit a report no later than fifteen (15) Calendar Days after the start of Calendar Year i.

- The report shall be reviewed by the Supervisor, who shall determine and inform the GRANTOR within a period of five (5) Calendar Days, extendable by an additional five (5) Calendar Days, the adjustment index based on the information provided, as well as any additional information submitted by the Concessionaire at the Supervisor’s request.

Exceptionally, for the Calendar Year in which the Operating Period begins, the SUPERVISOR shall determine and inform the GRANTOR of the value of the PPD2 applicable during said Calendar Year, no later than the first five (5) Calendar Days of the month following the date of execution of the Operation Initiation Act for each Component j.

- If either Party disagrees with the adjustment index established by the SUPERVISOR, the dispute shall be submitted to the procedures set forth in Section XVII of the Concession Contract.

The Supervisor shall determine the value of PPD2j,i that will be in force during Calendar Year i and shall inform the GRANTOR and the CONCESSIONAIRE by written communication.

#### Settlement of the PPD

- During the Operating Period, the CONCESSIONAIRE shall have the right to charge for each Component j the PPD1j,t and PPD2j,t, according to the following:

𝑃𝑃𝐷1j,𝑡 = 𝑃𝑃𝐷1_𝑁𝐷j,𝑡 + 𝑃𝑃𝐷1_𝐷𝐸j,𝑡

𝑃𝑃𝐷2j,𝑡 = 𝑃𝑃𝐷2_𝑁𝐷j,𝑡 + 𝑃𝑃𝐷2_𝐷𝐸j,𝑡

Where:

| PPD1j, t: | Settlement of the Availability Payment, PPD1, for quarter t. This payment will be settled during the first 60 quarters of the Operating Period of Component j, in US Dollars without VAT and without adjustments. |
| --- | --- |
| PPD1_NDj, t: | Availability Payment to cover the investment that is not subject to Deductions, for each Component j, in quarter t |
| PPD1_DEj,t: | Availability Payment to cover the investment that is subject to Deductions, for each Component j, in quarter t. |

| PPD2j, t: | Settlement of the Availability Payment, PPD2, for quarter t, subject to the service availability of Component j, without VAT and in Soles. This component will be settled throughout the entire Operational Period of each Component j. |
| --- | --- |
| PPD2_NDj, t: | Availability Payment to cover the supervision payment and the operation of the Dispute Resolution Board for each Component j, in quarter t. |
| PPD2_DEj,t: | Availability Payment subject to Deductions for Component j, in quarter t. |
| t: | Quarter of the Calendar Year, where t=1 corresponds to the months of January to March; t=2 corresponds to the months of April to June; t=3 corresponds to the months of July to September; and t=4 corresponds to the months of October to December. |
| j: | N (Northern Component) and S (Southern Component) |

- During the first 60 quarters of the Operating Period of Component j, the PPD1 NDj will be calculated using the following formula:

Where:

𝑃𝑃𝐷1_𝑁𝐷j,𝑡

= 𝑃𝑃𝐷1j × %𝑁𝑜𝐷𝑒𝑑 4

| PPD1_NDj, t: | Defined in numeral 11 of this Appendix. |
| --- | --- |
| PPD1j,i: | Defined in numeral 5 of this Appendix. |
| %No Ded: | Percentage of the PPD1 not subject to Deductions, equivalent to % (percentage). |

- During the first 60 quarters of the Operating Period of Component j, the component subject to Deductions of the PPD1 for Component j, in quarter t, will be calculated based on the reference Deduction (DedRef) and the accumulated balances to be settle (Saldo_Liq) from the settlements of the previous quarters.

𝑃𝑃𝐷1_𝐷𝐸j,𝑡 = 𝑃𝑃𝐷1_𝐷𝐸𝑀𝑎𝑥j,𝑡 − 𝐷𝑒𝑑𝑅𝑒𝑓_𝑃𝑃𝐷1j,𝑡 + 𝑆𝑎𝑙𝑑𝑜_𝐿𝑖𝑞_𝑃𝑃𝐷1j,𝑡−1

Where:

| PPD1_DEj, t: | Defined in numeral 11 of this Appendix. |
| --- | --- |
| PPD1_DEMaxj, t: | Maximum PPD1 subject to Deductions for Component j, in quarter t. |
| DedRef_PPD1j, t: | Reference Deduction for PPD1_DE of Component j, in quarter t. |
| Saldo_Liq_PPD1j,t-1 | Balance to be settled of PPD1 corresponding to the settlement of the previous quarter, net of the compensation of adjustments. In the first quarter of operation for Component j, the balance to be settled from the previous quarter will have a value of zero. When t equals 1, t-1 refers to the fourth quarter of the previous Calendar Year. |

- During the first 60 quarters of the Operating Period of Component j, the maximum PPD1 subject to Deductions for Component j, in quarter t, will be calculated using the following formula:

𝑃𝑃𝐷1_𝐷𝐸𝑀𝑎𝑥j,𝑡

= 𝑃𝑃𝐷1j × (1 − %𝑁𝑜𝐷𝑒𝑑) 4

Where:

| PPD1_DEMaxj, t: | Defined in numeral 13 of this Appendix. |
| --- | --- |
| PPD1j: | Defined in numeral 5 of this Appendix. |
| %NoDed: | Defined in numeral 12 of this Appendix. |

- Based on the qualification of the Service Levels for each Component j for quarter t, the corresponding Deduction to the PPD1 for that quarter will be calculated. The Deduction (Ded_PPD1j,t) and the Reference Deduction (DedRef_PPD1j,t) will be determined in each quarterly settlement period as follows:

𝐷𝑒𝑑_𝑃𝑃𝐷1

j,𝑡

= 𝑃𝑃𝐷1_𝐷𝐸𝑀𝑎𝑥j,𝑡

× (100 − 𝐼𝑑𝑥𝑆𝑒𝑟𝑣j,𝑡)

100

𝐷𝑒𝑑𝑅𝑒𝑓_𝑃𝑃𝐷1

j,𝑡

= 𝑃𝑃𝐷1_𝐷𝐸𝑀𝑎𝑥j,𝑡

× (100 − 𝐼𝑑𝑥𝑀𝑖𝑛j,𝑡)

100

Where:

| Ded_PPD1j,t: | Deduction to PPD1_DE of Component j, in quarter t. |
| --- | --- |
| DedRef_PPD1j,t | Defined in numeral 13 of this Appendix. |
| PPD1_DEMaxj, t: | Defined in numeral 14 of this Appendix. |
| IdxServj,t: | Service Index for Component j, in quarter t, according to the calculation established in Appendix 3 of this Annex. |
| IdxMinj,t: | Minimum Index for the Reference Deduction, equivalent to ( ). |

- To calculate the balance to be settled for PPD1 for Component j in quarter t, the following considerations will apply:

- The difference between the reference deduction and the deduction corresponding to the service levels for quarter t for Component j will be determined

𝑆𝑎𝑙𝑑𝑜_𝑃𝑃𝐷1j,𝑡 = 𝐷𝑒𝑑𝑅𝑒𝑓_𝑃𝑃𝐷1j,𝑡 − 𝐷𝑒𝑑_𝑃𝑃𝐷1j,𝑡

Where:

| Saldo_PPD1j,t: | Balance of the PPD1 corresponding to the settlement of quarter t for Component j. |
| --- | --- |
| Ded_PPD1j,t: | Defined in numeral 15 of this Appendix. |
| DedRef_PPD1j,t | Defined in numeral 13 of this Appendix. |

- The Ajuste_PPD1j,t  will be determined based on the accumulation of any previous negative balances, if applicable, for its application in subsequent quarters.

𝐴j𝑢𝑠𝑡𝑒_𝑃𝑃𝐷1j,𝑡 = 𝑀𝑖𝑛(𝑆𝑎𝑙𝑑𝑜_𝑃𝑃𝐷1j,𝑡 + 𝐴j𝑢𝑠𝑡𝑒_𝑃𝑃𝐷1j,𝑡−1; 0)

Where:

Uncompensated accumulated negative balances for Component j, in quarter t. If there are no previous accumulated negative balances, the value of Ajuste_PPD1j,t-1 will be zero.

Ajuste_PPD1j,t:

Function that returns the minimum value between A and B

Min(A;B):

Similarly, the balance to be settled for Component j corresponding to quarter t will be equal to the following expression:

𝑆𝑎𝑙𝑑𝑜_𝐿𝑖𝑞_𝑃𝑃𝐷1j,𝑡 =  𝑀𝑎𝑥(𝑆𝑎𝑙𝑑𝑜_𝑃𝑃𝐷1j,𝑡 + 𝐴j𝑢𝑠𝑡𝑒_𝑃𝑃𝐷1j,𝑡−1; 0)

Where:

| Saldo_Liq_PPD1j,t: | Defined in numeral 13. Balance to be settled of the PPD1 corresponding to the settlement of quarter t for Component j, net of the compensation of adjustments. |
| --- | --- |
| Max(A;B): | Function that returns the minimum value between A and B |

The Supervisor shall account for the balances to be settled, resulting from the accumulation and discount of the corresponding adjustments, in accordance with the previously stated considerations.

- During the Operating Period of Component j, the 𝑃𝑃𝐷2_𝑁𝐷j,𝑡 will be calculated using the following formula:

Where:

𝑃𝑃𝐷2_𝑁𝐷j,𝑡

= 𝑃𝑃𝐷2j,𝑖 × %𝑆𝑢𝑝_𝑂𝑝 4

| PPD2_NDj, t: | Defined in numeral 11 of this Appendix. |
| --- | --- |
| PPD2j,i: | Defined in numeral 9 of this Appendix. |
| %Sup_Op | It is the percentage to be applied to the PPD2 for the payment to the Supervisor and the operation of the Dispute Resolution Board, equivalent to % (percent). |

4

Exceptionally, in the first quarter after the commencement of operation of each Component j, the PPD2j,i for the calculation of PPD2_NDj,t will be adjusted in proportion to the actual Calendar Days of operation for the quarter. Similarly, this procedure will be followed in the last quarter of operation for each Component j. For this purpose, the factor [𝑃𝑃𝐷2j,𝑖 ×

%𝑆𝑢𝑝_𝑂𝑝] in the previous formula will be replaced by the following adjustment factor:

[𝑃𝑃𝐷2j,𝑖 × %𝑆𝑢𝑝_𝑂𝑝] × 𝐷í𝑎𝑠𝐸𝑓𝑒𝑐𝑡𝑖𝑣𝑜𝑠

4	90

Where:

Días Efectivos:

## Effective Calendar Days of operation for quarter t of Component j.

- During the Operating Period of Component j, the component subject to Deductions of PPD2 for Component j, in quarter t, will be calculated based on the Reference Deduction (DedRef) and the accumulated balances to be settled (Saldo_Liq) from the settlements of previous quarters, as follows:

𝑃𝑃𝐷2_𝐷𝐸j,𝑡 = 𝑃𝑃𝐷2_𝐷𝐸𝑀𝑎𝑥j,𝑡 − 𝐷𝑒𝑑𝑅𝑒𝑓_𝑃𝑃𝐷2j,𝑡 + 𝑆𝑎𝑙𝑑𝑜_𝐿𝑖𝑞_𝑃𝑃𝐷2j,𝑡−1

Where:

| PPD2_DEj, t: | Defined in numeral 11 of this Appendix. |
| --- | --- |
| PPD2_DEMaxj, t: | Maximum PPD2 subject to Deductions for Component j, in quarter t. |
| DedRef_PPD2j, t: | Reference Deduction for PPD2_DE of Component j, in quarter t. |
| Saldo_Liq_PPD2j,t-1 | Balance to be settled for PPD2 corresponding to the settlement of the previous quarter, net of the compensation for adjustments. In the first quarter of operation for Component j, the balance to be settled will have a value of zero. When t equals 1, t-1 refers to the fourth quarter of the previous Calendar Year. |

- During the Operating Period of Component j, the maximum PPD2 subject to Deductions for Component j, in quarter t, will be calculated using the following formula:

Where:

𝑃𝑃𝐷2_𝐷𝐸𝑀𝑎𝑥j,𝑡

= 𝑃𝑃𝐷2j,𝑖 × (1 − %𝑆𝑢𝑝_𝑂𝑝 ) 4

Defined in numeral 18 of this Appendix.

PPD2_DEMaxj, t:

| PPD2j, i: | Defined in numeral 9 of this Appendix. |
| --- | --- |
| %Sup_Op: | Defined in numeral 12 of this Appendix. |

4

Exceptionally, in the first quarter of the Operational Period of each Component j, the PPD2j, i for the calculation of the PPD2_DEMax will be adjusted in proportion to the effective calendar days of operation in the quarter. Likewise, the same procedure will apply in the last quarter of operation for each Component j. For this purpose, the factor [𝑃𝑃𝐷2j,𝑖 × (1 − %𝑆𝑢𝑝_𝑂𝑝)] in the previous formula will be replaced with the following adjustment factor:

[𝑃𝑃𝐷2j,𝑖 × (1 − %𝑆𝑢𝑝_𝑂𝑝)] × 𝐷í𝑎𝑠𝐸𝑓𝑒𝑐𝑡𝑖𝑣𝑜𝑠

4	90

Where:

Días Efectivos:

## Effective calendar days of operation for quarter t of Component j.

- Based on the Service Level ratings for each Component j for quarter t, the corresponding Deduction to PPD2 for that quarter will be calculated. The Deduction (Ded_PPD2j,t) and the Reference Deduction (DedRef_PPD2j,t) will be determined in each quarterly settlement period as follows:

𝐷𝑒𝑑_𝑃𝑃𝐷2

j,𝑡

= 𝑃𝑃𝐷2_𝐷𝐸𝑀𝑎𝑥j,𝑡

× (100 − 𝐼𝑑𝑥𝑆𝑒𝑟𝑣j,𝑡)

100

Where:

𝐷𝑒𝑑𝑅𝑒𝑓_𝑃𝑃𝐷2

j,𝑡

= 𝑃𝑃𝐷2_𝐷𝐸𝑀𝑎𝑥j,𝑡

× (100 − 𝐼𝑑𝑥𝑀𝑖𝑛j,𝑡)

100

| Ded_PPD2j,t: | Deduction to the PPD2_DE of Component j, in quarter t. |
| --- | --- |
| DedRef_PPD2j,t | Defined in numeral 18 of this Appendix. |
| PPD2_DEMaxj, t: | Defined in numeral 18 of this Appendix. |
| IdxServj,t: | Service Index for Component j, in quarter t, according to the calculation established in Appendix 3 of this Annex. |

| IdxMinj,t: | Minimum Index for the Referential Deduction, equivalent to % (percent). |
| --- | --- |

- For the calculation of the balance to be settled of the PPD2 for Component j in quarter t, the following considerations shall apply:

- The difference between the reference deduction and the deduction corresponding to the Service Levels for quarter t for Component j is determined.

𝑆𝑎𝑙𝑑𝑜_𝑃𝑃𝐷2j,𝑡 = 𝐷𝑒𝑑𝑅𝑒𝑓_𝑃𝑃𝐷2j,𝑡 − 𝐷𝑒𝑑_𝑃𝑃𝐷2j,𝑡

Where:

| Saldo_PPD2j,t: | Balance of the PPD2 corresponding to the settlement of quarter t for Component j. |
| --- | --- |
| Ded_PPD2j,t: | Defined in numeral 20 of this Appendix. |
| DedRef_PPD2j,t | Defined in numeral 18 of this Appendix. |

- The Ajuste_PPD2j,t resulting from the accumulation of previous negative balances, if any, will be determined for application in subsequent quarters.

𝐴j𝑢𝑠𝑡𝑒_𝑃𝑃𝐷2j,𝑡 = 𝑀𝑖𝑛(𝑆𝑎𝑙𝑑𝑜_𝑃𝑃𝐷2j,𝑡 + 𝐴j𝑢𝑠𝑡𝑒_𝑃𝑃𝐷2j,𝑡−1; 0)

Where:

| Ajuste_PPD2j,t: | Uncompensated accumulated negative balances for Component j, in quarter t. If there are no previously accumulated negative balances, the value of the Ajuste_PPD2j,t-1 is zero. |
| --- | --- |
| Min(A;B) | Function that returns the minimum value between A and B. |

Likewise, the balance to be settled for Component j corresponding to quarter t will be equal to the following expression:

𝑆𝑎𝑙𝑑𝑜_𝐿𝑖𝑞_𝑃𝑃𝐷2j,𝑡 =  𝑀𝑎𝑥(𝑆𝑎𝑙𝑑𝑜_𝑃𝑃𝐷2j,𝑡 + 𝐴j𝑢𝑠𝑡𝑒_𝑃𝑃𝐷2j,𝑡−1; 0)

Where:

| Saldo_Liq_PPD2j,t | Defined in numeral 18. Balance to be settled of the PPD2 corresponding to the settlement of quarter t for Component j, net of the compensation of the adjustment. |
| --- | --- |
| Max(A;B): | Function that returns the minimum value between A and B. |

The Supervisor must account for the balances to be settled, which result from the accumulation and deduction of the corresponding adjustments, in accordance with the previously stated considerations.

#### Payment in temporary suspension of obligations

- In the event that a request for a declaration of suspension is made, as provided in Clause 4.5 or Clause 4.9, the calculation of the PPD for the corresponding Calendar Quarter will be done in accordance with the provisions established in numeral 11 and the following of this Appendix.

- To calculate the payment in the event that a request for the suspension of the Concession period is made in accordance with Clause 4.5, the respective weight of the Mandatory Services linked to the Custody referred to in Clause 4.5 and indicated in Appendix 05 of Annex No.9 will be applied to the resulting value of the PPD2 as indicated in the previous numeral. Finally, deductions for non-compliance with the pending Service Levels to be settled will be subtracted.

To calculate the payment in the event that a request is made for the suspension of the term for the fulfillment of obligations in accordance with Clause 4.9, the resulting value of the PPD2 indicated in the previous numeral will be applied with the respective weight of the Mandatory Services actually provided, and the deductions for non-compliance with the pending Service Levels to be settled will be subtracted.

| Mandatory Service | Weighting |
| --- | --- |
| Conservation and Maintenance Service | % |
| Cleaning and Sanitation Service | % |
| Security and Surveillance Service | % |
| Cable Car and Bus Transportation Service | % |
| Administration of Mandatory Services | % |
| Total | 100% |

- This calculation, for its incorporation into the settlement, will apply to each Calendar Quarter that contains any Calendar Day of suspension, on a proportional basis.

- The Referential Deduction will continue to apply in accordance with numeral 20 of this appendix.

#### Payment in the case of Start of Operations by Component

- In case the Start of Operations by Component is authorized, as outlined in Clause 7.13, the calculation of the PPD for the corresponding Calendar Quarter will be made according to the provisions of numeral 11 and the following sections of this Appendix, considering only the PPD and Service Levels related to Component j for which the Start of Operations has been authorized.

- In case the start of PPD payments is authorized for the Component with the Start-Up Certificate, as outlined in Clause 7.13, the calculation of the PPD for the corresponding Calendar Quarter will be made according to the provisions of numeral 11 and the following sections of this Appendix, considering only the PPD and Service Levels related to Component j for which the start of PPD payments has been authorized.

The resulting value of the PPD2 indicated in the previous paragraph will have the respective weight of the Mandatory Services that must be provided after certifying the availability of Component j applied to it. These services are specified in Clause 4.5 of the Concession Contract. Additionally, only the Service Levels related to these services will be measured.

- The payment procedure for the PPD follows the provisions outlined in numeral 29 and the following ones, with the Certificate of Commissioning or the Act of Start of Operation of a Component being the required document to initiate this procedure.

#### Procedure for PPD Payment

- Once the Act of Commencement of Operations for Component j is signed, the GRANTOR commits to making the Cofinancing payment through the Trust Fund Administration, in accordance with the provisions established in Numerals 11 to 21 of this Appendix, no later than the last day of each quarter. Prior to that, the CONCESSIONAIRE must submit the respective payment receipt(s) for the Cofinancing amount, in compliance with the established procedure and the Applicable Laws and Regulations. Exceptionally, for the last quarter of the Operating Period, the GRANTOR will make the disbursement after the approval of the Settlement Report corresponding to that quarter, no later than the last day of the quarter in which the report is approved.

- Within twenty (20) days of the second month of each quarter, the Supervisor must send the Payment Report for Availability to the Trustee, with copies to the CONCESSIONAIRE and the GRANTOR, including the calculation of the PPD payment value and the balances to be settled from previous quarters’ PPDs, in accordance with numeral 4 and numeral 21 above, and as provided in the model established in Appendix 4 of this Annex. The Supervisor

will prepare this report based on the final version of the Settlement Report approved by the GRANTOR, as outlined in numeral 35 and following of this Appendix.

- Exceptionally, in the last quarter of the Operating Period, the Supervisor will issue the Availability Payment Report together with the Settlement Report, considering the timeline established in numeral 35 of this Appendix.

- Subsequently, if applicable, the CONCESSIONAIRE has a period of ten (10) Days from the start of the last month of each quarter to submit the corresponding invoice(s) to the GRANTOR, with a copy to the Trustee, for the amount established in the Availability Payment Report, in accordance with the provisions of the Payment Voucher Regulation, or the regulation that modifies or replaces it.

Exceptionally, if the first quarter of the Operating Period begins on the tenth (10th) day of March, June, September, or December, the CONCESSIONAIRE has a period of ten (10) Days from the start of the first month of the following quarter of the Operating Period to submit the corresponding invoice(s) to the GRANTOR. Likewise, exceptionally, for the last quarter of the Concession Operation, the CONCESSIONAIRE has a period of ten (10) Days after the GRANTOR's approval of the Settlement Report to submit the corresponding invoice(s) to the GRANTOR.

- For the purpose of the first quarter payment, the GRANTOR will make the payment for PPD1_ND, PPD1_DE, PPD2_ND, and PPD2_DE without applying any balance to be settled based on Numerals 13 and 18 above, to the corresponding accounts of the Administration Trust, prior to the submission of the corresponding payment receipt(s), which must be issued by the CONCESSIONAIRE within ten (10) Days of the start of the last month of the quarter for the stated value, in accordance with the provisions of the Payment Receipt Regulations, or the rule that modifies or replaces it.

- If the GRANTOR fails to make the PPD payment within the time frame specified in the preceding numerals, an interest rate equivalent to the Reference Rate plus two percent (2%) will accrue for each Calendar Day of delay from the date the payment was due.

#### Procedure for Approval of the Settlement Report

- At the latest, on the eighth day of the month following March, June, September, and December, as applicable, the Supervisor must send the Settlement Report to the GRANTOR, which will serve as the basis for the calculation and application of the balance to be settled for the PPD in the following quarters, in accordance with the model established in Appendix 4 of this Annex.

- The Supervisor will include as part of this report the calculation of the Deduction (Dedj,t) and the Reference Deduction (DedRefj,t) corresponding to each Component, according to

numerals 15 and 20 of this Appendix, based on the respective minimum index (IdxMinj,t) and service index (IdxServj,t) established in Appendix 3 of this Annex, which will be used for the calculation of the balance to be settled and its respective accounting. This report must include the net balance to be settled (Saldo_Liqj,t) from the previous quarter, in accordance with the provisions of numerals 16 and 21 above. The variables mentioned in this paragraph correspond to both PPD1 and PPD2.

Exceptionally, in the last quarter of the Concession's Operating Period, the calculation of the PPD settlement will not apply the limit of the Reference Deduction (DedRefj,t), and all pending adjustments must be applied.

- Once the Settlement Report is received, the GRANTOR will have a period of ten (10) Days to approve or raise objections to it for the only time, through written communication sent to the Supervisor, explaining the reasons and providing the corresponding supporting documentation. The GRANTOR may only raise objections to the calculation of the PPD settlement.

- If the GRANTOR does not issue a statement within the aforementioned period, the Supervisor will reiterate the request for the GRANTOR's statement on the following day after the expiration of the deadline mentioned in Numeral 37. The GRANTOR must provide a response within a maximum period of five (5) Days, which will be counted starting from the day after the Supervisor’s reiteration. If the GRANTOR does not respond within this new period, the Settlement Report will be considered fully approved. The Supervisor will then send it to the Trustee, with a copy to the CONCESSIONAIRE, within a maximum period of five (5) Days, for payment processing for the following quarter.

- If the GRANTOR issues observations on the Settlement Report, the Supervisor will have a single period of five (5) Days to incorporate any observations or clarifications as necessary, as provided by the GRANTOR. Within this period, the Supervisor will prepare the final version of the report and send it to the GRANTOR, who will have five (5) Days from the day after receiving the final version of the report to verify that the observations have been addressed. Once this period has passed, the GRANTOR must send the final version of the report to the Trustee, with a copy to the CONCESSIONAIRE and Supervisor, for informational purposes regarding the payment for the following quarter.

- If the CONCESSIONAIRE disagrees with the qualification of the Service Levels for the quarter, it may submit the technical dispute to the dispute resolution mechanisms provided in Chapter XVII of the Concession Agreement. If the GRANTOR or the CONCESSIONAIRE raises objections to the Settlement Report and the dispute is submitted to the corresponding dispute resolution mechanism, the CONCESSIONAIRE guarantees the continuity of the provision of the Mandatory Services, which must comply with the Service Levels established in Annex No. 9 of this Agreement.

#### Payment of PPD1 in case the start of operations is later than expected

- If, due to causes attributable to the GRANTOR, the start of the Operating Period for each Component is delayed beyond the maximum term established in the Contract, only the PPD1 installments corresponding to the postponement period of the start of operations shall be affected. Therefore, the payment of the PPD1 installments not related to the postponement period shall be made at the originally stipulated time.

- The installments affected by the postponement shall be deferred and paid on the date corresponding to the payment of the first PPD1.

- Due to the postponement of the PPD1 payment, the GRANTOR shall recognize and pay the CONCESSIONAIRE an interest rate between the minimum rate of the Financial Close and the yield of the Global Zero Coupon Dollar Curve with an average life of three thousand six hundred (3,600) days published by the Superintendence of Banking, Insurance and AFPs (SBS) available on the last Day prior to the date of the Financial Close, plus a spread of ___ percent (__%). Interest shall be calculated from the scheduled start date of operations until the actual date on which operations begin.

- If the delay in the start of the Operating Period of each Component, attributable to the GRANTOR, exceeds twenty-four (24) months, the provisions established in Chapter XVI of the Concession Contract shall apply, upon duly substantiated request by the CONCESSIONAIRE.

#### I.	Tariff and Tariff Adjustments

- The GRANTOR shall determine the base Tariff in Soles and the base Tariff in Dollars for the Mandatory Services, considering that the tariff, expressed as of the date of the Successful Bid, for domestic tourists is S/	(	) and for foreign tourists is S/    (	) .

- The value of the base Tariff in Soles and in Dollars shall be adjusted annually for inflation, in accordance with the following formulas:

Where:

𝑇𝑎𝑟𝑖𝑓𝑎𝑆/,𝑖

= 𝑇𝑎𝑟𝑖𝑓𝑎𝑆/,0

× 𝐼𝑃𝐶𝑖−1

𝐼𝑃𝐶0

| TarifaS/,i: | Inflation-adjusted Tariff in Soles to be charged for the Mandatory Services during Calendar Year i+1 of the Concession Contract. The tariff shall be rounded to two (02) decimal places. |
| --- | --- |
| TarifaS/,0: | Base Tariff in Soles determined by the GRANTOR, pursuant to numeral 45 of this Appendix. |
| IPCi-1: | Consumer Price Index (CPI) of Metropolitan Lima published by the National Institute of Statistics and Informatics (INEI), or the indicator that |

|  | replaces it. The most recent available CPI as of the adjustment date shall be taken into account, including all available decimal places, as applicable. |
| --- | --- |
| IPC0: | Consumer Price Index (CPI) of Metropolitan Lima published by the National Institute of Statistics and Informatics (INEI), or the indicator that replaces it. The CPI for the month of the Successful Bid shall be taken into account, including all available decimal places. |
| i: | Calendar year for which the adjustment is made. |
| 0: | Corresponds to the month of the date of submission of the Successful Bid. |

Where:

𝑇𝑎𝑟𝑖𝑓𝑎$,𝑖

= 𝑇𝑎𝑟𝑖𝑓𝑎$,0

× 𝐶𝑃𝐼𝑖−1

𝐶𝑃𝐼0

| Tarifa$,i: | Tariff in U.S. Dollars adjusted for inflation to be charged for the Mandatory Services during Calendar Year i+1 of the Concession Contract. The tariff shall be rounded to two (02) decimal places. |
| --- | --- |
| Tarifa$,0: | Initial base tariff in U.S. Dollars pursuant to numeral 45 of this Appendix. |
| CPIi-1: | Consumer Price Index for All Items in U.S. city average, all urban consumers, not seasonally adjusted, published by the U.S. Bureau of Labor Statistics, or the indicator that replaces it. The latest available CPI at the adjustment date shall be used, including all available decimal places, as applicable. |
| CPI0: | Consumer Price Index for All Items in U.S. city average, all urban consumers, not seasonally adjusted, published by the U.S. Bureau of Labor Statistics, or the indicator that replaces it. The CPI for the month of the Successful Bid shall be used, including all available decimal places. |
| i: | Calendar Year for which the adjustment is made. |
| 0: | Corresponds to the month of the date of submission of the Successful Bid. |

- For the purpose of adjusting the Tariff for inflation, no later than sixty (60) Calendar Days prior to the start of each Calendar Year, the CONCESSIONAIRE shall submit to the GRANTOR, with a copy to the Supervisor, the request for Tariff adjustment.

The Supervisor shall determine the adjustment in Soles and Dollars no later than thirty (30) Calendar Days prior to the beginning of each Calendar Year i, subject to the prior opinion of the GRANTOR. The Supervisor shall notify the GRANTOR and the CONCESSIONAIRE, via written communication, of the adjusted Tariff value in Soles and Dollars that will be applicable as of January 1 of the following Calendar Year.

Starting from the second Operating Year, the Tariff adjustment in Soles for Calendar Year i may not exceed a variation of ten percent (10%) compared to the Tariff of the previous Calendar Year i–1. If the new adjusted Tariff is lower than the one applicable in the immediate previous Calendar Year at the time of calculation, no change to the Tariff shall apply.

Likewise, for the application of the promotional tariff, the difference between the revenues of the previous 12 months and the projected revenues, calculated by multiplying the inflation-adjusted differentiated tariff by the demand over the same 12-month period, shall not exceed ten percent (10%).

Exceptionally, for the Calendar Year in which the Operating Period begins, the Supervisor shall determine and notify the GRANTOR and the CONCESSIONAIRE of the applicable Tariff in Soles and Dollars for that Calendar Year, no later than twenty (20) Calendar Days prior to the start of the Operating Period of the corresponding Component j. Prior to this, the CONCESSIONAIRE shall inform the anticipated date for the start of the Operating Period for each Component j.

### ANNEX No. 11 – APPENDIX 2 – GUIDELINES APPLICABLE TO THE ADMINISTRATION TRUST CONTRACT

The Administration Trust shall be executed in accordance with the Applicable Laws and Regulations

#### Applicable, under the following basic terms and conditions: Purpose of the Administration Trust

The Administration Trust shall be established with the objective of ensuring the proper and timely fulfillment of the obligations arising from this Agreement. The main source of funds that will feed the Administration Trust shall correspond to the Co-financing paid by the GRANTOR in favor of the CONCESSIONAIRE.

The GRANTOR undertakes to record annually, in its budget items, the amount corresponding to the Co-financing, which will allow compliance with the PPD payment obligations. In the event of a delay in payments, the procedure set forth in numeral 34 of Appendix 1 of this Annex shall apply.

#### Trustors

The trustors shall be the GRANTOR—mainly by virtue of the right to collect penalties—and the CONCESSIONAIRE, by virtue of the amounts to be paid by the GRANTOR in its favor as a result of the Concession, which shall include the amounts deposited by the GRANTOR corresponding to the Co-financing, among others. Under no circumstances may the Administration Trust Contract be modified without the approval of the trustors.

The GRANTOR shall have the authority to issue instructions to the Trustee for the management of the resources of the Administration Trust, in accordance with the payment provisions that form part of the various accounts of the Administration Trust. Likewise, the Trustee must consider the payment instructions set forth in Annex No.11 of the Concession Contract.

#### Trustee

It shall be the entity designated by the CONCESSIONAIRE, subject to prior approval by the GRANTOR.

#### Beneficiaries

They shall be the CONCESSIONAIRE or the GRANTOR, as applicable.

#### Trust Estate

It shall be comprised of the amounts to be paid by the GRANTOR in favor of the CONCESSIONAIRE under the Concession Contract, which shall include the disbursements for the Co-financing, as well as amounts arising from the collection of penalties, payments to the supervisors, or interest generated by each of the accounts, among others. The trust estate shall also include the Fare Revenues resulting from the provision of Mandatory Services.

The Trustee shall request the opening of separate bank accounts to receive and hold the monetary contributions made to the Administration Trust, in such a way that the origin of the funds transferred by each of the Trustors can always be identified. The Trustee shall manage these funds in accordance with the terms of the Administration Trust Contract.

#### Accounts of the Administration Trust

The Administration Trust shall have at least eight (08) independent accounts and their corresponding subaccounts, as detailed below:

  - Cofinancing Account in Dollars: This account is intended to collect PPD1 payments, with its sources being the Cofinancing deposits and the transfer of tariff revenues in Dollars from the Tariff Revenue Subaccount in Dollars and, if applicable, from the Tariff Revenue Subaccount in Soles, in accordance with the provisions of the Concession Contract and the Applicable Laws and Regulations.

From this account, the Trustee shall timely distribute the necessary funds to the PPD1 Subaccount and the VAT Subaccount in Dollars.

The order of priority for the distribution of funds from the Cofinancing Account in Dollars shall be as follows: (i) the commitments of the PPD1 Subaccount; (ii) the VAT Subaccount in Dollars; and, if applicable, (iv) other accounts used within the Administration Trust.

If the term of the Administration Trust ends and there is a remaining balance in the Cofinancing Account at the end of the Concession, the funds shall be transferred in favor of the GRANTOR.

    - PPD1 Subaccount

Subaccount of the Administration Trust to which the Trustee shall transfer the resources in Dollars to be used for the payment of the PPD1, net of deductions and penalties or as specified in Annex No.11 of the Concession Contract.

PPD1 payments shall be made in accordance with the provisions set forth in Annex No.11 of the Concession Contract, in sixty (60) quarterly installments for each Component.

The GRANTOR shall issue instructions to the Trustee to transfer the necessary funds to make the PPD1 payments resulting from the Commencement of Operation of the Project.

In accordance with the preceding paragraph, fifteen (15) Days after the issuance of the Operation Commencement Certificate, the Trustee shall send a written communication

to the GRANTOR and the CONCESSIONAIRE detailing the value of the sixty (60) quarterly PPD1 installments, as established in the Concession Contract.

    - VAT Subaccount

Sub-account of the Administration Trust in which the Trustee shall deposit the necessary VAT resources applicable to PPD1.

  - Co-financing Account in Soles: This account is intended to collect PPD2 payments, with funding sourced from Co-financing deposits and, if applicable, from the transfer of tariff revenues in Soles from the Tariff Revenues in Soles sub-account, in accordance with the provisions of the Concession Contract and the Applicable Laws and Regulations.

From this account, the Trustee shall timely distribute the necessary funds to the PPD1 Sub-account, the PPD2 Sub-account, and the VAT Sub-account.

The priority for the distribution of funds from the Cofinancing Account shall be as follows: (i) the commitments of the PPD2 Sub-account; (ii) the VAT Sub-account; and, if applicable, (iii) other accounts used in the Administration Trust.

If the term of the Administration Trust expires and there is a remaining balance in the Cofinancing Account at the end of the Concession, the funds shall be transferred to the GRANTOR.

    - PPD2 Subaccount

Subaccount of the Administration Trust in which the Trustee shall deposit the funds in Soles to be used for the payment of the PPD2, net of deductions and penalties, as specified in Annex No.11 of the Concession Contract.

The payments of the PPD2 shall be made in accordance with the provisions of Annex No.11 of the Concession Contract, from the Operation Commencement Certificate of each Component until the Termination of the Concession Contract.

The GRANTOR shall issue instructions to the Trustee to ensure the transfer of the necessary funds to carry out the PPD2 payments arising from the Operation Commencement of any of the Components.

    - VAT Subaccount

Sub-account of the Administration Trust in which the Trustee shall deposit the necessary VAT funds applicable to the PPD2.

  - PPO Account: This account is intended to collect the PPO payments, with funding sourced from the Cofinancing deposits in U.S. Dollars, in accordance with the provisions of the Concession Contract and the Applicable Laws and Regulations.

From this account, the Trustee shall timely distribute the necessary funds to the PPO Subaccount and the VAT Subaccount for the PPO.

    - PPO Account

Subaccount of the Administration Trust to which the Trustee shall transfer the funds in Dollars that will be used for the payment of the PPO.

The PPO payments shall be made in accordance with Appendix 1 of Annex No.11 of the Concession Contract.

The GRANTOR shall issue the instructions to the Trustee so that it carries out the necessary fund transfers to make the PPO payments.

    - VAT Subaccount

Subaccount of the Administration Trust in which the Trustee shall deposit the necessary funds corresponding to the VAT applicable to the PPO.

  - Tariff Revenue Account: Administration Trust account into which the CONCESSIONAIRE shall deposit the Tariff Revenues excluding VAT. These revenues shall be primarily allocated to the payment of the PPD1. The Trustee shall carry out the necessary foreign exchange operations from Soles to Dollars to transfer the Soles collection from the Tariff Revenue in Soles subaccount to its Dollar equivalent in the Cofinancing in Dollars account, up to a maximum amount equivalent to the quarterly PPD1. This transfer shall be made on the last Day of each month.

d.1 Sub-account for Fare Revenues in Dollars

Sub-account of the Administration Trust in which the CONCESSIONAIRE shall deposit the Fare Revenues in Dollars excluding VAT, as specified in Clause 9.9 of the Concession Contract.

d.2. Sub-account for Fare Revenues in Soles

Sub-account of the Administration Trust in which the CONCESSIONAIRE shall deposit the Fare Revenues in Soles excluding VAT, as specified in Clause 9.9 of the Concession Contract.

  - Supervision Account: Administration Trust account in which the CONCESSIONAIRE shall deposit the funds to be used for payment to the Supervisor, including

VAT, in accordance with Chapter XIV of the Concession Contract. The GRANTOR shall instruct the Trustee to make the corresponding payment to the Supervisor, pursuant to the terms established in the supervision contract.

  - Dispute Resolution Account: Account of the Administration Trust in which the Concessionaire shall deposit the funds intended for the remuneration of the Dispute Resolution Board, including taxes, in accordance with Chapter XVII of the Concession Contract. The GRANTOR shall instruct the Trustee to make the corresponding payment to the Dispute Resolution Board, as stipulated in the Tripartite Agreement.

  - Guarantees Account: Account of the Administration Trust in which the funds from the total enforcement of the Contract Performance Guarantees shall be deposited, if any.

  - Penalties Account: Account of the Administration Trust in which the funds from the application of penalties, as provided in the Concession Contract, shall be deposited.

  - Insurance Account: Account of the Administration Trust in which the funds resulting from the application of insurance shall be deposited.

In the event that there are surpluses in the Supervision Account after payment to the Supervisor, or available funds in the Penalties Account or funds in the Fare Revenue Account, these shall be transferred to the GRANTOR.

#### Release of Liability of the Trustee

Under no circumstances shall the Trustee be held liable to the Trustor or the Beneficiary for the lack of available funds in any of the accounts of the Administration Trust.

#### Additional Instructions

In the event of any occurrence that prevents the proper fulfillment of the instructions already established in the Administration Trust Contract, the GRANTOR shall be authorized to issue the necessary additional instructions to the Trustee to ensure the proper fulfillment of the obligations set forth.

#### Termination of the Administration Trust

The Administration Trust shall terminate two (2) years after the expiration date of the Concession term, as well as for those other causes usually provided for in similar trust agreements in Peru and in the Peruvian Banking Law, or any regulation that may amend or replace it.

In the event of early termination of the Concession Contract, the Administration Trust shall remain in force for up to six (6) months following the last PPD1 payment, as established in Literal b) of Clause 16.11.4.

#### Trustee Resignation

In the event of the Trustee’s resignation, the rules set forth in the Peruvian Banking Law or any regulation that amends or replaces it shall apply.

#### Trustee Fees

The Trustee’s fees shall be borne by the CONCESSIONAIRE.

#### Applicable Laws and Regulations

The legal framework applicable to the Administration Trust shall be the laws of Peru.

#### Term for Establishment of the Administration Trust

The GRANTOR shall issue a decision on the draft Administration Trust contract submitted by the CONCESSIONAIRE on the Financial Close Date, subject to the opinion of the Supervisor, within a maximum term of thirty (30) Calendar Days.

If the GRANTOR raises comments, the CONCESSIONAIRE must address them within a maximum term of fifteen (15) Calendar Days from the receipt of the comments, and must submit the revised draft to the GRANTOR with a copy to the Supervisor. In such case, the GRANTOR shall have a maximum term of fifteen (15) Calendar Days to issue its decision.

Once the periods mentioned above have elapsed, as applicable, the draft Administration Trust contract shall be submitted for the opinion of the Ministry of Economy and Finance, pursuant to the provisions of Article 116 of the Consolidated Text of Legislative Decree No. 1362, approved by Supreme Decree No. 195-2023-EF. With the favorable opinion of the Ministry of Economy and Finance, the Parties shall proceed with the execution of the Administration Trust contract.

Subsequently, the CONCESSIONAIRE must submit to the GRANTOR the Administration Trust contract signed by its duly accredited representatives for the corresponding signature by the GRANTOR. The CONCESSIONAIRE shall carry out the procedures required for the notarization and registration of the contract in the Public Records.

The Administration Trust must be constituted no later than the date of the Financial Close accreditation.

The Administration Trust contract may include those provisions required by the Permitted Lenders, provided they do not contradict the guidelines set forth in this Annex and in the Concession Contract.

#### Registration and Communication

The Administration Trust contract may include a register of the holders of collection rights, in accordance with the procedure and form to be established in the Administration Trust contract.

### ANNEX No. 11 – APPENDIX 3 – DEDUCTIONS CALCULATION PROCEDURE

#### Quarterly Score of the Indicators

  - The Deductible Availability Payment (PPD1_DE and PPD2_DE) for each Component shall be quarterly; therefore, a Quarterly Score must be estimated for each Service Level indicator.

The Deductible Availability Payment corresponds to the one defined in numeral 11 of Appendix 1 of this Annex.

The quarterly score for each indicator shall be obtained using the following formula:

𝐼𝑑𝑥𝑆𝑒𝑟𝑣_𝑖𝑛𝑑𝑡,j,𝑖,𝑠 = Average (𝐼𝑑𝑥𝑆𝑒𝑟𝑣_𝑖𝑛𝑑𝑓,j,𝑖,𝑠)

Where:

| 𝐼𝑑𝑥𝑆𝑒𝑟𝑣_𝑖𝑛𝑑𝑡,j,𝑖,𝑠: | SCORE FOR COMPONENT "J" IN QUARTER "T" FOR INDICATOR "I" OF SERVICE LEVEL "S". |
| --- | --- |
| 𝐼𝑑𝑥𝑆𝑒𝑟𝑣_𝑖𝑛𝑑𝑓,j,𝑖,𝑠: | SCORE FOR COMPONENT "J" IN MEASUREMENT PERIOD "F" FOR INDICATOR "I" OF SERVICE LEVEL "S". |

For indicators with quarterly measurement frequency, the score shall be obtained as follows:

𝐼𝑑𝑥𝑆𝑒𝑟𝑣_𝑖𝑛𝑑𝑡,j,𝑖,𝑠 = 𝐼𝑑𝑥𝑆𝑒𝑟𝑣_𝑖𝑛𝑑𝑓,j,𝑖,𝑠

#### Quarterly Score of the Indicators

- The result of the actions carried out by the Supervisor to obtain the Service Index of Component “j” in quarter “t” (IdxServj,t) arises from the weighted average of the service index of each service, considering its respective weight.

- Thus, the estimation of IdxServj,t is carried out based on the following formula:

𝑖

𝐼𝑑𝑥𝑆𝑒𝑟𝑣𝑡,j,𝑖,𝑠 = ∑

𝑖=1

𝐼𝑑𝑥𝑆𝑒𝑟𝑣_𝐼𝑛𝑑𝑡,j,𝑖,𝑠 ∗ 𝑃𝑒𝑠𝑜_𝐼𝑛𝑑𝑠,𝑖

Where:

| 𝐼𝑑𝑥𝑆𝑒𝑟𝑣_𝑖𝑛𝑑𝑡,j,𝑖,𝑠: | SCORE FOR COMPONENT "J" IN QUARTER "T" FOR INDICATOR "I" OF SERVICE LEVEL "S". |
| --- | --- |
| 𝑃𝑒𝑠𝑜𝑠,𝑖: | WEIGHT OF INDICATOR "I" OF SERVICE LEVEL "S". |

- A weight will be assigned to each indicator within each Service Level, which shall be used to calculate the Service Index for each Component of each service (𝐼𝑑𝑥𝑆𝑒𝑟𝑣_𝐼𝑛𝑑𝑡,j,𝑖,𝑠).

| SERVICE LEVEL | indicator | weight |
| --- | --- | --- |
| RELATED TO AVAILABILITY | SERVICE AVAILABILITY EVALUATION FACTORS (RELIABILITY, MAINTAINABILITY, AVAILABILITY FACTOR) | … |
|  | MINIMUM SERVICE LEVEL FACTOR ON AVAILABILITY | … |
| RELATED TO WAIT TIME |  | … |
| RELATED TO SERVICE QUALITY | RELATED TO SERVICE SATISFACTION |  |
|  | RELATED TO COMPLAINT INDEX | … |
| … | … | … |

The IdxServt,j,i,s  is a relevant variable whose value impacts the application of the Deductions and, consequently, the payment mechanism based on the PPD.

Based on the rating of the Service Levels of each Component j for quarter t, the Deduction to the PPD corresponding to said quarter shall be calculated.

ANNEX No. 11 – APPENDIX 4 – SETTLEMENT REPORT TEMPLATE

AVAILABILITY PAYMENTS REPORT – QUARTER No. T-20XX

REFERENCES

(List of documents approved by the Parties and used as the basis for the preparation of this report).

### BACKGROUND

(General description of the Terms of Reference of the Supervision Contract).

PPD PAYMENT FOR QUARTER No. t

This section yields the Availability Payment for the current quarter using as input the balance to be settled from the previous quarter, obtained from the Settlement Report of Quarter No. t-1-20XX10.

Availability Payment Scheme for Quarter No. t

DETAIL OF PPD1j,t

#### In accordance with the Financial Proposal and the Concession Contract, the following applies:

| PPD1Oferta |  |
| --- | --- |
| Proportion of PPD1 corresponding to Component j = North |  |
| Proportion of PPD1 corresponding to Component j = South |  |
| Adjustment factor corresponding to Component j = North |  |
| Adjustment factor corresponding to Component j = South |  |
| Percentage of PPD1 not subject to Deductions |  |

- Regarding PPD1_ND

| Quarter t | Unit | Northern Component | Southern Component |
| --- | --- | --- | --- |
| PPD1_NDj,t | Dollars |  |  |

10 In the 1st quarter of operation of each Component j, the balance to be settled has a value of 0.

#### Regarding PPD1_DE

  - Maximum Availability Payment subject to Deductions for Component j

| Quarter t | Unit | Northern Component | Southern Component |
| --- | --- | --- | --- |
| PPD1_DEMaxj,t | Dollars |  |  |

  - Reference Deduction for Component j

| Quarter t | Unit | Northern Component | Southern Component |
| --- | --- | --- | --- |
| DedRef_PPD1j,t | Dollars |  |  |

  - Outstanding Balance of PPD1 corresponding to the settlement of the previous quarter for Component j

| Quarter t | Unit | Northern Component | Southern Component |
| --- | --- | --- | --- |
| Saldo_Liq_PPD1j,t-1 | Dollars |  |  |

  - PPD_DE for quarter No. t of year XXXX for Component j

| Quarter t | Unit | Northern Component | Southern Component |
| --- | --- | --- | --- |
| PPD1_DEMaxj,t | Dollars |  |  |
| DedRef_PPD1j,t | Dollars |  |  |
| Saldo_Liq_PPD1j,t-1 | Dollars |  |  |
| PPD1_DEj,t | Dollars |  |  |

Summary of PPD1j,t in quarter No. t of year XXXX for Component j

| Quarter t | Unit | Northern Component | Southern Component | Total |
| --- | --- | --- | --- | --- |
| PPD1_NDj,t | Dollars |  |  |  |
| PPD1_DEj,t t | Dollars |  |  |  |
| PPD1j,t | Dollars |  |  |  |
| VAT | Dollars |  |  |  |
| TOTAL | Dollars |  |  |  |

DETAIL OF PPD2J,T

- In accordance with the Economic Offer and the Concession Contract, the following is established:

| PPD2Oferta |  |
| --- | --- |
| Proportion of PPD2 corresponding to Component j = North |  |
| Proportion of PPD2 corresponding to Component j = South |  |
| Percentage to be applied to PPD2 for payment to the Supervisor |  |

- PPD2 for year i of each component

| Item | IPC | Source |
| --- | --- | --- |
| Successful Bid Date. |  |  |
| Calendar Year i |  |  |

| Year i | Unit | Northern Component | Southern Component |
| --- | --- | --- | --- |
| PPD2j,i | Soles |  |  |

- Regarding PPD2_ND

| Quarter t | Unit | Northern Component | Southern Component |
| --- | --- | --- | --- |
| PPD2_NDj,t | Soles |  |  |

- Regarding PPD2_DE

  - Maximum Availability Payment subject to Deductions for Component j

| Quarter t | Unit | Northern Component | Southern Component |
| --- | --- | --- | --- |
| PPD2_DEMaxj,t | Soles |  |  |

  - Reference Deduction for Component j

| Quarter t | Unit | Northern Component | Southern Component |
| --- | --- | --- | --- |
| DedRef_PPD2j,t | Soles |  |  |

  - Balance to be Settled of PPD2, corresponding to the settlement of the previous quarter for Component j

| Quarter t | Unit | Northern Component | Southern Component |
| --- | --- | --- | --- |
| Saldo_Liq_PPD2j,t-1 | Soles |  |  |

  - PPD_DE for quarter No. t of year XXXX for Component j

| Quarter t | Unit | Northern Component | Southern Component |
| --- | --- | --- | --- |
| PPD2_DEMaxj,t | Soles |  |  |
| DedRef_PPD2j,t | Soles |  |  |
| Saldo_Liq_PPD2j,t-1 | Soles |  |  |
| PPD2_DEj,t | Soles |  |  |

Summary of PPD2j,t in quarter No. t of year XXXX for Component j

| Quarter t | Unit | Northern Component | Southern Component | Total |
| --- | --- | --- | --- | --- |
| PPD2_NDj,t | Soles |  |  |  |
| PPD2_DEj,t t | Soles |  |  |  |
| PPD2j,t | Soles |  |  |  |
| IGV | Soles |  |  |  |
| TOTAL | Soles |  |  |  |

### SETTLEMENT REPORT FOR QUARTER No. T-20XX

REFERENCES

(List of documents approved by the Parties and used as the basis for the preparation of this report).

### BACKGROUND

(General description of the Terms of Reference of the Supervision Contract).

#### PPD SETTLEMENT FOR QUARTER No. t

This section provides the result of the balance to be settled for the current quarter (𝑆𝑎𝑙𝑑𝑜_𝐿𝑖𝑞_j,𝑡) of PPD1 and PPD2, which will be used to calculate the Availability Payment for the next quarter.

Reference Deduction for each Component j:

| Quarter t | Unit | Northern Component | Southern Component |
| --- | --- | --- | --- |
| DedRef_PPD1j,t | Dollars |  |  |
| DedRef_PPD2j,t | Soles |  |  |

Deduction for each Component j:

| Quarter t | Unit | Northern Component | Southern Component |
| --- | --- | --- | --- |
| PPD1_DEMaxj,t | Dollars |  |  |
| IdxServj,t | Number |  |  |
| Ded_PPD1j,t | Dollars |  |  |

| Quarter t | Unit | Northern Component | Southern Component |
| --- | --- | --- | --- |
| PPD2_DEMaxj,t | Soles |  |  |
| IdxServj,t | Number |  |  |
| Ded_PPD2j,t | Soles |  |  |

Adjustment for each Component j:

| Quarter t | Unit | Northern Component | Southern Component |
| --- | --- | --- | --- |
| Saldo_PPD1j,t | Dollars |  |  |
| Ajuste_PPD1j,t-1 | Dollars |  |  |
| Ajuste_PPD1j,t | Dollars |  |  |

| Quarter t | Unit | Northern Component | Southern Component |
| --- | --- | --- | --- |
| Saldo_PPD2j,t | Soles |  |  |
| Ajuste_PPD2j,t-1 | Soles |  |  |
| Ajuste_PPD2j,t | Soles |  |  |

Balance to be settled for each Component j:

| Quarter t | Unit | Northern Component | Southern Component |
| --- | --- | --- | --- |
| Saldo_PPD1j,t | Dollars |  |  |
| Ajuste_PPD1j,t-1 | Dollars |  |  |
| Saldo_Liq_PPD1j,t | Dollars |  |  |

| Quarter t | Unit | Northern Component | Southern Component |
| --- | --- | --- | --- |
| Saldo_PPD2j,t | Soles |  |  |
| Ajuste_PPD2j,t-1 | Soles |  |  |
| Saldo_Liq_PPD2j,t | Soles |  |  |

Service Index

| Quarter t | Unit | Northern Component | Southern Component |
| --- | --- | --- | --- |
| IdxServj,t | Number |  |  |

# ANNEX No. 12: PENALTIES TABLE

| Clause | Amount | Description of Penalty | Application Criteria |
| --- | --- | --- | --- |
| Chapter IV of the Contract: Term of the Concession |  |  |  |
| Clause 4.18 | 3 UIT | The CONCESSIONAIRE resumes fulfillment of its obligations after the period approved for the suspension of obligations. Per Calendar Day until obligations are resumed. | Per Calendar Day until obligations are resumed |
| Chapter V of the Contract: Regime of Assets |  |  |  |
| 5.8 | 3 UIT | Transferring the Concession Assets outside the Concession Area without the GRANTOR’s authorization. | Per occurrence |
| 5.9 | 3 UIT | Transferring any Concession Asset designated for the execution of the Contract separately from the Concession, or mortgaged, without the GRANTOR’s authorization. | Per occurrence |
| 5.10 | 1 UIT | Failure to register the Concession Assets subject to registration in the Registry of Concessions of the National Superintendency of Public Registries (SUNARP) within the maximum timeframes established in the Clause, for reasons attributable to the CONCESSIONAIRE. | Per Calendar Day |
| 5.17 | 3 UIT | Failure to hold the GRANTOR harmless from and against any legal, administrative, arbitral, or contractual action or claim of any nature regarding the Concession Assets or Assets Allocated to the Concession, in accordance with the provisions of the Clause. | Per occurrence |
| 5.28 | 1 UIT | Failure to submit the Inventory of Works and Electromechanical Equipment and Assets Allocated to the Concession within the established timeframe. | Per Calendar Day |
| 5.30 | 1 UIT | Failure to submit the Annual Inventory within the established timeframe. | Per Calendar Day |

| Clause | Amount | Description of Penalty | Application Criteria |
| --- | --- | --- | --- |
| 5.32 | 1 UIT | Failure to submit the corrections in response to the GRANTOR’s observations on the Annual and Final Inventories within the established timeframe. | Per Calendar Day |
| 5.35 | 1 UIT | Failure to carry out the registration procedures for the corresponding easements within the established timeframe. | Per Calendar Day |
| 5.42 | 2 UIT | Failure to exercise possessory defenses of the Concession Assets. | Per occurrence |
| 5.44 | 3 UIT | Failure to provide the Supervisor with reports on the execution of replacements or substitutions of the Concession Assets within the timeframe set forth in the Clause. | Per Calendar Day |
| 5.45 | 3 UIT | In the event of Contract Termination, failure to deliver all Concession Assets to the GRANTOR within the timeframe established in the Contract. | Per Calendar Day |
| 5.47 | 3 UIT | The CONCESSIONAIRE does not sign the Reversion Certificate for the Assets. | Per occurrence |
| Section VI of the Contract: On the Design and Execution of Works |  |  |  |
| 6.7 | 3 UIT | Failure to prepare the Final Engineering Studies independently for each Area of the Concession. | Per occurrence |
| 6.9 | 0.5 UIT | Failure to submit the Work Plan within the established deadline. | Per Calendar Day |
| 6.11 | 3 UIT | Failure to submit the Final Engineering Studies (EDI) within the established deadline | Per Calendar Day |
| 6.15, 6.17 | 1 UIT | Failure to remedy the observations of the EDI within the deadline established in the Clause. | Per Calendar Day |
| 6.21 | 3 UIT | Failure to obtain the licenses, permits, or authorizations required for the execution of the Works within the maximum established period or failure to keep them in force. | Per Calendar Day |
| 6.24 | 3 UIT | Failure to open the operational digital workbooks prior to the signing of the Record of Commencement of Construction Works and Electromechanical Equipment or failure to keep them updated. | Per occurrence |

| Clause | Amount | Description of Penalty | Application Criteria |
| --- | --- | --- | --- |
| 6.26 | 3 UIT | Failure to include the minimum required information in the digital work log. | Per occurrence |
| 6.27 | 3 UIT | Failure to provide the GRANTOR and the Supervisor access to the digital work logs under the terms set forth in the Clause. | Per occurrence |
| 6.30 | 3 UIT | The CONCESSIONAIRE fails to sign the Record of Commencement of Construction Works and Electromechanical Equipment. | Per occurrence |
| 6.32 | 3 UIT | Failure to execute the Works or implement the Electromechanical Equipment as established in the corresponding Final Engineering Studies. | Per occurrence |
| 6.32 | 3 UIT | Failure to comply with safety standards in accordance with the Applicable Laws and Provisions. | Per occurrence |
| 6.33 | 3 UIT | Execution of Works and implementation of Electromechanical Equipment beyond the period established in the approved schedule. | Per Calendar Day |
| 6.36 | 1 UIT | Failure to submit to the GRANTOR and the Supervisor information on the progress of the Works and implementation of Electromechanical Equipment. | Per occurrence |
| 6.38 | 1 UIT | Reports do not include the minimum content established in the Contract. | Per occurrence |
| 6.39 | 1 UIT | Failure to submit the additional reports requested by the Supervisor or the GRANTOR. | Per occurrence |
| 6.41 | 2 UIT | Failure to request the acceptance of the Works and implementation of Electromechanical Equipment, along with the documentation indicated in the Contract. | Per occurrence |
| 6.44. 6.46 | 1 UIT | Delay in addressing observations within the maximum period established in the Contract. | Per Calendar Day |
| 6.53 | 1 UIT | Failure to provide the Supervisor with the necessary access to the facilities in the respective areas for verification of the tests. | Per occurrence |
| 6.53 | 3 UIT | Failure to address the observations or implement the Supervisor’s recommendations within the established deadline. | Per Calendar Day |
| 6.56 | 3 UIT | Failure to initiate the procedure for | Per |

| Clause | Amount | Description of Penalty | Application Criteria |
| --- | --- | --- | --- |
|  |  | the issuance of the Commissioning Certificate within the established deadline. | Calendar Day |
| 6.57 | 3 UIT | Failure to remedy the observations for the issuance of the Commissioning Certificate within the established deadline. | Per Calendar Day |
| 6.60 | 1 UIT | Failure to implement the SIDIG according to the minimum scope or activities set forth in Clause 6.60. | Per occurrence |
| 6.62 | 1 UIT | Failure to implement the SIDIG during the Pre-Operational period within the established deadline. | Per Calendar Day |
| Chapter VII of the Contract: Operation and Maintenance |  |  |  |
| 7.5, 7.37 | 2 UIT | Failure to submit any of the plans within the established deadlines. | Per Calendar Day, per plan |
| 7.7, 7.10 | 2 UIT | Failure to remedy the observations within the established deadline. | Per Calendar Day |
| 7.11 | 5 UIT | Failure to sign the Operation Start Certificate. | Per Calendar Day |
| 7.11 | 2 UIT | Failure to start operations after the issuance of the Operation Start Certificate for reasons attributable to the CONCESSIONAIRE. | Per Calendar Day |
| 7.18, 7.23, 7.27, 7.31, 7.34 | 3 UIT | Failure to submit reports on the development of the services provided within the deadlines and/or conditions established in the respective clauses. | Per Calendar Day |
| 7.19, 7.22, 7.26, 7.30, 7.34 | 3 UIT | Failure of the CONCESSIONAIRE or the subcontracted company to have the permits, authorizations, and licenses required for the provision of the Mandatory Services. | Per occurrence |
| Chapter VIII of the Contract: Financial Close |  |  |  |
| 8.6 | 5 UIT | Failure to submit the documents for Financial Close within the established deadline. | Per Calendar Day |
| 8.6, 8.7 | 5 UIT | Failure to achieve Financial Close within the established deadline. | Per Calendar Day |
| Capítulo X del Contrato: Garantías |  |  |  |
| 10.3 | 10 UIT | Failure to submit, renew, and/or maintain valid the Guarantee of Faithful Fulfillment for the Pre-Operational Period, within the established deadline and/or | Per Calendar Day |

| Clause | Amount | Description of Penalty | Application Criteria |
| --- | --- | --- | --- |
|  |  | under the required specifications. |  |
| 10.3 | 10 UIT | Failure to submit, renew, and/or maintain in force the Guarantee of Faithful Fulfillment of the PPO. | Per Calendar Day |
| 10.3, 10.4 | 10 UIT | Failure to submit, renew, and/or maintain in force the Guarantee of Faithful Fulfillment of the Operating Period. | Per Calendar Day |
| 10.6 | 10 UIT | Failure to restore the established amount of the corresponding Guarantee of Faithful Fulfillment within the established deadline. | Per Calendar Day |
| Chapter XI of the Contract: Insurance Regime |  |  |  |
| 11.1 | 9 UIT | Failure to contract and/or maintain in force the insurance policies required by the Contract during the stipulated periods. | Per Calendar Day |
| 11.1 | 9 UIT | Failure to contract and/or maintain in force the insurance policies required by the Contract according to the minimum characteristics established in this chapter. | Per occurrence |
| 11.9 | 3 UIT | Failure to submit the proposed policies to the GRANTOR for approval within the maximum deadlines set forth in the clause. | Per Calendar Day |
| 11.4 | 6 UIT | Failure to send the GRANTOR a copy of the signed insurance contracts within the established deadlines. | Per Calendar Day |
| 11.7 | 8 UIT | Failure to contract the minimum coverage requirements set forth in Chapter XI. | Per Calendar Day |
| 11.9 | 2 UIT | Failure to adjust the insurance policies to the requirements of the GRANTOR within the indicated deadlines. | Per Calendar Day |
| 11.12 | 1 UIT | Failure to notify the GRANTOR, within the time limits established in the clause, about the existence or absence of modifications to the terms and conditions of the policies | Per Calendar Day |
| 11.12 | 2 UIT | Failure to notify the GRANTOR of the renewal terms and dates. | Per Calendar Day |
| 11.15 | 9 UIT | Delay in reporting a claim to the insurance company and to the GRANTOR. | Per Calendar Day |
| 11.16 | 3 UIT | Failure to submit the coverage report to the GRANTOR within the deadline established in the clause. | Per Calendar Day |

| Clause | Amount | Description of Penalty | Application Criteria |
| --- | --- | --- | --- |
| 11.19 | 0.5% of the respective Premium amount | Failure to assume responsibility for events not covered by the insurance policies. | Per occurrence |
| 11.19 | 1 UIT | Delay in the payment of the expert appraisal cost within the established maximum deadline. | Per Calendar Day |
| Chapter XII of the Contract: Socio-Environmental Considerations |  |  |  |
| 12.1 | 2 UIT | Failure to comply with the provisions of Articles 12 and 13 of the Environmental Management Regulations of the Tourism Sector, approved by Supreme Decree No. 003-2023-MINCETUR. | Per Calendar Day |
| 12.28 | 3 UIT | Failure to process the Project’s Environmental Certification within the established timeframe. | Per Calendar Day |
| 12.36 | 3 UIT | Failure to obtain the documentation and/or enabling titles required by the cultural heritage protection regulations. | Per occurrence |
| 12.38 | 0.8 UIT | Failure to submit socio-environmental reports within the established timeframe. | Per Calendar Day |
| 12.38 | 0.8 UIT | Failure to provide the information required in the socio-environmental reports. | Per occurrence |
| Chapter XIII of the Contract: Relations with Third Parties and Personnel |  |  |  |
| 13.5 | 1 UIT | Assign its contractual position without the authorization of the GRANTOR within the period established in the Contract. | Per occurrence |
| 13.8 | 1 UIT | Failure to include the required clauses in the contracts signed with third parties. | Per occurrence |
| 13.8 | 1 UIT | Failure to submit to the GRANTOR a copy of the contracts referred to in this Clause. | Per occurrence |
| Chapter XIV of the Contract: Control and Supervision |  |  |  |
| 14.3 | 1 UIT | Failure to make disbursements for supervision payments within the established deadline. | Per Calendar Day |
| 14.6 | 2 UIT | Failure to provide the necessary facilities to the Supervisor and/or the GRANTOR to carry out their supervisory duties as set forth in Clause 13.8 of the Contract. | Per occurrence |
| Subparagraph c) of Clause 14.9 | 1 UIT | Failure to provide the requested information within the maximum established deadline, or, if submitted within such deadline, to submit it incomplete. | Per Calendar Day |

| Clause | Amount | Description of Penalty | Application Criteria |
| --- | --- | --- | --- |
| Chapter XV of the Contract: Force Majeure or Acts of God |  |  |  |
| 15.7 | 2 UIT | Failure to report a force majeure or act of God event within the established deadline. | Per Calendar Day |
| 15.7 | 2 UIT | Failure to include the information specified in the clause. | Per occurrence |
| Annex No. 01 Definitions |  |  |  |
| Numeral 1 Permitted Creditors c) Ineligibility Regime (Last Paragraph) | 4 UIT | Failure to provide the information and documentation set forth in numerals (i) to (v) within the one hundred and twenty (120) Calendar Days period established. | Per occurrence |
| Notes: - The application criterion “Each Calendar Day” shall be used to account for the delay in the fulfillment of obligations in accordance with the definition of Calendar Day in Annex No.1. - The application criterion “Each time” shall be considered for every instance in which the Supervisor has verified the alleged non-compliance. |  |  |  |

ANNEX No. 13: TECHNICAL PROPOSAL

(It shall be attached upon obtaining the Successful Bid)

# ANNEX No. 14: FINANCIAL OFFER

Lima ………….   …., 20….

To:

THE PRIVATE INVESTMENT PROMOTION AGENCY – PROINVERSIÓN

Av. Enrique Canaval Moreyra No. 150

Lima, Perú

Reference:	Comprehensive Project Tender for the award in concession to the private sector of the Project “Improving Public Tourist Services at the Choquequirao Archaeological Park”

Prequalified Bidder……………………………………….

We hereby submit our Offer under the following terms:

As a percentage value (with two decimal places)

[****%]

Written

Sincerely,

Signature of the Legal Representative: ………………………………………. Name of the Legal Representative: ………………………………………. Identification Document:	……………………………………….

Note:

- The Economic Offer must be expressed as a number followed by the percent sign (%).

- Only values with two (2) digits after the decimal point will be considered.

- The amounts calculated from this value do not include VAT.

- In case of discrepancies between the values expressed in words and numbers, the values expressed in words shall prevail.

- The value indicated is as of the date of submission of the Offer.

- We declare that our Economic Offer is unconditional and irrevocable, and that it will remain fully valid until the Financial Close Date. We further declare that our Economic Offer will be incorporated into the Concession Contract in its entirety and without exception, should we be awarded the Concession

# ANNEX No. 15: DOCUMENT RELATING TO THE COMPATIBILITY OF THE PROJECT WITH THE CHOQUEQUIRAO REGIONAL CONSERVATION AREA

(Under evaluation)

Law No. 28551.